## Report on Data Recovery for Mission # ______________

 REVISION NOTICE TABLE

| ### DATE | ### DESCRIPTION OF REVISION |
| --- | --- |
| 21-Aug-2013 | The MEDS Data Quality Flags were confusing and unreliable since automated quality control methods were used with no consideration of the local conditions. So it was decided to remove them from the files. J.L. |

| Processing Steps | Done? |
| --- | --- |
| Check if these data are in the MasterCruiseList. If it is not obvious from the list look at the archived data to ensure there is no overlap. | Yes |
| Prepare header comment with details on data source. | Yes |
| Rename files with standard cruise # | Yes |
| Remove unwanted channels | n/a |
| Export data to CSV file and check for faulty flags | Yes |
| Fix faulty flags – many - fixed | Yes |
| Run CLEAN to fix header channel limits, pad values | Yes |
| Run HEADEDIT to add comments, add data description, fix mission name, fix formats and units, as required | Yes |
| Produce track plot and standards check – look for errors | Yes |
| Produce x-ref list – include in documentation folder | Yes |
| Produce Header Check– include in documentation folder | Yes |
| Test Plots | Yes |

Comments: These data were collected by Bernard Minkley in 2009 and checked against cruise data records on file at the Institute of Ocean Sciences.

The files were subsequently put through the steps shown above to prepare them for archiving.

There were many missing temperature samples that were flagged 9 – these were changed to 0. One dissolved oxygen sample was flagged 0 and that was changed to 0 also.

There are also many samples flagged 3 that are not justified. Near-surface salinity values near Vancouver are expected to be low. For some flags gven there is no temperature value it is difficult to judge. The following casts were investigated:

- 2 – flag probably correct – leave unchanged

- 4 – can’t judge since no temperature – leave unchanged

- 26, 27, 30, 33, 37, 38, 43, 45, 48 and 49 - Low salinity at surface looks reasonable and similar to another cast where salinity was not flagged. Changed flag to 1.

- 37 – the salinity sample at 2m was also flagged 3 presumably because it was much higher than the surface sample, but both are quite possible in this area.

- 39, 41, 42 – odd salinity – flags left unchanged – hard to judge without temperature – perhaps all should be flagged.

- 44 – Salinity at 6m looks ok – flag was changed from 3 to 1.

No problems were found in the track plot, cross-reference listing, header checks and standards check.

Test plots were run and no further problems were found.

A cross-reference listing and a header check report may be found in the DOC folder in the OSD_DATA_ARCHIVE.