Report on Data Recovery for Mission # __1954-24____

 REVISION NOTICE TABLE

| DATE | DESCRIPTION OF REVISION |
| --- | --- |
| 19-Sep-2017 | Corrected MISSION metadata field in header. R.H. |

| Processing Steps | Done? |
| --- | --- |
| Check if these data are in the MasterCruiseList. If it is not obvious from the list look at the archived data to ensure there is no overlap. | Done |
| Prepare header comment with details on data source. | Done |
| Rename files with standard cruise # | Done |
| Remove unwanted channels – flag channels** | n/a |
| Export data to CSV file and check for faulty flags | Done |
| Fix faulty flags | n/a |
| Run CLEAN to fix header channel limits, pad values | Done |
| Run HEADEDIT to add comments, add data description, fix mission name, fix formats and units, as required | Done |
| Produce track plot and standards check – look for errors | Done |
| Produce x-ref list – include in documentation folder | Done |
| Produce Header Check– include in documentation folder | Done |
| Test Plots | Done |

Comments: The source of these data is unclear. They were probably obtained from original records in the data vault at the Institute of Ocean Sciences. Flags were attached that resemble those in use by MEDS, but no definitions are included in the header, nor other header information usually included in MEDS files. Most flags are set to 1 meaning “appear to be good” in MEDS usage. The only exception was a Dissolved Oxygen flag set to 3 due to a reversal, but other casts in the same area and depth show similar reversals, so the flag does not look valid. The flags are not useful and will be removed.

The files were subsequently put through the steps shown above to prepare them for archiving.

The header check and cross-reference listing looks ok.

No problems were found in the track plot and standards check.

Test plots were run and while there are a few minor unstable values near the surface, they do not look significant. A few values are outside the climatology in use in 2013, but they are all from near-shore casts; the climatology limits are considered too severe for near-shore casts.

A cross-reference listing and a header check report may be found in the DOC folder in the OSD_DATA_ARCHIVE.