Report on Data Recovery for Mission # __1964-10 renamed as 1964-41__

| Processing Steps | Done? |
| --- | --- |
| Check if these data are in the MasterCruiseList. If it is not obvious from the list look at the archived data to ensure there is no overlap. | Done –no overlap |
| Prepare header comment with details on data source, if missing. | Done |
| Rename files with standard cruise # | Done |
| Remove unwanted channels – flag channels | Done |
| Export data to CSV file and check for faulty flags | done |
| Fix faulty flags | n/a |
| Derive DO in mass units and REORDER | Done |
| Run HEADEDIT to add comments, add data description, fix mission name, fix formats and units, as required | Done |
| Edit salinity to add 3rd decimal place, CLEAN to fix header limits | Not available |
| Produce track plot and standards check – look for errors | Ok |
| Produce x-ref list – include in documentation folder | Ok |
| Produce Header Check– include in documentation folder | Ok |
| Test Plots | Ok |

Comments:

The original data could not be found, so some checks could not be made.

For example the Chief Scientist’s name is not available.

All flags were 1. The flag channels are unlikely to have been assigned by the analysts or chief scientist and will be removed.

REMOVE was run to remove quality flag channels.

DO was derived in mass units.

HeadEdit was run to add a comment and fix formats and units.

No problems were found in the header check, cross-reference listing and standards check.

Test plots were run. The only data that was outside the current climatology was very close to shore. T-S plots show no significant instabilities.

There was already a cruise in the archived named 1964-10 so the folder, file names and mission names in headers were all changed to 1964-41.

A cross-reference listing and a header check report may be found in the DOC folder in the OSD_DATA_ARCHIVE.