## REVISION NOTICE TABLE

| ### DATE | ### DESCRIPTION OF REVISION |
| --- | --- |
| 12-Mar-2006 | Added Loop data from the publications referenced below. |

Cruise 6705: Comparison between chemistry and OSAP files; nutrient data additions by Melanie Quenneville:

Not all stations have oxygen values.  Chem files have pad values for the missing data. Oxygen is in different units in chem files.

This cruise corresponds to chemistry files LPC67033 to LPC67056.  There were two extra casts containing nitrate data in the chemisty files. They are the same as the data in the productivity/chlorophyll data report. They were given  file names similar to the closest OSAP file names, but with  9000 series numbers. Header information for nitrate was changed to nitrate_plus_nitrite.

Otherwise, chemistry and OSAP data were identical.

Chemistry files had pad values for missing data. For the files containing nutrient data, channels without data were removed. For 1967, this included: temperature, oxygen, phosphate, and silicate.  No evidence of phosphate or silicate sampling has been found; the data were probably not collected.

September 11, 2001:

Changed Oxygen (mL/L) to Oxygen:dissolved:volume and added Oxygen:dissolved:mass (umol/kg) channel.

# February 12, 2002 – Joe Linguanti

Started work from Melanie’s directory \\OSAPCOMMON\STPCHEM\FINISHED\1967\6705.

References:

1. Canadian Oceanographic Data Centre. MS, 1968. Ocean Weather Station P",North Pacific Ocean. 1968 Data Record Series, No. 9 (Jul 3 – Sep 14, 1967).

2. Fisheries Research Board of Canada, Manuscript Report Series, No. 957, Data Record: Primary Production Data from the NE Pacific Ocean, January 1966 to December 1967. IOS Library: FRB-MR-957.

- Files with 9000 cast numbers are Productivity casts that could not be matched up with one of the TS casts.

- Casts 3, 7 and 17 were not in Sus’s database so they were obtained from the data report.

- Program HEADER EDIT was used to change non-standard channel names, units, Data Description, Scientists name, Project and Platform.

- Program Clean was used to;

- reset number of records, minimum and maximum values

- delete empty channels where applicable

- set channel name initial letters to uppercase

- Files *.CLN were copied to new archive and renamed to the new file convention “YYYY-CC-NNNN.CHE “.

## April 3, 2002 – Joe Linguanti

Reference:

Stephens, K., MS, 1968. Data Record. Primary Production Data from the N.E. Pacific Ocean, January 1966 to December 1967. Fisheries Research Board of Canada, Manuscript Report Series, No. 957.

Three productivity casts (9000 series) containing chlorophyll, primary production and Nitrate_plus_Nitrite data were obtained from John Page’s files. File processed in February containing only the Nitrate_plus_Nitrite data were removed from the archive.