## REVISION NOTICE TABLE

| ### DATE | ### DESCRIPTION OF REVISION |
| --- | --- |
| 3 Dec 2024 | Added Data Description to Surface.Loop |
| 11-Jan-2016 | Added Latitude and Longitude to LOCATION in header, and corrected MISSION from 1971-01 to 1971-07 in Underway Loop file. |
| 21-Feb-2010 | Added Loop data from the publications referenced below. Data sources and further metadata can be found in John Page’s spreadsheet file located in the \DOC directory. |

# February 27, 2002 – Joe Linguanti

References:

1. Oceanographic Observations at Ocean Station P (50N, 145W), Vol.52 August 6, 1971 – January 16, 1972,  Pacific Marine Science Report 72-2.

2. Stephens, K. 1977, Primary Productivity Data from Weatherships Occupying Ocean Station "P" 1969 to 1975. Fisheries & Marine Service Data Report 38.

- One productivity cast (9000 series) containing nutrient and chlorophyll data was obtained from John Page’s files.

- Oxygen:Dissolved:Mass was added, using program CHGUNITS, to all bottle files with oxygen data.

- No CTD data as instrument failed at the beginning of cruise.

- Program HEADER EDIT was used to change non-standard channel names and units and Data Description, Scientists name, Project, Platform and Instrument fields.

- Program Clean was used to;

- reset number of records, minimum and maximum values

- delete empty channels where applicable

- set channel name initial letters to uppercase

- Set last 4 characters of file name to event – set cast numbers to be the same as event numbers in file.

- Files *.CLN were copied to new archive and renamed to the new file convention “YYYY-CC-NNNN.CHE “.

## April 23, 2002 – Joe Linguanti

Reference:

1. Stephens, K. 1977. Primary Productivity Data from Weatherships Occupying Ocean Station "P" 1969 to 1975. Fisheries & Marine Service Data Report No. 38.

Primary production data was added to one file previously obtained from John Page (9000 series). The primary production data was obtained from the report cited in reference 1.