## REVISION NOTICE TABLE

| ### DATE | ### DESCRIPTION OF REVISION |
| --- | --- |
| 11-Apr-2010 | Added Loop data from the publications referenced below. Data sources and further metadata can be found in John Page’s spreadsheet file located in the \DOC directory. |

# May 30, 2002 – Joe Linguanti

References:

1. Oceanographic Observations at Ocean Station P (50N, 145W), Vol. 100,  May 4 – June 21, 1979,  Pacific Marine Science Report 81-14.

- Oxygen:Dissolved:Mass was added, using program CHGUNITS, to all bottle files with oxygen data.

- Program HEADER EDIT was used to change non-standard channel names and units and Data Description, Scientists name, Project, Platform and Instrument fields.

- Program Clean was used to;

- reset number of records, minimum and maximum values

- delete empty channels where applicable

- set channel name initial letters to uppercase

- Set last 4 characters of file name to event – set cast numbers to be the same as event numbers in file.

- Files *.CLN were copied to new archive and renamed to the new file convention “YYYY-CC-NNNN.CHE “.

NOTE: CTD casts 13 to 58 were not included as data was questionable.