## REVISION NOTICE TABLE

| ### DATE | ### DESCRIPTION OF REVISION |
| --- | --- |

## PROCESSING NOTES

Cruise: 1981-04 (OE) 1981-26 (OSD)

Agency: IOS, Ocean Ecology, Sidney, B.C

Location: Saanich Inlet

Project: Productivity

Party Chief: Forbes, J.R.

Platform: CSS Vector

Date: March 23 1981 – March 27, 1981

Processed by: Joe Linguanti

Date of Processing: March 17 2017 – March 20 2017

Number of CTD files:

Number of Bottle files: 13

# PROCESSING SUMMARY

The 13 files of Saanich Inlet data were obtained from the Ocean Ecology (OE) cruise 81-04 paper records found in the OE data room. The metadata, salinity, oxygen, chlorophyll and pH data were entered into an Excel spreadsheet file and then converted to IOS Header Format using the IOS Shell routine, Convert Spreadsheet Files.

The pressure values were obtained from the oxygen analysis record.

Primary productivity data from the paper records was not included since there was no documentation on the methods used for analysis. I was told that without knowing the methods used the data should not be included.

The quality of the analysis is not known therefore quality flags are not included for any of the data. The cruise was assigned the Ocean Sciences Division (OSD) cruise ID 1981-26.

Chlorophyll a  and salinity analysis methods

The analysis methods for salinity and chlorophyll a were extracted from the following report;

Forbes, J.R. and R.E. Waters. 1993. Phytoplankton species composition and abundance along the Pacific coast of Canada, 1979 – 1989. Volume 1: 1979 - 1984. Can Data Rep. Hydrogr. Ocean Sci. 117 (Vol. 1): 212p.

Salinity samples were collected in 250 mL bottles, which were rinsed three times,  capped and stored for later analysis at the Institute of Ocean Sciences. Salinity samples were analyzed on a Guildline Autosal (model 8400A) salinometer, standardized against IAPSO Normal Standard Seawater. Data are reported in practical salinity units (Lewis and Perkin 1978).

Extracted chlorophyll a was determined by fluorometry (Parsons et al. 1984). Water samples (25 – 250 mL) were filtered onto 25 mm diameter Whatman 934AH (1979 – 1984) or GF/F (1984 - 1989) glass fiber filters, with a vacuum of <100 mmHg. Just before filtration was completed approximately 1 mL of MgCO3 suspension was added to the sample and the sides of the filter funnel were rinsed with filtered seawater. Chlorophyll was extracted in 90% aqueous acetone by grinding the filters in a tissue grinder. The extract was clarified by filtration through a glass fiber and the fluorescence measured in a Turner Designs 10 fluorometer. The sample was acidified with 2drops of 1.5 N HCl and the fluorescence was redetermined after the reading stabilized, to obtain a phaeopigment correction factor.

No methods for oxygen or pH were described.