## File List
Number of Files= |  | 1
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 82020005.hyd | 82020006.ctd | 11 | 29 | 82020005.hyd & 82020006.ctd

## (Sctd - Sbot) Ch
Mission 82-02
ctd cast 6 with bottle cast 5

## (Sctd - Sbot)
Calculation of Linear Least Squares Fit For
(Sctd - Sbot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sctd - Sbot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | #VALUE! |  | X | CALC Y
m= | #VALUE! | #VALUE! |  | Std Dev of Resid |  | #VALUE! |  | #NAME? | #NAME?
b= | #VALUE! | #VALUE! |  | Resid Sum of Squares |  | #VALUE! |  | #NAME? | #NAME?
# of Values Extracted = |  |  | 19
# of Values Used in Fit = |  |  | 18
File | Use | Pressure | Sctd | Sctd | Diff (Sctd - Sbot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 1 | 29.7217 | 0.027136 | -0.23733 | #VALUE! | #VALUE! |  | 1 | -0.23733
1 | YES | 5 | 29.8766 | 0.055189 | -0.0364 | #VALUE! | #VALUE! |  | 5 | -0.0364
1 | YES | 13 | 30.8688 | 0.36801 | -0.5972 | #VALUE! | #VALUE! |  | 13 | -0.5972
1 | YES | 21 | 31.8464 | 0.045632 | -0.0816 | #VALUE! | #VALUE! |  | 21 | -0.0816
1 | YES | 38 | 32.0132 | 0.0085273 | -0.048801 | #VALUE! | #VALUE! |  | 38 | -0.048801
1 | YES | 59 | 32.4526 | 0.030681 | 0.0476 | #VALUE! | #VALUE! |  | 59 | 0.0476
1 | YES | 80 | 32.9568 | 0.033064 | 0.055798 | #VALUE! | #VALUE! |  | 80 | 0.055798
1 | YES | 101 | 33.3665 | 0.024557 | -0.010498 | #VALUE! | #VALUE! |  | 101 | -0.010498
1 | YES | 122 | 33.5576 | 0.01997 | -0.049397 | #VALUE! | #VALUE! |  | 122 | -0.049397
1 | YES | 143 | 33.7358 | 0.010133 | 0.0228 | #VALUE! | #VALUE! |  | 143 | 0.0228
1 | YES | 165 | 33.7948 | 0.0035638 | -0.034199 | #VALUE! | #VALUE! |  | 165 | -0.034199
1 | YES | 209 | 33.9162 | 0.0062212 | -0.0068016 | #VALUE! | #VALUE! |  | 209 | -0.0068016
1 | YES | 253 | 33.9628 | 0.0040863 | -0.0032005 | #VALUE! | #VALUE! |  | 253 | -0.0032005
1 | NO | 344 | 34.0046 | 0.0032862 | 133.005 | #VALUE! | #VALUE! |  | 437 | 0.015598
1 | YES | 437 | 34.0436 | 0.003848 | 0.015598 | #VALUE! | #VALUE! |  | 533.5 | 0.012501
1 | YES | 533.5 | 34.1105 | 0.0026443 | 0.012501 | #VALUE! | #VALUE! |  | 732 | 0.014797
1 | YES | 732 | 34.2578 | 0.0081972 | 0.014797 | #VALUE! | #VALUE! |  | 939 | 0.013802
1 | YES | 939 | 34.3608 | 0.0060585 | 0.013802 | #VALUE! | #VALUE! |  | 1131 | 0.011398
1 | YES | 1131 | 34.4264 | 0.0083842 | 0.011398 | #VALUE! | #VALUE!
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. Sctd
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 2
| Primary | Secondary |  | Comparison Name
Ref | Depth | Pressure |  | Pressure - Depth
Comp 1 | Sbot | Sctd |  | Sctd - Sbot
Average Size: | 2
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Depth | Pressure | Pressure | (S-P) | Sbot | Sctd | Sctd | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
82020005.hyd | 82020006.ctd | 3 | 0 | 1 | 1 | 1 | 29.959 | 29.7217 | 0.027136 | -0.23733
82020005.hyd | 82020006.ctd | 5 | 5 | 5 | 1.5811 | 0 | 29.913 | 29.8766 | 0.055189 | -0.0364
82020005.hyd | 82020006.ctd | 5 | 13 | 13 | 1.5811 | 0 | 31.466 | 30.8688 | 0.36801 | -0.5972
82020005.hyd | 82020006.ctd | 5 | 21 | 21 | 1.5811 | 0 | 31.928 | 31.8464 | 0.045632 | -0.0816
82020005.hyd | 82020006.ctd | 5 | 38 | 38 | 1.5811 | 0 | 32.062 | 32.0132 | 0.0085273 | -0.048801
82020005.hyd | 82020006.ctd | 5 | 59 | 59 | 1.5811 | 0 | 32.405 | 32.4526 | 0.030681 | 0.0476
82020005.hyd | 82020006.ctd | 5 | 80 | 80 | 1.5811 | 0 | 32.901 | 32.9568 | 0.033064 | 0.055798
82020005.hyd | 82020006.ctd | 4 | 101 | 101 | 1.8257 | 0 | 33.377 | 33.3665 | 0.024557 | -0.010498
82020005.hyd | 82020006.ctd | 5 | 122 | 122 | 1.5811 | 0 | 33.607 | 33.5576 | 0.01997 | -0.049397
82020005.hyd | 82020006.ctd | 5 | 143 | 143 | 1.5811 | 0 | 33.713 | 33.7358 | 0.010133 | 0.0228
82020005.hyd | 82020006.ctd | 5 | 165 | 165 | 1.5811 | 0 | 33.829 | 33.7948 | 0.0035638 | -0.034199
82020005.hyd | 82020006.ctd | 5 | 209 | 209 | 1.5811 | 0 | 33.923 | 33.9162 | 0.0062212 | -0.0068016
82020005.hyd | 82020006.ctd | 5 | 253 | 253 | 1.5811 | 0 | 33.966 | 33.9628 | 0.0040863 | -0.0032005
82020005.hyd | 82020006.ctd | 5 | 344 | 344 | 1.5811 | 0 | -99 | 34.0046 | 0.0032862 | 133.005
82020005.hyd | 82020006.ctd | 5 | 437 | 437 | 1.5811 | 0 | 34.028 | 34.0436 | 0.003848 | 0.015598
82020005.hyd | 82020006.ctd | 4 | 533 | 533.5 | 1.291 | 0.5 | 34.098 | 34.1105 | 0.0026443 | 0.012501
82020005.hyd | 82020006.ctd | 5 | 732 | 732 | 1.5811 | 0 | 34.243 | 34.2578 | 0.0081972 | 0.014797
82020005.hyd | 82020006.ctd | 5 | 939 | 939 | 1.5811 | 0 | 34.347 | 34.3608 | 0.0060585 | 0.013802
82020005.hyd | 82020006.ctd | 5 | 1131 | 1131 | 1.5811 | 0 | 34.415 | 34.4264 | 0.0083842 | 0.011398
Create Fit Sheet