| ### DATE | ### DESCRIPTION OF REVISION |
| --- | --- |
| 21-Feb-2011 | Added nutrient data below 250 metres to nutrient cast(s) obtained from John Page in 2002. In 2002 John was under the assumption that all nutrient values below the mixed layer were questionable so he did not include any values greater than 250 metres. In 2006 John found out that this assumption applied only to Silicate data, so he put back the deep values for Nitrate and Phosphate into his database. For more information, including quality control analysis see John Page’s spreadsheet files in directory \\OSD_Data_Archive\Cruise_Data\Documents\Station Papa Data Archiving\. |
| 01-May-2010 | Added Loop data from C.S. Wong’s archive. Data sources and further metadata can be found in John Page’s spreadsheet file located in the \DOC directory. |

Processing notes           Jun 22, 1993

Cruise 82-06

Nov 24 - Dec 5 1982

75 processed files.

casts 1 - 93

This data was collected using the HP 2100 acquisition system.

NOTE

----

The meter average program replaced missing surface records with the

first available records. For example: if the first record in the file

started at 4.0 dbars then the program would create records at 0, 1, 2

and 3 dbars with identical temperature, salinity, conductivity  and

transmissivity values of those at 4 dbars.

1.  Hydro corrections were applied

New_Temperature = Old_Temp + ( 0.006576*old_Temp - 0.053443)

New_Salinity    = Old_Sal  + (-0.003582*Old_Temp + 0.040228)

Joe Linguanti

---------------------------------------------------------

Oct 28/96 Robin Brown

15 HYD files added from STN P archive. STN P CTD profiles matched to

ARchive versions - STNP Archive profiles NOT added as they are

decimated.

----------------------------------------------------------------------

May 6, 1996

-----------

cast 70 - Comparison with north coast climatology showed a large kink

in salinity at 500 dbars. Comparison with surrounding profiles seemd

to indicate that salinity is too low. The log book mentions that

the salinity trace was very noisy and that the sliprings had to be

cleaned, after which the noise was gone. Therefore it was decided to

remove the salinity channel.

Joseph Linguanti

# Moving files to new archive. June 11, 2002 – Joe Linguanti

- One cast containing nutrient data was obtained from John Page’s files. John’s file 1 was merged with bottle file 39.

- Oxygen:Dissolved in umol/kg was added, using program CHGUNITS, to all bottle files with oxygen data.

- Program HEADER EDIT was used to change non-standard channel names and units and Data Description, Scientists name, Project, Platform and Instrument fields.

- Program Clean was used to;

- reset number of records, minimum and maximum values

- delete empty channels where applicable

- set channel name initial letters to uppercase

- Set last 4 characters of file name to event – set cast numbers to be the same as event numbers in file.

- Files *.CLN were copied to new archive and renamed to the new file convention “YYYY-CC-NNNN.CHE “.

March 23, 2004

Cast 87.CTD - Longitude changed from 126 40.00 to 126 25.30.