## REVISION NOTICE TABLE

| ### DATE | ### DESCRIPTION OF REVISION |
| --- | --- |
| 29-Mar-2017 | Renamed fluorometer channel name from "Fluorescence:URU" to "Fluorescence:Calibrated" since the data from the fluorometer (on the CTD) has been converted to Chlorophyll-a using linear regression on observed extracted chl-a. Joe Linguanti |
| 27-Sep-2010 | Two records were found with sample #3 in cast #20 – one looks reasonable, the other not, so the “rogue” record was removed and headers were cleaned. G. Gatien |

file: 8230DOC.TXT

CRUISE:	   82-30		        VESSEL: Vector

ECO Cruise 82-01

PROJECT:Str. of Georgia Prod.

START DATE: May 17			END DATE:May 20

SCIENTIST: DL Mackas

INSTRUMENTS modified Guildline 8701

---------------------------------------------------------------------

CHANNEL:		NAME:		         UNITS:

=====================================================================

1			pressure		decibars

---------------------------------------------------------------------

2			temperature		deg C

---------------------------------------------------------------------

3			cond ratio		none

---------------------------------------------------------------------

4			chlorophyll a		mg/m**3

---------------------------------------------------------------------

5			salinity		none

---------------------------------------------------------------------

6			sigma t			?

---------------------------------------------------------------------

7			beam transmissometer	%trans per metre

---------------------------------------------------------------------

8			ignore			ignore

---------------------------------------------------------------------

GEOGRAPHIC AREA: Strait of Georgia

Other Comments:

---------------

Martek 1 metre path length transmissometer added in 1980

times are PDT

original data in Ocean Environment and Fisheries (formerly Ocean Ecology)

- room 1316

Converted from OE files Nov 27/96 using OEtoIOS.BAS.

first file (82010001.OLD) not converted - first 10 records are

screwed up.

Records with zero values in temperature channel were deleted.

input and output files archived to DLT015/DLT016 saveset CTD8230.BAK

Robin Brown Nov 27/96

---------------------------------------------

July 02,1997  RMB

file 82300001.CTD moved to BAD\8230\*.* this files is a concatenation

of several files.

---------------------------------------------