## REVISION NOTICE TABLE

| ### DATE | ### DESCRIPTION OF REVISION |
| --- | --- |

## PROCESSING NOTES

Cruise: 1983-05 (OE) 1983-32 (OSD)

Agency: IOS, Ocean Ecology, Sidney, B.C

Location: Saanich Inlet

Project: Productivity

Party Chief: Forbes, J.R.

Platform: CSS Vector

Date: November 1 1983 – November 3, 1983

Processed by: Joe Linguanti

Date of Processing: March 15 2017 – March 17, 2017

Number of CTD files:

Number of Bottle files: 3

# PROCESSING SUMMARY

The 3 files of Saanich Inlet data were obtained from the Ocean Ecology (OE) cruise 83-05 paper records found in the OE data room. The metadata and chlorophyll data were entered into an Excel spreadsheet file and then converted to IOS Header Format using the IOS Shell routine, Convert Spreadsheet Files. The quality of the analysis is not known therefore quality flags are not included for the chlorophyll data. The cruise was assigned the Ocean Sciences Division (OSD) cruise ID 1983-32.

Chlorophyll a analysis method

The analysis method for chlorophyll a was extracted from the following report;

Forbes, J.R. and R.E. Waters. 1993. Phytoplankton species composition and abundance along the Pacific coast of Canada, 1979 – 1989. Volume 1: 1979 - 1984. Can Data Rep. Hydrogr. Ocean Sci. 117 (Vol. 1): 212p.

Extracted chlorophyll a was determined by fluorometry (Parsons et al. 1984). Water samples (25 – 250 mL) were filtered onto 25 mm diameter Whatman 934AH (1979 – 1984) or GF/F (1984 - 1989) glass fiber filters, with a vacuum of <100 mmHg. Just before filtration was completed approximately 1 mL of MgCO3 suspension was added to the sample and the sides of the filter funnel were rinsed with filtered seawater. Chlorophyll was extracted in 90% aqueous acetone by grinding the filters in a tissue grinder. The extract was clarified by filtration through a glass fiber and the fluorescence measured in a Turner Designs 10 fluorometer. The sample was acidified with 2drops of 1.5 N HCl and the fluorescence was redetermined after the reading stabilized, to obtain a phaeopigment correction factor.