| ### DATE | ### DESCRIPTION OF REVISION |
| --- | --- |
| 01-May-2010 | Added Loop data from C.S. Wong’s archive. Data sources and further metadata can be found in John Page’s spreadsheet file located in the \DOC directory. |

Processing notes           Jun 23, 1993

Cruise 84-01

Apr 27 - May 3 1984

35 processed files.

casts 1 - 38

This data was collected using the HP 2100 acquisition system.

NOTE

----

The meter average program replaced missing surface records with the

first available records. For example: if the first record in the file

started at 4.0 dbars then the program would create records at 0, 1, 2

and 3 dbars with identical temperature, salinity, conductivity  and

transmissivity values of those at 4 dbars.

1.  Hydro corrections were applied.

New_temperature = Old_temp + ( 0.0106*Old_Temp - 0.07123)

New_Salinity    = Old_Sal  + (-0.0043*Old_Temp + 0.03526)

Joe Linguanti

----------------------------------------------------------------------

Oct 29/1996 Robin Brown

IOS ARCHIVE CTD files (35) reconciled with STNP CTD files (35). Data

are the same locations/values.  3 HYD files from STN P archive added

to IOS archive. There are 3 file is HYDRO84M1.DAt as well.

# Moving files to new archive. June 13, 2002 – Joe Linguanti

- Oxygen:Dissolved in umol/kg was added, using program CHGUNITS, to all bottle files with oxygen data.

- Program HEADER EDIT was used to change non-standard channel names and units and Data Description, Scientists name, Project, Platform and Instrument fields.

- Program Clean was used to;

- reset number of records, minimum and maximum values

- delete empty channels where applicable

- set channel name initial letters to uppercase

- Set last 4 characters of file name to event – set cast numbers to be the same as event numbers in file.

- Files *.CLN were copied to new archive and renamed to the new file convention “YYYY-CC-NNNN.CHE “.