| ### DATE | ### DESCRIPTION OF REVISION |
| --- | --- |
| 21-Feb-2011 | Added nutrient data below 250 metres to nutrient cast(s) obtained from John Page in 2002. In 2002 John was under the assumption that all nutrient values below the mixed layer were questionable so he did not include any values greater than 250 metres. In 2006 John found out that this assumption applied only to Silicate data, so he put back the deep values for Nitrate and Phosphate into his database. For more information, including quality control analysis see John Page’s spreadsheet files in directory \\OSD_Data_Archive\Cruise_Data\Documents\Station Papa Data Archiving\. |

Processing notes           Jun 23, 1993

Cruise 84-03

Nov  8 - 22 1984

69 processed files.

casts 1 - 88

This data was collected using the HP 2100 acquisition system.

NOTE

----

The meter average program replaced missing surface records with the

first available records. For example: if the first record in the file

started at 4.0 dbars then the program would create records at 0, 1, 2

and 3 dbars with identical temperature, salinity, conductivity  and

transmissivity values of those at 4 dbars.

1.  Hydro corrections were applied.

New_temperature = Old_temp + ( 0.001883*Old_Temp - 0.028100)

New_Salinity    = Old_Sal  + (-0.000416*Old_Temp + 0.011350)

Joe Linguanti

-----------------------------------------------------------------

Oct 30,1996  Robin Brown

IOS Archive CTD's (69) reconciled with STN P archive CTD (69). 19

HYD files added to IOS archive from STN P archive.

STN P HYD files correspond to the HYDRO84M2.DAt file.

# Moving files to new archive. June 13, 2002 – Joe Linguanti

- One cast containing nutrient data was obtained from John Page’s files. John’s file 1 was merged with bottle file 35.

- Oxygen:Dissolved in umol/kg was added, using program CHGUNITS, to all bottle files with oxygen data.

- Program HEADER EDIT was used to change non-standard channel names and units and Data Description, Scientists name, Project, Platform and Instrument fields.

- Program Clean was used to;

- reset number of records, minimum and maximum values

- delete empty channels where applicable

- set channel name initial letters to uppercase

- Set last 4 characters of file name to event – set cast numbers to be the same as event numbers in file.

- Files *.CLN were copied to new archive and renamed to the new file convention “YYYY-CC-NNNN.CHE “.

May 25, 2003 – Joe Linguanti

Added loop file to the archive. This file was produced by Bernard Minkley from older text files.

March 26, 2004 – Joe Linguanti

Corrected Chief Scientist in bottle files.