April 21, 2004 - Moving files to the new archive

Small pressure inversions were noticed in most of the CTD files due to the fact that pressure was not filtered before the records were thinned. I believe that Robin Brown had Rick Birch from Arctic Sciences Limited do the original conversion and processing. Humfrey Melling suggested that I go back to the original full resolution files and use the BINAVG program to average at .25 metre resolution. The original files, the .CAL files in IOS Header format, were found on Humfrey’s DVD labeled DVD028A. The derived channels were removed, the records were binned to .25 metre bins and the channels names were converted to the standard names. Some files were already binned to .5 metre bins and therefore the BINAVG program had no effect on these records.

January 15, 2024

Salinity data were removed from files 1984-073-5139.ctd and 1984-073-5140.ctd.

Salinity data were bad and the conductivity cell was found to be damaged.