| ### DATE | ### DESCRIPTION OF REVISION |
| --- | --- |
| 21-Feb-2011 | Added nutrient data below 250 metres to nutrient cast(s) obtained from John Page in 2002. In 2002 John was under the assumption that all nutrient values below the mixed layer were questionable so he did not include any values greater than 250 metres. In 2006 John found out that this assumption applied only to Silicate data, so he put back the deep values for Nitrate and Phosphate into his database. For more information, including quality control analysis see John Page’s spreadsheet files in directory \\OSD_Data_Archive\Cruise_Data\Documents\Station Papa Data Archiving\. |
| 18-Feb-2011 | Added one profile with Salinity, Tritium, C13 and C14 data, cast 9004. For more information, including quality control analysis see John Page’s spreadsheet and report files in the \DOC directory. |
| 15-May-2010 | Added Loop data from C.S. Wong’s archive. Data sources and further metadata can be found in John Page’s spreadsheet file located in the \DOC directory. |

Processing notes           Jun 23, 1993

Cruise 85-02

Apr 30 - May 16 1985

116 processed files.

casts 1 - 123

This data was collected using the HP 2100 acquisition system.

NOTE

----

The meter average program replaced missing surface records with the

first available records. For example: if the first record in the file

started at 4.0 dbars then the program would create records at 0, 1, 2

and 3 dbars with identical temperature, salinity, conductivity  and

transmissivity values of those at 4 dbars.

1.  Two sets of corrections were applied since one of the CTDs was lost at sea.

Probe 42,750 was lost and 46,750 was used in its place.

Casts  1 - 61.  Hydro corrections were applied.

New_temperature = Old_temp + ( 0.00079*Old_Temp - 0.021278)

New_Salinity    = Old_Sal  + (-0.00429*Old_Temp + 0.033270)

Casts 62 - 123. Lab calibrations were applied only to salinity.

New_Salinity    = Old_Sal  + (-0.002*Old_Temp + 0.0051)

Joe Linguanti

-------------------------------------------------------

oct 31/96 Robin Brown

IOS archive CTD's (116) reconciled with STN P archives (116). 7 HYD

files added from Station P archive, corresponding to HYDRO85M2.DAt.

# Moving files to new archive. June 24, 2002 – Joe Linguanti

- One file containing nutrient data was obtained from John’s files (cast 1) and was merged with hydro cast 33. Two files containing chlorophyll data were obtained from John's files (9000 series).

- Oxygen:Dissolved in umol/kg was added, using program CHGUNITS, to all bottle files with oxygen data.

- Program HEADER EDIT was used to change non-standard channel names and units and Data Description, Scientists name, Project, Platform and Instrument fields.

- Program Clean was used to;

- reset number of records, minimum and maximum values

- delete empty channels where applicable

- set channel name initial letters to uppercase

- Set last 4 characters of file name to event – set cast numbers to be the same as event numbers in file.

- Files .CLN were copied to new archive and renamed to the new file convention “YYYY-CC-NNNN.* “.