| ### DATE | ### DESCRIPTION OF REVISION |
| --- | --- |
| 8-Jan-2014 | Added underway pCO2 data from Sophia Johannessen’s Excel files prepared for The Carbon Dioxide Information Analysis Center (CDIAC). The file is located in the cruise .DOC directory. |
| 15-May-2010 | Added nutrient data below 250 metres to nutrient cast(s) obtained from John Page in 2002. For more information, including quality control analysis see John Page’s spreadsheet files in directory \\OSD_Data_Archive\Cruise_Data\Documents\Station Papa Data Archiving\. |
| 15-May-2010 | Added Loop data from C.S. Wong’s archive. Data sources and further metadata can be found in John Page’s spreadsheet file located in the \DOC directory. |

Processing notes           Jun 24, 1993

Cruise 85-04

Oct 30 - Nov 14 1985

54 processed files.

casts 1 - 70

This data was collected using the IBM AT (program DCTD.BAS) acquisition system.

NOTE

----

The meter average program replaced missing surface records with the

first available records. For example: if the first record in the file

started at 4.0 dbars then the program would create records at 0, 1, 2

and 3 dbars with identical temperature, salinity, conductivity  and

transmissivity values of those at 4 dbars.

1.  Particulars

cast 47 deleted since salinity and temperature were bad.

2.  Hydro corrections were applied.

New_temperature = Old_temp + ( 0.00596*Old_Temp - 0.03553)

New_Salinity    = Old_Sal  + (-0.00208*Old_Temp + 0.00138)

Joe Linguanti

----------------------------------------------------------------------

Oct 31,1996 robin Brown

IOS archive CTD (54) reconciled with STNP archiev CTD (54). 15 HYD

files copied from STN P archive - corresponding to HYDRO85M4.DAT.

---------------------------------------------------------------------

# Moving files to new archive. June 24, 2002 – Joe Linguanti

- One file containing nutrient data was obtained from John’s files (cast 1) and was merged with hydro cast 33.

- Oxygen:Dissolved in umol/kg was added, using program CHGUNITS, to all bottle files with oxygen data.

- Program HEADER EDIT was used to change non-standard channel names and units and Data Description, Scientists name, Project, Platform and Instrument fields.

- Program Clean was used to;

- reset number of records, minimum and maximum values

- delete empty channels where applicable

- set channel name initial letters to uppercase

- Set last 4 characters of file name to event – set cast numbers to be the same as event numbers in file.

- Files .CLN were copied to new archive and renamed to the new file convention “YYYY-CC-NNNN.* “.