| ### DATE | ### DESCRIPTION OF REVISION |
| --- | --- |
| 8-Jan-2014 | Added underway pCO2 data from Sophia Johannessen’s Excel files prepared for The Carbon Dioxide Information Analysis Center (CDIAC). The file is located in the cruise .DOC directory. |
| 21-Feb-2011 | Added nutrient data below 250 metres to nutrient cast(s) obtained from John Page in 2002. In 2002 John was under the assumption that all nutrient values below the mixed layer were questionable so he did not include any values greater than 250 metres. In 2006 John found out that this assumption applied only to Silicate data, so he put back the deep values for Nitrate and Phosphate into his database. For more information, including quality control analysis see John Page’s spreadsheet files in directory \\OSD_Data_Archive\Cruise_Data\Documents\Station Papa Data Archiving\. |
| 15-May-2010 | - Added Loop data from C.S. Wong’s archive. Data sources and further metadata can be found in John Page’s spreadsheet file located in the \DOC directory. John’s file contained additional data from Bernard’s. - Added productivity data from John Page’s spreadsheet to the 2 productivity files. |

Processing notes           Jun 25, 1993

Cruise 86-01

Apr 15 - 26 1986

31 processed files.

casts 1 - 31

This data was collected using the IBM AT (program DCTD.BAS) acquisition system.

NOTE

----

The meter average program replaced missing surface records with the

first available records. For example: if the first record in the file

started at 4.0 dbars then the program would create records at 0, 1, 2

and 3 dbars with identical temperature, salinity, conductivity  and

transmissivity values of those at 4 dbars.

1.  Hydro corrections were applied.

New_temperature = Old_temp + ( 0.007559*Old_Temp - 0.020504)

New_Salinity    = Old_Sal  + (-0.001272*Old_Temp - 0.011866)

Joe Linguanti

----------------------------------------------------------------------

----------------------------------------------------------------------

Nov 8,1996

Reconciled with STNP archive - 7 HYD file (equivalent to

HYDRO98m1.DAT) added from STNP archive.

Robin Brown

----------------------------------------------------------------------

----------------------------------------------------------------------

----------------------------------------------------------------------

# Moving files to new archive. June 26, 2002 – Joe Linguanti

- One file containing nutrient data was obtained from John’s files (cast 3) and was merged with hydro cast 32. Two files containing chlorophyll data were obtained from John's files (9000 series).

- Oxygen:Dissolved in umol/kg was added, using program CHGUNITS, to all bottle files with oxygen data.

- Program HEADER EDIT was used to change non-standard channel names and units and Data Description, Scientists name, Project, Platform and Instrument fields.

- Program Clean was used to;

- reset number of records, minimum and maximum values

- delete empty channels where applicable

- set channel name initial letters to uppercase

- Set last 4 characters of file name to event – set cast numbers to be the same as event numbers in file.

- Files .CLN were copied to new archive and renamed to the new file convention “YYYY-CC-NNNN.* “.

May 25, 2003 – Joe Linguanti

Added loop file to the archive. This file was produced by Bernard Minkley from older text files.