| ### DATE | ### DESCRIPTION OF REVISION |
| --- | --- |
| 21-Feb-2011 | - Added nutrient data below 250 metres to nutrient cast(s) obtained from John Page in 2002. In 2002 John was under the assumption that all nutrient values below the mixed layer were questionable so he did not include any values greater than 250 metres. In 2006 John found out that this assumption applied only to Silicate data, so he put back the deep values for Nitrate and Phosphate into his database. For more information, including quality control analysis see John Page’s spreadsheet files in directory \\OSD_Data_Archive\Cruise_Data\Documents\Station Papa Data Archiving\. |
| 25-May-2003 | Added loop file to the archive. This file was produced by Bernard Minkley from older text files. |

Processing notes           Jun 25, 1993

Cruise 86-03

Oct 15 - 29 1986

52 processed files.

casts 1 - 52

This data was collected using the IBM AT (program DCTD.BAS) acquisition system.

1.  Particulars

Cast 1 - salinity from 0 to 7 dbars replaced with value at 7 dbars

Cast 2 - salinity from 0 to 16 dbars replaced with value at 16 dbars

1.  Hydro corrections were applied.

New_temperature = Old_temp + ( 0.00270*Old_Temp - 0.03057)

New_Salinity    = Old_Sal  + (-0.00104*Old_Temp - 0.00467)

Joe Linguanti

----------------------------------------------------------------------

----------------------------------------------------------------------

Nov 8, 1996 Robin Brown

IOS archive CTDs(52) reconciled with STNP archive CTDs (52). 8 HYD

files added from STNP archive (c.f. HYDRO86M3.dat).

----------------------------------------------------------------------

----------------------------------------------------------------------