| ### DATE | ### DESCRIPTION OF REVISION |
| --- | --- |
| 23 July 2012 | Phosphate was recalibrated by subtracting 0.10 uM. See details below. |
| 25-Feb-2011 | Added Dissolved Inorganic Carbon (DIC) data to bottle casts 1 to 4 from Jim Christian’s DIC file located in the \DOC directory. For more information, including quality control analysis see John Page’s spreadsheet files in directory \\OSD_Data_Archive\Cruise_Data\Documents\Station Papa Data Archiving\Alkalinity and DIC. |
| 16-May-2010 | Added productivity, POC and PON data from John Page’s spreadsheet to the 2 productivity profiles. Further metadata and Data Sources can be found in John Page’s spreadsheet file in directory \\OSD_Data_Archive\Cruise_Data\Documents\John_Pages_Files\. |

Processing notes           Jun 26, 1993

Cruise 87-01

Mar 30 - Apr 5 1987

15 processed files.

casts 1 - 15

This data was collected using the IBM AT (program DCTD.BAS) acquisition system.

1.  Hydro corrections were applied.

New_temperature = Old_temp + ( 0.01500*Old_Temp - 0.02780)

New_Salinity    = Old_Sal  + (-0.00882*Old_Temp - 0.08253)

Joe Linguanti

----------------------------------------------------------

Nov 8,1996 Robin Brown

IOS archive CTDs(15) reconciled with STNP archive CTDs(15). 4 HYD

profiles added from STNP archive (corresponding to HYDRO97m1.DAT).

----------------------------------------------------------------------

July 23, 2012

Frank Whitney recommended this correction to the PO4 data to remove a bias in the Line P time series data caused by an incorrect zero (fresh water was used for the baseline during analyses instead of salt water, thus the baseline was too low by 0.10 uM).

The amount of the correction was determined by observing the offset in the PO4 time-series at Station P.

# Moving files to new archive. July 5, 2002 – Joe Linguanti

- Four hydro files containing nutrient data were obtained from John’s files and merged with the hydro casts from the archive. Two productivity files were obtained from John's files (9000 series).

- Oxygen:Dissolved in umol/kg was added, using program CHGUNITS, to all bottle files with oxygen data.

- Program HEADER EDIT was used to change non-standard channel names and units and Data Description, Scientists name, Project, Platform and Instrument fields.

- Program Clean was used to;

- reset number of records, minimum and maximum values

- delete empty channels where applicable

- set channel name initial letters to uppercase

- Set last 4 characters of file name to event – set cast numbers to be the same as event numbers in file.

- Files .CLN were copied to new archive and renamed to the new file convention “YYYY-CC-NNNN.* “.

May 25, 2003 – Joe Linguanti

Added loop file to the archive. This file was produced by Bernard Minkley from older text files.