Processing notes           Jun 27, 1993

Cruise 87-34

May 27 - Jun 9 1987

This is Ocean Ecology cruise 87-04.

94 processed files.

casts 1 - 115

28 casts were done using the Physics CTD. This data was collected using the

IBM AT (program DCTD.BAS) acquisition system. These files contain only 3

channels of data. 66 cast were collected using the Ocean Ecology CTD and were

processed by OE. The OE files contain 10 channels of data and were converted

Nov 30, 1993.

1.  Hydro corrections were applied only to salinity (only Physics files).

New_sal = old_sal - 0.005

Joe Linguanti

----------------------------------------------------------------------

Nov 12.96  Robin Brown

IOS archive CTD's (94) reconciled with STNP archive (28).  No HYD

files found.  Some original OE files were corrected for salinity

spikes near the surface .

----------------------------------------------------------------------

# July 5, 2002 – Joe Linguanti

- Program HEADER EDIT was used to change non-standard channel names and units and Data Description, Scientists name, Project, Platform and Instrument fields.

- Program Clean was used to;

- reset number of records, minimum and maximum values

- delete empty channels where applicable

- set channel name initial letters to uppercase

- Set last 4 characters of file name to event – set cast numbers to be the same as event numbers in file.

- Files *.CLN were copied to new archive and renamed to the new file convention “YYYY-CC-NNNN.CHE “.

April 6, 2004

Cast 10.CHE - Changed longitude from 146 16.92 to 145 16.92

March 30, 2017 - Joe Linguanti

Renamed fluorometer channel name from "Fluorescence:URU" to "Fluorescence:Calibrated" since the data from the fluorometer (on the CTD) has been converted to Chlorophyll-a using linear regression on observed extracted chl-a.