Processing notes           Jun 27, 1993

Cruise 87-80

May 27 - Jul 4 1987

This is a PBS cruise.

46 processed files.

casts 1 - 46

This data was collected using the IBM AT (program DCTD.BAS) acquisition system.

1.  Hydro corrections were applied only to salinity.

New_Salinity    = Old_Sal  + (-0.000023*Old_press - 0.036)

Joe Linguanti

---------------------------------------------

Nov 12/96 RMB

IOS archive CTD's (46) recociled with STNP archive CTDs(46). No HYD

files found.

----------------------------------------------------------------------

# Moving files to new archive. July 5, 2002 – Joe Linguanti

- Program HEADER EDIT was used to change non-standard channel names and units and Data Description, Scientists name, Project, Platform and Instrument fields.

- Program Clean was used to;

- reset number of records, minimum and maximum values

- delete empty channels where applicable

- set channel name initial letters to uppercase

- Set last 4 characters of file name to event – set cast numbers to be the same as event numbers in file.

- Files .CLN were copied to new archive and renamed to the new file convention “YYYY-CC-NNNN.* “.