Processing notes           Jun 27, 1993

Cruise 87-85

Aug 21 - 29 1987

64 processed files.

casts 1 - 64

This data was collected by PBS using an AML CTD12.

Joe Linguanti

May 9,1995

----------

Noticed that for some files in the channel table there was a blank name. From

the processing notes I found that salinity for these files were bad and that

the channel was to be ignored even though the data was in the file. I removed

the bad salinity channels from these files.

The affected casts were 7,18,24,26,28,35 and 37.

Joe Linguanti

DEc 16,1996 - Robin Brown

ALL the salinities for this cruise were too high, when compared to cruise 8735

(Ocean Ecology - July 1987) and 8714 - Sept 1987.  These data copied to the

dl:[bad.8785] directory and SALINITY removed from Archive versions.

June 14, 2005 – Joe Linguanti

Don Spear from MEDS noticed that casts 4 and 5 were identical so both were removed from archive. See email trail below.

Thanks Don. I think I'll remove them as well.

Joe

-----Original Message-----
From: Don Spear [mailto:Spear@meds-sdmm.dfo-mpo.gc.ca] 
Sent: June 14, 2005 12:27 PM
To: LinguantiJ@pac.dfo-mpo.gc.ca
Subject: RE: 1987-85 CTD

I  think that there is enough ambiguity here for me to remove both of these from MEDS archive. The reason I

propose to remove both is that I am not sure which is correct. I could equally flag both as having suspicious

positions, but that would still leave me with two identical profiles in the archive. The odds against that are

probably worse than winning the lottery…….

I had a good look at the bathymetric charts for the area, but there was no joy for a bottom depth close to

the depth of the profile.

I have to reprocess this data anyway, since our current version still has the salinities that you folks removed

after we first loaded the data.

If you decide to keep these, my only suggestion would be to include a note in the comments section to alert

users to the possiblility that there may be some issues with these 2 stations.

Cheers,

Don

Don Spear

Marine Environmental Data Service

Fisheries and Oceans                      Tel: (613) 990-0240

Stn 12082, 200 Kent St.,                 Fax: (613) 993-4658

Ottawa, Ontario

K1A 0E6               Web: www.meds-sdmm.dfo-mpo.gc.ca

Email  spear@meds-sdmm.dfo-mpo.gc.ca

From: LinguantiJ@pac.dfo-mpo.gc.ca [mailto:LinguantiJ@pac.dfo-mpo.gc.ca] 
Sent: Tuesday, June 14, 2005 2:03 PM
To: Spear@meds-sdmm.dfo-mpo.gc.ca
Subject: RE: 1987-85 CTD

Hi Don

Very suspicious but I can not find any evidence that they aren't 2 different stations. My suspicion is that one of the files was copied over the other, but which one. I'm not sure what to do here. What would you suggest?

Joe

-----Original Message-----
From: Don Spear [mailto:Spear@meds-sdmm.dfo-mpo.gc.ca] 
Sent: June 9, 2005 10:13 AM
To: Joe Linguanti 
Subject: 1987-85 CTD

Hi Joe,

The temperature profiles for stations 4 and 5 appear to be identical, although the

time and position are different. Are these really two different stations?

Cheers,

Don

Don Spear

Marine Environmental Data Service

Fisheries and Oceans                      Tel: (613) 990-0240

Stn 12082, 200 Kent St.,                 Fax: (613) 993-4658

Ottawa, Ontario

K1A 0E6               Web: www.meds-sdmm.dfo-mpo.gc.ca

Email  spear@meds-sdmm.dfo-mpo.gc.ca