| ### DATE | ### DESCRIPTION OF REVISION |
| --- | --- |
| 8-Jan-2014 | Added underway pCO2 data from Sophia Johannessen’s Excel files prepared for The Carbon Dioxide Information Analysis Center (CDIAC). The file is located in the cruise .DOC directory. |
| 10-Jan-2011 | - Added Temperature from C.S. Wong’s archive to Loop data. Data sources and further metadata can be found in John Page’s spreadsheet file located in the \DOC directory. - Added Chlorophyll, POC and PON from John Page’s spreadsheet to the 2 productivity files. Added Chlorophyll and Productivity data to one additional productivity file (9003). - Added DIC data to bottle cast numbers 1, 3, 5 and 6 from John Page’s spreadsheet file.. |

Processing notes           Aug 14, 1993

Cruise 88-02

Jun 28 - Jul 14 1988

90 processed files.

casts 1 - 90

This data was collected using the IBM AT (program DCTD.BAS) acquisition system.

1.  Particulars

- There were alot of pressure spikes around 121, 635 and 1256 dbars.

John  Love thinks that there is an interminent pressure suppersion

step due to a faulty bit in the pressure channel circutory. The

records with the bad pressures were deleted using a text editor.

- Salinity was very noisy through the thermocline.

2.  Hydro corrections were applied.

New_temperature = Old_temp + (-0.991916E-05*Pressure + 0.016136)

New_Salinity    = Old_Sal  + (-0.506296E-05*Pressure - 0.171910)

Joe Linguanti

----------------------------------------------------------------------

Nov 12/96  Robin  Brown

IOS ARCHIVE CTDs (90) recociled with STNP ARCHIVE (90). 12 HYD files

added from STNP archive.

# Moving files to new archive. July 11, 2002 – Joe Linguanti

- Ten hydro files containing nutrient data were obtained from John’s files and merged with the hydro casts from the archive. Two of Johns files were appended to each other has he had the shallow and deep casts in 2 separate files. Two productivity files was obtained from John's files (9000 series).

- Oxygen:Dissolved in umol/kg was added, using program CHGUNITS, to all bottle files with oxygen data.

- Program HEADER EDIT was used to change non-standard channel names and units and Data Description, Scientists name, Project, Platform and Instrument fields.

- Program Clean was used to;

- reset number of records, minimum and maximum values

- delete empty channels where applicable

- set channel name initial letters to uppercase

- Set last 4 characters of file name to event – set cast numbers to be the same as event numbers in file.

- Files .CLN were copied to new archive and renamed to the new file convention “YYYY-CC-NNNN.* “.

May 22, 2003 – Joe Linguanti

- The loop file was obtained from Frank Whitney. The spreadsheet file was converted to IOS Header format with meta-data added to it. The original .XLS file is in the DOC directory.