| ### DATE | ### DESCRIPTION OF REVISION |
| --- | --- |
| 8-Jan-2014 | Added underway pCO2 data from Sophia Johannessen’s Excel files prepared for The Carbon Dioxide Information Analysis Center (CDIAC). The file is located in the cruise .DOC directory. |
| 26-Jan-2012 | - Added 3 productivity casts containing Primary Productivity, Chlorophyll, Nutrients, POC and PON from Frank Whitney’s Productivity files. - Merged DIC data to bottle cast numbers 1, 3 and 5 from Jim Christian’s DIC file located in the \DOC directory. For more information, including quality control analysis see John Page’s spreadsheet files in directory \\OSD_Data_Archive\Cruise_Data\Documents\Station Papa Data Archiving\Alkalinity and DIC. |

Processing notes           Aug 15, 1993

Cruise 89-01

Feb 14 - 26 1989

60 processed files.

casts 1 - 60

This data was collected using the IBM AT (program DCTD.BAS) acquisition system.

1.  Particulars

- Pressure offset of -4.0 dbars was added to all pressures.

2.  Hydro corrections were applied.

New_temperature = Old_temp + ( 0.126607E-04*Pressure + 0.132797E-01)

New_Salinity    = Old_Sal  + (-0.775474E-05*Pressure - 0.218010E-01)

Joe Linguanti

------------------------------------------------------------------------------

Nov 12, 1996 Robin Brown

IOS archive CTD (60) reconciled with STN P CTDs (60). 9 HYD files added from

STNP archive.

# Moving files to new archive. July 11, 2002 – Joe Linguanti

- Six hydro files containing nutrient data were obtained from John’s files and merged with the hydro casts from the archive.

- Oxygen:Dissolved in umol/kg was added, using program CHGUNITS, to all bottle files with oxygen data.

- Program HEADER EDIT was used to change non-standard channel names and units and Data Description, Scientists name, Project, Platform and Instrument fields.

- Program Clean was used to;

- reset number of records, minimum and maximum values

- delete empty channels where applicable

- set channel name initial letters to uppercase

- Set last 4 characters of file name to event – set cast numbers to be the same as event numbers in file.

- Files .CLN were copied to new archive and renamed to the new file convention “YYYY-CC-NNNN.* “.

May 22, 2003 – Joe Linguanti

- The loop file was obtained from Frank Whitney. The spreadsheet file was converted to IOS Header format with meta-data added to it. The original .XLS file is in the DOC directory.

- The SAIL files were copied from the TRACKOBS directory in the OSAP Data Archive.

- Channels not needed were removed.

- Program HEADER EDIT was used to change non-standard channel names and units and add additional metadata to the files.

- IOS Header Date and Time channels were added.

- Program Clean was used to set the start and end times and the geographical area.