| ### DATE | ### DESCRIPTION OF REVISION |
| --- | --- |
| 23-Feb-2012 | - Merged Primary Productivity (PP), POC and PON from Frank Whitney’s Productivity spreadsheet to 4 productivity casts. The PP in units of mgC/m^3/hr already in the 4 productivity casts were replaced with the PP values in units of mgC/m^3/day from Whitney’s spreadsheet file. - Added C13 (cast 8) profile data from C.S. Wong’s archive. Data sources and further metadata can be found in John Page’s spreadsheet file located in the \DOC directory. - Merged DIC data to bottle cast numbers 1, 3, 5-8 and 10 from Jim Christian’s DIC file located in the \DOC directory. For more information, including quality control analysis see John Page’s spreadsheet files in directory \\OSD_Data_Archive\Cruise_Data\Documents\Station Papa Data Archiving\Alkalinity and DIC. |

PSS-78 DIRECTION_RELATIVE:WIND         Processing notes           Aug 15, 1993

Cruise 90-02

Aug 23 - Sep 4 1990

29 processed files.

casts 2 - 34

This data was collected using the HPVECTRA 386 (program CTD) acquisition system.

1.  Particulars

- Pressure offset of -4.0 dbars was added to all pressures.

- Post cruise lab calibrations were applied to temperature and

conductivity for all casts.

tc0 = -0.1871823 ,     tc1 = 0.9962174

cc0 = -0.9189757E-03 , cc1 = 1.000485

- Salinity was extremely noisy in the upper 100 meters. Caution should

be taken when interpreting some of the structures. Salinitit was

edited as best as possible.

- Cast  1 - deleted since it was a test cast.

- Cast 15 - deleted since data was bad. Station was repeated as cast 16.

- Casts 24,27,33, and 35 - calibration casts.

2.  Hydro corrections were applied.

New_temperature = Old_temp + ( 0.175933E-04*Pressure + 0.791139E-03)

New_Salinity    = Old_Sal  + (-0.405178E-06*Pressure - 0.526586E-02)

Joe Linguanti

-----------------------------------------------------------------------------

Nov 12, 1996  Robin Brown

IOS archive CTDs (29) reconciled with  STNP archive (29).  9 HYD files

added from STNP archive - 9 90-02-xxx.HYD files moved to [ctd.hydro]

-----------------------------------------------------------------------------

# Moving files to new archive. July 15, 2002 – Joe Linguanti

- Seven hydro files containing nutrient data were obtained from John’s files and merged with the hydro casts from the archive. Two productivity casts (9000 series) were obtained from John’s files.

- Oxygen:Dissolved in umol/kg was added, using program CHGUNITS, to all bottle files with oxygen data.

- Program HEADER EDIT was used to change non-standard channel names and units and Data Description, Scientists name, Project, Platform and Instrument fields.

- Program Clean was used to;

- reset number of records, minimum and maximum values

- delete empty channels where applicable

- set channel name initial letters to uppercase

- Set last 4 characters of file name to event – set cast numbers to be the same as event numbers in file.

- Files .CLN were copied to new archive and renamed to the new file convention “YYYY-CC-NNNN.* “.

March 29, 2003

Hi Joe

I have sent to osapcommon\hydro the correct data for cruise 1990-02.  The data that John Page had was outdated.  I have added the nutrient data from his files but used my files for depth, temperature and salinity.  I have also included the working files for temperature; they are in directory osapcommon\hydro\1990-02.  Maybe they should be archived.

Bernard

May 22, 2003 – Joe Linguanti

- The loop file was obtained from Frank Whitney. The spreadsheet file was converted to IOS Header format with meta-data added to it. The original .XLS file is in the DOC directory.

- The SAIL files were copied from the TRACKOBS directory in the OSAP Data Archive.

- Channels not needed were removed.

- Program HEADER EDIT was used to change non-standard channel names and units and add additional metadata to the files.

- IOS Header Date and Time channels were added.

- Program Clean was used to set the start and end times and the geographical area.

April 20, 2004

The files Bernard produced on March 29, 2003 had two identical Oxygen:Dissolved channels. When he ran the CHGUNITS program to produce an oxygen channel in umol/kg he managed to somehow make a duplicate of the original oxygen channel in mL/L. I removed the second channel and computed a new oxygen channel in umol/kg.

Bottle cast 7 – changed position to be the same as that in the ship’s log.

Bottle cast 9 – inserted missing location section into header.