| ### DATE | ### DESCRIPTION OF REVISION |
| --- | --- |
| 16-Aug-2017 | Changed suffix of 1991-15-9002.HED bottle file to BOT. Suspect suffix was HED because Header Edit was the last program used on this file and listed in the History section. |
| 2-Feb-2012 | - Added two productivity casts, containing Primary Productivity and Chlorophyll, from Frank Whitney’s Productivity spreadsheet. - Merged DIC data to bottle cast number 14 from Jim Christian’s DIC file located in the \DOC directory. For more information, including quality control analysis see John Page’s spreadsheet files in directory \\OSD_Data_Archive\Cruise_Data\Documents\Station Papa Data Archiving\Alkalinity and DIC.. |

Processing notes           Dec 22, 1992

Cruise 91-15

Oct 22 - 31 1991

56 original files, 41 processed files.

casts 1 - 49

There were 2 CTD probes and 2 acquisition systems used on this cruise due to

problems with both of them. The files collected by the Physics acquisition

system have cast numbers 1 to 31 with the filenames having the extension RAW.

The files collected by the FSRG acquisition system have cast numbers 501 to 549

with the filenames having the extension CNV.

Probe 58,483 was used for casts  5 - 18 , 28 - 31.

Probe 43,571 (ctd5) was used for casts  1 -  3 , 20 - 23 and 501 - 549.

1.  Calibrations  (Program Calibrate)

The following lab calibrations were used.

- For probe 58,483

offset       slope

------       -----

pressure        -3.0          3000.0

temperature      0.01         1.0

conductivity     0.0          1.00015

- For probe 43,571

The data from this probe was acquisitioned using the FSRG acquisition

system. Ron Perkin produced CNV files from the binary files. In producing

the CNV files Ron used the following lab calibrations.

offset        slope

------        -----

pressure         -0.93         1505.91

temperature       0.00653      0.999762

conductivity     -0.00021      1.00004

Ron gave me a new set of bottle calibrations for each cast. I removed the

calibrations, listed above, from the data to get back to the raw data

(files with extension name of UNCAL). Then the new set of calibrations

were applied to the UNCAL files to produce the CAL files.

The following bottle calibrations were applied to each cast.

Pressure        Temperature         Conductivity

Cast  offset    slope   offset    slope     offset    slope

503,  -.93,    1505.91, 0.00653, 0.999762, -0.00021, 1.000229

504,  -.93,    1505.91, 0.00653, 0.999762, -0.00021, 1.000147

516,  -.93,    1505.91, 0.00653, 0.999762, -0.00021, 1.000075

519,  -.93,    1505.91, 0.00653, 0.999762, -0.00021, 1.000057

520,  -.93,    1505.91, 0.00653, 0.999762, -0.00021, 1.000051

523,  -.93,    1505.91, 0.00653, 0.999762, -0.00021, 1.000034

524,  -.93,    1505.91, 0.00653, 0.999762, -0.00021, 1.000028

525,  -.93,    1505.91, 0.00653, 0.999762, -0.00021, 1.000022

526,  -.93,    1505.91, 0.00653, 0.999762, -0.00021, 1.000016

527,  -.93,    1505.91, 0.00653, 0.999762, -0.00021, 1.000010

529,  -.93,    1505.91, 0.00653, 0.999762, -0.00021, 0.999998

530,  -.93,    1505.91, 0.00653, 0.999762, -0.00021, 0.999992

531,  -.93,    1505.91, 0.00653, 0.999762, -0.00021, 0.999986

532,  -.93,    1505.91, 0.00653, 0.999762, -0.00021, 0.999980

533,  -.93,    1505.91, 0.00653, 0.999762, -0.00021, 0.999974

534-549 -.93,    1505.91, 0.00653, 0.999762, -0.00021, 0.999968

2.  Despiking  (Program DELETE3)

The following delete parameters were used.

DESPIKE TABLE

C  FIT    OVER-  MIN     MAX      MIN     MAX     SPIKE

H  WIDTH  LAP    VALUE   VALUE    STDEDV  STDDEV  TOL.

-  -----  -----  ------  -------  ------  ------  -----

P     25      5    0.00  1700.00   0.050  30.000   2.50

T     25      5    2.00    16.00   0.001   3.000   2.50

C     25      5    0.50     1.00   0.001   0.005   2.50

Pressure NOT filtered

Swells NOT deleted

Low Drop Rates NOT deleted

3.  Time compensation  (Program TIMECOMP)

The following input parameters were used:

- For probe 43,571

Use Default Sensor Parameters (Y/N)?    N

Force Temperature Delay (Y/N)?          N

Temp. Probe Dist from Cond. Cell Mouth  0.0 meters

Sample Period                           0.04 sec

- For probe 58,483

Use Default Sensor Parameters (Y/N)?    N

Force Temperature Delay (Y/N)?          N

Temp. Probe Dist from Cond. Cell Mouth  0.07 meters

Sample Period                           0.04 sec

4.  Swell removal  (Program DELETE3)

The following delete parameters were used.

DESPIKE TABLE

C  FIT    OVER-  MIN     MAX      MIN     MAX     SPIKE

H  WIDTH  LAP    VALUE   VALUE    STDEDV  STDDEV  TOL.

-  -----  -----  ------  -------  ------  ------  -----

Pressure NOT filtered

Swells deleted

Low Drop Rates NOT deleted

5.  Editing

Editing was done by Ron Perkins using program CTDEDIT. Most of the casts

required some editing through the thermocline.

6.  Other calibrations.

The casts taken with the physics probe (58,483) were compared to casts

taken with the ctd5. Results showed that the temperatures are in agreement

+-0.005 degrees and the salinities for the physics probe should be

corrected by 0.012.

0.012 was added to all salinities for casts 5,7,8,9,10,11,12,13,14,15

and 17 using program hydro_correction.for .

7.  Particulars

casts 1,2,3,20,21,22,23,29,30,31,501 and 502 were deleted since they were

either test casts or were aborted due to problems.

cast  8 - Salinity was padded with -99.999 from 0 to 65 db due to

questionable values

cast 18 - deleted since salinity suspect. Cast redone using FSRG probe.

cast 28 - deleted since salinity suspect. Cast redone using FSRG probe.

cast 533 was appended to 532 to form one file.

For the 1ma files filenames with a cast number in the 500s were renamed

so that the 5 did not appear in the cast number. This was done so that

the cast number would also represent chronological order. The cast

number was not changed in the header.

8.  NOTE

For the Physics probe mixed layer values appear suspicious in some profiles.

It seems that some unexplained transients appear in the upper 75 meters.

Joe Linguanti

Aug 26, 1995

------------

Added pad value to headers.

Joseph Linguanti

# Moving files to new archive. July 24, 2002 – Joe Linguanti

- Seven hydro files containing temperature, salinity, oxygen and nutrient data were obtained from the OSAP archives. Bernard had merged the nutrient data from Frank Whitney’s data set in 1999.

- Program HEADER EDIT was used to change non-standard channel names and units and Data Description, Scientists name, Project, Platform and Instrument fields.

- Program Clean was used to;

- reset number of records, minimum and maximum values

- delete empty channels where applicable

- set channel name initial letters to uppercase

- Set last 4 characters of file name to event – set cast numbers to be the same as event numbers in file.

- Files .CLN were copied to new archive and renamed to the new file convention “YYYY-CC-NNNN.* “.

May 21, 2003 – Joe Linguanti

- I reprocessed the bottle files as the nutrient data was still in umol/kg even though the units in the files were unol/L . I used the nutrient data from John Page’s files which I compared with Frank Whitney’s spreadsheet file and they were the same. The cast and event numbers were changed to coincide with the corresponding CTD event numbers.

- The loop file was obtained from Frank Whitney. The spreadsheet file was converted to IOS Header format with meta-data added to it. The original .XLS file is in the DOC directory.

April 28, 2004

Cast 0532.CTD - changed longitude from 135 20.89 to 135 40.00