| Summary of 9216 CTD Casts |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Sensors Attached |  |  |  |  |  |  |
| Cast | CTD | Depth | Temp | Cond | Therm | Trans. | Fluor. | O2 | Comments |
| 1 | CTD4 |  | ü | ü | ü | ü |  |  | Bad transmissometer cable connection |
| 3 | 53501 |  | ü | ü |  |  |  |  | Very spiky - not cleaned up in favor of using cast #8 |
| 4 | CTD4 |  | ü | ü | ü | ü |  |  | Bad temp and cond data at top of down cast |
| 8 | 53501 |  | ü | ü |  |  |  |  |  |
| 12 | CTD4 |  | ü | ü | ü | ü |  |  |  |
| 13 | CTD4 |  | ü | ü | ü | ü |  |  | Step in cond at 160 meters and offset on up cast |
| 14 | CTD4 |  | ü | ü | ü | ü |  |  | Cond starts to drift low at 300 meters. Large offset in up cast |
| 15 | CTD4 |  | ü | ü | ü | ü |  |  |  |
| 17 | 1030 |  | ü | ü |  | ü | ü |  | Large hysteresis in transmissometer on up cast |
| 18 | FSI |  | ü | ü |  |  |  |  | Not processed yet |
| 19 | FSI |  | ü | ü |  |  |  |  | " |
| 20 | FSI |  | ü | ü |  |  |  |  | " |
| 21 | 1031 |  | ü | ü |  |  |  | ü | Large hysteresis in O2 on up cast |
| 22 | 1031 |  | ü | ü |  | ü | ü | ü | Large hysteresis in O2 on up cast |