| Manufact-urer | S/N | External Sensors | Max Pressure (dBar) |
| --- | --- | --- | --- |
| Guildline | CTD5 | ----------------------> | 1500 |
|  |  | 2xThermistors, | 1500 |
| Guildline | 53501 | ----------------------> | 6000 |
|  |  | none |  |
| FSI | 1329 | ----------------------> |  |
|  |  | Transmissometer | 2000 |
|  |  | Fluorometer | 3000 |
|  |  | PAR | 200 |
| Sea-Bird | 1031 | ----------------------> | 600 |
|  |  | Transmissometer | 2000 |
|  |  | O2 Probe | 2000 |

Table 2 - CTD Configurations

|  | Guildline S/N CTD5 |  | Guildline S/N 53501 |  |
| --- | --- | --- | --- | --- |
| Parameter | A | B | A | B |
| Temperature |  | .35714e-5 | -.135e-1 | .119885e-4 |
| Conductivity | .9e-4 | .1e-6 | -.8e-4 | .1e-6 |

Table 3 - Guildline Temperature and Conductivity Correction Coefficients

| CTD Type | S/N | Pressure (dBar) | Temperature (C) | Salinity (PSU) |
| --- | --- | --- | --- | --- |
| FSI | 1329 | 1.0 | 0.002 | 0.002 |
| Guildline | CTD5 | 1.0 | 0.005 | 0.006 |
| Guildline | 53501 | 1.0 | 0.010 | 0.006 |
| Sea-Bird | 1031 | 1.0 | 0.010 | 0.020 |

Table 4 - List of Accepted Uncertainties in CTD Pressure, Temperature, and Salinity Data.

|  | Mean | Standard Dev. | Count |
| --- | --- | --- | --- |
| FSI CTD - Bottle Salinity (PSU) | 0.0000 | .0023 | 63 |

Table 5 - FSI CTD Salinity - Bottle Salinity Statistics

| Station | Date & Time | FSI Cast Number | CTD5 Cast Number |
| --- | --- | --- | --- |
| TA | Sept 11 15:20 | 24 | 25 |
| TA | Sept 11 16:54 | 28 | 29 |
| TC | Sept 13 15:21 | 52 | 53 |
| TC | Sept 13 20:18 | 56 | 57 |
| E01 | Sept 17 20:06 | 75 | 76 |
| E01 | Sept 17 21:56 | 77 | 78 |

Table 6 - Casts Used in FSI vs. Guildline CTD5 Intercomparision

| Station | Date & Time | FSI Cast Number | 53501 Cast Number |
| --- | --- | --- | --- |
| D01 | Sept 14 04:10 | 65 | 66 |
| E01 | Sept 17 02:03 | 71 | 72 |

Table 7 - Casts Used in FSI vs. Guildline 535015 Intercomparision

| Station | Date & Time | CTD5 Cast Number | 1031 Cast Number |
| --- | --- | --- | --- |
| F03 | Sept 22 01:36 | 88 | 89 |

Table 8 - Casts Used in Guildline CTD5 vs. Seabird 1031 Intercomparision

| Quantity | Abbreviation | Units | Notes |
| --- | --- | --- | --- |
| Pressure | Pres | DBAR |  |
| Temperature | Temp | Deg C |  |
| Potential Temperature | Theta | Deg C |  |
| Salinity | Sal | PSS-78 |  |
| Depth | Dept | meters |  |
| Potential Density | Gam-th | kg/m3 |  |
| Geopotential Anomaly | GPA | J/Kg |  |
| % Transmissivity | % Tr | %/meter | Units used for all FSI Transmissometer Data |
| % Transmissivity | %/5cm | %/5cm | Units used for all Sea-Bird Transmissometer Data |
| Chlorophyl | Chl | mg/m3 | Chlorophly has been measured using a Fluorometer and calculated using nominal coefficients. |
| Photosynthetically Active Radiation | PAR | mE/Sm2 |  |

Units and Abbreviations used in APPENDIX Data Tables

| Sta- | Cst |  |  |  | Lat |  |  | Long |  | Bot | Cast | CTD |  | Ros | Tra | Fluo |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| tion | # | Date | Time | Deg | Min |  | Deg | Min |  | Depth | Depth | Type | S/N | ett? | ns | ro | PAR | O2 | Comments |
| CS01 | 1 | 24-Aug-93 | 19:30 | 70 | 17.531 | N | 133 | 37.181 | W | 55 | 54 | SeaBird | 1031 | N |  |  |  |  |  |
| CM01 | 2 | 25-Aug-93 | 18:06 | 70 | 14.800 | N | 136 | 58.900 | W | 53 | 53 | SeaBird | 1031 | N |  |  |  |  | Hit the bottom |
| CM02 | 3 | 26-Aug-93 | 02:40 | 69 | 30.076 | N | 138 | 04.831 | W | 83 | 81 | SeaBird | 1031 | N |  |  |  |  |  |
| AM01 | 4 | 27-Aug-93 | 03:56 | 70 | 23.758 | N | 139 | 52.332 | W | 532 | 500 | FSI | 1329 | Y | Y | Y |  |  |  |
| AM10 | 5 | 28-Aug-93 | 02:43 | 70 | 28.445 | N | 136 | 54.231 | W | 657 | 545 | FSI | 1329 | Y | Y | Y |  |  |  |
| FM01 | 6 | 28-Aug-93 | 14:39 | 71 | 23.352 | N | 139 | 54.320 | W | 2500 | 1699 | FSI | 1329 | Y | Y | Y |  |  |  |
| A01 | 7 | 29-Aug-93 | 15:18 | 72 | 32.055 | N | 143 | 53.901 | W | 3300 | 182 | FSI | 1329 | Y | Y | Y | Y |  |  |
| A01 | 8 | 30-Aug-93 | 15:21 | 72 | 32.644 | N | 143 | 49.282 | W | 3300 | 1601 | FSI | 1329 | Y | Y | Y |  |  |  |
| A01 | 9 | 31-Aug-93 | 15:33 | 72 | 32.708 | N | 143 | 50.509 | W | 3300 | 3361 | FSI | 1329 | Y |  |  |  |  |  |
| A01 | 10 | 2-Sep-93 | 14:32 | 72 | 33.667 | N | 143 | 48.279 | W | 3300 | 557 | FSI | 1329 | Y | Y | Y |  |  |  |
| A01 | 11 | 2-Sep-93 | 23:11 | 72 | 32.890 | N | 143 | 51.050 | W | 3300 | 27 | Guild | 53501 | Y |  |  |  |  |  |
| B01 | 14 | 7-Sep-93 | 15:33 | 72 | 25.928 | N | 152 | 19.606 | W | 3200 | 3361 | FSI | 1329 | Y |  |  |  |  |  |
| B01 | 15 | 8-Sep-93 | 21:47 | 72 | 34.067 | N | 152 | 21.523 | W | 3300 | 3486 | FSI | 1329 | Y |  |  |  |  |  |
| B01 | 16 | 9-Sep-93 | 15:16 | 72 | 32.224 | N | 152 | 27.096 | W | 3300 | 178 | FSI | 1329 | Y | Y | Y | Y |  |  |
| BC01 | 17 | 9-Sep-93 | 18:41 | 71 | 23.096 | N | 156 | 53.305 | W | 78 | 80 | Seabird | 1031 | N | Y |  |  | Y |  |
| BC02 | 18 | 9-Sep-93 | 20:15 | 71 | 24.434 | N | 156 | 51.342 | W | 92 | 93 | Seabird | 1031 | N | Y |  |  | Y |  |
| BC03 | 19 | 9-Sep-93 | 21:12 | 71 | 27.567 | N | 156 | 55.045 | W | 136 | 137 | Seabird | 1031 | N | Y |  |  | Y |  |
| BC04 | 20 | 9-Sep-93 | 22:03 | 71 | 30.075 | N | 156 | 59.404 | W | 137 | 140 | Seabird | 1031 | N | Y |  |  | Y |  |
| BC05 | 21 | 9-Sep-93 | 22:52 | 71 | 32.797 | N | 157 | 03.764 | W | 108 | 113 | Seabird | 1031 | N | Y |  |  | Y |  |
| BC06 | 22 | 9-Sep-93 | 23:39 | 71 | 35.400 | N | 157 | 08.232 | W | 77 | 83 | Seabird | 1031 | N | Y |  |  | Y |  |
| BC07 | 23 | 10-Sep-93 | 00:24 | 71 | 38.343 | N | 157 | 12.677 | W | 72 | 68 | Seabird | 1031 | N | Y |  |  | Y |  |
| TA | 24 | 11-Sep-93 | 15:20 | 75 | 00.054 | N | 172 | 59.900 | W | 347 | 343 | FSI | 1329 | Y | Y | Y |  |  |  |
| TA | 25 | 11-Sep-93 | 15:20 | 75 | 00.054 | N | 172 | 59.900 | W | 347 | 344 | Guild | #5 | Y |  |  |  |  | Done Together with 24 |
| TA | 28 | 11-Sep-93 | 16:54 | 75 | 01.602 | N | 173 | 01.482 | W | 347 | 206 | FSI | 1329 | Y | Y | Y | Y |  |  |
| TA | 29 | 11-Sep-93 | 16:54 | 75 | 01.602 | N | 173 | 01.482 | W | 347 | 206 | Guild | #5 | Y |  |  |  |  | Done together with 28 |
| TA | 32 | 11-Sep-93 | 16:16 | 75 | 00.933 | N | 173 | 00.465 | W | 347 | 342 | Seabird | 1031 | N | Y |  |  | Y |  |
| T1 | 33 | 11-Sep-93 | 19:28 | 75 | 00.041 | N | 173 | 15.435 | W | 333 | 334 | Seabird | 1031 | N | Y |  |  | Y |  |

Table 1 - 9324 CTD Cast Details

| Sta- | Cst |  |  |  | Lat |  |  | Long |  | Bot | Cast | CTD |  | Ros | Tra | Fluo |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| tion | # | Date | Time | Deg | Min |  | Deg | Min |  | Depth | Depth | Type | S/N | ett? | ns | ro | PAR | O2 | Comments |
| T2 | 34 | 11-Sep-93 | 21:30 | 75 | 01.072 | N | 173 | 32.878 | W | 320 | 321 | Seabird | 1031 | N | Y |  |  | Y |  |
| T3 | 35 | 11-Sep-93 | 22:48 | 75 | 00.060 | N | 173 | 45.159 | W | 310 | 306 | Seabird | 1031 | N | Y |  |  | Y |  |
| T4 | 36 | 12-Sep-93 | 00:07 | 75 | 00.321 | N | 173 | 56.686 | W | 298 | 296 | Seabird | 1031 | N | Y |  |  | Y |  |
| T5 | 37 | 12-Sep-93 | 01:30 | 75 | 00.622 | N | 174 | 14.847 | W | 298 | 289 | Seabird | 1031 | N | Y |  |  | Y |  |
| T6 | 38 | 12-Sep-93 | 02:30 | 75 | 00.467 | N | 174 | 29.343 | W | 287 | 283 | Seabird | 1031 | N | Y |  |  | Y |  |
| T7 | 39 | 12-Sep-93 | 04:04 | 74 | 59.800 | N | 174 | 45.133 | W | 272 | 277 | Seabird | 1031 | N | Y |  |  | Y |  |
| TB | 40 | 12-Sep-93 | 05:00 | 74 | 59.944 | N | 175 | 00.288 | W | 266 | 260 | Seabird | 1031 | N | Y |  |  | Y |  |
| TB | 41 | 12-Sep-93 | 16:07 | 74 | 59.810 | N | 174 | 59.412 | W | 264 | 265 | Seabird | 1031 | N | Y |  |  | Y |  |
| T8 | 42 | 12-Sep-93 | 18:02 | 75 | 04.189 | N | 174 | 49.651 | W | 282 | 285 | Seabird | 1031 | N | Y |  |  | Y |  |
| T9 | 43 | 12-Sep-93 | 19:11 | 75 | 08.117 | N | 174 | 35.566 | W | 310 | 314 | Seabird | 1031 | N | Y |  |  | Y |  |
| T10 | 44 | 12-Sep-93 | 20:27 | 75 | 12.293 | N | 174 | 23.705 | W | 349 | 345 | Seabird | 1031 | N | Y |  |  | Y |  |
| T11 | 45 | 12-Sep-93 | 21:19 | 75 | 16.021 | N | 174 | 12.036 | W | 427 | 415 | Seabird | 1031 | N | Y |  |  | Y |  |
| TC | 46 | 12-Sep-93 | 22:30 | 75 | 19.536 | N | 174 | 01.362 | W | 643 | 656 | Seabird | 1031 | N | Y |  |  | Y |  |
| T12 | 47 | 12-Sep-93 | 23:10 | 75 | 15.972 | N | 173 | 48.214 | W | 427 | 423 | Seabird | 1031 | N | Y |  |  | Y |  |
| T13 | 48 | 13-Sep-93 | 00:07 | 75 | 12.131 | N | 173 | 35.408 | W | 385 | 375 | Seabird | 1031 | N | Y |  |  | Y |  |
| T14 | 49 | 13-Sep-93 | 01:00 | 75 | 08.150 | N | 173 | 24.960 | W | 366 | 353 | Seabird | 1031 | N | Y |  |  | Y |  |
| T15 | 50 | 13-Sep-93 | 01:34 | 75 | 04.007 | N | 173 | 12.100 | W | 356 | 345 | Seabird | 1031 | N | Y |  |  | Y |  |
| TA | 51 | 13-Sep-93 | 02:30 | 75 | 00.028 | N | 173 | 00.476 | W | 347 | 331 | Seabird | 1031 | N | Y |  |  | Y |  |
| TC | 52 | 13-Sep-93 | 15:21 | 75 | 19.405 | N | 174 | 00.065 | W | 650 | 642 | FSI | 1329 | Y | Y | Y |  |  |  |
| TC | 53 | 13-Sep-93 | 15:21 | 75 | 19.405 | N | 174 | 00.065 | W | 650 | 644 | Guild | #5 | Y |  |  |  |  | Done together with 52 |
| TC | 56 | 13-Sep-93 | 20:18 | 75 | 19.795 | N | 173 | 55.217 | W | 650 | 506 | FSI | 1329 | Y | Y | Y |  |  |  |
| TC | 57 | 13-Sep-93 | 20:18 | 75 | 19.795 | N | 173 | 55.217 | W | 650 | 506 | Guild | #5 | Y |  |  |  |  | Done together with 55 |
| TC2 | 60 | 14-Sep-93 | 01:06 | 75 | 30.307 | N | 174 | 01.706 | W | 1350 | 1330 | Guild | #5 | N |  |  |  |  |  |
| TC3 | 63 | 14-Sep-93 | 04:10 | 75 | 45.080 | N | 173 | 59.610 | W | 1880 | 1830 | Guild | 53501 | N |  |  |  |  |  |
| TC4 | 64 | 14-Sep-93 | 04:10 | 75 | 54.770 | N | 174 | 02.080 | W | 2100 | 2080 | Guild | 53501 | N |  |  |  |  |  |
| D01 | 65 | 14-Sep-93 | 18:26 | 76 | 30.279 | N | 173 | 55.298 | W | 2187 | 2186 | FSI | 1329 | Y |  | Y |  |  |  |
| D01 | 66 | 14-Sep-93 | 18:26 | 76 | 30.279 | N | 173 | 55.298 | W | 2187 | 2185 | Guild | 53501 | Y |  |  |  |  | Done together with 65 |

Table 1 (con’t) - 9324 CTD Cast Details

| Sta- | Cst |  |  |  | Lat |  |  | Long |  | Bot | Cast | CTD |  | Ros | Tra | Fluo |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| tion | # | Date | Time | Deg | Min |  | Deg | Min |  | Depth | Depth | Type | S/N | ett? | ns | ro | PAR | O2 | Comments |
| D01 | 67 | 15-Sep-93 | 02:27 | 76 | 35.283 | N | 174 | 02.933 | W | 2187 | 500 | FSI | 1329 | Y | Y | Y |  |  |  |
| D02 | 68 | 15-Sep-93 | 16:33 | 77 | 04.470 | N | 177 | 04.180 | W | 1380 | 603 | Guild | 53501 | N |  |  |  |  |  |
| D02 | 69 | 15-Sep-93 | 17:28 | 77 | 04.180 | N | 177 | 04.080 | W | 1380 | 1370 | Guild | 53501 | N |  |  |  |  |  |
| D03 | 70 | 16-Sep-93 | 00:25 | 77 | 26.930 | N | 178 | 31.440 | W | 1620 | 1590 | Guild | 53501 | N |  |  |  |  |  |
| E01 | 71 | 17-Sep-93 | 02:03 | 78 | 46.713 | N | 175 | 50.174 | E | 2067 | 2054 | FSI | 1329 | Y |  | Y |  |  |  |
| E01 | 72 | 17-Sep-93 | 02:03 | 78 | 46.713 | N | 175 | 50.174 | E | 2067 | 2054 | Guild | 53501 | Y |  |  |  |  | Done together with 71 |
| E01 | 73 | 17-Sep-93 | 04:19 | 78 | 46.654 | N | 175 | 52.870 | E | 2067 | 500 | FSI | 1329 | Y | Y | Y |  |  |  |
| E01 | 74 | 17-Sep-93 | 16:19 | 78 | 46.916 | N | 176 | 02.990 | E | 2067 | 200 | FSI | 1329 | Y | Y | Y |  |  |  |
| E01 | 75 | 17-Sep-93 | 20:06 | 78 | 47.018 | N | 176 | 05.846 | E | 2067 | 1500 | FSI | 1329 | Y | Y | Y |  |  |  |
| E01 | 76 | 17-Sep-93 | 20:06 | 78 | 47.018 | N | 176 | 05.846 | E | 2067 | 1500 | Guild | #5 | Y |  |  |  |  | Done together with 75 |
| E01 | 77 | 17-Sep-93 | 21:56 | 78 | 47.097 | N | 176 | 05.915 | E | 2067 | 1000 | FSI | 1329 | Y | Y | Y |  |  |  |
| E01 | 78 | 17-Sep-93 | 21:56 | 78 | 47.097 | N | 176 | 05.915 | E | 2067 | 1000 | Guild | #5 | Y |  |  |  |  | Done together with 77 |
| E01 | 79 | 18-Sep-93 | 03:35 | 78 | 47.917 | N | 176 | 05.916 | E | 2067 | 400 | FSI | 1329 | Y | Y | Y |  |  |  |
| E01 | 80 | 18-Sep-93 | 16:05 | 78 | 47.051 | N | 176 | 01.620 | E | 2067 | 100 | FSI | 1329 | Y | Y | Y |  |  |  |
| E01 | 81 | 18-Sep-93 | 17:06 | 78 | 46.834 | N | 176 | 00.815 | E | 2055 | 2030 | FSI | 1329 | Y | Y | Y |  |  |  |
| E02 | 82 | 19-Sep-93 | 01:54 | 77 | 57.443 | N | 175 | 51.820 | E | 1560 | 1540 | Guild | 53501 | N |  |  |  |  |  |
| E03 | 83 | 19-Sep-93 | 07:10 | 77 | 30.944 | N | 175 | 00.304 | E | 1220 | 1205 | Guild | #5 | N |  |  |  |  |  |
| E04 | 84 | 19-Sep-93 | 14:57 | 76 | 57.526 | N | 174 | 08.800 | E | 870 | 852 | FSI | 1329 | Y | Y | Y |  |  |  |
| E05 | 85 | 19-Sep-93 | 21:15 | 76 | 39.381 | N | 173 | 37.965 | E | 406 | 400 | Guild | #5 | N |  |  |  |  |  |
| F01 | 86 | 21-Sep-93 | 16:26 | 74 | 49.880 | N | 172 | 59.610 | W | 310 | 300 | Guild | #5 | N |  |  |  |  |  |
| F02 | 87 | 21-Sep-93 | 19:09 | 74 | 30.072 | N | 170 | 59.580 | W | 215 | 200 | Guild | #5 | N |  |  |  |  |  |
| F03 | 88 | 22-Sep-93 | 01:36 | 73 | 59.978 | N | 168 | 59.699 | W | 178 | 165 | Guild | #5 | N |  |  |  |  |  |
| F03 | 89 | 22-Sep-93 | 01:36 | 73 | 59.978 | N | 168 | 59.699 | W | 178 | 170 | SeaBird | 1031 | N | Y |  |  | Y | Done together with 88 |
| F05 | 90 | 22-Sep-93 | 05:23 | 73 | 50.000 | N | 167 | 59.500 | W | 170 | 165 | SeaBird | 1031 | N | Y |  |  | Y |  |
| F06 | 91 | 22-Sep-93 | 06:44 | 73 | 44.663 | N | 167 | 30.904 | W | 159 | 150 | SeaBird | 1031 | N | Y |  |  | Y |  |
| F08 | 92 | 22-Sep-93 | 08:02 | 73 | 34.868 | N | 166 | 29.900 | W | 103 | 97 | SeaBird | 1031 | N | Y |  |  | Y |  |
| F09 | 93 | 22-Sep-93 | 17:42 | 73 | 29.978 | N | 165 | 59.453 | W | 91 | 89 | FSI | 1329 | Y | Y | Y |  |  |  |

Table 1 (con’t) - 9324 CTD Cast Details

| Sta- | Cst |  |  |  | Lat |  |  | Long |  | Bot | Cast | CTD |  | Ros | Tra | Fluo |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| tion | # | Date | Time | Deg | Min |  | Deg | Min |  | Depth | Depth | Type | S/N | ett? | ns | ro | PAR | O2 | Comments |
| F09 | 94 | 22-Sep-93 | 18:32 | 73 | 29.590 | N | 166 | 01.898 | W | 89 | 86 | FSI | 1329 | Y | Y | Y | Y |  |  |
| F09 | 95 | 22-Sep-93 | 21:37 | 73 | 28.040 | N | 166 | 11.512 | W | 89 | 50 | FSI | 1329 | Y | Y | Y | Y |  |  |
| F10 | 96 | 23-Sep-93 | 03:03 | 73 | 41.768 | N | 165 | 33.585 | W | 130 | 123 | SeaBird | 1031 | N | Y |  |  | Y |  |
| F11 | 97 | 23-Sep-93 | 05:01 | 73 | 51.435 | N | 165 | 07.577 | W | 160 | 159 | SeaBird | 1031 | N | Y |  |  | Y |  |
| F12 | 98 | 23-Sep-93 | 07:01 | 74 | 00.800 | N | 164 | 43.377 | W | 208 | 208 | SeaBird | 1031 | N | Y |  |  | Y |  |
| C01 | 99 | 23-Sep-93 | 16:24 | 75 | 00.010 | N | 162 | 00.540 | W | 1965 | 1971 | FSI | 1329 | Y | Y | Y |  |  |  |
| C01 | 100 | 23-Sep-93 | 21:40 | 74 | 59.496 | N | 162 | 04.525 | W | 1965 | 204 | FSI | 1329 | Y | Y | Y | Y |  |  |
| OH01 | 101 | 24-Sep-93 | 19:58 | 71 | 54.452 | N | 155 | 56.758 | W | 87 | 87 | SeaBird | 1031 | N |  |  |  | Y |  |
| OH02 | 102 | 24-Sep-93 | 21:02 | 71 | 50.857 | N | 155 | 44.655 | W | 105 | 105 | SeaBird | 1031 | N |  |  |  | Y |  |
| OH03 | 103 | 24-Sep-93 | 21:41 | 71 | 49.003 | N | 155 | 37.935 | W | 111 | 111 | SeaBird | 1031 | N |  |  |  | Y |  |
| OH04 | 104 | 24-Sep-93 | 22:19 | 71 | 47.016 | N | 155 | 31.140 | W | 130 | 130 | SeaBird | 1031 | N |  |  |  | Y |  |
| OH05 | 105 | 24-Sep-93 | 23:01 | 71 | 44.589 | N | 155 | 23.927 | W | 162 | 162 | SeaBird | 1031 | N |  |  |  | Y |  |
| OH06 | 106 | 24-Sep-93 | 23:41 | 71 | 42.609 | N | 155 | 17.084 | W | 281 | 281 | SeaBird | 1031 | N |  |  |  | Y |  |
| OH07 | 107 | 25-Sep-93 | 00:29 | 71 | 40.417 | N | 155 | 10.463 | W | 162 | 162 | SeaBird | 1031 | N |  |  |  | Y |  |
| OH08 | 108 | 25-Sep-93 | 01:08 | 71 | 37.970 | N | 155 | 03.855 | W | 70 | 70 | SeaBird | 1031 | N |  |  |  | Y |  |
| OD01 | 109 | 25-Sep-93 | 01:49 | 71 | 35.937 | N | 154 | 54.680 | W | 40 | 40 | SeaBird | 1031 | N |  |  |  | Y |  |
| OE01 | 110 | 25-Sep-93 | 03:24 | 71 | 34.003 | N | 155 | 24.927 | W | 67 | 67 | SeaBird | 1031 | N |  |  |  | Y |  |
| OF01 | 111 | 25-Sep-93 | 05:11 | 71 | 38.995 | N | 155 | 57.070 | W | 142 | 142 | SeaBird | 1031 | N |  |  |  | Y |  |
| OG01 | 112 | 25-Sep-93 | 06:23 | 71 | 45.066 | N | 156 | 05.151 | W | 94 | 94 | SeaBird | 1031 | N |  |  |  | Y |  |
| OA01 | 113 | 25-Sep-93 | 08:57 | 71 | 56.911 | N | 155 | 25.311 | W | 189 | 189 | SeaBird | 1031 | N |  |  |  | Y |  |
| OB01 | 114 | 25-Sep-93 | 10:42 | 71 | 52.909 | N | 154 | 54.618 | W | 369 | 369 | SeaBird | 1031 | N |  |  |  | Y |  |
| OC01 | 115 | 25-Sep-93 | 12:22 | 71 | 44.843 | N | 154 | 45.040 | W | 130 | 130 | SeaBird | 1031 | N |  |  |  | Y |  |

Table 1 (con’t) - 9324 CTD Cast Details