## Chart1
Salinity correction = .027

## Chart7
At Station MP12, Casts 24,25, and 26 were done.
CTD6 and CTD 58483 were used in approaching MP12
Therefore, the correction for 58483 is .03 and for CTD6 is -.024 @1.8C.
CTD 6
casts 18,21
CTD 58483
casts22,23
WOCE CTD
cast 24

## Chart6
CTD 6
WOCE CTD
Cast 24
Casts 17,18,21
WOCE CTD
Cast 16

## Sheet1
Cast # | Trigger # | Confirm# | # avg.'d | Bottle # | Pressure | Temp.(pre) | R(pre) | S(pre) | Average | T(post) | S, Portasal | Sp - S(pre) | Rpost | Rpost / Rpre
1 | 11 | 11 | 2 | 11 | 0.39 | 15.4925 | 0.83483 | 28.2672 | Average | 15.4975 | 28.334 | 0.0668 | #NAME? | #NAME?
1 | 10 | 10 | 72 | 10 | 8.39 | 12.1267 | 0.78021 | 28.6223 | Average | 12.1317 | 28.857 | 0.2347 | #NAME? | #NAME?
1 | 9 | 9 | 24 | 9 | 20.13 | 10.2864 | 0.76288 | 29.3427 | Average | 10.2914 | 29.349 | 0.0063 | #NAME? | #NAME?
1 | 8 | 8 | 83 | 8 | 30.58 | 9.2233 | 0.74669 | 29.5078 | Average | 9.2283 | 29.491 | -0.0168 | #NAME? | #NAME?
1 | 7 | 7 | 244 | 7 | 50.22 | 8.3469 | 0.73376 | 29.6588 | Average | 8.3519 | 29.658 | -0.0008 | #NAME? | #NAME?
1 | 6 | 6 | 57 | 6 | 75.76 | 8.4766 | 0.75122 | 30.3178 | Average | 8.4816 | 30.347 | 0.0292 | #NAME? | #NAME?
1 | 5 | 5 | 185 | 5 | 100.72 | 8.8283 | 0.76685 | 30.7004 | Average | 8.8333 | 30.726 | 0.0256 | #NAME? | #NAME?
1 | 4 | 4 | 37 | 4 | 125.41 | 9.2667 | 0.7839 | 31.0627 | Average | 9.2717 | 31.068 | 0.0053 | #NAME? | #NAME?
1 | 3 | 3 | 196 | 3 | 151.43 | 9.425 | 0.79026 | 31.1934 | Average | 9.43 | 31.185 | -0.0084 | #NAME? | #NAME?
1 | 2 | 2 | 243 | 2 | 151.47 | 9.4241 | 0.79027 | 31.1945 | Average | 9.4291 | 31.183 | -0.0115 | #NAME? | #NAME?
1 | 1 | 1 | 244 | 1 | 162.44 | 9.4454 | 0.79126 | 31.2145 | Average | 9.4504 | 31.198 | -0.0165 | #NAME? | #NAME?
2 | 13 | 13 | 30 | 24 | -0.1 | 14.7494 | 0.80276 | 27.5839 | Average | 14.7544 | 28.848 | 1.2641 | #NAME? | #NAME?
2 | 12 | 12 | 14 | 23 | 9.75 | 11.6441 | 0.77175 | 28.6467 | Average | 11.6491 | 29.298 | 0.6513 | #NAME? | #NAME?
2 | 11 | 11 | 191 | 22 | 20.1 | 10.0922 | 0.75721 | 29.2579 | Average | 10.0972 | 29.501 | 0.2431 | #NAME? | #NAME?
2 | 10 | 10 | 73 | 21 | 29.93 | 9.3188 | 0.74817 | 29.4942 | Average | 9.3238 | 29.646 | 0.1518 | #NAME? | #NAME?
2 | 9 | 9 | 233 | 20 | 50.2 | 8.3158 | 0.73296 | 29.6492 | Average | 8.3208 | 29.652 | 0.0028 | #NAME? | #NAME?
2 | 8 | 8 | 243 | 19 | 50.19 | 8.3031 | 0.73274 | 29.65 | Average | 8.3081 | 30.247 | 0.597 | #NAME? | #NAME?
2 | 7 | 7 | 61 | 18 | 75.09 | 8.3959 | 0.74772 | 30.2309 | Average | 8.4009 | 30.677 | 0.4461 | #NAME? | #NAME?
2 | 6 | 6 | 147 | 17 | 100.95 | 8.7415 | 0.76509 | 30.6972 | Average | 8.7465 | 30.863 | 0.1658 | #NAME? | #NAME?
2 | 5 | 5 | 4 | 16 | 111.18 | 8.9818 | 0.77329 | 30.8481 | Average | 8.9868 | 31.174 | 0.3259 | #NAME? | #NAME?
2 | 4 | 4 | 99 | 15 | 149.63 | 9.426 | 0.7901 | 31.1864 | Average | 9.431 | 31.205 | 0.0186 | #NAME? | #NAME?
2 | 3 | 3 | 224 | 14 | 176.87 | 9.4591 | 0.79173 | 31.2173 | Average | 9.4641 | 31.215 | -0.0023 | #NAME? | #NAME?
2 | 2 | 2 | 13 | 13 | 200.06 | 9.4673 | 0.72554 | 28.3246 | Average | 9.4723 | 31.22 | 2.8954 | #NAME? | #NAME?
2 | 1 | 1 | 81 | 12 | 210.32 | 9.473 | 0.72074 | 28.1095 | Average | 9.478 | 27.647 | -0.4625 | #NAME? | #NAME?
3 | 11 | 11 | 6 | 35 | -0.14 | 11.6058 | 0.74269 | 27.4878 | Average | 11.6108 | 28.145 | 0.6572 | #NAME? | #NAME?
3 | 10 | 10 | 5 | 34 | 9.85 | 10.9702 | 0.74517 | 28.0642 | Average | 10.9752 | 28.21 | 0.1458 | #NAME? | #NAME?
3 | 9 | 9 | 20 | 33 | 9.86 | 10.9536 | 0.74431 | 28.0409 | Average | 10.9586 | 29.291 | 1.2501 | #NAME? | #NAME?
3 | 8 | 8 | 244 | 32 | 19.96 | 9.9196 | 0.75383 | 29.2522 | Average | 9.9246 | 29.481 | 0.2288 | #NAME? | #NAME?
3 | 7 | 7 | 193 | 31 | 30.04 | 9.3572 | 0.74829 | 29.4677 | Average | 9.3622 | 29.687 | 0.2193 | #NAME? | #NAME?
3 | 6 | 6 | 154 | 30 | 49.99 | 8.4723 | 0.73615 | 29.6603 | Average | 8.4773 | 30.325 | 0.6647 | #NAME? | #NAME?
3 | 5 | 5 | 232 | 29 | 74.94 | 8.6466 | 0.75458 | 30.3224 | Average | 8.6516 | 30.747 | 0.4246 | #NAME? | #NAME?
3 | 4 | 4 | 227 | 28 | 100.34 | 8.7297 | 0.76591 | 30.7442 | Average | 8.7347 | 30.96 | 0.2158 | #NAME? | #NAME?
3 | 3 | 3 | 32 | 27 | 124.59 | 9.0923 | 0.77769 | 30.941 | Average | 9.0973 | 31.168 | 0.227 | #NAME? | #NAME?
3 | 2 | 2 | 232 | 26 | 149.61 | 9.4362 | 0.79004 | 31.1748 | Average | 9.4412 | 31.191 | 0.0162 | #NAME? | #NAME?
3 | 1 | 1 | 250 | 25 | 165.47 | 9.4605 | 0.79136 | 31.2046 | Average | 9.4655 | 31.189 | -0.0156 | #NAME? | #NAME?
4 | 11 | 11 | 1 | 46 | 0 | 0 | 0 | 0 | Average | 0.005 | 28.8 | 28.8 | #NAME? | #NAME?
4 | 10 | 10 | 27 | 45 | 9.65 | 9.8655 | 0.75079 | 29.1696 | Average | 9.8705 | 29.164 | -0.0056 | #NAME? | #NAME?
4 | 9 | 9 | 178 | 44 | 20.15 | 9.5687 | 0.74798 | 29.2848 | Average | 9.5737 | 29.313 | 0.0282 | #NAME? | #NAME?
4 | 8 | 8 | 10 | 43 | 29.59 | 9.2845 | 0.75405 | 29.7795 | Average | 9.2895 | 29.825 | 0.0455 | #NAME? | #NAME?
4 | 7 | 7 | 128 | 42 | 50.12 | 8.9714 | 0.75977 | 30.2858 | Average | 8.9764 | 30.291 | 0.0052 | #NAME? | #NAME?
4 | 6 | 6 | 119 | 41 | 74.75 | 8.8312 | 0.7654 | 30.6444 | Average | 8.8362 | 30.624 | -0.0204 | #NAME? | #NAME?
4 | 5 | 5 | 9 | 40 | 102.45 | 8.5858 | 0.77575 | 31.308 | Average | 8.5908 | 31.287 | -0.021 | #NAME? | #NAME?
4 | 4 | 4 | 26 | 39 | 101.39 | 8.5581 | 0.77663 | 31.3723 | Average | 8.5631 | 31.289 | -0.0833 | #NAME? | #NAME?
4 | 3 | 3 | 57 | 38 | 125.73 | 8.4215 | 0.78172 | 31.7124 | Average | 8.4265 | 31.71 | -0.0024 | #NAME? | #NAME?
4 | 2 | 2 | 83 | 37 | 146.44 | 8.3913 | 0.7831 | 31.7923 | Average | 8.3963 | 31.797 | 0.0047 | #NAME? | #NAME?
4 | 1 | 1 | 137 | 36 | 162.45 | 8.3947 | 0.78327 | 31.7899 | Average | 8.3997 | 31.784 | -0.0059 | #NAME? | #NAME?
5 | 16 | 16 | 100 | 62 | 0.16 | 9.4198 | 0.75652 | 29.787 | Average | 9.4248 | 29.786 | -0.001 | #NAME? | #NAME?
5 | 15 | 15 | 112 | 61 | 9.35 | 9.4531 | 0.75601 | 29.7332 | Average | 9.4581 | 29.747 | 0.0138 | #NAME? | #NAME?
5 | 14 | 14 | 27 | 60 | 19.3 | 9.3907 | 0.75718 | 29.8321 | Average | 9.3957 | 29.938 | 0.1059 | #NAME? | #NAME?
5 | 13 | 13 | 106 | 59 | 29.79 | 9.1073 | 0.76298 | 30.3204 | Average | 9.1123 | 30.312 | -0.0084 | #NAME? | #NAME?
5 | 12 | 12 | 53 | 58 | 49.4 | 8.98 | 0.76751 | 30.6204 | Average | 8.985 | 30.59 | -0.0304 | #NAME? | #NAME?
5 | 11 | 11 | 159 | 57 | 73.74 | 8.9265 | 0.76925 | 30.7334 | Average | 8.9315 | 30.738 | 0.0046 | #NAME? | #NAME?
5 | 10 | 10 | 143 | 56 | 101.39 | 8.8698 | 0.77242 | 30.911 | Average | 8.8748 | 30.897 | -0.014 | #NAME? | #NAME?
5 | 9 | 9 | 98 | 55 | 123.09 | 8.8661 | 0.7738 | 30.9661 | Average | 8.8711 | 30.931 | -0.0351 | #NAME? | #NAME?
5 | 8 | 8 | 21 | 54 | 163.74 | 8.765 | 0.77723 | 31.1895 | Average | 8.77 | 31.168 | -0.0215 | #NAME? | #NAME?
5 | 7 | 7 | 68 | 53 | 187.39 | 8.6772 | 0.77914 | 31.342 | Average | 8.6822 | 31.263 | -0.079 | #NAME? | #NAME?
5 | 6 | 6 | 26 | 52 | 194.08 | 8.6102 | 0.78118 | 31.4894 | Average | 8.6152 | 31.408 | -0.0814 | #NAME? | #NAME?
5 | 5 | 5 | 96 | 51 | 193.07 | 8.641 | 0.78009 | 31.414 | Average | 8.646 | 31.396 | -0.018 | #NAME? | #NAME?
5 | 4 | 4 | 10 | 50 | 224.34 | 8.5274 | 0.78425 | 31.6877 | Average | 8.5324 | 31.646 | -0.0417 | #NAME? | #NAME?
5 | 3 | 3 | 5 | 49 | 270.06 | 8.2785 | 0.78937 | 32.1227 | Average | 8.2835 | 32.096 | -0.0267 | #NAME? | #NAME?
5 | 2 | 2 | 193 | 48 | 310.14 | 8.2192 | 0.79124 | 32.2437 | Average | 8.2242 | 32.231 | -0.0127 | #NAME? | #NAME?
5 | 1 | 1 | 25 | 47 | 306.41 | 8.221 | 0.79117 | 32.2402 | Average | 8.226 | 32.231 | -0.0092 | #NAME? | #NAME?
6 | 14 | 14 | 109 | 76 | -0.34 | 9.6875 | 0.75442 | 29.4752 | Average | 9.6925 | 29.48 | 0.0048 | #NAME? | #NAME?
6 | 13 | 13 | 102 | 75 | 10.19 | 9.6397 | 0.75532 | 29.5489 | Average | 9.6447 | 29.586 | 0.0371 | #NAME? | #NAME?
6 | 12 | 12 | 14 | 74 | 18.93 | 9.6049 | 0.75685 | 29.6405 | Average | 9.6099 | 29.661 | 0.0205 | #NAME? | #NAME?
6 | 11 | 11 | 55 | 73 | 32.28 | 9.567 | 0.75902 | 29.7602 | Average | 9.572 | 29.787 | 0.0268 | #NAME? | #NAME?
6 | 10 | 10 | 17 | 72 | 53.36 | 9.4334 | 0.76495 | 30.1209 | Average | 9.4384 | 30.108 | -0.0129 | #NAME? | #NAME?
6 | 9 | 9 | 43 | 71 | 79.79 | 9.1021 | 0.77069 | 30.6432 | Average | 9.1071 | 30.554 | -0.0892 | #NAME? | #NAME?
6 | 8 | 8 | 50 | 70 | 106.97 | 8.9415 | 0.774 | 30.9163 | Average | 8.9465 | 30.859 | -0.0573 | #NAME? | #NAME?
6 | 7 | 7 | 19 | 69 | 122.29 | 8.7584 | 0.77878 | 31.2825 | Average | 8.7634 | 31.266 | -0.0165 | #NAME? | #NAME?
6 | 6 | 6 | 18 | 68 | 151.38 | 8.4443 | 0.78524 | 31.839 | Average | 8.4493 | 31.826 | -0.013 | #NAME? | #NAME?
6 | 5 | 5 | 83 | 67 | 170.04 | 8.4554 | 0.78555 | 31.8345 | Average | 8.4604 | 31.816 | -0.0185 | #NAME? | #NAME?
6 | 4 | 4 | 26 | 66 | 186.76 | 8.3987 | 0.78669 | 31.9294 | Average | 8.4037 | 31.934 | 0.0046 | #NAME? | #NAME?
6 | 3 | 3 | 46 | 65 | 191.81 | 8.3704 | 0.78732 | 31.9816 | Average | 8.3754 | 31.977 | -0.0046 | #NAME? | #NAME?
6 | 2 | 2 | 74 | 64 | 194.25 | 8.3477 | 0.78766 | 32.0161 | Average | 8.3527 | 31.993 | -0.0231 | #NAME? | #NAME?
6 | 1 | 1 | 208 | 63 | 224.98 | 8.3248 | 0.78832 | 32.0533 | Average | 8.3298 | 32.025 | -0.0283 | #NAME? | #NAME?
7 | 14 | 14 | 50 | 90 | 0.5 | 9.6573 | 0.75487 | 29.519 | Average | 9.6623 | 29.508 | -0.011 | #NAME? | #NAME?
7 | 13 | 13 | 243 | 89 | 10.76 | 9.5884 | 0.75736 | 29.6791 | Average | 9.5934 | 29.672 | -0.0071 | #NAME? | #NAME?
7 | 12 | 12 | 24 | 88 | 20.61 | 9.4485 | 0.76057 | 29.931 | Average | 9.4535 | 29.874 | -0.057 | #NAME? | #NAME?
7 | 11 | 11 | 37 | 87 | 30.69 | 9.3653 | 0.76284 | 30.0957 | Average | 9.3703 | 30.079 | -0.0167 | #NAME? | #NAME?
7 | 10 | 10 | 76 | 86 | 50.51 | 9.2813 | 0.7677 | 30.3711 | Average | 9.2863 | 30.356 | -0.0151 | #NAME? | #NAME?
7 | 9 | 9 | 165 | 85 | 75.62 | 8.9513 | 0.77355 | 30.9013 | Average | 8.9563 | 30.881 | -0.0203 | #NAME? | #NAME?
7 | 8 | 8 | 6 | 84 | 100.55 | 8.8474 | 0.77585 | 31.0832 | Average | 8.8524 | 31.046 | -0.0372 | #NAME? | #NAME?
7 | 7 | 7 | 91 | 83 | 125.02 | 8.7835 | 0.77764 | 31.2081 | Average | 8.7885 | 31.207 | -0.0011 | #NAME? | #NAME?
7 | 6 | 6 | 240 | 82 | 150.38 | 8.6203 | 0.78192 | 31.5327 | Average | 8.6253 | 31.521 | -0.0117 | #NAME? | #NAME?
7 | 5 | 5 | 165 | 81 | 174.9 | 8.5951 | 0.78267 | 31.5778 | Average | 8.6001 | 31.555 | -0.0228 | #NAME? | #NAME?
7 | 4 | 4 | 216 | 80 | 202.17 | 8.5939 | 0.78294 | 31.5794 | Average | 8.5989 | 31.562 | -0.0174 | #NAME? | #NAME?
7 | 3 | 3 | 178 | 79 | 251.74 | 8.5113 | 0.7852 | 31.7325 | Average | 8.5163 | 31.714 | -0.0185 | #NAME? | #NAME?
7 | 2 | 2 | 173 | 78 | 251.46 | 8.5103 | 0.78524 | 31.7353 | Average | 8.5153 | 31.717 | -0.0183 | #NAME? | #NAME?
7 | 1 | 1 | 25 | 77 | 271.45 | 8.4922 | 0.78592 | 31.7735 | Average | 8.4972 | 31.765 | -0.0085 | #NAME? | #NAME?
8 | 14 | 14 | 225 | 104 | -0.09 | 9.4928 | 0.77143 | 30.3758 | Average | 9.4978 | 30.373 | -0.0028 | #NAME? | #NAME?
8 | 13 | 13 | 84 | 103 | 9.82 | 9.3341 | 0.77267 | 30.5608 | Average | 9.3391 | 30.585 | 0.0242 | #NAME? | #NAME?
8 | 12 | 12 | 231 | 102 | 19.92 | 9.2536 | 0.77311 | 30.6448 | Average | 9.2586 | 30.649 | 0.0042 | #NAME? | #NAME?
8 | 11 | 11 | 90 | 101 | 29.82 | 9.1989 | 0.774 | 30.7266 | Average | 9.2039 | 30.709 | -0.0176 | #NAME? | #NAME?
8 | 10 | 10 | 76 | 100 | 49.92 | 9.0767 | 0.77558 | 30.8934 | Average | 9.0817 | 30.881 | -0.0124 | #NAME? | #NAME?
8 | 9 | 9 | 137 | 99 | 73.72 | 8.9765 | 0.7772 | 31.0422 | Average | 8.9815 | 31.034 | -0.0082 | #NAME? | #NAME?
8 | 8 | 8 | 200 | 98 | 99.71 | 8.6607 | 0.78217 | 31.53 | Average | 8.6657 | 31.528 | -0.002 | #NAME? | #NAME?
8 | 7 | 7 | 114 | 97 | 124.08 | 8.5656 | 0.78397 | 31.6847 | Average | 8.5706 | 31.715 | 0.0303 | #NAME? | #NAME?
8 | 6 | 6 | 244 | 96 | 149.64 | 8.4254 | 0.7863 | 31.9044 | Average | 8.4304 | 31.894 | -0.0104 | #NAME? | #NAME?
8 | 5 | 5 | 220 | 95 | 174.75 | 8.4199 | 0.78673 | 31.9174 | Average | 8.4249 | 31.913 | -0.0044 | #NAME? | #NAME?
8 | 4 | 4 | 199 | 94 | 199.65 | 8.3968 | 0.78736 | 31.9558 | Average | 8.4018 | 31.95 | -0.0058 | #NAME? | #NAME?
8 | 3 | 3 | 242 | 93 | 199.59 | 8.3909 | 0.78745 | 31.9652 | Average | 8.3959 | 31.956 | -0.0092 | #NAME? | #NAME?
8 | 2 | 2 | 223 | 92 | 224.62 | 8.3861 | 0.78785 | 31.9766 | Average | 8.3911 | 31.966 | -0.0106 | #NAME? | #NAME?
8 | 1 | 1 | 47 | 91 | 224.12 | 8.3837 | 0.78794 | 31.9829 | Average | 8.3887 | 31.967 | -0.0159 | #NAME? | #NAME?
9 | 10 | 10 | 35 | 114 | 0.53 | 9.2659 | 0.77112 | 30.5553 | Average | 9.2709 | 30.554 | -0.0013 | #NAME? | #NAME?
9 | 9 | 9 | 44 | 113 | 10.07 | 9.2598 | 0.77314 | 30.6451 | Average | 9.2648 | 30.745 | 0.0999 | #NAME? | #NAME?
9 | 8 | 8 | 20 | 112 | 10.16 | 9.2421 | 0.77371 | 30.6852 | Average | 9.2471 | 30.737 | 0.0518 | #NAME? | #NAME?
9 | 7 | 7 | 243 | 111 | 19.8 | 9.076 | 0.7759 | 30.9209 | Average | 9.081 | 30.908 | -0.0129 | #NAME? | #NAME?
9 | 6 | 6 | 216 | 110 | 29.92 | 9.0775 | 0.77595 | 30.9176 | Average | 9.0825 | 30.932 | 0.0144 | #NAME? | #NAME?
9 | 5 | 5 | 205 | 109 | 49.71 | 9.0246 | 0.77668 | 30.9875 | Average | 9.0296 | 30.982 | -0.0055 | #NAME? | #NAME?
9 | 4 | 4 | 124 | 108 | 76 | 8.9388 | 0.77819 | 31.1176 | Average | 8.9438 | 31.142 | 0.0244 | #NAME? | #NAME?
9 | 3 | 3 | 36 | 107 | 100.75 | 8.7349 | 0.78106 | 31.4139 | Average | 8.7399 | 31.335 | -0.0789 | #NAME? | #NAME?
9 | 2 | 2 | 83 | 106 | 100.75 | 8.779 | 0.78055 | 31.3523 | Average | 8.784 | 31.322 | -0.0303 | #NAME? | #NAME?
9 | 1 | 1 | 201 | 105 | 105.5 | 8.8301 | 0.78012 | 31.2863 | Average | 8.8351 | 31.224 | -0.0623 | #NAME? | #NAME?
10 | 8 | 8 | 106 | 122 | 0.67 | 9.685 | 0.77629 | 30.4246 | Average | 9.69 | 30.414 | -0.0106 | #NAME? | #NAME?
10 | 7 | 7 | 168 | 121 | 11.05 | 9.6698 | 0.77629 | 30.4328 | Average | 9.6748 | 30.421 | -0.0118 | #NAME? | #NAME?
10 | 6 | 6 | 119 | 120 | 20.31 | 9.611 | 0.7761 | 30.4706 | Average | 9.616 | 30.453 | -0.0176 | #NAME? | #NAME?
10 | 5 | 5 | 12 | 119 | 30.34 | 9.2385 | 0.77505 | 30.7387 | Average | 9.2435 | 30.673 | -0.0657 | #NAME? | #NAME?
10 | 4 | 4 | 15 | 118 | 50.56 | 8.9218 | 0.77847 | 31.1558 | Average | 8.9268 | 31.129 | -0.0268 | #NAME? | #NAME?
10 | 3 | 3 | 110 | 117 | 74.83 | 8.2956 | 0.78652 | 32.0657 | Average | 8.3006 | 32.046 | -0.0197 | #NAME? | #NAME?
10 | 2 | 2 | 60 | 116 | 74.86 | 8.2934 | 0.78653 | 32.0682 | Average | 8.2984 | 32.048 | -0.0202 | #NAME? | #NAME?
10 | 1 | 1 | 100 | 115 | 105.61 | 7.4401 | 0.79612 | 33.2911 | Average | 7.4451 | 33.282 | -0.0091 | #NAME? | #NAME?
11 | 10 | 10 | 50 | 132 | 0.13 | 9.7029 | 0.78012 | 30.5756 | Average | 9.7079 | 30.564 | -0.0116 | #NAME? | #NAME?
11 | 9 | 9 | 130 | 131 | 10.15 | 9.5396 | 0.77831 | 30.6317 | Average | 9.5446 | 30.612 | -0.0197 | #NAME? | #NAME?
11 | 8 | 8 | 241 | 130 | 20.6 | 9.1457 | 0.77928 | 31.0094 | Average | 9.1507 | 30.693 | -0.3164 | #NAME? | #NAME?
11 | 7 | 7 | 18 | 129 | 28.63 | 9.1432 | 0.77926 | 31.007 | Average | 9.1482 | 30.994 | -0.013 | #NAME? | #NAME?
11 | 6 | 6 | 125 | 128 | 50.7 | 9.0719 | 0.78014 | 31.0988 | Average | 9.0769 | 31.08 | -0.0188 | #NAME? | #NAME?
11 | 5 | 5 | 21 | 127 | 75.51 | 8.8182 | 0.78258 | 31.419 | Average | 8.8232 | 31.4 | -0.019 | #NAME? | #NAME?
11 | 4 | 4 | 172 | 126 | 75.41 | 8.8084 | 0.78278 | 31.4365 | Average | 8.8134 | 31.402 | -0.0345 | #NAME? | #NAME?
11 | 3 | 3 | 90 | 125 | 100.41 | 8.5016 | 0.7874 | 31.9068 | Average | 8.5066 | 31.894 | -0.0128 | #NAME? | #NAME?
11 | 2 | 2 | 73 | 124 | 124.69 | 7.3147 | 0.79675 | 33.4323 | Average | 7.3197 | 33.417 | -0.0153 | #NAME? | #NAME?
11 | 1 | 1 | 243 | 123 | 151.09 | 7.2078 | 0.79715 | 33.5414 | Average | 7.2128 | 33.514 | -0.0274 | #NAME? | #NAME?
16 | 21 | 21 | 3 | 153 | 9.98 | 11.8719 | 0.84238 | 31.376 | Average | 11.8769 | 31.385 | 0.009 | #NAME? | #NAME? | 10 | 11.4 | 31.385
16 | 20 | 20 | 1 | 152 | 0 | 0 | 0 | 0 | Average | 0.005 | 32.384 | 32.384 | #NAME? | #NAME? | 50 | 9.8 | 32.384
16 | 19 | 19 | 2 | 151 | 100.85 | 7.9826 | 0.80777 | 33.3124 | Average | 7.9876 | 33.296 | -0.0164 | #NAME? | #NAME? | 100.8 | 8.4 | 33.296
16 | 18 | 18 | 3 | 150 | 152.42 | 6.6976 | 0.792 | 33.7976 | Average | 6.7026 | 33.774 | -0.0236 | #NAME? | #NAME? | 152.4 | 7.8 | 33.774
16 | 17 | 17 | 152 | 149 | 200.68 | 6.1308 | 0.78248 | 33.8809 | Average | 6.1358 | 33.872 | -0.0089 | #NAME? | #NAME? | 200.7 | 7.2 | 33.872
16 | 16 | 16 | 45 | 148 | 300.09 | 5.5455 | 0.77299 | 33.9581 | Average | 5.5505 | 33.967 | 0.0089 | #NAME? | #NAME? | 300.1 | 6.8 | 33.967
16 | 15 | 15 | 183 | 147 | 402.14 | 5.1477 | 0.76734 | 34.0324 | Average | 5.1527 | 34.03 | -0.0024 | #NAME? | #NAME? | 402.1 | 6.2 | 34.03
16 | 14 | 14 | 212 | 146 | 600.07 | 4.3383 | 0.75543 | 34.1673 | Average | 4.3433 | 34.161 | -0.0063 | #NAME? | #NAME? | 600 | 6 | 34.161
16 | 13 | 13 | 136 | 145 | 799.14 | 3.8563 | 0.75024 | 34.3028 | Average | 3.8613 | 34.296 | -0.0068 | #NAME? | #NAME? | 799.1 | 5.4 | 34.296
16 | 12 | 12 | 26 | 144 | 998.32 | 3.4158 | 0.74511 | 34.399 | Average | 3.4208 | 34.388 | -0.011 | #NAME? | #NAME? | 998.3 | 5.6 | 34.388
16 | 11 | 11 | 86 | 143 | 1198.82 | 3.0281 | 0.74031 | 34.4575 | Average | 3.0331 | 34.446 | -0.0115 | #NAME? | #NAME? | 1198.7 | 5 | 34.446
16 | 10 | 10 | 104 | 142 | 1199.35 | 3.0284 | 0.74032 | 34.4573 | Average | 3.0334 | 34.446 | -0.0113 | #NAME? | #NAME? | 1199.3 | 5.2 | 34.446
16 | 9 | 9 | 112 | 141 | 1200.04 | 3.0288 | 0.74034 | 34.4573 | Average | 3.0338 | 34.446 | -0.0113 | #NAME? | #NAME? | 1200 | 5 | 34.446
16 | 8 | 8 | 67 | 140 | 1200.33 | 3.0287 | 0.74034 | 34.4573 | Average | 3.0337 | 34.447 | -0.0103 | #NAME? | #NAME? | 1200.3 | 5.2 | 34.447
16 | 7 | 7 | 140 | 139 | 1199.71 | 3.0295 | 0.74035 | 34.4576 | Average | 3.0345 | 34.448 | -0.0096 | #NAME? | #NAME? | 1199.7 | 5 | 34.448
16 | 6 | 6 | 146 | 138 | 1199.69 | 3.0295 | 0.74036 | 34.4579 | Average | 3.0345 | 34.446 | -0.0119 | #NAME? | #NAME? | 1199.7 | 5.2 | 34.446
16 | 5 | 5 | 132 | 137 | 1201.26 | 3.0293 | 0.74035 | 34.4568 | Average | 3.0343 | 34.447 | -0.0098 | #NAME? | #NAME? | 1201.4 | 5.2 | 34.447
16 | 4 | 4 | 244 | 136 | 1200.92 | 3.0281 | 0.74034 | 34.4578 | Average | 3.0331 | 34.45 | -0.0078 | #NAME? | #NAME? | 1200.9 | 5.2 | 34.45
16 | 3 | 3 | 247 | 135 | 1200.96 | 3.0284 | 0.74034 | 34.4574 | Average | 3.0334 | 34.451 | -0.0064 | #NAME? | #NAME? | 1201 | 5 | 34.451
16 | 2 | 2 | 235 | 134 | 1200.73 | 3.0281 | 0.74033 | 34.4575 | Average | 3.0331 | 34.447 | -0.0105 | #NAME? | #NAME? | 1200.7 | 5.2 | 34.447
16 | 1 | 1 | 158 | 133 | 1303.7 | 2.8559 | 0.73837 | 34.4855 | Average | 2.8609 | 34.476 | -0.0095 | #NAME? | #NAME? | 1303.7 | 5 | 34.476 |  | 3199.25 | 0.0063 | -0.0063
24 | 3 | 3 | 132 | 156 | 3199.25 | 1.6588 | 0.73449 | 34.6427 | Average | 1.6638 | 34.649 | 0.0063 | #NAME? | #NAME? |  |  |  |  | 3257.16 | -0.0019 | 0.0019
24 | 2 | 2 | 41 | 155 | 3257.16 | 1.664 | 0.73525 | 34.6509 | Average | 1.669 | 34.649 | -0.0019 | #NAME? | #NAME? |  |  |  |  | 3257.39 | 0.0065 | -0.0065
24 | 1 | 1 | 219 | 154 | 3257.39 | 1.6638 | 0.73509 | 34.6425 | Average | 1.6688 | 34.649 | 0.0065 | #NAME? | #NAME? |  |  |  |  | 400.42 | 0.0057 | -0.0057
25 | 14 | 14 | 86 | 170 | 400.42 | 4.5576 | 0.75385 | 33.9653 | Average | 4.5626 | 33.971 | 0.0057 | #NAME? | #NAME? |  |  |  |  | 599.12 | -0.0055 | 0.0055
25 | 13 | 13 | 223 | 169 | 599.12 | 4.0985 | 0.75009 | 34.1465 | Average | 4.1035 | 34.141 | -0.0055 | #NAME? | #NAME? |  |  |  |  | 799.11 | -0.0055 | 0.0055
25 | 12 | 12 | 230 | 168 | 799.11 | 3.6461 | 0.74523 | 34.2665 | Average | 3.6511 | 34.261 | -0.0055 | #NAME? | #NAME? |  |  |  |  | 1000.56 | -0.0044 | 0.0044
25 | 11 | 11 | 145 | 167 | 1000.56 | 3.2213 | 0.74031 | 34.3554 | Average | 3.2263 | 34.351 | -0.0044 | #NAME? | #NAME? |  |  |  |  | 1200.07 | -0.0048 | 0.0048
25 | 10 | 10 | 241 | 166 | 1200.07 | 2.8027 | 0.73528 | 34.4338 | Average | 2.8077 | 34.429 | -0.0048 | #NAME? | #NAME? |  |  |  |  | 1399.62 | 0.0014 | -0.0014
25 | 9 | 9 | 157 | 165 | 1399.62 | 2.5193 | 0.73233 | 34.4786 | Average | 2.5243 | 34.48 | 0.0014 | #NAME? | #NAME? |  |  |  |  | 1598.9 | 0.0071 | -0.0071
25 | 8 | 8 | 236 | 164 | 1598.9 | 2.2634 | 0.72984 | 34.5189 | Average | 2.2684 | 34.526 | 0.0071 | #NAME? | #NAME? |  |  |  |  | 1798.97 | 0.0071 | -0.0071
25 | 7 | 7 | 240 | 163 | 1798.97 | 2.0673 | 0.72846 | 34.5549 | Average | 2.0723 | 34.562 | 0.0071 | #NAME? | #NAME? |  |  |  |  | 1999.23 | 0.0069 | -0.0069
25 | 6 | 6 | 199 | 162 | 1999.23 | 1.9262 | 0.728 | 34.5821 | Average | 1.9312 | 34.589 | 0.0069 | #NAME? | #NAME? |  |  |  |  | 2199.42 | 0.0077 | -0.0077
25 | 5 | 5 | 215 | 161 | 2199.42 | 1.8204 | 0.72812 | 34.6033 | Average | 1.8254 | 34.611 | 0.0077 | #NAME? | #NAME? |  |  |  |  | 2399.94 | 0.0069 | -0.0069
25 | 4 | 4 | 219 | 160 | 2399.94 | 1.7668 | 0.7291 | 34.6151 | Average | 1.7718 | 34.622 | 0.0069 | #NAME? | #NAME? |  |  |  |  | 2599.11 | 0.0054 | -0.0054
25 | 3 | 3 | 85 | 159 | 2599.11 | 1.7054 | 0.72991 | 34.6286 | Average | 1.7104 | 34.634 | 0.0054 | #NAME? | #NAME? |  |  |  |  | 2798.73 | 0.0012 | -0.0012
25 | 2 | 2 | 53 | 158 | 2798.73 | 1.6571 | 0.73092 | 34.6398 | Average | 1.6621 | 34.641 | 0.0012 | #NAME? | #NAME? |  |  |  |  | 2996.49 | 0.007 | -0.007
25 | 1 | 1 | 203 | 157 | 2996.49 | 1.6473 | 0.73252 | 34.643 | Average | 1.6523 | 34.65 | 0.007 | #NAME? | #NAME? |  |  |  |  | 8.82 | 0.0042 | -0.0042
26 | 6 | 6 | 186 | 176 | 8.82 | 10.4886 | 0.83938 | 32.4488 | Average | 10.4936 | 32.453 | 0.0042 | #NAME? | #NAME? |  |  |  |  | 50.68 | -0.0099 | 0.0099
26 | 5 | 5 | 7 | 175 | 50.68 | 9.3401 | 0.81637 | 32.4609 | Average | 9.3451 | 32.451 | -0.0099 | #NAME? | #NAME? |  |  |  |  | 99.68 | -0.0015 | 0.0015
26 | 4 | 4 | 45 | 174 | 99.68 | 7.8906 | 0.7946 | 32.7965 | Average | 7.8956 | 32.795 | -0.0015 | #NAME? | #NAME? |  |  |  |  | 148.76 | -0.004 | 0.004
26 | 3 | 3 | 158 | 173 | 148.76 | 6.8989 | 0.78874 | 33.448 | Average | 6.9039 | 33.444 | -0.004 | #NAME? | #NAME? |  |  |  |  | 201.65 | -0.0056 | 0.0056
26 | 2 | 2 | 26 | 172 | 201.65 | 6.0339 | 0.77863 | 33.7916 | Average | 6.0389 | 33.786 | -0.0056 | #NAME? | #NAME? |  |  |  |  | 300.69 | -0.0034 | 0.0034
26 | 1 | 1 | 98 | 171 | 300.69 | 5.0367 | 0.76106 | 33.8864 | Average | 5.0417 | 33.883 | -0.0034 | #NAME? | #NAME?
30 | 23 | 23 | 119 | 199 | 8.2 | 9.927 | 0.82963 | 32.5304 | Average | 9.932 | 32.535 | 0.0046 | #NAME? | #NAME?
30 | 22 | 22 | 7 | 198 | 49.16 | 9.0272 | 0.81059 | 32.4898 | Average | 9.0322 | 32.485 | -0.0048 | #NAME? | #NAME? |  | 8.2 | 0.0046 | -0.0046
30 | 21 | 21 | 5 | 197 | 99.75 | 7.6994 | 0.79289 | 32.8979 | Average | 7.7044 | 32.845 | -0.0529 | #NAME? | #NAME? |  | 49.16 | -0.0048 | 0.0048
30 | 20 | 20 | 47 | 196 | 150.02 | 6.8142 | 0.78912 | 33.548 | Average | 6.8192 | 33.554 | 0.006 | #NAME? | #NAME? |  | 99.75 | -0.0529 | 0.0529
30 | 19 | 19 | 74 | 195 | 198.52 | 6.2709 | 0.78412 | 33.8215 | Average | 6.2759 | 33.82 | -0.0015 | #NAME? | #NAME? |  | 150.02 | 0.006 | -0.006
30 | 18 | 18 | 38 | 194 | 298.27 | 5.0134 | 0.75952 | 33.8353 | Average | 5.0184 | 33.84 | 0.0047 | #NAME? | #NAME? |  | 198.52 | -0.0015 | 0.0015
30 | 17 | 17 | 97 | 193 | 398.27 | 4.434 | 0.75039 | 33.9194 | Average | 4.439 | 33.925 | 0.0056 | #NAME? | #NAME? |  | 298.27 | 0.0047 | -0.0047
30 | 16 | 16 | 39 | 192 | 598.37 | 3.8836 | 0.74549 | 34.136 | Average | 3.8886 | 34.138 | 0.002 | #NAME? | #NAME? |  | 398.27 | 0.0056 | -0.0056
30 | 15 | 15 | 181 | 191 | 799.6 | 3.5153 | 0.74213 | 34.2443 | Average | 3.5203 | 34.249 | 0.0047 | #NAME? | #NAME? |  | 598.37 | 0.002 | -0.002
30 | 14 | 14 | 240 | 190 | 999.42 | 3.1398 | 0.73832 | 34.3388 | Average | 3.1448 | 34.346 | 0.0072 | #NAME? | #NAME? |  | 799.6 | 0.0047 | -0.0047
30 | 13 | 13 | 240 | 189 | 1200.6 | 2.7858 | 0.73446 | 34.4087 | Average | 2.7908 | 34.416 | 0.0073 | #NAME? | #NAME? |  | 999.42 | 0.0072 | -0.0072
30 | 12 | 12 | 226 | 188 | 1399.93 | 2.4799 | 0.7313 | 34.4663 | Average | 2.4849 | 34.474 | 0.0077 | #NAME? | #NAME? |  | 1200.6 | 0.0073 | -0.0073
30 | 11 | 11 | 233 | 187 | 1600.57 | 2.2933 | 0.7302 | 34.5053 | Average | 2.2983 | 34.513 | 0.0077 | #NAME? | #NAME? |  | 1399.93 | 0.0077 | -0.0077
30 | 10 | 10 | 190 | 186 | 1799.14 | 2.093 | 0.72883 | 34.5472 | Average | 2.098 | 34.553 | 0.0058 | #NAME? | #NAME? |  | 1600.57 | 0.0077 | -0.0077
30 | 9 | 9 | 221 | 185 | 1999.61 | 1.9433 | 0.72828 | 34.578 | Average | 1.9483 | 34.584 | 0.006 | #NAME? | #NAME? |  | 1799.14 | 0.0058 | -0.0058
30 | 8 | 8 | 212 | 184 | 2200.93 | 1.841 | 0.72848 | 34.5996 | Average | 1.846 | 34.605 | 0.0054 | #NAME? | #NAME? |  | 1999.61 | 0.006 | -0.006
30 | 7 | 7 | 240 | 183 | 2399.36 | 1.7469 | 0.72874 | 34.6177 | Average | 1.7519 | 34.623 | 0.0053 | #NAME? | #NAME? |  | 2200.93 | 0.0054 | -0.0054
30 | 6 | 6 | 196 | 182 | 2600.82 | 1.6763 | 0.72939 | 34.6315 | Average | 1.6813 | 34.636 | 0.0045 | #NAME? | #NAME? |  | 2399.36 | 0.0053 | -0.0053
30 | 5 | 5 | 102 | 181 | 2798.74 | 1.6264 | 0.73036 | 34.6428 | Average | 1.6314 | 34.647 | 0.0042 | #NAME? | #NAME? |  | 2600.82 | 0.0045 | -0.0045
30 | 4 | 4 | 77 | 180 | 2999.77 | 1.5972 | 0.73165 | 34.649 | Average | 1.6022 |  | -34.649 | #NAME? | #NAME? |  | 2798.74 | 0.0042 | -0.0042
30 | 3 | 3 | 232 | 179 | 3203.12 | 1.5768 | 0.73308 | 34.6535 | Average | 1.5818 | 34.659 | 0.0055 | #NAME? | #NAME? |  | 2999.77 | -34.649
30 | 2 | 2 | 166 | 178 | 3405.72 | 1.57 | 0.73474 | 34.6576 | Average | 1.575 | 34.659 | 0.0014 | #NAME? | #NAME? |  | 3203.12 | 0.0055 | -0.0055
30 | 1 | 1 | 232 | 177 | 3675.09 | 1.5718 | 0.73712 | 34.6626 | Average | 1.5768 | 34.667 | 0.0044 | #NAME? | #NAME? |  | 3405.72 | 0.0014 | -0.0014
35 | 23 | 23 | 77 | 222 | 16.24 | 8.5317 | 0.8012 | 32.5387 | Average | 8.5367 | 32.542 | 0.0033 | #NAME? | #NAME? |  | 3675.09 | 0.0044 | -0.0044
35 | 22 | 22 | 139 | 221 | 49.79 | 8.3389 | 0.79762 | 32.5397 | Average | 8.3439 | 32.545 | 0.0053 | #NAME? | #NAME? |  | 16.24 | 0.0033 | -0.0033
35 | 21 | 21 | 67 | 220 | 100.54 | 6.7921 | 0.76768 | 32.5822 | Average | 6.7971 | 32.582 | -0.0002 | #NAME? | #NAME? |  | 49.79 | 0.0053 | -0.0053
35 | 20 | 20 | 10 | 219 | 200.51 | 5.6313 | 0.77071 | 33.811 | Average | 5.6363 | 33.817 | 0.006 | #NAME? | #NAME? |  | 100.54 | -0.0002 | 0.0002
35 | 19 | 19 | 181 | 218 | 300.47 | 4.5553 | 0.75037 | 33.8452 | Average | 4.5603 | 33.855 | 0.0098 | #NAME? | #NAME? |  | 200.51 | 0.006 | -0.006
35 | 18 | 18 | 199 | 217 | 400.04 | 4.2129 | 0.74656 | 33.9529 | Average | 4.2179 | 33.963 | 0.0101 | #NAME? | #NAME? |  | 300.47 | 0.0098 | -0.0098
35 | 17 | 17 | 236 | 216 | 600.3 | 3.8453 | 0.74456 | 34.1278 | Average | 3.8503 | 34.137 | 0.0092 | #NAME? | #NAME? |  | 400.04 | 0.0101 | -0.0101
35 | 16 | 16 | 144 | 215 | 800.18 | 3.4001 | 0.74001 | 34.2556 | Average | 3.4051 | 34.265 | 0.0094 | #NAME? | #NAME? |  | 600.3 | 0.0092 | -0.0092
35 | 15 | 15 | 240 | 214 | 1000.73 | 3.0278 | 0.73618 | 34.3454 | Average | 3.0328 | 34.355 | 0.0096 | #NAME? | #NAME? |  | 800.18 | 0.0094 | -0.0094
35 | 14 | 14 | 241 | 213 | 1200.44 | 2.7433 | 0.73353 | 34.4054 | Average | 2.7483 | 34.415 | 0.0096 | #NAME? | #NAME? |  | 1000.73 | 0.0096 | -0.0096
35 | 13 | 13 | 241 | 212 | 1400.48 | 2.4943 | 0.73144 | 34.458 | Average | 2.4993 | 34.467 | 0.009 | #NAME? | #NAME? |  | 1200.44 | 0.0096 | -0.0096
35 | 12 | 12 | 240 | 211 | 1599.63 | 2.2769 | 0.72982 | 34.5031 | Average | 2.2819 | 34.511 | 0.0079 | #NAME? | #NAME? |  | 1400.48 | 0.009 | -0.009
35 | 11 | 11 | 234 | 210 | 1800.97 | 2.1062 | 0.72897 | 34.5394 | Average | 2.1112 | 34.55 | 0.0106 | #NAME? | #NAME? |  | 1599.63 | 0.0079 | -0.0079
35 | 10 | 10 | 241 | 209 | 2000.69 | 1.9594 | 0.72846 | 34.5699 | Average | 1.9644 | 34.577 | 0.0071 | #NAME? | #NAME? |  | 1800.97 | 0.0106 | -0.0106
35 | 9 | 9 | 239 | 208 | 2200.35 | 1.851 | 0.72853 | 34.5915 | Average | 1.856 | 34.6 | 0.0085 | #NAME? | #NAME? |  | 2000.69 | 0.0071 | -0.0071
35 | 8 | 8 | 239 | 207 | 2399.16 | 1.7703 | 0.72903 | 34.6081 | Average | 1.7753 | 34.616 | 0.0079 | #NAME? | #NAME? |  | 2200.35 | 0.0085 | -0.0085
35 | 7 | 7 | 240 | 206 | 2600.89 | 1.6887 | 0.72951 | 34.6245 | Average | 1.6937 | 34.632 | 0.0075 | #NAME? | #NAME? |  | 2399.16 | 0.0079 | -0.0079
35 | 6 | 6 | 233 | 205 | 2800.68 | 1.6332 | 0.73038 | 34.6358 | Average | 1.6382 | 34.643 | 0.0072 | #NAME? | #NAME? |  | 2600.89 | 0.0075 | -0.0075
35 | 5 | 5 | 241 | 204 | 2999.71 | 1.5949 | 0.73151 | 34.6444 | Average | 1.5999 | 34.651 | 0.0066 | #NAME? | #NAME? |  | 2800.68 | 0.0072 | -0.0072
35 | 4 | 4 | 170 | 203 | 3200.68 | 1.5611 | 0.73272 | 34.6525 | Average | 1.5661 | 34.659 | 0.0065 | #NAME? | #NAME? |  | 2999.71 | 0.0066 | -0.0066
35 | 3 | 3 | 181 | 202 | 3400.48 | 1.5395 | 0.73411 | 34.6592 | Average | 1.5445 | 34.664 | 0.0048 | #NAME? | #NAME? |  | 3200.68 | 0.0065 | -0.0065
35 | 2 | 2 | 241 | 201 | 3601.96 | 1.5318 | 0.73572 | 34.6637 | Average | 1.5368 | 34.67 | 0.0063 | #NAME? | #NAME? |  | 3400.48 | 0.0048 | -0.0048
35 | 1 | 1 | 210 | 200 | 4025.68 | 1.5407 | 0.73952 | 34.6717 | Average | 1.5457 | 34.669 | -0.0027 | #NAME? | #NAME? |  | 3601.96 | 0.0063 | -0.0063
39 | 22 | 23 | 30 | 244 | 8.83 | 8.244 | 0.79669 | 32.6038 | Average | 8.249 | 32.6 | -0.0038 | #NAME? | #NAME? |  | 4025.68 | -0.0027 | 0.0027
39 | 21 | 22 | 194 | 243 | 49.27 | 7.6146 | 0.78421 | 32.6013 | Average | 7.6196 | 32.594 | -0.0073 | #NAME? | #NAME? |  | 8.83 | -0.0038 | 0.0038
39 | 20 | 21 | 239 | 242 | 99.85 | 6.3718 | 0.76745 | 32.9747 | Average | 6.3768 | 32.968 | -0.0067 | #NAME? | #NAME? |  | 49.27 | -0.0073 | 0.0073
39 | 19 | 20 | 63 | 241 | 198.49 | 5.6143 | 0.77117 | 33.8513 | Average | 5.6193 | 33.842 | -0.0093 | #NAME? | #NAME? |  | 99.85 | -0.0067 | 0.0067
39 | 18 | 19 | 241 | 240 | 399.73 | 4.0824 | 0.74392 | 33.954 | Average | 4.0874 | 33.951 | -0.003 | #NAME? | #NAME? |  | 198.49 | -0.0093 | 0.0093
39 | 17 | 18 | 242 | 239 | 598.48 | 3.7282 | 0.7423 | 34.1354 | Average | 3.7332 | 34.132 | -0.0034 | #NAME? | #NAME? |  | 399.73 | -0.003 | 0.003
39 | 16 | 17 | 238 | 238 | 798.03 | 3.3324 | 0.73881 | 34.266 | Average | 3.3374 | 34.264 | -0.002 | #NAME? | #NAME? |  | 598.48 | -0.0034 | 0.0034
39 | 15 | 16 | 225 | 237 | 999.41 | 3.0065 | 0.73588 | 34.3528 | Average | 3.0115 | 34.349 | -0.0038 | #NAME? | #NAME? |  | 798.03 | -0.002 | 0.002
39 | 14 | 15 | 196 | 236 | 1200.17 | 2.7246 | 0.73339 | 34.4182 | Average | 2.7296 | 34.415 | -0.0032 | #NAME? | #NAME? |  | 999.41 | -0.0038 | 0.0038
39 | 13 | 14 | 227 | 235 | 1401.99 | 2.4898 | 0.7316 | 34.4702 | Average | 2.4948 | 34.467 | -0.0032 | #NAME? | #NAME? |  | 1200.17 | -0.0032 | 0.0032
39 | 12 | 13 | 208 | 234 | 1601.45 | 2.2692 | 0.72992 | 34.5158 | Average | 2.2742 | 34.512 | -0.0038 | #NAME? | #NAME? |  | 1401.99 | -0.0032 | 0.0032
39 | 11 | 12 | 203 | 233 | 1801.21 | 2.0946 | 0.72899 | 34.5528 | Average | 2.0996 | 34.549 | -0.0038 | #NAME? | #NAME? |  | 1601.45 | -0.0038 | 0.0038
39 | 10 | 11 | 179 | 232 | 1999.47 | 1.9673 | 0.72878 | 34.5791 | Average | 1.9723 | 34.576 | -0.0031 | #NAME? | #NAME? |  | 1801.21 | -0.0038 | 0.0038
39 | 9 | 10 | 218 | 231 | 2198.01 | 1.8637 | 0.72893 | 34.6001 | Average | 1.8687 | 34.598 | -0.0021 | #NAME? | #NAME? |  | 1999.47 | -0.0031 | 0.0031
39 | 8 | 9 | 182 | 230 | 2402.5 | 1.7721 | 0.7293 | 34.6186 | Average | 1.7771 | 34.614 | -0.0046 | #NAME? | #NAME? |  | 2198.01 | -0.0021 | 0.0021
39 | 7 | 8 | 67 | 229 | 2599.41 | 1.7014 | 0.72993 | 34.6339 | Average | 1.7064 | 34.63 | -0.0039 | #NAME? | #NAME? |  | 2402.5 | -0.0046 | 0.0046
39 | 6 | 7 | 18 | 228 | 2799.13 | 1.6445 | 0.73081 | 34.6472 | Average | 1.6495 | 34.64 | -0.0072 | #NAME? | #NAME? |  | 2599.41 | -0.0039 | 0.0039
39 | 5 | 6 | 89 | 227 | 3000.7 | 1.5979 | 0.73197 | 34.6647 | Average | 1.6029 | 34.649 | -0.0157 | #NAME? | #NAME? |  | 2799.13 | -0.0072 | 0.0072
39 | 4 | 5 | 9 | 226 | 3198.45 | 1.5504 | 0.7328 | 34.6691 | Average | 1.5554 | 34.66 | -0.0091 | #NAME? | #NAME? |  | 3000.7 | -0.0157 | 0.0157
39 | 3 | 4 | 36 | 225 | 3401.08 | 1.5224 | 0.73419 | 34.6816 | Average | 1.5274 | 34.665 | -0.0166 | #NAME? | #NAME? |  | 3198.45 | -0.0091 | 0.0091
39 | 2 | 3 | 24 | 224 | 3601.11 | 1.5139 | 0.73565 | 34.6792 | Average | 1.5189 | 34.67 | -0.0092 | #NAME? | #NAME? |  | 3401.08 | -0.0166 | 0.0166
39 | 1 | 2 | 52 | 223 | 3800.12 | 1.5158 | 0.73738 | 34.6818 | Average | 1.5208 | 34.673 | -0.0088 | #NAME? | #NAME? |  | 3601.11 | -0.0092 | 0.0092
[5 empty] | 4040.4 |  |  |  |  | 0.005 | 34.676 | 34.676 | #NAME? | #NAME? |  | 3800.12 | -0.0088 | 0.0088
43 |  |  |  |  | 11 |  |  | 32.743 | (old cal) |  | 32.733 | -0.01 |  |  |  | 11 | -0.01 | -0.025
43 |  |  |  |  | 27 |  |  | 32.743 | (old cal) |  | 32.734 | -0.009 |  |  |  | 27 | -0.009 | -0.026
43 |  |  |  |  | 52 |  |  | 32.767 | (old cal) |  | 32.759 | -0.008 |  |  |  | 52 | -0.008 | -0.027
43 |  |  |  |  | 75 |  |  | 32.776 | (old cal) |  | 32.768 | -0.008 |  |  |  | 75 | -0.008 | -0.027
43 |  |  |  |  | 101 |  |  | 33.164 | (old cal) |  | 32.902 | -0.262 |  |  |  | 101 | -0.262 | 0.227
43 |  |  |  |  | 152 |  |  | 33.788 | (old cal) |  | 33.771 | -0.017 |  |  |  | 152 | -0.017 | -0.018
43 |  |  |  |  | 199 |  |  | 33.852 | (old cal) |  | 33.846 | -0.006 |  |  |  | 199 | -0.006 | -0.029
43 |  |  |  |  | 400 |  |  | 33.972 | (old cal) |  | 33.962 | -0.01 |  |  |  | 400 | -0.01 | -0.025
43 |  |  |  |  | 400 |  |  | 33.969 | (old cal) |  | 33.962 | -0.007 |  |  |  | 400 | -0.007 | -0.028
43 |  |  |  |  | 801 |  |  | 34.281 | (old cal) |  | 34.277 | -0.004 |  |  |  | 801 | -0.004 | -0.031
43 |  |  |  |  | 1402 |  |  | 34.476 | (old cal) |  | 34.47 | -0.006 |  |  |  | 1402 | -0.006 | -0.029
43 |  |  |  |  | 2000 |  |  | 34.586 | (old cal) |  | 34.575 | -0.011 |  |  |  | 2000 | -0.011 | -0.024
44 | 23 | 23 | 142 | 267 | 9.82 | 7.8737 | 0.79187 | 32.729 | Average | 7.8787 | 32.736 | 0.007 | #NAME? | #NAME? |  | 9.82 | 0.007 | -0.007
44 | 22 | 22 | 23 | 266 | 98.72 | 6.567 | 0.77315 | 33.0574 | Average | 6.572 | 33.054 | -0.0034 | #NAME? | #NAME? |  | 98.72 | -0.0034 | 0.0034
44 | 21 | 21 | 58 | 265 | 300.68 | 4.4554 | 0.74888 | 33.8721 | Average | 4.4604 | 33.873 | 0.0009 | #NAME? | #NAME? |  | 300.68 | 0.0009 | -0.0009
44 | 20 | 20 | 129 | 264 | 600.28 | 3.7066 | 0.74173 | 34.1277 | Average | 3.7116 | 34.137 | 0.0093 | #NAME? | #NAME? |  | 600.28 | 0.0093 | -0.0093
44 | 19 | 19 | 208 | 263 | 999.86 | 3.0196 | 0.7358 | 34.3349 | Average | 3.0246 | 34.347 | 0.0121 | #NAME? | #NAME? |  | 999.86 | 0.0121 | -0.0121
44 | 18 | 18 | 241 | 262 | 999.77 | 3.0194 | 0.73579 | 34.3344 | Average | 3.0244 | 34.356 | 0.0216 | #NAME? | #NAME? |  | 999.77 | 0.0216 | -0.0216
44 | 17 | 17 | 182 | 261 | 1196.63 | 2.7168 | 0.73295 | 34.4052 | Average | 2.7218 | 34.416 | 0.0108 | #NAME? | #NAME? |  | 1196.63 | 0.0108 | -0.0108
44 | 16 | 16 | 218 | 260 | 1399.32 | 2.4891 | 0.73128 | 34.4559 | Average | 2.4941 | 34.467 | 0.0111 | #NAME? | #NAME? |  | 1399.32 | 0.0111 | -0.0111
44 | 15 | 15 | 174 | 259 | 1600.26 | 2.2732 | 0.72969 | 34.5002 | Average | 2.2782 | 34.512 | 0.0118 | #NAME? | #NAME? |  | 1600.26 | 0.0118 | -0.0118
44 | 14 | 14 | 235 | 258 | 1799.3 | 2.1169 | 0.72906 | 34.5335 | Average | 2.1219 | 34.545 | 0.0115 | #NAME? | #NAME? |  | 1799.3 | 0.0115 | -0.0115
44 | 13 | 13 | 133 | 257 | 1997.77 | 1.9767 | 0.72865 | 34.5629 | Average | 1.9817 | 34.574 | 0.0111 | #NAME? | #NAME? |  | 1997.77 | 0.0111 | -0.0111
44 | 12 | 12 | 219 | 256 | 2200.2 | 1.8799 | 0.72894 | 34.5824 | Average | 1.8849 | 34.595 | 0.0126 | #NAME? | #NAME? |  | 2200.2 | 0.0126 | -0.0126
44 | 11 | 11 | 26 | 255 | 2399 | 1.7882 | 0.7293 | 34.6035 | Average | 1.7932 | 34.612 | 0.0085 | #NAME? | #NAME? |  | 2399 | 0.0085 | -0.0085
44 | 10 | 10 | 48 | 254 | 2599.17 | 1.7069 | 0.72975 | 34.6183 | Average | 1.7119 | 34.628 | 0.0097 | #NAME? | #NAME? |  | 2599.17 | 0.0097 | -0.0097
44 | 9 | 9 | 88 | 253 | 2799.58 | 1.6457 | 0.73053 | 34.6308 | Average | 1.6507 | 34.64 | 0.0092 | #NAME? | #NAME? |  | 2799.58 | 0.0092 | -0.0092
44 | 8 | 8 | 85 | 252 | 2997.48 | 1.595 | 0.73163 | 34.6512 | Average | 1.6 | 34.65 | -0.0012 | #NAME? | #NAME? |  | 2997.48 | -0.0012 | 0.0012
44 | 7 | 7 | 129 | 251 | 3199.9 | 1.5554 | 0.73275 | 34.6607 | Average | 1.5604 | 34.657 | -0.0037 | #NAME? | #NAME? |  | 3199.9 | -0.0037 | 0.0037
44 | 6 | 6 | 116 | 250 | 3396.36 | 1.5288 | 0.73401 | 34.667 | Average | 1.5338 | 34.665 | -0.002 | #NAME? | #NAME? |  | 3396.36 | -0.002 | 0.002
44 | 5 | 5 | 194 | 249 | 3599.37 | 1.5117 | 0.73522 | 34.6598 | Average | 1.5167 | 34.671 | 0.0112 | #NAME? | #NAME? |  | 3599.37 | 0.0112 | -0.0112
44 | 4 | 4 | 228 | 248 | 3798.78 | 1.5039 | 0.73679 | 34.6638 | Average | 1.5089 | 34.674 | 0.0102 | #NAME? | #NAME? |  | 3798.78 | 0.0102 | -0.0102
44 | 3 | 3 | 62 | 247 | 4000.16 | 1.503 | 0.7385 | 34.669 | Average | 1.508 | 34.677 | 0.008 | #NAME? | #NAME? |  | 4000.16 | 0.008 | -0.008
44 | 2 | 2 | 38 | 246 | 4000.17 | 1.5031 | 0.7385 | 34.6689 | Average | 1.5081 | 34.678 | 0.0091 | #NAME? | #NAME? |  | 4000.17 | 0.0091 | -0.0091
44 | 1 | 1 | 87 | 245 | 4304.24 | 1.5118 | 0.74142 | 34.6857 | Average | 1.5168 | 34.677 | -0.0087 | #NAME? | #NAME? |  | 4304.24 | -0.0087 | 0.0087
45 |  |  |  |  | 202 |  |  | 33.848 | (old cal)
45 |  |  |  |  | 300 |  |  | 33.886 | (old cal)
45 |  |  |  |  | 401 |  |  | 33.993 | (old cal)
45 |  |  |  |  | 500 |  |  | 34.106 | (old cal)
45 |  |  |  |  | 601 |  |  | 34.17 | (old cal)
45 |  |  |  |  | 801 |  |  | 34.28 | (old cal)
45 |  |  |  |  | 999 |  |  | 34.362 | (old cal)
45 |  |  |  |  | 1198 |  |  | 34.432 | (old cal)
45 |  |  |  |  | 1502 |  |  | 34.501 | (old cal)
45 |  |  |  |  | 1500 |  |  | 34.501 | (old cal)
49 | 23 | 23 | 49 | 290 | 2027 | 1.9126 | 0.72827 | 34.5969 | Average | 1.9176 | 34.58 | -0.0169 | #NAME? | #NAME?
49 | 22 | 22 | 207 | 289 | 2029.03 | 1.9117 | 0.72815 | 34.5908 | Average | 1.9167 |  | -34.5908 | #NAME? | #NAME?
49 | 21 | 21 | 191 | 288 | 2029.88 | 1.9116 | 0.72815 | 34.5904 | Average | 1.9166 |  | -34.5904 | #NAME? | #NAME?
49 | 20 | 20 | 118 | 287 | 2030.87 | 1.9115 | 0.72839 | 34.6025 | Average | 1.9165 | 34.586 | -0.0165 | #NAME? | #NAME?
49 | 19 | 19 | 182 | 286 | 2031.62 | 1.9116 | 0.72841 | 34.6031 | Average | 1.9166 | 34.586 | -0.0171 | #NAME? | #NAME?
49 | 18 | 18 | 119 | 285 | 2025.45 | 1.9178 | 0.72844 | 34.6011 | Average | 1.9228 | 34.586 | -0.0151 | #NAME? | #NAME?
49 | 17 | 17 | 109 | 284 | 2026.53 | 1.9171 | 0.72826 | 34.592 | Average | 1.9221 | 34.586 | -0.006 | #NAME? | #NAME?
49 | 16 | 16 | 146 | 283 | 2029.29 | 1.914 | 0.72823 | 34.592 | Average | 1.919 | 34.587 | -0.005 | #NAME? | #NAME?
49 | 15 | 15 | 101 | 282 | 2031.4 | 1.9131 | 0.72827 | 34.5945 | Average | 1.9181 | 34.587 | -0.0075 | #NAME? | #NAME?
49 | 14 | 14 | 141 | 281 | 2031.94 | 1.9124 | 0.72823 | 34.5929 | Average | 1.9174 | 34.585 | -0.0079 | #NAME? | #NAME?
49 | 13 | 13 | 134 | 280 | 2033.23 | 1.9114 | 0.72843 | 34.6037 | Average | 1.9164 | 34.587 | -0.0167 | #NAME? | #NAME?
49 | 12 | 12 | 179 | 279 | 2033.02 | 1.9102 | 0.72842 | 34.6048 | Average | 1.9152 | 34.586 | -0.0188 | #NAME? | #NAME?
49 | 11 | 11 | 94 | 278 | 2033.57 | 1.9083 | 0.72837 | 34.6038 | Average | 1.9133 | 34.587 | -0.0168 | #NAME? | #NAME?
49 | 10 | 10 | 29 | 277 | 2032.67 | 1.9075 | 0.72835 | 34.6039 | Average | 1.9125 | 34.588 | -0.0159 | #NAME? | #NAME?
49 | 9 | 9 | 135 | 276 | 2040.19 | 1.9025 | 0.72836 | 34.606 | Average | 1.9075 | 34.589 | -0.017 | #NAME? | #NAME?
49 | 8 | 8 | 22 | 275 | 2037.7 | 1.9036 | 0.72828 | 34.6017 | Average | 1.9086 | 34.588 | -0.0137 | #NAME? | #NAME?
49 | 7 | 7 | 196 | 274 | 2034.01 | 1.9056 | 0.72837 | 34.6064 | Average | 1.9106 | 34.588 | -0.0184 | #NAME? | #NAME?
49 | 6 | 6 | 132 | 273 | 2032.77 | 1.9063 | 0.72835 | 34.6052 | Average | 1.9113 | 34.586 | -0.0192 | #NAME? | #NAME?
49 | 5 | 5 | 31 | 272 | 2032.22 | 1.9053 | 0.72822 | 34.5994 | Average | 1.9103 | 34.588 | -0.0114 | #NAME? | #NAME?
49 | 4 | 4 | 79 | 271 | 2031.54 | 1.9051 | 0.72812 | 34.5949 | Average | 1.9101 | 34.588 | -0.0069 | #NAME? | #NAME?
49 | 3 | 3 | 82 | 270 | 2035.65 | 1.9025 | 0.72834 | 34.6073 | Average | 1.9075 | 34.587 | -0.0203 | #NAME? | #NAME?
49 | 2 | 2 | 64 | 269 | 2025.47 | 1.9099 | 0.72837 | 34.6057 | Average | 1.9149 | 34.586 | -0.0197 | #NAME? | #NAME?
49 | 1 | 1 | 72 | 268 | 2021.38 | 1.9111 | 0.72832 | 34.6041 | Average | 1.9161 | 34.586 | -0.0181 | #NAME? | #NAME?