## REVISION NOTICE TABLE

| ### DATE | ### DESCRIPTION OF REVISION |
| --- | --- |

## PROCESSING NOTES

Cruise: 1994-22

Agency: IOS, Ocean Ecology, Sidney, B.C

Location: Haro Strait and Juan de Fuca

Project: Haro Strait and Juan de Fuca Nutrients

Party Chief: Mackas, D.

Platform: Revisor

Date: April 26 1994 – May 19, 1994

Processed by: Joe Linguanti

Date of Processing: March 27 2017 – March 28, 2017

Number of CTD files:

Number of Bottle files: 13

# PROCESSING SUMMARY

The 13 files were obtained from the Ocean Ecology (OE) cruise 94-2 paper records found in the OE data room. This cruise had two legs, April 26 - 29 and May 16 – 19. According to the logs for leg 1, salinity, oxygen and nutrients were sampled for. CTDs and Net tows were done as well. CTD data could not be found. The metadata, salinity and oxygen data were entered into an Excel spreadsheet file and then converted to IOS Header Format using the IOS Shell routine, Convert Spreadsheet Files. The quality of the analysis is not known therefore quality flags are not included for the oxygen data.

Analysis Methods:

Salinity samples are collected in glass bottles and analyzed on a Guildline model 8410 Portasal Salinometer, serial number 59724 which was standardized with IAPSO standard seawater.

Oxygen samples are analyzed on an automated Winkler titration system following the procedures of Carpenter (1965). A Brinkmann model 665 Dosimat and model PC910 Colorimeter is controlled by Visual-Basic program to titrate the oxygen samples.