## REVISION NOTICE TABLE

| ### DATE | ### DESCRIPTION OF REVISION |
| --- | --- |

## PROCESSING NOTES

Cruise: 1995-03

Agency: IOS, Ocean Ecology, Sidney, B.C

Location: Saanich Inlet, Haro Strait, Juan de Fuca, Jervis Inlet

Project: Georgia Basin nutrients & Jervis/Saanich euphausiids

Party Chief: Mackas, D.

Platform: CSS RB Young

Date: February 6 1995 – February 17, 1995

Processed by: Joe Linguanti

Date of Processing: March 22 2017 – March 27, 2017

Number of CTD files:

Number of Bottle files: 16

# PROCESSING SUMMARY

The 16 files were obtained from the Ocean Ecology (OE) cruise 95-03 paper records found in the OE data room. According to the logs, oxygen, nutrients, chlorophyll, POC, DOC, PON and DON were sampled for. There was only sufficient information to rescue salinity and oxygen. The metadata, salinity and oxygen data were entered into an Excel spreadsheet file and then converted to IOS Header Format using the IOS Shell routine, Convert Spreadsheet Files. The quality of the analysis is not known therefore quality flags are not included for the oxygen data.

Analysis Methods

Salinity samples are collected in glass bottles and analyzed on a Guildline model 8410 Portasal Salinometer, serial number 59724 which was standardized with IAPSO standard seawater.

Oxygen samples are analyzed on an automated Winkler titration system following the procedures of Carpenter (1965). A Brinkmann model 665 Dosimat and model PC910 Colorimeter is controlled by Visual-Basic program to titrate the oxygen samples.