## REVISION NOTICE TABLE

| ### DATE | ### DESCRIPTION OF REVISION |
| --- | --- |
| 13-Jan-2014 | Added underway pCO2 data from Sophia Johannessen’s Excel files prepared for The Carbon Dioxide Information Analysis Center (CDIAC). The file is located in the cruise .DOC directory. |
| 29-Nov-2012 | - Merged CFC data from Wendy Richard’s spreadsheet file for casts 7, 23, 33, 41, 47, 51 and 55. |
| 18-Jul-2012 | - Added DOC and DON data from John Page’s file for rosette casts 3, 7, 23, 33, 41, 47 and 55. Cast 3 was an additional containing only DOC data. |
| 9-Feb-2012 | - Added two productivity casts containing Primary Productivity, Chlorophyll, Nutrients, POC and PON, from Frank Whitney’s Productivity spreadsheet. - Merged DIC data to bottle cast number 55 from Jim Christian’s DIC file located in the \DOC directory. For more information, including quality control analysis see John Page’s spreadsheet files in directory \\OSD_Data_Archive\Cruise_Data\Documents\Station Papa Data Archiving\Alkalinity and DIC. |

Cruise 95-05

May 9-25, 1995

Processing Notes

Cruise Particulars

------------------

Location                 : Line P

Chief Scientist          : Frank Whitney

Vessel                   : Tully

Processed by             : Rick Pearson - Equisoft Consulting

Processing started       : Jan 16,1996

Number of Original Casts : 88

Number of Casts Processed: 46

Two CTD's were used on this cruise:

WOCE Guildline S/N 59901

Standard Guildine S/N 58483

For the first part of the cruise (casts 1-56), 59901 was used in

conjunction with the 24 bottle rosette and 58483 was used for CTD-only

casts.  Starting with cast 57, 59901 was not used at all, and 58483

was used in conjunction with the 12 bottle rosette.

Summary of Quality and Concerns

-------------------------------

- All cast files were in good order.  The casts missing from

the final processed data are all upcast files.

- The surface pressures for 58483 read consistently 2.6 dBars

(with some variation) and so this amount was subtracted from

all pressures for that instrument.

- Comparision of the 59901 main temperature sensor with its two

thermistors showed that all three agreed well until the last

two casts with that instrument (53 & 55) at which point

the main temperature sensor began to read approximately 0.02

deg C low.  There is no account in the log files that would

explain such a shift.  This problem suggests, however,

that the instrument was damaged.

The temperatures for casts 53 and 55 also appeared a bit

erratic, and so I decided to remove the main temperature channel

from those casts and recalculate salinity from the thermistor1.

- The salinities for both CTD's were reading 0.01 to 0.015 PSU

low for the duration of the cruise.  I corrected the salinity

data to match the bottle data at the BINAVE stage using fit

coefficients determined by the COMPARE utility.

I am disturbed that roughly the same offset was observed for both

CTD's.  It could be a coincidence but it could also mean that:

a) The bottle salinities are wrong (not likely)

b) Both CTD laboratory calibrations were in error by the

same amount.

c) Some other common factor is affecting the salinity readings

for both CTD's.

This warrents further investigation.

- The salinity for 59901 cast #3 is invalid due to the fact that the

alcohol filled tubing was left on the CTD during the cast.

Processing Details

------------------

1. Accumulation of Information

All logs and summary sheets found.  Pre-cruise coefficients for

both CTD's found and verified to be the same as in the raw

CTD headers.

2. Checking Header Validity

Cast #86 - Header contained two COMMENTS sections (one must

have been typed in by hand).  I combined them into one.

All other casts are fine.

3. Conversion

Converted casts 1-7 for test purposes.  No problems.

5. Calibration

Tested 59901 calibration using cast #1.  Looked at mixed layer between

150 and 220 meters (~9.45 deg C).  It looks like there is good

agreement between Temperature and Thermistor2 (~.001 deg),

but Thermistor1 is higher than the other two channels

by 0.005 deg.  Salinity channel appears nominally correct but needs

time compensation.

Tested 58483 calibration using cast #4.  Data looks nominally

valid.

NOTE: The remaining processing was done in two parts with the 59901

WOCE CTD data being processed first, and then the 58483 data.

Processing of 59901 WOCE Data

-----------------------------

6. Calibrated all 59901 files using calibration control file 59901.ccf.

7. Produced a set of test plots of Temp and Sal

Notes:

Cast 1  - Station name wrong - should be SI3

Cast 2  - Missing

Cast 3  - Station name wrong - should be GEO 1545

- Salinity is bad due to tubing left on cond cell (noted in

log book)

Cast 7  - Looks okay, salinity a bit noisey

Cast 22/23 - Okay

Cast 32/33 - Okay

Cast 40/41 - Okay

Cast 50/51 - Okay

Cast 52/53 - Okay

Cast 54/55/56 - Okay

8. Despike

NOTE: Remaining processing has been limited to only those files

containing downcasts. These are casts 1,3,7,22,32,40,46,50,52,54

Ran despike using the following parameters:

DESPIKE TABLE

CHANNEL              FIT   OVER-  MIN     MAX    MIN     MAX     SPIKE

WIDTH LAP    VALUE   VALUE  STDDEV  STDDEV  TOL.

-------------------- ----- ----- ------- ------- ------- ------- -----

PRES                    55     5   -2.00 4000.00 1.00000 999.000  3.00

TEMP                    55     5    0.00   20.00 0.01000 999.000  3.00

COND                    55     5    0.00    2.00 0.00500 999.000  3.00

TEMPERATURE:THERMIST    55     5    0.00   20.00 0.01000 999.000  3.00

TEMPERATURE:THERMIST    55     5    0.00   20.00 0.01000 999.000  3.00

Produced test profile plots for all channels.  Only spikes remaining

were as follows:

- Conductivity spikes remained in casts 22 and 46.  I ran despike a

second time on these files using the parameters:

DESPIKE TABLE

CHANNEL              FIT   OVER-  MIN     MAX    MIN     MAX     SPIKE

WIDTH LAP    VALUE   VALUE  STDDEV  STDDEV  TOL.

-------------------- ----- ----- ------- ------- ------- ------- -----

COND                    55     5    0.00    2.00 0.00010 999.000  2.50

This removed the remaining spikes.

- The transmissivity channel for all files was very spikey.  I ran despike

using the following parameters:

DESPIKE TABLE

CHANNEL              FIT   OVER-  MIN     MAX    MIN     MAX     SPIKE

WIDTH LAP    VALUE   VALUE  STDDEV  STDDEV  TOL.

-------------------- ----- ----- ------- ------- ------- ------- -----

TRAN                   201    20    0.00  100.00 0.10000 999.000  3.00

This removed most of the spikes.  The few that remain can be removed

at the 1ma stage.

9. Timecomp

Ran the TIMECOMP program on all files using the following parameters:

-The following TIMECOMP parameters were used:

Temp. probe Dist (m):  0.0400  Sample period (sec):  0.0400

The problem with these parameters is that the actual sample period is

50ms.  The program will only accept 40ms or 20ms however.  We will

have to see how it turns out.

10. Delete

Ran DELETE on all files using the following parameters:

Surface Record Removal: Low Sal & Last Press Min

Maximum Surface Pressure (relative):      20.00

Minimum Surface Salinity:     25.000

Surface Swell Pressure Tolerance:       1.00

Pressure filtered over width:   21

Swells deleted. Warning message if pressure difference of      2.00

Drop rates<   0.30m/s (calculated over  61 points) will be deleted

Sample interval =      0.05 seconds.

Discovered that surface records for cast #3 could not be removed

based on minimum salinity because of the bad readings for that cast.

Therefore, cast 3 was reprocessed using the following parameters

Surface Record Removal: Last Press Min

Maximum Surface Pressure (relative):      20.00

Surface Swell Pressure Tolerance:       1.00

Pressure filtered over width:   21

Swells deleted. Warning message if pressure difference of      2.00

Drop rates<   0.03m/s (calculated over  61 points) will be deleted

Sample interval =      0.05 seconds.

11. Remove Salinity Spikes

The salinity spikes remaining in the data after the DELETE step were

removed using the BOXCAR filter program configured to apply a median

filter to the salinity channel using the following parameters:

-The following FILTER parameters were used.

Median filter was used.

Filter width =   61

The following channel(s) were filtered.

sal

12. Bin Average

The .BOX files were bin averaged to 1 meter bins using the following

parameters:

-The following BINAVE2 parameters were used:

Bin channel = pres

Averaging interval =    1.0

Minimum bin value =        .000

Average value was used

Interpolated values were NOT used for empty bins

Channel 'NUMBER_OF_BIN_RECORDS' was added to file.

13. Test Plots

Test plots of T and S profiles and T vs. S were done for all 59901 casts.

Data appeared to be clean except for the salinities in cast 3 which are

bad due to plugs not being removed from the cond cell.

14. Fixed Station names for casts 1 and 3

The station names for casts 1 and 3 were wrong and so I edited the .AVG

files to correct them.

15.  Performed an intercomparison between the CTD and Bottle

Salinities as follows:

I used the spreadsheet "saldata" produced by Bernie Minkley to create

a series of IOS HEADER files with the .SAL extension.  These files contain

the bottle pressure, temperature, salinity, and sample number for each

water sample.

I calibrated the .BOT files produced by the CONVERT program using the

59901.ccf calibration control file (the same one used on the .RAW

files).  This produced a set of .CAB files.  I then used the ADDSAMP

program to add a channel to the .CAB files containing the

consecutive sample (numbers which match the consecutive sample numbers

in the .SAL files).  These new files have the .SAM extension.

I then ran the COMPARE program, comparing the salinity in the .SAL

files (primary), with the .SAM files (secondary).  This produced the

comparison file "WOCECOMP.CSV".  I then imported this .CSV file into

EXCEL using the COMPARE macros.  NOTE: It took a couple of itterations

to determine the correct consecutive sample numbers to apply to the

data in the .CAB files.

Once I was satisfied that I had the proper bottle and CTD records

being compared, I plotted the salinity difference as a function

of pressure, salinity and file number.

It appears that an event occured between Casts 51 and 53 in

which the response of the conductivity changed.  From casts 1 to

51, the CTD salinity shows about a -.015 PSU offset.  For casts 53

and 55, the offset is about +.002.  The cruise log records that the

WOCE CTD conducitivity cell was cleaned with 10% HCl at UTC 20:35

on May 16.  If this was the cause of the shift it would have affected

cast #51 as well so it is hard to understand why the shift in response

occured.  It also appears that the residuals are more erratic for cast

#55 than for the previous casts (including #53).

The salinity difference plots for casts 1-53 suggests that the salinity

offset changes as a function of pressure.  It also appears, however, that

this change can be attributed to a change in offset as a function of the

changing salinity with depth.  Because the latter is a more straight

forward correction, a simple slope and offset correction in salinity

will be applied.

16.  Performed an intercomparison between the CTD Temperature

and thermistor channels.

I used the THIN program on the .AVG files to produce files with one

record every 20 decibars.  I then used compare using the .THN files

as the "primary" files and the .AVG files and the "secondary" files.

I did the comparisons: "th1-temp","th2-temp","th2-th1".

The COMPARE plots revealed that the two thermisors agreed for all

casts 1-55, and the thermistors and main temperature sensor agreed

for casts 1-51.  However, the temperature appears to have drifted

low by about .02 degrees for casts 52 and 54.

From the above results, I determined that the shift observed in

salinity in step #14 (above) was due to the temperature shift.

I tested this by recalculating salinity in the .SAM files from

the thermistor1 temperatures.  This completely removed the observed

shift in salinity for upcasts 53 and 55.

17.  Remove temperature channel from casts 52 and 54 and recalc Sal

I used the REMOVE program to remove the main temperature channel

from the .DEL files (produced in step 10) for casts 52 and 54

I then used the DERIVEDQ program to recalculate salinity from

the thermistor1 channel from the .REM files for casts 52 and 54.

I then reran the BOXCAR and BINAVE2 programs to recreate the .AVG

files with the temperature channel removed.

18. Corrected salinites

I corrected the salinites in the 59901 .AVG files by running the

CALIB program using following parameters:

-The following CALIB parameters were used:

Calibration type = C

Pressure offset =         .0

Calibration file = saladj.ccf

The saladj.ccf file contains the following formula:

1              1000          1            'ONLY'

'salinity'       10         2          3.284517E-02      0.9994413

' '           ' '            0             0             0

19.  Median Filtered Salinity for Casts 52 and 54

The salinity channel for casts 52 and 54 was still a bit spikey

due to the fact that the thermistor1 channel is not properly

time compensated with the conducitivity.  I ran BOXCAR on

the salinity channel of the .COR files using the following parameters:

-The following FILTER parameters were used.

Median filter was used.

Filter width =    3

The following channel(s) were filtered.

sal

This removed the larger salinity spikes.

20. I removed the COND channel by running REMOVECH with the following

parameters:

-The following CHANNEL(S) were removed from file.

Conductivity_Ratio

Processing of 58483 Data

------------------------

6. Calibrated all 58483 files using calibration control file 58483.ccf.

7. Ran DESPIKE using the following parameters:

-The following DESPIKE parameters were used:

DESPIKE TABLE

CHANNEL              FIT   OVER-  MIN     MAX    MIN     MAX     SPIKE

WIDTH LAP    VALUE   VALUE  STDDEV  STDDEV  TOL.

-------------------- ----- ----- ------- ------- ------- ------- -----

PRES                    55     5   -2.00 4000.00 1.00000 999.000  3.00

TEMP                    55     5    0.00   20.00 0.01000 999.000  3.00

COND                    55     5    0.00    2.00 0.00010  99.000  2.50

8. Ran TIMECOMP using the following parameters:

-The following TIMECOMP parameters were used:

Temp. probe Dist (m):  0.0700  Sample period (sec):  0.0400

9. Check surface pressures

Ran the SURFACE summary program and determined that, on average, the

pressure sensor was reading 2.6 decibars at the surface.

Ran CALIB to correct the pressure readings using the following parameters:

-The following CALIB parameters were used:

Calibration type = C

Salinity is computed

Pressure offset =        0.0

Calibration file = PRESADJ.CCF

where PRESADJ.CCF contained the following calibration:

1              1000          1            'ONLY'

'pressure'       10         2          -2.6      1

' '           ' '            0             0             0

10. Ran DELETE using the following parameters:

-The following DELETE parameters were used:

Surface Record Removal: Last Press Min

Maximum Surface Pressure (relative):      20.00

Surface Swell Pressure Tolerance:       1.00

Pressure filtered over width:   21

Swells deleted. Warning message if pressure difference of      2.00

Drop rates<   0.03m/s (calculated over  61 points) will be deleted

Sample interval =      0.05 seconds.

11. Removed Salinity Spikes

Based on a set of sample plots, I determined that there were remaining

spikes in salinity that had to be removed.  To do this I ran

the BOXCAR filter program using the following parameters:

-The following FILTER parameters were used.

Median filter was used.

Filter width =   61

The following channel(s) were filtered.

SAL

12. Ran BINAVE with the following parameters:

-The following BINAVE parameters were used:

Bin channel = PRES

Averaging interval =    1.0

Minimum bin value =       0.000

Average value was used

Interpolated values were NOT used for empty bins

Channel 'NUMBER_OF_BIN_RECORDS' was added to file.

13. Compared Bottle vs. CTD salinities

I used the spreadsheet "saldata" produced by Bernie Minkley to create

a series of IOS HEADER files with the .SAL extension.  These files contain

the bottle pressure, temperature, salinity, and sample number for each

water sample.

I then ran the COMPARE program, comparing the salinity in the .SAL

files (primary), with the upcast CTD .CAL files.  This produced the

comparison file "SALCMP2.CSV".  I then imported this .CSV file into

EXCEL using the COMPARE macros.

I plotted the salinity difference as a function of salinity and

determined that the CTD salinity was low by about .012 PSU.  This

is approximatly the same difference observed between the WOCE CTD

and bottle salinities.  The coincidence is disturbing because it

suggests that the offset might be due to some common factor affecting

both CTD's.  For example, the bottle salinities might be wrong

(unlikely) or the laboratory calibrations for both CTD's were done

with some common (but erroneous) offset applied.

14. Manually Edited Spikes

I used the CTDEDIT program to manual remove transmissivity spikes

from the following casts:

59,65,67,75,77,88

I also removed salinity spikes (due to bad COND) from cast 57.

15. Corrected salinites

I corrected the salinites in the 58483 .AVG files (or .EDT files if

created) by running the CALIB program using following parameters:

-The following CALIB parameters were used:

Calibration type = C

Pressure offset =         .0

Calibration file = saladj.ccf

The saladj.ccf file was produced by the COMPARE macros and

contains the following formula:

1              1000         1            'ONLY'

'salinity'        10         2          0.0331742     0.9993644

' '           ' '            0             0             0

16. I removed the COND channel by running REMOVECH with the following

parameters:

-The following CHANNEL(S) were removed from file.

Conductivity_Ratio

Intercomparision of two CTD's

-----------------------------

I compared salinity and temperature between the two CTD's for the

stations in which casts were taken with both:

Station   59901 Cast #    58483 Cast #

-------   ------------    ------------

MP12            22           24

MP26            54           57

I compared salinity and temperature from the downcast 1ma data at

standard depths and determined that there was no measurable

offset between the two CTD's in either parameter.

Data archived on tapes DLT011 and DLT012.

February 6, 1998

----------------

cast 3 - Rick noted that salinity was bad but he neglected to delete it from

the file. Salinity channel was removed.

Joe Linguanti

January 31, 20001 - Bernard Minkley

---------------------------------

Bottle cast 23 - when data plotted, it clearly showed (using salinity data) that

initial pressure values were incorrect.  Using pressure values

suggested by John Page gives good agreement with bottle salinity and oxygen data.

# Moving files to new archive. May 20, 2003 – Joe Linguanti

- The CHE files in \\DATA_LIB\CTD contained nutrient data in umol/kg which is not the units we want in the archive, therefore the nutrient data in umol/L and chlorophyll data from Frank Whitney’s 9505-HYD.XLS spreadsheet was merged with the bottle data. Frank’s original file is in the DOC directory.

- Program HEADER EDIT was used to change non-standard channel names and units and add additional metadata to the CTD and Rosette files.

- Program Clean was used to;

- reset number of records, minimum and maximum values

- delete empty channels where applicable

- set channel name initial letters to uppercase

- Files .CLN were copied to new archive and renamed to the new file convention “YYYY-CC-NNNN.* “.

- The loop file was obtained from Frank Whitney. The spreadsheet file was then converted to IOS Header format with meta-data added to it. The original .XLS file is in the DOC directory.

- The SAIL files were copied from the TRACKOBS directory in the OSAP Data Archive.

- Channels not needed were removed.

- Program HEADER EDIT was used to change non-standard channel names and units and add additional metadata to the files.

- IOS Header Date and Time channels were added.

- Program Clean was used to set the start and end times and the geographical area.