## File List
Number of Files= |  | 8
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 95070009.hyd | 95070009.sam | 11 | 28 | 95070009.hyd & 95070009.sam
2 | 95070020.hyd | 95070020.sam | 30 | 31 | 95070020.hyd & 95070020.sam
3 | 95070024.hyd | 95070024.sam | 33 | 35 | 95070024.hyd & 95070024.sam
4 | 95070033.hyd | 95070033.sam | 37 | 46 | 95070033.hyd & 95070033.sam
5 | 95070037.hyd | 95070037.sam | 48 | 65 | 95070037.hyd & 95070037.sam
6 | 95070042.hyd | 95070042.sam | 67 | 67 | 95070042.hyd & 95070042.sam
7 | 95070044.hyd | 95070044.sam | 69 | 69 | 95070044.hyd & 95070044.sam
8 | 95070050.hyd | 95070050.sam | 71 | 76 | 95070050.hyd & 95070050.sam

## (Salinity - Salinityb) Ch
Casts 9, 20 and 24

## (Salinity - Salinityb)
Calculation of Linear Least Squares Fit For
(Salinity - Salinityb)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Salinity - Salinityb), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | #VALUE! |  | X | CALC Y
m= | #VALUE! | #VALUE! |  | Std Dev of Resid |  | #VALUE! |  | #NAME? | #NAME?
b= | #VALUE! | #VALUE! |  | Resid Sum of Squares |  | #VALUE! |  | #NAME? | #NAME?
# of Values Extracted = |  |  | 23
# of Values Used in Fit = |  |  | 19
File | Use | Pressure | Salinity | Salinity | Diff (Salinity - Salinityb) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 1.09 | 31.6646 | 0.00040137 | -0.023186 | #VALUE! | #VALUE! |  | 30.46 | -0.01009
1 | NO | 10.89 | 31.9855 | 0.015999 | -0.071323 | #VALUE! | #VALUE! |  | 51.12 | -0.0087433
1 | NO | 19.59 | 32.4772 | 0.0016965 | 0.0044212 | #VALUE! | #VALUE! |  | 76.36 | -0.013805
1 | YES | 30.46 | 32.4765 | 0.00047573 | -0.01009 | #VALUE! | #VALUE! |  | 101.63 | -0.0049286
1 | YES | 51.12 | 32.4837 | 0.0023197 | -0.0087433 | #VALUE! | #VALUE! |  | 151.18 | -0.010883
1 | YES | 76.36 | 32.5398 | 0.0072651 | -0.013805 | #VALUE! | #VALUE! |  | 176.92 | -0.0059166
1 | YES | 101.63 | 32.9525 | 0.0015533 | -0.0049286 | #VALUE! | #VALUE! |  | 201.78 | -0.0071945
1 | NO | 125.45 | 33.6557 | 0.0023066 | 0.0043335 | #VALUE! | #VALUE! |  | 251.39 | -0.0081139
1 | YES | 151.18 | 33.7834 | 0.00031018 | -0.010883 | #VALUE! | #VALUE! |  | 300.95 | -0.0038795
1 | YES | 176.92 | 33.8637 | 0.00092806 | -0.0059166 | #VALUE! | #VALUE! |  | 400.8 | -0.0069237
1 | YES | 201.78 | 33.8999 | 0.0022746 | -0.0071945 | #VALUE! | #VALUE! |  | 401.36 | -0.0079384
1 | YES | 251.39 | 33.9167 | 0.0011406 | -0.0081139 | #VALUE! | #VALUE! |  | 401.7 | -0.0080223
1 | YES | 300.95 | 33.9497 | 0.0010416 | -0.0038795 | #VALUE! | #VALUE! |  | 500.58 | -0.0066834
1 | YES | 400.8 | 34.0059 | 0.0005311 | -0.0069237 | #VALUE! | #VALUE! |  | 533.35 | -0.0031624
1 | YES | 401.36 | 34.0062 | 0.00047367 | -0.0079384 | #VALUE! | #VALUE! |  | 1000.18 | -0.0090141
1 | YES | 401.7 | 34.0057 | 0.00049248 | -0.0080223 | #VALUE! | #VALUE! |  | 1158.79 | -0.0067291
1 | YES | 500.58 | 34.1185 | 0.0019933 | -0.0066834 | #VALUE! | #VALUE! |  | 398.7 | -0.011749
1 | YES | 533.35 | 34.1611 | 0.0098883 | -0.0031624 | #VALUE! | #VALUE! |  | 398.88 | -0.011643
2 | YES | 1000.18 | 34.361 | 0.00046641 | -0.0090141 | #VALUE! | #VALUE! |  | 2119.26 | -0.0065842
2 | YES | 1158.79 | 34.4266 | 0.00072871 | -0.0067291 | #VALUE! | #VALUE!
3 | YES | 398.7 | 33.9909 | 0.00018059 | -0.011749 | #VALUE! | #VALUE!
3 | YES | 398.88 | 33.9909 | 0.00016203 | -0.011643 | #VALUE! | #VALUE!
3 | YES | 2119.26 | 34.606 | 0.00030051 | -0.0065842 | #VALUE! | #VALUE!
NO
NO
NO
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. Salinity
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Salinity - Salinityb) (2) Ch
Casts 33, 37, 42 and 44

## (Salinity - Salinityb) (2)
Calculation of Linear Least Squares Fit For
(Salinity - Salinityb)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Salinity - Salinityb), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | #VALUE! |  | X | CALC Y
m= | #VALUE! | #VALUE! |  | Std Dev of Resid |  | #VALUE! |  | #NAME? | #NAME?
b= | #VALUE! | #VALUE! |  | Resid Sum of Squares |  | #VALUE! |  | #NAME? | #NAME?
# of Values Extracted = |  |  | 36
# of Values Used in Fit = |  |  | 26
File | Use | Pressure | Salinity | Salinity | Diff (Salinity - Salinityb) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
4 | YES | 0.31 | 31.0367 | 0.00062724 | -0.010742 | #VALUE! | #VALUE! |  | 0.31 | -0.010742
4 | NO | 10.79 | 31.3909 | 0.04416 | 0.018965 | #VALUE! | #VALUE! |  | 20.91 | -0.024467
4 | YES | 20.91 | 31.9465 | 0.001171 | -0.024467 | #VALUE! | #VALUE! |  | 31.06 | -0.0068474
4 | YES | 31.06 | 32.242 | 0.0019243 | -0.0068474 | #VALUE! | #VALUE! |  | 50.61 | -0.011269
4 | YES | 50.61 | 32.5473 | 0.001862 | -0.011269 | #VALUE! | #VALUE! |  | 100.7 | -0.012325
4 | NO | 75.12 | 33.1478 | 0.0096814 | 0.99539 | #VALUE! | #VALUE! |  | 126.14 | -0.011562
4 | YES | 100.7 | 33.4723 | 0.003837 | -0.012325 | #VALUE! | #VALUE! |  | 152.52 | -0.010685
4 | YES | 126.14 | 33.7968 | 0.0016335 | -0.011562 | #VALUE! | #VALUE! |  | 0.32 | -0.0039654
4 | YES | 152.52 | 33.8369 | 0.0023138 | -0.010685 | #VALUE! | #VALUE! |  | 11.32 | -0.020342
4 | NO | 0 | 0 | 0 | -33.8478 | #VALUE! | #VALUE! |  | 20.72 | -0.0053406
5 | YES | 0.32 | 31.5206 | 0.001548 | -0.0039654 | #VALUE! | #VALUE! |  | 30.48 | -0.013245
5 | YES | 11.32 | 31.9255 | 0.0012068 | -0.020342 | #VALUE! | #VALUE! |  | 50.94 | -0.012146
5 | YES | 20.72 | 32.2819 | 0.0016286 | -0.0053406 | #VALUE! | #VALUE! |  | 75.22 | -0.009861
5 | YES | 30.48 | 32.4451 | 0.0018285 | -0.013245 | #VALUE! | #VALUE! |  | 100.99 | -0.01474
5 | YES | 50.94 | 32.5033 | 0.00050969 | -0.012146 | #VALUE! | #VALUE! |  | 150.99 | -0.013138
5 | YES | 75.22 | 32.8203 | 0.00081992 | -0.009861 | #VALUE! | #VALUE! |  | 176.34 | -0.012455
5 | YES | 100.99 | 33.3989 | 0.00048072 | -0.01474 | #VALUE! | #VALUE! |  | 201.36 | -0.013222
5 | NO | 125.52 | 33.6322 | 0.0017076 | 0.0041275 | #VALUE! | #VALUE! |  | 300.98 | -0.010475
5 | YES | 150.99 | 33.8111 | 0.00077222 | -0.013138 | #VALUE! | #VALUE! |  | 402.04 | -0.012749
5 | YES | 176.34 | 33.8649 | 0.0015732 | -0.012455 | #VALUE! | #VALUE! |  | 500.71 | -0.012157
5 | YES | 201.36 | 33.8784 | 0.0012815 | -0.013222 | #VALUE! | #VALUE! |  | 601 | -0.012512
5 | YES | 300.98 | 33.9467 | 0.0015808 | -0.010475 | #VALUE! | #VALUE! |  | 800.92 | -0.011341
5 | YES | 402.04 | 34.0125 | 0.00074994 | -0.012749 | #VALUE! | #VALUE! |  | 1001.07 | -0.0099831
5 | YES | 500.71 | 34.0755 | 0.00048719 | -0.012157 | #VALUE! | #VALUE! |  | 1004.33 | -0.010757
5 | YES | 601 | 34.1509 | 0.00080253 | -0.012512 | #VALUE! | #VALUE! |  | 2063.54 | -0.010448
5 | YES | 800.92 | 34.3032 | 0.00082572 | -0.011341 | #VALUE! | #VALUE! |  | 1775.87 | -0.010445
5 | YES | 1001.07 | 34.3798 | 0.00056137 | -0.0099831 | #VALUE! | #VALUE!
5 | YES | 1004.33 | 34.3798 | 0.0012716 | -0.010757 | #VALUE! | #VALUE!
6 | YES | 2063.54 | 34.5992 | 0.00060086 | -0.010448 | #VALUE! | #VALUE!
7 | YES | 1775.87 | 34.546 | 0.0023443 | -0.010445 | #VALUE! | #VALUE!
8 | NO | 30.15 | 32.2257 | 0.0026136 | 0.7961 | #VALUE! | #VALUE!
8 | NO | 50.96 | 32.4215 | 0.0012834 | 0.56525 | #VALUE! | #VALUE!
8 | NO | 74.7 | 32.4823 | 0.0032363 | 0.3652 | #VALUE! | #VALUE!
8 | NO | 101.37 | 33.2126 | 0.0027088 | 1.0947 | #VALUE! | #VALUE!
8 | NO | 126.62 | 33.7983 | 0.0043871 | 0.00037766 | #VALUE! | #VALUE!
8 | NO | 131.17 | 33.8219 | 0.0021115 | 0.0018654 | #VALUE! | #VALUE!
YES
NO
YES
YES
YES
NO
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
FIT vs. Pressure
FIT vs. Salinity
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 2
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | Salinityb | Salinity |  | Salinity - Salinityb
Average Size: | 0
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | Salinityb | Salinity | Salinity | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
95070009.hyd | 95070009.sam | 39 | 0.4 | 1.09 | 0 | 0.69 | 31.6878 | 31.6646 | 0.00040137 | -0.023186
95070009.hyd | 95070009.sam | 100 | 10 | 10.89 | 0 | 0.89 | 32.0568 | 31.9855 | 0.015999 | -0.071323
95070009.hyd | 95070009.sam | 50 | 19 | 19.59 | 0 | 0.59 | 32.4728 | 32.4772 | 0.0016965 | 0.0044212
95070009.hyd | 95070009.sam | 32 | 30 | 30.46 | 0 | 0.46 | 32.4866 | 32.4765 | 0.00047573 | -0.01009
95070009.hyd | 95070009.sam | 61 | 50 | 51.12 | 0 | 1.12 | 32.4924 | 32.4837 | 0.0023197 | -0.0087433
95070009.hyd | 95070009.sam | 31 | 76 | 76.36 | 0 | 0.36 | 32.5536 | 32.5398 | 0.0072651 | -0.013805
95070009.hyd | 95070009.sam | 29 | 101 | 101.63 | 0 | 0.63 | 32.9574 | 32.9525 | 0.0015533 | -0.0049286
95070009.hyd | 95070009.sam | 14 | 125 | 125.45 | 0 | 0.45 | 33.6514 | 33.6557 | 0.0023066 | 0.0043335
95070009.hyd | 95070009.sam | 27 | 151 | 151.18 | 0 | 0.17999 | 33.7943 | 33.7834 | 0.00031018 | -0.010883
95070009.hyd | 95070009.sam | 42 | 176 | 176.92 | 0 | 0.92 | 33.8696 | 33.8637 | 0.00092806 | -0.0059166
95070009.hyd | 95070009.sam | 44 | 201 | 201.78 | 0 | 0.78 | 33.9071 | 33.8999 | 0.0022746 | -0.0071945
95070009.hyd | 95070009.sam | 28 | 251 | 251.39 | 0 | 0.39 | 33.9248 | 33.9167 | 0.0011406 | -0.0081139
95070009.hyd | 95070009.sam | 80 | 300 | 300.95 | 0 | 0.95001 | 33.9536 | 33.9497 | 0.0010416 | -0.0038795
95070009.hyd | 95070009.sam | 19 | 400 | 400.8 | 0 | 0.79999 | 34.0128 | 34.0059 | 0.0005311 | -0.0069237
95070009.hyd | 95070009.sam | 21 | 401 | 401.36 | 0 | 0.35998 | 34.0141 | 34.0062 | 0.00047367 | -0.0079384
95070009.hyd | 95070009.sam | 66 | 401 | 401.7 | 0 | 0.70001 | 34.0137 | 34.0057 | 0.00049248 | -0.0080223
95070009.hyd | 95070009.sam | 6 | 500 | 500.58 | 0 | 0.57999 | 34.1252 | 34.1185 | 0.0019933 | -0.0066834
95070009.hyd | 95070009.sam | 25 | 533 | 533.35 | 0 | 0.34998 | 34.1643 | 34.1611 | 0.0098883 | -0.0031624
95070020.hyd | 95070020.sam | 33 | 1000 | 1000.18 | 0 | 0.17999 | 34.37 | 34.361 | 0.00046641 | -0.0090141
95070020.hyd | 95070020.sam | 18 | 1157 | 1158.79 | 0 | 1.79 | 34.4333 | 34.4266 | 0.00072871 | -0.0067291
95070024.hyd | 95070024.sam | 21 | 398 | 398.7 | 0 | 0.70001 | 34.0026 | 33.9909 | 0.00018059 | -0.011749
95070024.hyd | 95070024.sam | 7 | 398.2 | 398.88 | 0 | 0.67999 | 34.0025 | 33.9909 | 0.00016203 | -0.011643
95070024.hyd | 95070024.sam | 29 | 2119.3 | 2119.26 | 0 | -0.040039 | 34.6126 | 34.606 | 0.00030051 | -0.0065842
95070033.hyd | 95070033.sam | 19 | 1 | 0.31 | 0 | -0.69 | 31.0474 | 31.0367 | 0.00062724 | -0.010742
95070033.hyd | 95070033.sam | 90 | 10 | 10.79 | 0 | 0.79 | 31.3719 | 31.3909 | 0.04416 | 0.018965
95070033.hyd | 95070033.sam | 39 | 20 | 20.91 | 0 | 0.91 | 31.971 | 31.9465 | 0.001171 | -0.024467
95070033.hyd | 95070033.sam | 99 | 30 | 31.06 | 0 | 1.06 | 32.2488 | 32.242 | 0.0019243 | -0.0068474
95070033.hyd | 95070033.sam | 15 | 50 | 50.61 | 0 | 0.61 | 32.5586 | 32.5473 | 0.001862 | -0.011269
95070033.hyd | 95070033.sam | 37 | 75 | 75.12 | 0 | 0.12 | 32.1524 | 33.1478 | 0.0096814 | 0.99539
95070033.hyd | 95070033.sam | 62 | 100 | 100.7 | 0 | 0.7 | 33.4846 | 33.4723 | 0.003837 | -0.012325
95070033.hyd | 95070033.sam | 25 | 125 | 126.14 | 0 | 1.14 | 33.8084 | 33.7968 | 0.0016335 | -0.011562
95070033.hyd | 95070033.sam | 52 | 152 | 152.52 | 0 | 0.52 | 33.8476 | 33.8369 | 0.0023138 | -0.010685
95070033.hyd | 95070033.sam | 0 | 152 | 0 | 0 | -152 | 33.8478 | 0 | 0 | -33.8478
95070037.hyd | 95070037.sam | 81 | 0.5 | 0.32 | 0 | -0.18 | 31.5246 | 31.5206 | 0.001548 | -0.0039654
95070037.hyd | 95070037.sam | 81 | 11 | 11.32 | 0 | 0.32 | 31.9458 | 31.9255 | 0.0012068 | -0.020342
95070037.hyd | 95070037.sam | 81 | 20 | 20.72 | 0 | 0.72 | 32.2872 | 32.2819 | 0.0016286 | -0.0053406
95070037.hyd | 95070037.sam | 41 | 30 | 30.48 | 0 | 0.48 | 32.4583 | 32.4451 | 0.0018285 | -0.013245
95070037.hyd | 95070037.sam | 87 | 50 | 50.94 | 0 | 0.94 | 32.5154 | 32.5033 | 0.00050969 | -0.012146
95070037.hyd | 95070037.sam | 37 | 74 | 75.22 | 0 | 1.22 | 32.8302 | 32.8203 | 0.00081992 | -0.009861
95070037.hyd | 95070037.sam | 28 | 101 | 100.99 | 0 | -0.010002 | 33.4136 | 33.3989 | 0.00048072 | -0.01474
95070037.hyd | 95070037.sam | 37 | 125 | 125.52 | 0 | 0.52 | 33.6281 | 33.6322 | 0.0017076 | 0.0041275
95070037.hyd | 95070037.sam | 47 | 150 | 150.99 | 0 | 0.99001 | 33.8242 | 33.8111 | 0.00077222 | -0.013138
95070037.hyd | 95070037.sam | 38 | 176 | 176.34 | 0 | 0.34 | 33.8774 | 33.8649 | 0.0015732 | -0.012455
95070037.hyd | 95070037.sam | 80 | 200 | 201.36 | 0 | 1.36 | 33.8916 | 33.8784 | 0.0012815 | -0.013222
95070037.hyd | 95070037.sam | 25 | 300 | 300.98 | 0 | 0.98001 | 33.9572 | 33.9467 | 0.0015808 | -0.010475
95070037.hyd | 95070037.sam | 70 | 401 | 402.04 | 0 | 1.04 | 34.0252 | 34.0125 | 0.00074994 | -0.012749
95070037.hyd | 95070037.sam | 77 | 500 | 500.71 | 0 | 0.70999 | 34.0877 | 34.0755 | 0.00048719 | -0.012157
95070037.hyd | 95070037.sam | 57 | 600 | 601 | 0 | 1 | 34.1634 | 34.1509 | 0.00080253 | -0.012512
95070037.hyd | 95070037.sam | 36 | 800 | 800.92 | 0 | 0.91998 | 34.3145 | 34.3032 | 0.00082572 | -0.011341
95070037.hyd | 95070037.sam | 29 | 1000 | 1001.07 | 0 | 1.07 | 34.3898 | 34.3798 | 0.00056137 | -0.0099831
95070037.hyd | 95070037.sam | 73 | 1004 | 1004.33 | 0 | 0.33002 | 34.3906 | 34.3798 | 0.0012716 | -0.010757
95070042.hyd | 95070042.sam | 137 | 2063 | 2063.54 | 0.22316 | 0.54028 | 34.6096 | 34.5992 | 0.00060086 | -0.010448
95070044.hyd | 95070044.sam | 208 | 1800 | 1775.87 | 1.0298 | -24.1299 | 34.5564 | 34.546 | 0.0023443 | -0.010445
95070050.hyd | 95070050.sam | 56 | 30 | 30.15 | 0 | 0.15 | 31.4296 | 32.2257 | 0.0026136 | 0.7961
95070050.hyd | 95070050.sam | 55 | 50 | 50.96 | 0 | 0.96 | 31.8562 | 32.4215 | 0.0012834 | 0.56525
95070050.hyd | 95070050.sam | 75 | 74 | 74.7 | 0 | 0.7 | 32.1171 | 32.4823 | 0.0032363 | 0.3652
95070050.hyd | 95070050.sam | 86 | 100 | 101.37 | 0 | 1.37 | 32.1179 | 33.2126 | 0.0027088 | 1.0947
95070050.hyd | 95070050.sam | 71 | 126 | 126.62 | 0 | 0.62 | 33.7979 | 33.7983 | 0.0043871 | 0.00037766
95070050.hyd | 95070050.sam | 52 | 130 | 131.17 | 0 | 1.17 | 33.82 | 33.8219 | 0.0021115 | 0.0018654
Create Fit Sheet