## File List
Number of Files= |  | 7
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 95300088.sal | 95300088.sam | 11 | 23 | 95300088.sal & 95300088.sam
2 | 95300092.sal | 95300092.sam | 25 | 34 | 95300092.sal & 95300092.sam
3 | 95300110.sal | 95300110.sam | 36 | 39 | 95300110.sal & 95300110.sam
4 | 95300114.sal | 95300114.sam | 41 | 46 | 95300114.sal & 95300114.sam
5 | 95300117.sal | 95300117.sam | 48 | 57 | 95300117.sal & 95300117.sam
6 | 95300125.sal | 95300125.sam | 59 | 70 | 95300125.sal & 95300125.sam
7 | 95300135.sal | 95300135.sam | 72 | 81 | 95300135.sal & 95300135.sam

## (Salinity - Salinity) Ch
WOCE CTD salinities were compared to the bottles collected on the upcast of the rosette cast. A few surface samples and those below the thermocline, P > 200 dbars, were included in the analysis.

## (Salinity - Salinity)
Calculation of Linear Least Squares Fit For
(Salinity - Salinityb)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Salinity - Salinity), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | #VALUE! |  | X | CALC Y
m= | #VALUE! | #VALUE! |  | Std Dev of Resid |  | #VALUE! |  | #NAME? | #NAME?
b= | #VALUE! | #VALUE! |  | Resid Sum of Squares |  | #VALUE! |  | #NAME? | #NAME?
# of Values Extracted = |  |  | 65
# of Values Used in Fit = |  |  | 24
File | Use | Pressure | Salinity | Salinity | Diff (Salinity - Salinity) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 0.66 | 31.945 | 0.00093896 | -0.02285 | #VALUE! | #VALUE! |  | 250.52 | -0.016922
1 | NO | 9.87 | 31.9452 | 0.0015728 | -0.024721 | #VALUE! | #VALUE! |  | 352.23 | -0.020767
1 | NO | 24.86 | 32.0881 | 0.03585 | 0.0050888 | #VALUE! | #VALUE! |  | 501.4 | -0.01952
1 | NO | 50.38 | 32.4279 | 0.011345 | -0.0063057 | #VALUE! | #VALUE! |  | 1499.56 | -0.018494
1 | NO | 75.02 | 32.6292 | 0.0037716 | -0.011276 | #VALUE! | #VALUE! |  | 2003.45 | -0.016243
1 | NO | 102.43 | 33.0765 | 0.0057231 | 0.027393 | #VALUE! | #VALUE! |  | 2004.04 | -0.019417
1 | NO | 151.73 | 33.7319 | 0.0003004 | -0.020309 | #VALUE! | #VALUE! |  | 251.03 | -0.019947
1 | YES | 250.52 | 33.8959 | 0.0035436 | -0.016922 | #VALUE! | #VALUE! |  | 350.01 | -0.018768
1 | YES | 352.23 | 33.9102 | 0.00041714 | -0.020767 | #VALUE! | #VALUE! |  | 504.2 | -0.017223
1 | YES | 501.4 | 34.0509 | 0.0012538 | -0.01952 | #VALUE! | #VALUE! |  | 1.46 | -0.019167
1 | YES | 1499.56 | 34.497 | 0.00019386 | -0.018494 | #VALUE! | #VALUE! |  | 1.26 | -0.01816
1 | YES | 2003.45 | 34.5745 | 0.00020662 | -0.016243 | #VALUE! | #VALUE! |  | 1.31 | -0.018759
1 | YES | 2004.04 | 34.5748 | 0.00036671 | -0.019417 | #VALUE! | #VALUE! |  | 246.57 | -0.015266
2 | NO | 3.32 | 31.9097 | 0.0010556 | -0.087971 | #VALUE! | #VALUE! |  | 348.31 | -0.015202
2 | NO | 16.45 | 31.9899 | 0.0010376 | -0.021938 | #VALUE! | #VALUE! |  | 446.73 | -0.014091
2 | NO | 24.94 | 32.0545 | 0.010568 | -0.019867 | #VALUE! | #VALUE! |  | 1.36 | -0.018003
2 | NO | 51.55 | 32.4336 | 0.0030443 | -0.0086632 | #VALUE! | #VALUE! |  | 349.27 | -0.012608
2 | NO | 75.31 | 32.7332 | 0.0036629 | -0.02245 | #VALUE! | #VALUE! |  | 498.22 | -0.017365
2 | NO | 102.01 | 33.2153 | 0.0029013 | 0.0080528 | #VALUE! | #VALUE! |  | 1998.65 | -0.017116
2 | NO | 153.67 | 33.7673 | 0.0016689 | -0.0045395 | #VALUE! | #VALUE! |  | 1999.27 | -0.01479
2 | YES | 251.03 | 33.9001 | 0.00031422 | -0.019947 | #VALUE! | #VALUE! |  | 0.84 | -0.019054
2 | YES | 350.01 | 33.9413 | 0.00029532 | -0.018768 | #VALUE! | #VALUE! |  | 252.61 | -0.018807
2 | YES | 504.2 | 34.0697 | 0.00032648 | -0.017223 | #VALUE! | #VALUE! |  | 351.77 | -0.018555
3 | YES | 1.46 | 31.9111 | 0.00078221 | -0.019167 | #VALUE! | #VALUE! |  | 501.33 | -0.021339
3 | NO | 11.04 | 31.9152 | 0.00071679 | -0.0151 | #VALUE! | #VALUE!
3 | NO | 25.67 | 31.8223 | 0.01793 | -0.0032062 | #VALUE! | #VALUE!
3 | NO | 50.82 | 32.4571 | 0.0057939 | -0.00089264 | #VALUE! | #VALUE!
4 | YES | 1.26 | 31.9519 | 0.00039817 | -0.01816 | #VALUE! | #VALUE!
4 | NO | 10.14 | 31.9527 | 0.00066573 | -0.01709 | #VALUE! | #VALUE!
4 | NO | 24.48 | 32.0376 | 0.022217 | 0.022163 | #VALUE! | #VALUE!
4 | NO | 48.93 | 32.4515 | 0.0024392 | -0.014187 | #VALUE! | #VALUE!
4 | NO | 74.32 | 32.6843 | 0.00023379 | -0.012543 | #VALUE! | #VALUE!
4 | NO | 100.47 | 33.3142 | 0.00061937 | 0.0097427 | #VALUE! | #VALUE!
5 | YES | 1.31 | 31.8951 | 0.000851 | -0.018759 | #VALUE! | #VALUE!
5 | NO | 11.12 | 31.8975 | 0.0010865 | -0.017305 | #VALUE! | #VALUE!
5 | NO | 28.68 | 32.4439 | 0.03157 | 0.12737 | #VALUE! | #VALUE!
5 | NO | 47.58 | 32.4937 | 0.045387 | 0.0087128 | #VALUE! | #VALUE!
5 | NO | 74.26 | 32.633 | 0.0013869 | -0.015347 | #VALUE! | #VALUE!
5 | NO | 101.58 | 33.095 | 0.0078984 | -0.0080376 | #VALUE! | #VALUE!
5 | NO | 155.87 | 33.8101 | 0.00048665 | -0.016258 | #VALUE! | #VALUE!
5 | YES | 246.57 | 33.9061 | 0.00052858 | -0.015266 | #VALUE! | #VALUE!
5 | YES | 348.31 | 33.9422 | 0.0014695 | -0.015202 | #VALUE! | #VALUE!
5 | YES | 446.73 | 33.9997 | 0.00052195 | -0.014091 | #VALUE! | #VALUE!
6 | YES | 1.36 | 31.9625 | 0.003341 | -0.018003 | #VALUE! | #VALUE!
6 | NO | 9.83 | 31.9651 | 0.00021734 | -0.017559 | #VALUE! | #VALUE!
6 | NO | 25.72 | 32.0201 | 0.0032055 | 0.002079 | #VALUE! | #VALUE!
6 | NO | 51.96 | 32.4795 | 0.00093386 | -0.014923 | #VALUE! | #VALUE!
6 | NO | 74.45 | 32.5982 | 0.0021959 | -0.010963 | #VALUE! | #VALUE!
6 | NO | 103.67 | 33.0844 | 0.0042839 | -0.012386 | #VALUE! | #VALUE!
6 | NO | 149.15 | 33.7112 | 0.0036972 | -0.013206 | #VALUE! | #VALUE!
6 | NO | 251.77 | 33.8862 | 0.0070118 | -0.0085335 | #VALUE! | #VALUE!
6 | YES | 349.27 | 33.9221 | 0.0073859 | -0.012608 | #VALUE! | #VALUE!
6 | YES | 498.22 | 34.0454 | 0.00046301 | -0.017365 | #VALUE! | #VALUE!
6 | YES | 1998.65 | 34.5748 | 0.00050117 | -0.017116 | #VALUE! | #VALUE!
6 | YES | 1999.27 | 34.575 | 0.00038286 | -0.01479 | #VALUE! | #VALUE!
7 | YES | 0.84 | 31.904 | 0.00091876 | -0.019054 | #VALUE! | #VALUE!
7 | NO | 10.96 | 31.9036 | 0.001472 | -0.020472 | #VALUE! | #VALUE!
7 | NO | 26.33 | 32.229 | 0.011978 | 0.0068092 | #VALUE! | #VALUE!
7 | NO | 50.58 | 32.4793 | 0.00051189 | -0.016907 | #VALUE! | #VALUE!
7 | NO | 75.95 | 32.6686 | 0.0091604 | -0.013401 | #VALUE! | #VALUE!
7 | NO | 101.74 | 33.1323 | 0.0041294 | -0.018692 | #VALUE! | #VALUE!
7 | NO | 149.78 | 33.7288 | 0.00046069 | -0.017837 | #VALUE! | #VALUE!
7 | YES | 252.61 | 33.8767 | 0.0012862 | -0.018807 | #VALUE! | #VALUE!
7 | YES | 351.77 | 33.9324 | 0.00011319 | -0.018555 | #VALUE! | #VALUE!
7 | YES | 501.33 | 34.0551 | 0.0017781 | -0.021339 | #VALUE! | #VALUE!
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
NO
NO
NO
YES
NO
NO
NO
NO
NO
YES
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
YES
YES
YES
FIT vs. Pressure
FIT vs. Salinity
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 2
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | Salinityb | Salinity |  | Salinity - Salinityb
Average Size: | 0
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | Salinity | Salinity | Salinity | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
95300088.sal | 95300088.sam | 94 | 0 | 0.66 | 0 | 0.66 | 31.9678 | 31.945 | 0.00093896 | -0.02285
95300088.sal | 95300088.sam | 37 | 9.3 | 9.87 | 0 | 0.57 | 31.9699 | 31.9452 | 0.0015728 | -0.024721
95300088.sal | 95300088.sam | 31 | 23.8 | 24.86 | 0 | 1.06 | 32.083 | 32.0881 | 0.03585 | 0.0050888
95300088.sal | 95300088.sam | 65 | 49.1 | 50.38 | 0 | 1.28 | 32.4342 | 32.4279 | 0.011345 | -0.0063057
95300088.sal | 95300088.sam | 44 | 73.6 | 75.02 | 0 | 1.42 | 32.6405 | 32.6292 | 0.0037716 | -0.011276
95300088.sal | 95300088.sam | 91 | 100.4 | 102.43 | 0 | 2.03 | 33.0491 | 33.0765 | 0.0057231 | 0.027393
95300088.sal | 95300088.sam | 39 | 149.9 | 151.73 | 0 | 1.83 | 33.7522 | 33.7319 | 0.0003004 | -0.020309
95300088.sal | 95300088.sam | 19 | 250 | 250.52 | 0 | 0.52 | 33.9128 | 33.8959 | 0.0035436 | -0.016922
95300088.sal | 95300088.sam | 61 | 351.2 | 352.23 | 0 | 1.03 | 33.931 | 33.9102 | 0.00041714 | -0.020767
95300088.sal | 95300088.sam | 70 | 499.2 | 501.4 | 0 | 2.2 | 34.0704 | 34.0509 | 0.0012538 | -0.01952
95300088.sal | 95300088.sam | 46 | 1499.4 | 1499.56 | 0 | 0.16003 | 34.5155 | 34.497 | 0.00019386 | -0.018494
95300088.sal | 95300088.sam | 18 | 2001.5 | 2003.45 | 0 | 1.95 | 34.5907 | 34.5745 | 0.00020662 | -0.016243
95300088.sal | 95300088.sam | 49 | 2002.3 | 2004.04 | 0 | 1.74 | 34.5942 | 34.5748 | 0.00036671 | -0.019417
95300092.sal | 95300092.sam | 32 | 2.9 | 3.32 | 0 | 0.42 | 31.9977 | 31.9097 | 0.0010556 | -0.087971
95300092.sal | 95300092.sam | 62 | 14.6 | 16.45 | 0 | 1.85 | 32.0118 | 31.9899 | 0.0010376 | -0.021938
95300092.sal | 95300092.sam | 62 | 24.4 | 24.94 | 0 | 0.54 | 32.0744 | 32.0545 | 0.010568 | -0.019867
95300092.sal | 95300092.sam | 37 | 50.8 | 51.55 | 0 | 0.75 | 32.4423 | 32.4336 | 0.0030443 | -0.0086632
95300092.sal | 95300092.sam | 56 | 76.6 | 75.31 | 0 | -1.29 | 32.7556 | 32.7332 | 0.0036629 | -0.02245
95300092.sal | 95300092.sam | 71 | 100.4 | 102.01 | 0 | 1.61 | 33.2072 | 33.2153 | 0.0029013 | 0.0080528
95300092.sal | 95300092.sam | 74 | 151.1 | 153.67 | 0 | 2.57 | 33.7718 | 33.7673 | 0.0016689 | -0.0045395
95300092.sal | 95300092.sam | 18 | 248.7 | 251.03 | 0 | 2.33 | 33.92 | 33.9001 | 0.00031422 | -0.019947
95300092.sal | 95300092.sam | 42 | 351.4 | 350.01 | 0 | -1.39 | 33.9601 | 33.9413 | 0.00029532 | -0.018768
95300092.sal | 95300092.sam | 34 | 500.5 | 504.2 | 0 | 3.7 | 34.0869 | 34.0697 | 0.00032648 | -0.017223
95300110.sal | 95300110.sam | 30 | 1.5 | 1.46 | 0 | -0.04 | 31.9303 | 31.9111 | 0.00078221 | -0.019167
95300110.sal | 95300110.sam | 17 | 10.9 | 11.04 | 0 | 0.14 | 31.9303 | 31.9152 | 0.00071679 | -0.0151
95300110.sal | 95300110.sam | 15 | 25.4 | 25.67 | 0 | 0.27 | 31.8255 | 31.8223 | 0.01793 | -0.0032062
95300110.sal | 95300110.sam | 50 | 50.5 | 50.82 | 0 | 0.32 | 32.458 | 32.4571 | 0.0057939 | -0.00089264
95300114.sal | 95300114.sam | 30 | 0.6 | 1.26 | 0 | 0.66 | 31.9701 | 31.9519 | 0.00039817 | -0.01816
95300114.sal | 95300114.sam | 19 | 9.5 | 10.14 | 0 | 0.64 | 31.9698 | 31.9527 | 0.00066573 | -0.01709
95300114.sal | 95300114.sam | 24 | 22 | 24.48 | 0 | 2.48 | 32.0154 | 32.0376 | 0.022217 | 0.022163
95300114.sal | 95300114.sam | 55 | 47 | 48.93 | 0 | 1.93 | 32.4657 | 32.4515 | 0.0024392 | -0.014187
95300114.sal | 95300114.sam | 39 | 74.2 | 74.32 | 0 | 0.12 | 32.6968 | 32.6843 | 0.00023379 | -0.012543
95300114.sal | 95300114.sam | 44 | 98.6 | 100.47 | 0 | 1.87 | 33.3045 | 33.3142 | 0.00061937 | 0.0097427
95300117.sal | 95300117.sam | 29 | 1 | 1.31 | 0 | 0.31 | 31.9139 | 31.8951 | 0.000851 | -0.018759
95300117.sal | 95300117.sam | 49 | 10 | 11.12 | 0 | 1.12 | 31.9148 | 31.8975 | 0.0010865 | -0.017305
95300117.sal | 95300117.sam | 15 | 26 | 28.68 | 0 | 2.68 | 32.3165 | 32.4439 | 0.03157 | 0.12737
95300117.sal | 95300117.sam | 39 | 51 | 47.58 | 0 | -3.42 | 32.485 | 32.4937 | 0.045387 | 0.0087128
95300117.sal | 95300117.sam | 24 | 71 | 74.26 | 0 | 3.26 | 32.6483 | 32.633 | 0.0013869 | -0.015347
95300117.sal | 95300117.sam | 19 | 97 | 101.58 | 0 | 4.58 | 33.103 | 33.095 | 0.0078984 | -0.0080376
95300117.sal | 95300117.sam | 18 | 149 | 155.87 | 0 | 6.87 | 33.8264 | 33.8101 | 0.00048665 | -0.016258
95300117.sal | 95300117.sam | 19 | 248 | 246.57 | 0 | -1.43 | 33.9214 | 33.9061 | 0.00052858 | -0.015266
95300117.sal | 95300117.sam | 63 | 346 | 348.31 | 0 | 2.31 | 33.9574 | 33.9422 | 0.0014695 | -0.015202
95300117.sal | 95300117.sam | 21 | 449 | 446.73 | 0 | -2.27 | 34.0138 | 33.9997 | 0.00052195 | -0.014091
95300125.sal | 95300125.sam | 42 | 0.8 | 1.36 | 0 | 0.56 | 31.9805 | 31.9625 | 0.003341 | -0.018003
95300125.sal | 95300125.sam | 81 | 9.8 | 9.83 | 0 | 0.03 | 31.9827 | 31.9651 | 0.00021734 | -0.017559
95300125.sal | 95300125.sam | 27 | 25.2 | 25.72 | 0 | 0.52 | 32.018 | 32.0201 | 0.0032055 | 0.002079
95300125.sal | 95300125.sam | 32 | 51.2 | 51.96 | 0 | 0.76 | 32.4944 | 32.4795 | 0.00093386 | -0.014923
95300125.sal | 95300125.sam | 44 | 74.1 | 74.45 | 0 | 0.35 | 32.6092 | 32.5982 | 0.0021959 | -0.010963
95300125.sal | 95300125.sam | 21 | 101.7 | 103.67 | 0 | 1.97 | 33.0968 | 33.0844 | 0.0042839 | -0.012386
95300125.sal | 95300125.sam | 37 | 149.7 | 149.15 | 0 | -0.55 | 33.7244 | 33.7112 | 0.0036972 | -0.013206
95300125.sal | 95300125.sam | 21 | 249.8 | 251.77 | 0 | 1.97 | 33.8947 | 33.8862 | 0.0070118 | -0.0085335
95300125.sal | 95300125.sam | 35 | 348.2 | 349.27 | 0 | 1.07 | 33.9347 | 33.9221 | 0.0073859 | -0.012608
95300125.sal | 95300125.sam | 31 | 498.1 | 498.22 | 0 | 0.12 | 34.0628 | 34.0454 | 0.00046301 | -0.017365
95300125.sal | 95300125.sam | 13 | 1997.3 | 1998.65 | 0 | 1.35 | 34.5919 | 34.5748 | 0.00050117 | -0.017116
95300125.sal | 95300125.sam | 19 | 1999.5 | 1999.27 | 0 | -0.22998 | 34.5898 | 34.575 | 0.00038286 | -0.01479
95300135.sal | 95300135.sam | 68 | 0 | 0.84 | 0 | 0.84 | 31.9231 | 31.904 | 0.00091876 | -0.019054
95300135.sal | 95300135.sam | 45 | 10 | 10.96 | 0 | 0.96 | 31.9241 | 31.9036 | 0.001472 | -0.020472
95300135.sal | 95300135.sam | 25 | 25 | 26.33 | 0 | 1.33 | 32.2222 | 32.229 | 0.011978 | 0.0068092
95300135.sal | 95300135.sam | 16 | 50 | 50.58 | 0 | 0.58 | 32.4962 | 32.4793 | 0.00051189 | -0.016907
95300135.sal | 95300135.sam | 14 | 75 | 75.95 | 0 | 0.95 | 32.682 | 32.6686 | 0.0091604 | -0.013401
95300135.sal | 95300135.sam | 22 | 100 | 101.74 | 0 | 1.74 | 33.151 | 33.1323 | 0.0041294 | -0.018692
95300135.sal | 95300135.sam | 19 | 150 | 149.78 | 0 | -0.22 | 33.7466 | 33.7288 | 0.00046069 | -0.017837
95300135.sal | 95300135.sam | 44 | 250 | 252.61 | 0 | 2.61 | 33.8955 | 33.8767 | 0.0012862 | -0.018807
95300135.sal | 95300135.sam | 9 | 350 | 351.77 | 0 | 1.77 | 33.951 | 33.9324 | 0.00011319 | -0.018555
95300135.sal | 95300135.sam | 35 | 500 | 501.33 | 5.2337e-06 | 1.33 | 34.0764 | 34.0551 | 0.0017781 | -0.021339
Create Fit Sheet