## File List
Number of Files= |  | 3
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 96010002.hyd | 96010002.sam | 11 | 22 | 96010002.hyd & 96010002.sam
2 | 96010069.hyd | 96010069.sam | 24 | 42 | 96010069.hyd & 96010069.sam
3 | 96010080.hyd | 96010080.sam | 44 | 59 | 96010080.hyd & 96010080.sam

## (Salinity - Salinity_BOT)-fp1
Calculation of Linear Least Squares Fit For
(Salinity - Salinity_BOT)-fp1
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Salinity - Salinity_BOT), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | #VALUE! |  | X | CALC Y
m= | #VALUE! | #VALUE! |  | Std Dev of Resid |  | #VALUE! |  | #NAME? | #NAME?
b= | #VALUE! | #VALUE! |  | Resid Sum of Squares |  | #VALUE! |  | #NAME? | #NAME?
# of Values Extracted = |  |  | 12
# of Values Used in Fit = |  |  | 12
File | Use | Pressure | Salinity | Salinity | Diff (Salinity - Salinity_BOT) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 221.649 | 31.0587 | 0.0015959 | -0.24798 | #VALUE! | #VALUE! |  | 221.649 | -0.24798
1 | YES | 200.93 | 31.0452 | 0.00078208 | -0.25025 | #VALUE! | #VALUE! |  | 200.93 | -0.25025
1 | YES | 175.751 | 31.0291 | 0.00070811 | -0.24587 | #VALUE! | #VALUE! |  | 175.751 | -0.24587
1 | YES | 124.483 | 30.9605 | 0.00066585 | -0.24162 | #VALUE! | #VALUE! |  | 124.483 | -0.24162
1 | YES | 103.395 | 30.8267 | 0.0050847 | -0.13611 | #VALUE! | #VALUE! |  | 103.395 | -0.13611
1 | YES | 76.9827 | 29.7759 | 0.0052426 | -0.1879 | #VALUE! | #VALUE! |  | 76.9827 | -0.1879
1 | YES | 51.7939 | 29.2636 | 0.0031945 | -0.12493 | #VALUE! | #VALUE! |  | 51.7939 | -0.12493
1 | YES | 40.6881 | 29.1063 | 0.036939 | -0.13233 | #VALUE! | #VALUE! |  | 40.6881 | -0.13233
1 | YES | 30.4594 | 28.8777 | 0.0088911 | -0.23639 | #VALUE! | #VALUE! |  | 30.4594 | -0.23639
1 | YES | 21.0137 | 28.7653 | 0.015567 | -0.13377 | #VALUE! | #VALUE! |  | 21.0137 | -0.13377
1 | YES | 10.9619 | 28.5751 | 0.0032601 | -0.15393 | #VALUE! | #VALUE! |  | 10.9619 | -0.15393
1 | YES | 1.3275 | 27.7786 | 0.021131 | -0.16164 | #VALUE! | #VALUE! |  | 1.3275 | -0.16164
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. Salinity
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Salinity - Salinity_BOT)-fp2
Calculation of Linear Least Squares Fit For
(Salinity - Salinity_BOT)-fp2
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Salinity - Salinity_BOT), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | #VALUE! |  | X | CALC Y
m= | #VALUE! | #VALUE! |  | Std Dev of Resid |  | #VALUE! |  | #NAME? | #NAME?
b= | #VALUE! | #VALUE! |  | Resid Sum of Squares |  | #VALUE! |  | #NAME? | #NAME?
# of Values Extracted = |  |  | 19
# of Values Used in Fit = |  |  | 19
File | Use | Pressure | Salinity | Salinity | Diff (Salinity - Salinity_BOT) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
2 | YES | 4306.89 | 34.7015 | 0.00023979 | 0.019661 | #VALUE! | #VALUE! |  | 4306.89 | 0.019661
2 | YES | 3999.91 | 34.6977 | 0.0002515 | 0.018772 | #VALUE! | #VALUE! |  | 3999.91 | 0.018772
2 | YES | 3504.27 | 34.6871 | 0.00026992 | 0.017876 | #VALUE! | #VALUE! |  | 3504.27 | 0.017876
2 | YES | 3002.73 | 34.6708 | 0.00025318 | 0.015354 | #VALUE! | #VALUE! |  | 3002.73 | 0.015354
2 | YES | 2503.87 | 34.6397 | 0.00021723 | 0.014439 | #VALUE! | #VALUE! |  | 2503.87 | 0.014439
2 | YES | 2253.01 | 34.6201 | 0.00028048 | 0.011337 | #VALUE! | #VALUE! |  | 2253.01 | 0.011337
2 | YES | 2002.87 | 34.5935 | 0.00023293 | 0.011425 | #VALUE! | #VALUE! |  | 2002.87 | 0.011425
2 | YES | 1753.14 | 34.5589 | 0.00030608 | 0.010876 | #VALUE! | #VALUE! |  | 1753.14 | 0.010876
2 | YES | 1504.58 | 34.5084 | 0.00025858 | 0.009861 | #VALUE! | #VALUE! |  | 1504.58 | 0.009861
2 | YES | 1253.09 | 34.4542 | 0.00049488 | 0.011867 | #VALUE! | #VALUE! |  | 1253.09 | 0.011867
2 | YES | 1001.66 | 34.3775 | 0.0004029 | 0.010876 | #VALUE! | #VALUE! |  | 1001.66 | 0.010876
2 | YES | 798.579 | 34.2941 | 0.00029238 | 0.011528 | #VALUE! | #VALUE! |  | 798.579 | 0.011528
2 | YES | 606.018 | 34.1831 | 0.0030023 | 0.015503 | #VALUE! | #VALUE! |  | 606.018 | 0.015503
2 | YES | 404.603 | 34.0062 | 0.00033112 | 0.011547 | #VALUE! | #VALUE! |  | 404.603 | 0.011547
2 | YES | 303.109 | 33.9121 | 0.0015274 | 0.013886 | #VALUE! | #VALUE! |  | 303.109 | 0.013886
2 | YES | 199.235 | 33.8108 | 0.0021588 | -0.0023727 | #VALUE! | #VALUE! |  | 199.235 | -0.0023727
2 | YES | 149.3 | 33.5988 | 0.001053 | 0.0084534 | #VALUE! | #VALUE! |  | 149.3 | 0.0084534
2 | YES | 103.777 | 32.6917 | 0.0014029 | 0.0055122 | #VALUE! | #VALUE! |  | 103.777 | 0.0055122
2 | YES | 73.7314 | 32.6931 | 0.00029942 | 0.01614 | #VALUE! | #VALUE! |  | 73.7314 | 0.01614
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. Salinity
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Salinity - Salinity_BOT)-fp3
Calculation of Linear Least Squares Fit For
(Salinity - Salinity_BOT)-fp3
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Salinity - Salinity_BOT), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | #VALUE! |  | X | CALC Y
m= | #VALUE! | #VALUE! |  | Std Dev of Resid |  | #VALUE! |  | #NAME? | #NAME?
b= | #VALUE! | #VALUE! |  | Resid Sum of Squares |  | #VALUE! |  | #NAME? | #NAME?
# of Values Extracted = |  |  | 16
# of Values Used in Fit = |  |  | 16
File | Use | Pressure | Salinity | Salinity | Diff (Salinity - Salinity_BOT) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
3 | YES | 1515.13 | 34.5284 | 0.00079888 | 0.022583 | #VALUE! | #VALUE! |  | 1515.13 | 0.022583
3 | YES | 1207.95 | 34.4542 | 0.00054448 | 0.018616 | #VALUE! | #VALUE! |  | 1207.95 | 0.018616
3 | YES | 1001.53 | 34.3949 | 0.00033147 | 0.029587 | #VALUE! | #VALUE! |  | 1001.53 | 0.029587
3 | YES | 795.661 | 34.3028 | 0.00027722 | 0.031986 | #VALUE! | #VALUE! |  | 795.661 | 0.031986
3 | YES | 589.248 | 34.1946 | 0.00063454 | 0.039921 | #VALUE! | #VALUE! |  | 589.248 | 0.039921
3 | YES | 401.617 | 34.049 | 0.0013405 | 0.045055 | #VALUE! | #VALUE! |  | 401.617 | 0.045055
3 | YES | 292.821 | 33.9353 | 0.00067939 | 0.048267 | #VALUE! | #VALUE! |  | 292.821 | 0.048267
3 | YES | 196.987 | 33.8604 | 0.0032141 | 0.050232 | #VALUE! | #VALUE! |  | 196.987 | 0.050232
3 | YES | 145.717 | 33.6443 | 0.0025667 | 0.049149 | #VALUE! | #VALUE! |  | 145.717 | 0.049149
3 | YES | 97.8066 | 32.7263 | 0.0021069 | 0.028503 | #VALUE! | #VALUE! |  | 97.8066 | 0.028503
3 | YES | 69.3579 | 32.6964 | 0.0026956 | 0.013802 | #VALUE! | #VALUE! |  | 69.3579 | 0.013802
3 | YES | 45.7773 | 32.6649 | 0.0002265 | -0.018467 | #VALUE! | #VALUE! |  | 45.7773 | -0.018467
3 | YES | 27.0471 | 32.6646 | 0.00029796 | -0.018959 | #VALUE! | #VALUE! |  | 27.0471 | -0.018959
3 | YES | 15.1054 | 32.6654 | 0.00038956 | -0.018322 | #VALUE! | #VALUE! |  | 15.1054 | -0.018322
3 | YES | 9.7904 | 32.6651 | 0.00026877 | -0.01804 | #VALUE! | #VALUE! |  | 9.7904 | -0.01804
3 | YES | 1.1467 | 32.665 | 0.00034324 | -0.017967 | #VALUE! | #VALUE! |  | 1.1467 | -0.017967
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. Salinity
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Salinity - Salinity_BOT)
Calculation of Linear Least Squares Fit For
(Salinity - Salinity_BOT)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Salinity - Salinity_BOT), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | #VALUE! |  | X | CALC Y
m= | #VALUE! | #VALUE! |  | Std Dev of Resid |  | #VALUE! |  | #NAME? | #NAME?
b= | #VALUE! | #VALUE! |  | Resid Sum of Squares |  | #VALUE! |  | #NAME? | #NAME?
# of Values Extracted = |  |  | 47
# of Values Used in Fit = |  |  | 47
File | Use | Pressure | Salinity | Salinity | Diff (Salinity - Salinity_BOT) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 221.649 | 31.0587 | 0.0015959 | -0.24798 | #VALUE! | #VALUE! |  | 221.649 | -0.24798
1 | YES | 200.93 | 31.0452 | 0.00078208 | -0.25025 | #VALUE! | #VALUE! |  | 200.93 | -0.25025
1 | YES | 175.751 | 31.0291 | 0.00070811 | -0.24587 | #VALUE! | #VALUE! |  | 175.751 | -0.24587
1 | YES | 124.483 | 30.9605 | 0.00066585 | -0.24162 | #VALUE! | #VALUE! |  | 124.483 | -0.24162
1 | YES | 103.395 | 30.8267 | 0.0050847 | -0.13611 | #VALUE! | #VALUE! |  | 103.395 | -0.13611
1 | YES | 76.9827 | 29.7759 | 0.0052426 | -0.1879 | #VALUE! | #VALUE! |  | 76.9827 | -0.1879
1 | YES | 51.7939 | 29.2636 | 0.0031945 | -0.12493 | #VALUE! | #VALUE! |  | 51.7939 | -0.12493
1 | YES | 40.6881 | 29.1063 | 0.036939 | -0.13233 | #VALUE! | #VALUE! |  | 40.6881 | -0.13233
1 | YES | 30.4594 | 28.8777 | 0.0088911 | -0.23639 | #VALUE! | #VALUE! |  | 30.4594 | -0.23639
1 | YES | 21.0137 | 28.7653 | 0.015567 | -0.13377 | #VALUE! | #VALUE! |  | 21.0137 | -0.13377
1 | YES | 10.9619 | 28.5751 | 0.0032601 | -0.15393 | #VALUE! | #VALUE! |  | 10.9619 | -0.15393
1 | YES | 1.3275 | 27.7786 | 0.021131 | -0.16164 | #VALUE! | #VALUE! |  | 1.3275 | -0.16164
2 | YES | 4306.89 | 34.7015 | 0.00023979 | 0.019661 | #VALUE! | #VALUE! |  | 4306.89 | 0.019661
2 | YES | 3999.91 | 34.6977 | 0.0002515 | 0.018772 | #VALUE! | #VALUE! |  | 3999.91 | 0.018772
2 | YES | 3504.27 | 34.6871 | 0.00026992 | 0.017876 | #VALUE! | #VALUE! |  | 3504.27 | 0.017876
2 | YES | 3002.73 | 34.6708 | 0.00025318 | 0.015354 | #VALUE! | #VALUE! |  | 3002.73 | 0.015354
2 | YES | 2503.87 | 34.6397 | 0.00021723 | 0.014439 | #VALUE! | #VALUE! |  | 2503.87 | 0.014439
2 | YES | 2253.01 | 34.6201 | 0.00028048 | 0.011337 | #VALUE! | #VALUE! |  | 2253.01 | 0.011337
2 | YES | 2002.87 | 34.5935 | 0.00023293 | 0.011425 | #VALUE! | #VALUE! |  | 2002.87 | 0.011425
2 | YES | 1753.14 | 34.5589 | 0.00030608 | 0.010876 | #VALUE! | #VALUE! |  | 1753.14 | 0.010876
2 | YES | 1504.58 | 34.5084 | 0.00025858 | 0.009861 | #VALUE! | #VALUE! |  | 1504.58 | 0.009861
2 | YES | 1253.09 | 34.4542 | 0.00049488 | 0.011867 | #VALUE! | #VALUE! |  | 1253.09 | 0.011867
2 | YES | 1001.66 | 34.3775 | 0.0004029 | 0.010876 | #VALUE! | #VALUE! |  | 1001.66 | 0.010876
2 | YES | 798.579 | 34.2941 | 0.00029238 | 0.011528 | #VALUE! | #VALUE! |  | 798.579 | 0.011528
2 | YES | 606.018 | 34.1831 | 0.0030023 | 0.015503 | #VALUE! | #VALUE! |  | 606.018 | 0.015503
2 | YES | 404.603 | 34.0062 | 0.00033112 | 0.011547 | #VALUE! | #VALUE! |  | 404.603 | 0.011547
2 | YES | 303.109 | 33.9121 | 0.0015274 | 0.013886 | #VALUE! | #VALUE! |  | 303.109 | 0.013886
2 | YES | 199.235 | 33.8108 | 0.0021588 | -0.0023727 | #VALUE! | #VALUE! |  | 199.235 | -0.0023727
2 | YES | 149.3 | 33.5988 | 0.001053 | 0.0084534 | #VALUE! | #VALUE! |  | 149.3 | 0.0084534
2 | YES | 103.777 | 32.6917 | 0.0014029 | 0.0055122 | #VALUE! | #VALUE! |  | 103.777 | 0.0055122
2 | YES | 73.7314 | 32.6931 | 0.00029942 | 0.01614 | #VALUE! | #VALUE! |  | 73.7314 | 0.01614
3 | YES | 1515.13 | 34.5284 | 0.00079888 | 0.022583 | #VALUE! | #VALUE! |  | 1515.13 | 0.022583
3 | YES | 1207.95 | 34.4542 | 0.00054448 | 0.018616 | #VALUE! | #VALUE! |  | 1207.95 | 0.018616
3 | YES | 1001.53 | 34.3949 | 0.00033147 | 0.029587 | #VALUE! | #VALUE! |  | 1001.53 | 0.029587
3 | YES | 795.661 | 34.3028 | 0.00027722 | 0.031986 | #VALUE! | #VALUE! |  | 795.661 | 0.031986
3 | YES | 589.248 | 34.1946 | 0.00063454 | 0.039921 | #VALUE! | #VALUE! |  | 589.248 | 0.039921
3 | YES | 401.617 | 34.049 | 0.0013405 | 0.045055 | #VALUE! | #VALUE! |  | 401.617 | 0.045055
3 | YES | 292.821 | 33.9353 | 0.00067939 | 0.048267 | #VALUE! | #VALUE! |  | 292.821 | 0.048267
3 | YES | 196.987 | 33.8604 | 0.0032141 | 0.050232 | #VALUE! | #VALUE! |  | 196.987 | 0.050232
3 | YES | 145.717 | 33.6443 | 0.0025667 | 0.049149 | #VALUE! | #VALUE! |  | 145.717 | 0.049149
3 | YES | 97.8066 | 32.7263 | 0.0021069 | 0.028503 | #VALUE! | #VALUE! |  | 97.8066 | 0.028503
3 | YES | 69.3579 | 32.6964 | 0.0026956 | 0.013802 | #VALUE! | #VALUE! |  | 69.3579 | 0.013802
3 | YES | 45.7773 | 32.6649 | 0.0002265 | -0.018467 | #VALUE! | #VALUE! |  | 45.7773 | -0.018467
3 | YES | 27.0471 | 32.6646 | 0.00029796 | -0.018959 | #VALUE! | #VALUE! |  | 27.0471 | -0.018959
3 | YES | 15.1054 | 32.6654 | 0.00038956 | -0.018322 | #VALUE! | #VALUE! |  | 15.1054 | -0.018322
3 | YES | 9.7904 | 32.6651 | 0.00026877 | -0.01804 | #VALUE! | #VALUE! |  | 9.7904 | -0.01804
3 | YES | 1.1467 | 32.665 | 0.00034324 | -0.017967 | #VALUE! | #VALUE! |  | 1.1467 | -0.017967
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. Salinity
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 2
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | Salinity_BOT | Salinity |  | Salinity - Salinity_BOT
Average Size: | 1
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | Salinity_BOT | Salinity | Salinity | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
96010002.hyd | 96010002.sam | 243 | 221 | 221.649 | 0.12064 | 0.64873 | 31.3067 | 31.0587 | 0.0015959 | -0.24798
96010002.hyd | 96010002.sam | 243 | 200 | 200.93 | 0.17282 | 0.92999 | 31.2954 | 31.0452 | 0.00078208 | -0.25025
96010002.hyd | 96010002.sam | 246 | 175 | 175.751 | 0.13991 | 0.75102 | 31.275 | 31.0291 | 0.00070811 | -0.24587
96010002.hyd | 96010002.sam | 245 | 125 | 124.483 | 0.15241 | -0.51682 | 31.2021 | 30.9605 | 0.00066585 | -0.24162
96010002.hyd | 96010002.sam | 244 | 100 | 103.395 | 0.31471 | 3.3948 | 30.9628 | 30.8267 | 0.0050847 | -0.13611
96010002.hyd | 96010002.sam | 244 | 75 | 76.9827 | 0.17499 | 1.9827 | 29.9638 | 29.7759 | 0.0052426 | -0.1879
96010002.hyd | 96010002.sam | 246 | 50 | 51.7939 | 0.1293 | 1.7939 | 29.3885 | 29.2636 | 0.0031945 | -0.12493
96010002.hyd | 96010002.sam | 245 | 40 | 40.6881 | 0.12306 | 0.68808 | 29.2386 | 29.1063 | 0.036939 | -0.13233
96010002.hyd | 96010002.sam | 246 | 30 | 30.4594 | 0.16642 | 0.45943 | 29.1141 | 28.8777 | 0.0088911 | -0.23639
96010002.hyd | 96010002.sam | 247 | 20 | 21.0137 | 0.10164 | 1.0137 | 28.8991 | 28.7653 | 0.015567 | -0.13377
96010002.hyd | 96010002.sam | 243 | 10 | 10.9619 | 0.11613 | 0.96185 | 28.729 | 28.5751 | 0.0032601 | -0.15393
96010002.hyd | 96010002.sam | 245 | 1 | 1.3275 | 0.10613 | 0.32747 | 27.9402 | 27.7786 | 0.021131 | -0.16164
96010069.hyd | 96010069.sam | 202 | 4309.5 | 4306.89 | 0.39497 | -2.6074 | 34.6818 | 34.7015 | 0.00023979 | 0.019661
96010069.hyd | 96010069.sam | 221 | 4002.1 | 3999.91 | 0.61804 | -2.1897 | 34.6789 | 34.6977 | 0.0002515 | 0.018772
96010069.hyd | 96010069.sam | 157 | 3500.6 | 3504.27 | 0.59215 | 3.6704 | 34.6692 | 34.6871 | 0.00026992 | 0.017876
96010069.hyd | 96010069.sam | 186 | 2998.9 | 3002.73 | 0.36728 | 3.8315 | 34.6554 | 34.6708 | 0.00025318 | 0.015354
96010069.hyd | 96010069.sam | 158 | 2499.3 | 2503.87 | 0.56338 | 4.5684 | 34.6253 | 34.6397 | 0.00021723 | 0.014439
96010069.hyd | 96010069.sam | 167 | 2248.3 | 2253.01 | 0.43495 | 4.7065 | 34.6088 | 34.6201 | 0.00028048 | 0.011337
96010069.hyd | 96010069.sam | 180 | 1998.6 | 2002.87 | 0.54457 | 4.2737 | 34.5821 | 34.5935 | 0.00023293 | 0.011425
96010069.hyd | 96010069.sam | 244 | 1752.3 | 1753.14 | 0.49075 | 0.84387 | 34.548 | 34.5589 | 0.00030608 | 0.010876
96010069.hyd | 96010069.sam | 173 | 1504.2 | 1504.58 | 0.5267 | 0.37805 | 34.4985 | 34.5084 | 0.00025858 | 0.009861
96010069.hyd | 96010069.sam | 190 | 1247.7 | 1253.09 | 0.51476 | 5.3856 | 34.4423 | 34.4542 | 0.00049488 | 0.011867
96010069.hyd | 96010069.sam | 236 | 999.6 | 1001.66 | 0.55244 | 2.0618 | 34.3666 | 34.3775 | 0.0004029 | 0.010876
96010069.hyd | 96010069.sam | 235 | 797.5 | 798.579 | 0.26276 | 1.0787 | 34.2826 | 34.2941 | 0.00029238 | 0.011528
96010069.hyd | 96010069.sam | 150 | 600.3 | 606.018 | 0.39084 | 5.7177 | 34.1676 | 34.1831 | 0.0030023 | 0.015503
96010069.hyd | 96010069.sam | 189 | 400.3 | 404.603 | 0.5339 | 4.3033 | 33.9947 | 34.0062 | 0.00033112 | 0.011547
96010069.hyd | 96010069.sam | 209 | 301.6 | 303.109 | 0.3676 | 1.5087 | 33.8982 | 33.9121 | 0.0015274 | 0.013886
96010069.hyd | 96010069.sam | 237 | 199.8 | 199.235 | 0.55948 | -0.5654 | 33.8132 | 33.8108 | 0.0021588 | -0.0023727
96010069.hyd | 96010069.sam | 245 | 148.4 | 149.3 | 0.33824 | 0.89992 | 33.5903 | 33.5988 | 0.001053 | 0.0084534
96010069.hyd | 96010069.sam | 244 | 101.1 | 103.777 | 0.32788 | 2.6774 | 32.6862 | 32.6917 | 0.0014029 | 0.0055122
96010069.hyd | 96010069.sam | 204 | 73.2 | 73.7314 | 0.43714 | 0.53137 | 32.677 | 32.6931 | 0.00029942 | 0.01614
96010080.hyd | 96010080.sam | 104 | 1503.7 | 1515.13 | 0.66227 | 11.433 | 34.5058 | 34.5284 | 0.00079888 | 0.022583
96010080.hyd | 96010080.sam | 170 | 1200.1 | 1207.95 | 0.51003 | 7.8527 | 34.4356 | 34.4542 | 0.00054448 | 0.018616
96010080.hyd | 96010080.sam | 148 | 998.9 | 1001.53 | 0.39378 | 2.6321 | 34.3653 | 34.3949 | 0.00033147 | 0.029587
96010080.hyd | 96010080.sam | 205 | 799.6 | 795.661 | 0.39665 | -3.9394 | 34.2708 | 34.3028 | 0.00027722 | 0.031986
96010080.hyd | 96010080.sam | 147 | 582.1 | 589.248 | 0.5013 | 7.1483 | 34.1547 | 34.1946 | 0.00063454 | 0.039921
96010080.hyd | 96010080.sam | 140 | 400.2 | 401.617 | 0.63182 | 1.4173 | 34.0039 | 34.049 | 0.0013405 | 0.045055
96010080.hyd | 96010080.sam | 128 | 299.7 | 292.821 | 0.50238 | -6.879 | 33.887 | 33.9353 | 0.00067939 | 0.048267
96010080.hyd | 96010080.sam | 142 | 202.3 | 196.987 | 0.56197 | -5.3127 | 33.8102 | 33.8604 | 0.0032141 | 0.050232
96010080.hyd | 96010080.sam | 170 | 148.3 | 145.717 | 0.26935 | -2.5831 | 33.5952 | 33.6443 | 0.0025667 | 0.049149
96010080.hyd | 96010080.sam | 239 | 100.3 | 97.8066 | 0.38949 | -2.4934 | 32.6978 | 32.7263 | 0.0021069 | 0.028503
96010080.hyd | 96010080.sam | 218 | 72.4 | 69.3579 | 0.38041 | -3.0421 | 32.6826 | 32.6964 | 0.0026956 | 0.013802
96010080.hyd | 96010080.sam | 245 | 48.7 | 45.7773 | 0.34792 | -2.9226 | 32.6834 | 32.6649 | 0.0002265 | -0.018467
96010080.hyd | 96010080.sam | 122 | 27.2 | 27.0471 | 0.61925 | -0.15287 | 32.6836 | 32.6646 | 0.00029796 | -0.018959
96010080.hyd | 96010080.sam | 175 | 14.5 | 15.1054 | 0.49771 | 0.60537 | 32.6837 | 32.6654 | 0.00038956 | -0.018322
96010080.hyd | 96010080.sam | 246 | 7.8 | 9.7904 | 0.41159 | 1.9904 | 32.6831 | 32.6651 | 0.00026877 | -0.01804
96010080.hyd | 96010080.sam | 221 | 1.5 | 1.1467 | 0.50997 | -0.35326 | 32.683 | 32.665 | 0.00034324 | -0.017967
Create Fit Sheet