## File List
Number of Files= |  | 5
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 96110005.srt | 96110005.avg | 11 | 22 | 96110005.srt & 96110005.avg
2 | 96110009.srt | 96110009.avg | 24 | 28 | 96110009.srt & 96110009.avg
3 | 96110023.srt | 96110023.avg | 30 | 43 | 96110023.srt & 96110023.avg
4 | 96110042.srt | 96110042.avg | 45 | 52 | 96110042.srt & 96110042.avg
5 | 96110044.srt | 96110044.avg | 54 | 62 | 96110044.srt & 96110044.avg

## (Salinity - Salinityb)
Calculation of Linear Least Squares Fit For
(Salinity - Salinityb)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Salinity - Salinityb), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | #VALUE! |  | X | CALC Y
m= | #VALUE! | #VALUE! |  | Std Dev of Resid |  | #VALUE! |  | #NAME? | #NAME?
b= | #VALUE! | #VALUE! |  | Resid Sum of Squares |  | #VALUE! |  | #NAME? | #NAME?
# of Values Extracted = |  |  | 48
# of Values Used in Fit = |  |  | 39
File | Use | Pressure | Salinity | Salinity | Diff (Salinity - Salinityb) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 0.615 | 26.9316 | 0.21171 | -0.5138 | #VALUE! | #VALUE! |  | 10.465 | -0.043499
1 | YES | 10.465 | 29.2891 | 0.0077779 | -0.043499 | #VALUE! | #VALUE! |  | 20.48 | -0.0362
1 | YES | 20.48 | 29.444 | 0.019092 | -0.0362 | #VALUE! | #VALUE! |  | 31.445 | -0.069752
1 | YES | 31.445 | 29.5985 | 0.02793 | -0.069752 | #VALUE! | #VALUE! |  | 51.41 | -0.02845
1 | YES | 51.41 | 29.8852 | 0.00063524 | -0.02845 | #VALUE! | #VALUE! |  | 75.435 | -0.0025482
1 | YES | 75.435 | 30.0251 | 0.0010614 | -0.0025482 | #VALUE! | #VALUE! |  | 100.455 | -0.0071983
1 | YES | 100.455 | 30.226 | 0.0057981 | -0.0071983 | #VALUE! | #VALUE! |  | 124.455 | 0.0273
1 | YES | 124.455 | 30.5309 | 0.0035349 | 0.0273 | #VALUE! | #VALUE! |  | 125.47 | -0.016401
1 | YES | 125.47 | 30.5348 | 0.0019799 | -0.016401 | #VALUE! | #VALUE! |  | 125.47 | -0.016401
1 | YES | 125.47 | 30.5348 | 0.0019799 | -0.016401 | #VALUE! | #VALUE! |  | 138.505 | -0.0055504
1 | YES | 138.505 | 30.7854 | 7.0132e-05 | -0.0055504 | #VALUE! | #VALUE! |  | 138.505 | -0.0055504
1 | YES | 138.505 | 30.7854 | 7.0132e-05 | -0.0055504 | #VALUE! | #VALUE! |  | 10.44 | 0.0488
2 | NO | 0.59 | 14.6129 | 0.1661 | 0.25805 | #VALUE! | #VALUE! |  | 21.44 | 0.0021992
2 | YES | 10.44 | 27.0732 | 0.11243 | 0.0488 | #VALUE! | #VALUE! |  | 30.49 | 0.0072498
2 | YES | 21.44 | 28.8671 | 0.20393 | 0.0021992 | #VALUE! | #VALUE! |  | 52.4 | 0.010248
2 | YES | 30.49 | 29.4623 | 0.014637 | 0.0072498 | #VALUE! | #VALUE! |  | 30.495 | -0.077551
2 | YES | 52.4 | 29.8159 | 0.010678 | 0.010248 | #VALUE! | #VALUE! |  | 51.475 | 0.01305
3 | NO | 0.635 | 23.2477 | 0.16659 | -0.0201 | #VALUE! | #VALUE! |  | 75.52 | -0.0026512
3 | NO | 11.47 | 27.2474 | 0.25322 | -0.19555 | #VALUE! | #VALUE! |  | 100.49 | -0.0094509
3 | NO | 20.44 | 28.5436 | 0.033305 | -0.11215 | #VALUE! | #VALUE! |  | 125.46 | 0.0081501
3 | YES | 30.495 | 29.0154 | 0.0074246 | -0.077551 | #VALUE! | #VALUE! |  | 150.44 | 0.015299
3 | YES | 51.475 | 29.4086 | 0.003748 | 0.01305 | #VALUE! | #VALUE! |  | 174.47 | 0.0058002
3 | YES | 75.52 | 29.5926 | 0.0043131 | -0.0026512 | #VALUE! | #VALUE! |  | 200.5 | 0.0012989
3 | YES | 100.49 | 29.7706 | 0.0007782 | -0.0094509 | #VALUE! | #VALUE! |  | 251.475 | 0.0116
3 | YES | 125.46 | 30.145 | 0.005585 | 0.0081501 | #VALUE! | #VALUE! |  | 300.485 | 0.012699
3 | YES | 150.44 | 30.3299 | 0.0052316 | 0.015299 | #VALUE! | #VALUE! |  | 399.585 | 0.0065002
3 | YES | 174.47 | 30.5282 | 0.00070672 | 0.0058002 | #VALUE! | #VALUE! |  | 10.64 | -0.01395
3 | YES | 200.5 | 30.6797 | 0.001698 | 0.0012989 | #VALUE! | #VALUE! |  | 20.525 | 0.0060997
3 | YES | 251.475 | 30.873 | 0.0065048 | 0.0116 | #VALUE! | #VALUE! |  | 30.45 | 0.033602
3 | YES | 300.485 | 30.9751 | 0 | 0.012699 | #VALUE! | #VALUE! |  | 50.485 | 0.043949
3 | YES | 399.585 | 31.0653 | 0.0014134 | 0.0065002 | #VALUE! | #VALUE! |  | 75.46 | 0.0019493
4 | NO | 0 | 0 | 0 | -21.1207 | #VALUE! | #VALUE! |  | 100.957 | 0.0099354
4 | YES | 10.64 | 28.2943 | 0.028497 | -0.01395 | #VALUE! | #VALUE! |  | 121.5 | 0.0175
4 | YES | 20.525 | 28.8257 | 0.0042417 | 0.0060997 | #VALUE! | #VALUE! |  | 19.47 | 0.019951
4 | YES | 30.45 | 29.0866 | 0.016971 | 0.033602 | #VALUE! | #VALUE! |  | 30.465 | 0.0091
4 | YES | 50.485 | 29.3555 | 0.02581 | 0.043949 | #VALUE! | #VALUE! |  | 51.465 | -0.0019016
4 | YES | 75.46 | 29.7034 | 0.0016265 | 0.0019493 | #VALUE! | #VALUE! |  | 75.5 | 0.0011501
4 | YES | 100.957 | 30.1175 | 0.048914 | 0.0099354 | #VALUE! | #VALUE! |  | 125.485 | -0.0062008
4 | YES | 121.5 | 30.5786 | 0.00042349 | 0.0175 | #VALUE! | #VALUE! |  | 150.45 | 0.0014496
5 | NO | 0.645 | 20.4063 | 0.56943 | -0.78625 | #VALUE! | #VALUE!
5 | NO | 10.445 | 28.0393 | 0.20209 | -0.1215 | #VALUE! | #VALUE!
5 | YES | 19.47 | 28.8548 | 0.016334 | 0.019951 | #VALUE! | #VALUE!
5 | YES | 30.465 | 29.0557 | 0.020222 | 0.0091 | #VALUE! | #VALUE!
5 | YES | 51.465 | 29.3555 | 0.029133 | -0.0019016 | #VALUE! | #VALUE!
5 | YES | 75.5 | 29.6427 | 0.0013433 | 0.0011501 | #VALUE! | #VALUE!
5 | NO | 100.51 | 30.0181 | 0.0077779 | -0.1842 | #VALUE! | #VALUE!
5 | YES | 125.485 | 30.2855 | 0.00014161 | -0.0062008 | #VALUE! | #VALUE!
5 | YES | 150.45 | 30.3829 | 0.0085562 | 0.0014496 | #VALUE! | #VALUE!
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
NO
NO
YES
YES
YES
YES
NO
YES
YES
FIT vs. Pressure
FIT vs. Salinity
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 2
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | Salinityb | Salinity |  | Salinity - Salinityb
Average Size: | 1
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | Salinityb | Salinity | Salinity | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
96110005.srt | 96110005.avg | 2 | 0 | 0.615 | 0.45962 | 0.615 | 27.4454 | 26.9316 | 0.21171 | -0.5138
96110005.srt | 96110005.avg | 2 | 10.6 | 10.465 | 0.72832 | -0.135 | 29.3326 | 29.2891 | 0.0077779 | -0.043499
96110005.srt | 96110005.avg | 2 | 20.9 | 20.48 | 0.69296 | -0.42 | 29.4802 | 29.444 | 0.019092 | -0.0362
96110005.srt | 96110005.avg | 2 | 31.3 | 31.445 | 0.71418 | 0.145 | 29.6683 | 29.5985 | 0.02793 | -0.069752
96110005.srt | 96110005.avg | 2 | 51.1 | 51.41 | 0.6364 | 0.31 | 29.9136 | 29.8852 | 0.00063524 | -0.02845
96110005.srt | 96110005.avg | 2 | 75.7 | 75.435 | 0.70003 | -0.265 | 30.0276 | 30.0251 | 0.0010614 | -0.0025482
96110005.srt | 96110005.avg | 2 | 100.6 | 100.455 | 0.7566 | -0.145 | 30.2332 | 30.226 | 0.0057981 | -0.0071983
96110005.srt | 96110005.avg | 2 | 124.9 | 124.455 | 0.74246 | -0.445 | 30.5036 | 30.5309 | 0.0035349 | 0.0273
96110005.srt | 96110005.avg | 2 | 125.6 | 125.47 | 0.69296 | -0.13 | 30.5512 | 30.5348 | 0.0019799 | -0.016401
96110005.srt | 96110005.avg | 2 | 125.6 | 125.47 | 0.69296 | -0.13 | 30.5512 | 30.5348 | 0.0019799 | -0.016401
96110005.srt | 96110005.avg | 2 | 138 | 138.505 | 0.24748 | 0.50501 | 30.791 | 30.7854 | 7.0132e-05 | -0.0055504
96110005.srt | 96110005.avg | 2 | 138.2 | 138.505 | 0.24748 | 0.30501 | 30.791 | 30.7854 | 7.0132e-05 | -0.0055504
96110009.srt | 96110009.avg | 2 | 0 | 0.59 | 0.49497 | 0.59 | 14.3549 | 14.6129 | 0.1661 | 0.25805
96110009.srt | 96110009.avg | 2 | 10.5 | 10.44 | 0.65054 | -0.06 | 27.0244 | 27.0732 | 0.11243 | 0.0488
96110009.srt | 96110009.avg | 2 | 21.2 | 21.44 | 0.72125 | 0.24 | 28.8649 | 28.8671 | 0.20393 | 0.0021992
96110009.srt | 96110009.avg | 2 | 30.1 | 30.49 | 0.65054 | 0.39 | 29.4551 | 29.4623 | 0.014637 | 0.0072498
96110009.srt | 96110009.avg | 2 | 52.9 | 52.4 | 0.56568 | -0.5 | 29.8057 | 29.8159 | 0.010678 | 0.010248
96110023.srt | 96110023.avg | 2 | 0 | 0.635 | 0.40305 | 0.635 | 23.2678 | 23.2477 | 0.16659 | -0.0201
96110023.srt | 96110023.avg | 2 | 11.1 | 11.47 | 0.73539 | 0.37 | 27.443 | 27.2474 | 0.25322 | -0.19555
96110023.srt | 96110023.avg | 2 | 20.7 | 20.44 | 0.79196 | -0.26 | 28.6557 | 28.5436 | 0.033305 | -0.11215
96110023.srt | 96110023.avg | 2 | 30.6 | 30.495 | 0.67175 | -0.105 | 29.093 | 29.0154 | 0.0074246 | -0.077551
96110023.srt | 96110023.avg | 2 | 51.1 | 51.475 | 0.65761 | 0.375 | 29.3955 | 29.4086 | 0.003748 | 0.01305
96110023.srt | 96110023.avg | 2 | 75.8 | 75.52 | 0.73539 | -0.28 | 29.5953 | 29.5926 | 0.0043131 | -0.0026512
96110023.srt | 96110023.avg | 2 | 100.7 | 100.49 | 0.67882 | -0.20999 | 29.7801 | 29.7706 | 0.0007782 | -0.0094509
96110023.srt | 96110023.avg | 2 | 125.2 | 125.46 | 0.67882 | 0.26001 | 30.1368 | 30.145 | 0.005585 | 0.0081501
96110023.srt | 96110023.avg | 2 | 150.3 | 150.44 | 0.66468 | 0.14 | 30.3146 | 30.3299 | 0.0052316 | 0.015299
96110023.srt | 96110023.avg | 2 | 174.9 | 174.47 | 0.74953 | -0.42999 | 30.5224 | 30.5282 | 0.00070672 | 0.0058002
96110023.srt | 96110023.avg | 2 | 200.7 | 200.5 | 0.72124 | -0.2 | 30.6784 | 30.6797 | 0.001698 | 0.0012989
96110023.srt | 96110023.avg | 2 | 251.2 | 251.475 | 0.78489 | 0.27501 | 30.8614 | 30.873 | 0.0065048 | 0.0116
96110023.srt | 96110023.avg | 2 | 300.4 | 300.485 | 0.71416 | 0.084991 | 30.9624 | 30.9751 | 0 | 0.012699
96110023.srt | 96110023.avg | 2 | 399.9 | 399.585 | 0.71418 | -0.315 | 31.0588 | 31.0653 | 0.0014134 | 0.0065002
96110042.srt | 96110042.avg | 0 | 0 | 0 | 0 | 0 | 21.1207 | 0 | 0 | -21.1207
96110042.srt | 96110042.avg | 2 | 10.8 | 10.64 | 0.48083 | -0.16 | 28.3082 | 28.2943 | 0.028497 | -0.01395
96110042.srt | 96110042.avg | 2 | 20.9 | 20.525 | 0.71418 | -0.375 | 28.8196 | 28.8257 | 0.0042417 | 0.0060997
96110042.srt | 96110042.avg | 2 | 30.3 | 30.45 | 0.76367 | 0.15 | 29.053 | 29.0866 | 0.016971 | 0.033602
96110042.srt | 96110042.avg | 2 | 50.2 | 50.485 | 0.77075 | 0.285 | 29.3116 | 29.3555 | 0.02581 | 0.043949
96110042.srt | 96110042.avg | 2 | 75.2 | 75.46 | 0.70711 | 0.26 | 29.7014 | 29.7034 | 0.0016265 | 0.0019493
96110042.srt | 96110042.avg | 3 | 101 | 100.957 | 0.925 | -0.043335 | 30.1076 | 30.1175 | 0.048914 | 0.0099354
96110042.srt | 96110042.avg | 2 | 121.3 | 121.5 | 0.72125 | 0.2 | 30.5611 | 30.5786 | 0.00042349 | 0.0175
96110044.srt | 96110044.avg | 2 | 0 | 0.645 | 0.50205 | 0.645 | 21.1925 | 20.4063 | 0.56943 | -0.78625
96110044.srt | 96110044.avg | 2 | 10.7 | 10.445 | 0.74246 | -0.255 | 28.1608 | 28.0393 | 0.20209 | -0.1215
96110044.srt | 96110044.avg | 2 | 19.8 | 19.47 | 0.70711 | -0.33 | 28.8348 | 28.8548 | 0.016334 | 0.019951
96110044.srt | 96110044.avg | 2 | 30.3 | 30.465 | 0.64347 | 0.165 | 29.0466 | 29.0557 | 0.020222 | 0.0091
96110044.srt | 96110044.avg | 2 | 51 | 51.465 | 0.7566 | 0.465 | 29.3574 | 29.3555 | 0.029133 | -0.0019016
96110044.srt | 96110044.avg | 2 | 75.6 | 75.5 | 0.69296 | -0.099999 | 29.6415 | 29.6427 | 0.0013433 | 0.0011501
96110044.srt | 96110044.avg | 2 | 100.3 | 100.51 | 0.73539 | 0.20999 | 30.2023 | 30.0181 | 0.0077779 | -0.1842
96110044.srt | 96110044.avg | 2 | 125.5 | 125.485 | 0.68589 | -0.014999 | 30.2917 | 30.2855 | 0.00014161 | -0.0062008
96110044.srt | 96110044.avg | 2 | 150.6 | 150.45 | 0.74953 | -0.15001 | 30.3815 | 30.3829 | 0.0085562 | 0.0014496
Create Fit Sheet