## nutrients
Cruise 9613: Nutrient Data
File storage and data processing of nutrient data:
970404 | .aaz | .anz | .wk4 |  | Data analyzed April 4, 1997
970408 | .aaz | .anz | .wk4 |  | Data analyzed April 8, 1997
9613nutr |  |  |  | .xls
.aaz files are raw data files, containing digital output from colorimeters, processed using getdata.exe
.anz files are nutrient peaks which have been processed using peakbase.exe
.wk4 files are Lotus 1-2-3 rel 5 spreadsheets; .xlw files are Lotus files translated into Excel format.
.xls files are the final version of the data.
Nutrient analysis was performed on an Autoanalyzer II, following the methods outlined in Barwell-Clarke
and Whitney, 1997.
Calibration:
Standards used for these samples had been previously prepared and compared to Ocean Science
International commercially prepared standards on January 31, 1997 (file 970131.aaz). The nitrate
standard concentration was approximately 99.4% of the OSI standard; silicate and phosphate were
slightly more concentrated than the OSI standards, 101.65% and 100.48%, respectively.
The silicate standard (#960813-1) was a 7500.27 uM (1.4105 gm/l) solution of Na2SiF6 prepared from
preweighed chemicals on Jan 17, 1997. Nitrate standard, #96-3 was a 2500.3 uM (0.2528 gm/l) solution prepared on Jan 17,
1997. Phosphate standard, #96-2, was a 2499.8 uM (0.3402 gm/l) solution of KH2PO4, prepared in Nov., 1996 and
diluted to 249.98 uM on April 1, 1997. The 249.98 uM solution was used to prepare the working standards. It was compared
to other standards on 970408, and compared favourably.
An Eppendorf Maxipettor (Whitney's #3) was used to pipette volumes greater than 1 ml. The pipettor
was calibrated March 24, 1997. The pipettor delivered very close to the volume dialed.
Estimates of Machine Variability
Machine variability was estimated by measuring standards which were
analyzed as unknowns within a sample run.
|  | Nitrate | Silicate | Phosphate
| Expected | 20 | 60 | 2
| Mean value | 20.0288 | 60.0582 | 1.9945
| Std. dev. | 0.12818 | 0.21259 | 0.021577
The mean values are very close to expected values for each nutrient. Variability is
satisfactory.
Notes on factors affecting data quality:
These samples were rapidly frozen in isopropanol, and as is usual with the method,
some of the PO4 samples were contaminated with alcohol. Since no replicate samples
were taken, the effect of the alcohol contamination or other factors on the variability
of the data is unknown.
An insoluble crystalline substance was noted in many of the samples; this has been
seen in other frozen samples, and its effect on the concentration of nutrients is
unknown, but is assumed to be minor.
Because of the low salinity of many of the samples, particularly those from NI?? stations,
the N/Si samples were defrosted for 24 h at room temperature prior to analysis. Phosphate
samples were defrosted for 30 min. to 1 h in room temperature moving air or warm water prior
to analysis.
Samples originating in waters with less than 27 ppt salinity were selected for turbidity analysis.
Turbidity was measured using a DMQ baseline and was compared to an NaCl blank. The value
obtained for the sample was subtracted from the average NaCl blank.
Note that the mean blank value was different for each sampling day; this
problem needs further study, and its impact on the turbidity values is unknown.
For this reason, the PO4 samples have not been corrected for turbidity.
Cruise 9613 Nutrient data
970404
Order | Cruise | Station | Sample | Nitrate | Silicate | Phosphate | 10*phos | Comments
5 | 9613 | CPE1 | 0m | 1.4349 | 5.4359 | 0.38405 | 3.8405 | N/Si: salty
6 |  |  | 10 | 2.3018 | 7.3379 | 0.43193 | 4.3193
7 |  |  | 20 | 3.8915 | 9.1208 | 0.56101 | 5.6101 | PO4: lid loose
8 |  |  | 30 | 4.423 | 10.0695 | 0.60899 | 6.0899
9 |  |  | 50 | 8.0323 | 14.8361 | 1.0299 | 10.2989
11 |  |  | 75 | 21.6064 | 35.6472 | 1.423 | 14.2303
12 |  |  | 100 | 23.4091 | 39.0257 | 1.615 | 16.1501
13 |  |  | 125 | 29.3064 | 47.7863 | 1.7448 | 17.4479
14 |  |  | 140 | 31.2239 | 52.9045 | 1.9705 | 19.7048 | PO4: lid loose
15 | 9613 | Hotham | nisk 10 | -0.056786 | 3.4155 | 0.1075 | 1.075 | see note
16 |  |  | nisk 9 | 9.3144 | 19.6654 | 0.63235 | 6.3235
17 |  |  | nisk 8 | 24.5511 | 44.9197 | 1.6559 | 16.559
18 |  |  | nisk 7 | 29.7185 | 53.5041 | 1.7138 | 17.138
19 |  |  | nisk 6 | 30.2789 | 53.7146 | 1.9298 | 19.2981
20 |  |  | nisk 5 | 30.2242 | 54.1714 | 2.0453 | 20.4529
21 |  |  | med std | 19.9909 | 60.0528 | 1.9836 | 19.836
22 |  |  | nisk 3 | 28.8885 | 61.0023 | 2.1614 | 21.6142 | no niskin #4 sample
23 |  |  | nisk 2 | 29.9642 | 68.7834 | 2.3105 | 23.1052
24 |  |  | nisk 1 | 29.2999 | 69.1098 | 2.2678 | 22.6782
25 | 9613 | CPE2 | CPE2 0m | -0.0086777 | 6.8642 | 0.30774 | 3.0774
26 |  |  | 10 | -0.0096223 | 6.5048 | 0.27927 | 2.7927 | PO4: moderate alc. smell
27 |  |  | 20 | 0.037656 | 6.5027 | 0.28895 | 2.8895
28 |  |  | 30 | 7.9321 | 14.0059 | 0.66638 | 6.6638
30 |  |  | 50 | 8.4208 | 13.6309 | 0.68605 | 6.8605 | PO4: lid loose
31 |  |  | 75 | 13.2192 | 16.9644 | 0.87764 | 8.7764
32 |  |  | 100 | 23.8351 | 33.5488 | 1.1556 | 11.5556
33 |  |  | 125 | 27.3274 | 39.7109 | 1.2565 | 12.565
34 | 9613 | LQ03 | LQ 03 0m | 1.7283 | 3.4186 | 0.4531 | 4.531 | N/Si: insoluble crystals in sample
35 |  |  | 10 | 2.3063 | 4.9469 | 0.45337 | 4.5337
36 |  |  | 25 | 4.8057 | 7.3023 | 0.60704 | 6.0704 | N/Si: insoluble crystals in sample
37 |  |  | 50 | 16.1327 | 23.6977 | 0.76085 | 7.6085 | PO4: lid loose, moderate alc. odor
38 |  |  | 75 | 21.0198 | 28.8454 | 1.3659 | 13.6591 | PO4: lid loose, moderate alc. odor
40 |  |  | 100 | 25.8971 | 35.5707 | 1.6458 | 16.4577 | N/Si: insoluble crystals in sample
41 |  |  | 150 | 30.8508 | 42.2183 | 1.733 | 17.3299 | N/Si: insoluble crystals in sample. PO4: lid loose, salt around rim.
42 |  |  | 200 | 34.2987 | 55.5065 | 1.753 | 17.5298 | N/Si: insoluble crystals in sample. PO4: strong alc. odor
43 |  |  | 300 | 36.2804 | 61.514 | 1.9124 | 19.124
44 |  |  | 500 | 39.4841 | 79.3637 | 2.0911 | 20.9114 | PO4: salt around lid.
45 | 9613 | LBP4 | LBP 4 0m | 0.1295 | 2.8302 | 0.25201 | 2.5201 | PO4: strong alc. odor
46 |  |  | 10 | 0.13197 | 2.593 | 0.2953 | 2.953 | PO4: strong alc. odor
47 |  |  | 25 | 1.9666 | 4.9442 | 0.32905 | 3.2905 | N/Si, PO4: strong alc. odor
48 |  |  | 50 | 14.226 | 20.9482 | 0.93837 | 9.3837
49 |  |  | 75 | 20.5924 | 28.4847 | 1.1884 | 11.884 | PO4: lid cracked. N/Si: salt aound lid
51 |  |  | 100 | 27.1831 | 36.175 | 1.2232 | 12.2319 | N/Si: salt around lid.
52 |  |  | 150 | 31.0893 | 46.8409 | 1.4448 | 14.4479 | N/Si: salt around lid. PO4: 2 copepods in sample
53 |  |  | 200 | 29.6097 | 46.7044 | 2.5893 | 25.8928 | PO4: insoluble crystals in sample, salt around lid
54 |  |  | 300 | 35.6069 | 63.2414 | 1.374 | 13.7402 | PO4: salt around lid
55 |  |  | 500 | 36.9732 | 76.1207 | 1.8171 | 18.1713
56 | 9613 | LBP2 | LBP 2 0m | 0.17656 | 3.7706 | 0.28072 | 2.8072
57 |  |  | 10 | 0.42032 | 4.0027 | 0.27619 | 2.7619
58 |  |  | 20 | 1.2441 | 4.4701 | 0.31 | 3.1 | PO4: insoluble crystals in sample, salt around lid
59 |  |  | 30 | 3.8498 | 6.9397 | 0.57413 | 5.7413 | PO4: insoluble crystals, moderate alc. odor
61 |  |  | 50 | 8.7885 | 14.4954 | 0.83919 | 8.3919 | N/Si: moderate alc. odor
62 |  |  | 75 | 16.8532 | 22.6958 | 1.0993 | 10.993 | PO4: strong alc. odor. N/Si: crystals
63 |  |  | 100 | 25.5878 | 35.0398 | 1.0231 | 10.2308 | N/Si: crystals
64 | 9613 | NI04 | NI04 0m | 0.093789 | 39.3948 | 0.16103 | 1.6103 | Si: higher than expected
65 |  |  | 10 | 9.3648 | 19.1717 | 0.94697 | 9.4697 | N/Si: salt around lid
66 |  |  | 20 | 21.5147 | 38.8847 | 1.5469 | 15.4691 | N/Si: salt around lid
67 |  |  | 30 | 25.0346 | 45.5571 | 1.8547 | 18.5473 | N/Si: salt around lid
68 |  |  | 50 | 26.6038 | 46.3959 | 1.7979 | 17.9793 | N/Si: salt around lid
69 |  |  | std | 20.2029 | 59.8629 | 1.9812 | 19.8119
70 |  |  | 75 | 26.4049 | 46.8541 | 1.8812 | 18.8117
71 |  |  | 100 | 27.119 | 48.6692 | 1.7475 | 17.4746 | PO4, N/Si: crystals
72 |  |  | 125 | 25.487 | 43.4186 | 1.4406 | 14.4064 | N/Si: crystals, salty
73 |  |  | 150 | 25.53 | 44.1338 | 1.6384 | 16.3843
74 |  |  | 250 | 27.2053 | 54.0004 | 2.0383 | 20.3831 | N/Si: crystals
75 | 9613 | NI03 | NI03 0m | 0.12811 | 21.0894 | 0.089219 | 0.89219
76 |  |  | 10 | 15.2241 | 28.7541 | 1.201 | 12.0101 | PO4: strong alc. odor, salty
77 |  |  | 20 | 21.7224 | 39.4937 | 1.3647 | 13.6465 | PO4: strong alc. odor, salty
78 |  |  | 30 | 25.8794 | 46.1708 | 1.6196 | 16.196 | N/Si: salty
79 |  |  | 50 | 28.2873 | 50.3095 | 1.7739 | 17.7393
81 |  |  | 75 | 27.5672 | 49.5468 | 1.8091 | 18.0912 | PO4: crystals
82 |  |  | 100 | 27.6577 | 48.7996 | 1.6946 | 16.9461 | PO4: lid loose, salty
83 |  |  | 150 | 26.9847 | 49.7621 | 1.7386 | 17.3862 | PO4, N/Si: crystals
84 |  |  | 300 | 28.5092 | 63.1298 | 2.0999 | 20.9994 | PO4, N/Si: crystals
85 |  |  | 400 | 28.4583 | 69.1727 | 1.9806 | 19.806 | PO4, N/Si: crystals
note: 9613 Hotham: printed information on label conflicted with handwritten information, used handwritten info.
9613 Hotham: PO4 0-25 m samples were rapidly defrosted in warm water.
File: 970408 |  | Cruise 9613 Nutrient Data
Order |  | Station | Sample | Nitrate | Silicate | Phosphate | 10*phos | Comments
1 |  | NI02 | NI02 0m | 0.018871 | 17.266 | 0.06153 | 0.6153 | Si: higher than expected
2 |  |  | 10 | 1.5504 | 12.6272 | 0.50576 | 5.0576 | PO4: insoluble crystals in sample
3 |  |  | 20 | 22.8773 | 43.4574 | 1.8683 | 18.6831 | N/Si, PO4:crystals. N/Si: salty. PO4: strong alc. odor
4 |  |  | 30 | 24.5676 | 46.1034 | 1.7789 | 17.7887 | N/Si: crystals
5 |  |  | 50 | 27.5666 | 51.5829 | 2.2837 | 22.8366 | PO4: crystals
6 |  |  | 75 | 28.7038 | 51.0422 | 2.352 | 23.5202 | PO4: crystals
7 |  |  | 125 | 26.4306 | 46.3333 | 2.1892 | 21.892 | PO4: crystals. No nisk. #4 sample.
9 |  |  | 150 | 26.6958 | 48.4438 | 2.1008 | 21.0083 | N/Si, P: crystals
10 |  |  | 300 | 29.5344 | 64.469 | 2.1326 | 21.3261 | N/Si, P: crystals
11 |  | NI01 | NI01 0m | 0.019193 | 14.188 | 0.1088 | 1.088 | PO4: crystals
12 |  |  | 10 | 21.7518 | 41.669 | 1.9821 | 19.8213
13 |  |  | 20 | 23.4902 | 44.7889 | 1.9474 | 19.4736 | PO4: lid loose, salty, crystals
14 |  |  | 30 | 25.0455 | 46.1998 | 2.2342 | 22.3421
16 |  |  | 50 | 27.5147 | 51.2341 | 2.3957 | 23.9572
17 |  |  | 75 | 27.6771 | 49.9441 | 2.3122 | 23.1216
18 |  |  | 100 | 28.4513 | 51.7256 | 2.2347 | 22.3471 | PO4: crystals
19 |  | NI05 | NI05 0m | 0.4019 | 34.2079 | 0.16796 | 1.6796 | Si: higher than expected
20 |  |  | 10 | 14.6751 | 29.7132 | 1.3291 | 13.2909 | PO4: salty. N/Si stored in glass
21 |  |  | 20 | 23.2911 | 37.9157 | 1.4079 | 14.0788 | PO4: lid loose, salty, crystals.
22 |  |  | 30 | 25.7665 | 45.818 | 1.3905 | 13.9055 | PO4: rim chipped. N/Si: alc odor
24 |  |  | 50 | 27.1822 | 48.0857 | 1.8989 | 18.9893 | PO4: salty, crystals.
25 |  |  | 75 | 25.6533 | 44.6244 | 1.3505 | 13.505
32 |  |  | 100 | 24.4445 | 42.9502 | 1.3552 | 13.5523 | PO4: strong alc. odor, N/Si: crystals
33 |  |  | 125 | 24.6876 | 42.7986 | 1.4646 | 14.6463 | N/Si: crystals
34 |  |  | 150 | 23.0915 | 39.1293 | 1.3626 | 13.6262 | N/Si: crystals
35 |  |  | 250 | 25.5527 | 52.8901 | 1.8416 | 18.416 | PO4; lid loose
36 |  | NI06 | NI06 0m | 1.7875 | 50.5837 | 0.15022 | 1.5022 | Si: higher than expected
37 |  |  | 10 | 12.0375 | 25.8661 | 1.6181 | 16.1807
38 |  |  | 20 | 20.1161 | 35.9738 | 1.6731 | 16.7311 | PO4: lid loose
39 |  |  | 30 | 19.1366 | 31.1122 | 1.7343 | 17.3426 | N/Si: salt around lid
40 |  |  | 50 | 25.448 | 44.3202 | 2.1712 | 21.7117
42 |  |  | 70 | 22.3388 | 39.3575 | 1.4417 | 14.4169
43 |  |  | 100 | 22.7663 | 39.6937 | 1.932 | 19.3199
44 |  |  | 125 | 23.9449 | 42.219 | 1.3286 | 13.2857
45 |  |  | 150 | 26.5312 | 53.8331 | 1.4378 | 14.3776 | N/Si: crystals. PO4; salty
46 |  | NI07 | NI07 0m | 0.13771 | 31.1131 | 0.16081 | 1.6081 | PO4: chemical smell
47 |  |  | 20 | 22.9433 | 40.374 | 0.79582 | 7.9582 | PO4: chemical smell
48 |  |  | 30 | 27.4286 | 47.5299 | 1.6893 | 16.8929 | PO4: chemical smell
49 |  |  | 50 | 28.4773 | 48.967 | 1.7325 | 17.325 | PO4: chemical smell

## chlorophyll
CHLOROPHYLL CALCULATION PROGRAM
Date: | 9 June 1996 |  | Data entered by: |  | Rod Forbes
Cruise: | 9613 - round the island |  | Cruise: 9613 - round the island
CALIBRATION FACTORS |  | Current: | 15 September 1995 - Fucus extract
Calibration file fl950915.xls
Sens. Sett. | FsCode | Fs | tau
1x1 | 1 | 0.262 | 1.84
1x3.16 | 2 | 0.07107 | 1.87
1x10 | 3 | 0.02229 | 1.86
1x31.6 | 4 | 0.006516 | 1.89
100x1 | 5 | 0.002139 | 1.89
100x3.16 | 6 | 0.0004923 | 2.06
100x10 | 7 | 0.0002176 | 2.22
100x31.6 | 8 | Suspect | Suspect
Station | Bottle | V filt | V ext | Rb | Ra | FsCode | tau(smpl) | Phaeop A | Chl A | Comments
1 | 1 | 150 | 17.9 | 2.33 | 1.31 | 3 | 1.7786 | 0.28355 | 2.7131
1 | 2 | 150 | 15.5 | 2.62 | 1.5 | 3 | 1.7467 | 0.39156 | 2.5797
1 | 3 | 150 | 15.1 | 2.58 | 1.49 | 3 | 1.7315 | 0.42947 | 2.4458
1 | 4 | 150 | 17.9 | 2.17 | 1.26 | 3 | 1.7222 | 0.46177 | 2.4205
3 | 8 | 150 | 15.8 | 1.69 | 1 | 3 | 1.69 | 0.39914 | 1.62
4 | 1 | 150 | 15.7 | 4.23 | 2.38 | 3 | 1.7773 | 0.45914 | 4.3161
4 | 2 | 150 | 16.3 | 4.98 | 2.8 | 3 | 1.7786 | 0.55226 | 5.2804
4 | 3 | 150 | 17.5 | 1.78 | 0.99 | 2 | 1.798 | 0.59118 | 6.5503
5 | 7 | 150 | 15.9 | 1.68 | 1.01 | 3 | 1.6634 | 0.46924 | 1.583
5 | 8 | 150 | 18 | 1.52 | 0.94 | 3 | 1.617 | 0.61092 | 1.5514
5 | 9 | 150 | 17.8 | 2.15 | 1.25 | 3 | 1.72 | 0.46289 | 2.3806
5 | 10 | 150 | 15 | 2.84 | 1.66 | 3 | 1.7108 | 0.5519 | 2.6302
6 | 5 | 150 | 15.9 | 1.26 | 0.77 | 3 | 1.6364 | 0.40686 | 1.1577
6 | 6 | 150 | 16.7 | 2.5 | 1.52 | 4 | 1.6447 | 0.27045 | 0.71094
6 | 9 | 150 | 21.3 | 2.96 | 1.82 | 4 | 1.6264 | 0.44395 | 1.0548
7 | 2 | 150 | 19.2 | 3.36 | 2.07 | 4 | 1.6232 | 0.46064 | 1.0759
8 | 5 | 150 | 15.5 | 2.6 | 1.83 | 4 | 1.4208 | 0.57818 | 0.51846
8 | 6 | 150 | 18.5 | 3.58 | 2.29 | 4 | 1.5633 | 0.6012 | 1.0367
8 | 7 | 150 | 17.2 | 4.09 | 2.46 | 4 | 1.6626 | 0.41797 | 1.2179
8 | 10 | 150 | 17.2 | 2.74 | 1.67 | 4 | 1.6407 | 0.31105 | 0.79947
9 | 6 | 150 | 19.2 | 3.11 | 1.9 | 4 | 1.6368 | 0.40118 | 1.0092
9 | 7 | 150 | 23.5 | 2.63 | 1.55 | 4 | 1.6968 | 0.30574 | 1.1025
10 | 1 | 150 | 21.7 | 2.27 | 1.36 | 4 | 1.6691 | 0.28317 | 0.85781
11 | 1 | 150 | 20 | 1.62 | 1.04 | 3 | 1.5577 | 0.9344 | 1.7238
11 | 2 | 150 | 20 | 1.54 | 0.96 | 3 | 1.6042 | 0.72992 | 1.7238
11 | 3 | 150 | 20 | 2.93 | 1.72 | 3 | 1.7035 | 0.80006 | 3.5961
11 | 4 | 150 | 20 | 2.4 | 1.43 | 2 | 1.6783 | 2.5974 | 9.1917
11 | 5 | 150 | 25 | 3.69 | 2.15 | 2 | 1.7163 | 3.9148 | 18.2413
12 | 3 | 150 | 25 | 1.58 | 0.92 | 3 | 1.7174 | 0.48741 | 2.4519
12 | 4 | 150 | 25 | 4.9 | 2.71 | 3 | 1.8081 | 0.52233 | 8.1358
12 | 5 | 150 | 25 | 2.78 | 1.57 | 2 | 1.7707 | 1.8466 | 14.3324
12 | 6 | 150 | 25 | 3.69 | 2.09 | 2 | 1.7656 | 2.5858 | 18.952
12 | 7 | 150 | 25 | 4.1 | 2.27 | 2 | 1.8062 | 1.7163 | 21.6763
14 | 4 | 150 | 23 | 2.56 | 1.45 | 2 | 1.7655 | 1.651 | 12.0961
14 | 5 | 150 | 20 | 3.4 | 1.87 | 2 | 1.8182 | 0.91822 | 14.4983
14 | 6 | 100 | 25 | 1.9 | 1.09 | 2 | 1.7431 | 2.4572 | 14.3917
14 | 7 | 100 | 25 | 1.69 | 0.99 | 2 | 1.7071 | 2.8659 | 12.4373
17 | 6 | 150 | 20 | 3.08 | 1.81 | 3 | 1.7017 | 0.85178 | 3.7744
17 | 7 | 150 | 23 | 3.15 | 1.84 | 3 | 1.712 | 0.93101 | 4.4773
17 | 8 | 150 | 25 | 3.17 | 1.86 | 2 | 1.7043 | 3.6506 | 15.5169
17 | 9 | 150 | 25 | 2.67 | 1.58 | 2 | 1.6899 | 3.3711 | 12.911
30 | 7 | 150 | 23 | 4.53 | 2.59 | 3 | 1.749 | 0.98228 | 6.6305
30 | 8 | 150 | 22 | 2.13 | 1.23 | 2 | 1.7317 | 1.7731 | 9.3812
30 | 9 | 100 | 20 | 3.64 | 1.99 | 2 | 1.8291 | 1.1556 | 23.4531
30 | 10 | 100 | 25 | 2.14 | 1.37 | 2 | 1.562 | 7.4961 | 13.681
32 | 5 | 150 | 25 | 1.79 | 1.09 | 3 | 1.6422 | 0.88194 | 2.6005
32 | 6 | 150 | 20.4 | 2.5 | 1.45 | 3 | 1.7241 | 0.59719 | 3.183
32 | 7 | 100 | 20 | 3.15 | 1.91 | 3 | 1.6492 | 1.7948 | 5.5279
32 | 8 | 100 | 20 | 2.06 | 1.24 | 3 | 1.6613 | 1.0985 | 3.6556
34 | 5 | 150 | 22 | 1.62 | 1.06 | 4 | 1.5283 | 0.36641 | 0.53518
34 | 6 | 150 | 20.5 | 3.32 | 2.05 | 4 | 1.6195 | 0.49379 | 1.131
34 | 7 | 150 | 20 | 3.02 | 1.86 | 4 | 1.6237 | 0.4304 | 1.0078
34 | 8 | 150 | 25 | 1.85 | 1.12 | 4 | 1.6518 | 0.28974 | 0.79278
35 | 7 | 150 | 18 | 3.37 | 2.3 | 5 | 1.4652 | 0.25078 | 0.27465
35 | 8 | 150 | 17.3 | 4.38 | 2.76 | 4 | 1.587 | 0.62856 | 1.2174
35 | 9 | 150 | 21.5 | 2.49 | 1.47 | 5 | 1.6939 | 0.08839 | 0.31272
35 | 10 | 150 | 17.5 | 3.08 | 1.83 | 5 | 1.6831 | 0.094505 | 0.31194
36 | 7 | 150 | 18 | 1.79 | 1.27 | 5 | 1.4094 | 0.15665 | 0.13347
36 | 8 | 150 | 19.1 | 3.61 | 2.23 | 4 | 1.6188 | 0.50172 | 1.145
36 | 9 | 150 | 20.2 | 1.43 | 0.85 | 4 | 1.6824 | 0.15488 | 0.50894
36 | 10 | 150 | 19 | 3.46 | 2.02 | 5 | 1.7129 | 0.096942 | 0.39015
37 | 7 | 150 | 21.6 | 1.68 | 1.06 | 4 | 1.5849 | 0.30345 | 0.58175
37 | 8 | 150 | 18.5 | 4.28 | 2.65 | 4 | 1.6151 | 0.58545 | 1.3099
37 | 9 | 150 | 18 | 4 | 2.39 | 5 | 1.6736 | 0.13273 | 0.41325
37 | 10 | 150 | 20.9 | 2.44 | 1.44 | 5 | 1.6944 | 0.083926 | 0.29803
38 | 5 | 150 | 14.3 | 2.67 | 1.75 | 4 | 1.5257 | 0.39601 | 0.5715
38 | 6 | 150 | 15 | 4.27 | 2.67 | 4 | 1.5993 | 0.50584 | 1.0426
38 | 7 | 150 | 25 | 2.8 | 1.68 | 2 | 1.6667 | 4.0463 | 13.2664
38 | 8 | 150 | 25 | 3.21 | 1.88 | 2 | 1.7074 | 3.6198 | 15.7538
42 | 6 | 150 | 20 | 2.98 | 2.17 | 4 | 1.3733 | 0.97419 | 0.70373
42 | 7 | 150 | 20 | 4.29 | 2.71 | 4 | 1.583 | 0.72275 | 1.3727
42 | 8 | 150 | 25 | 3.68 | 2.16 | 2 | 1.7037 | 4.2547 | 18.0044
42 | 9 | 150 | 20 | 5.52 | 3.21 | 3 | 1.7196 | 1.3392 | 6.8653
45 | 5 | 150 | 20 | 2.37 | 1.6 | 4 | 1.4812 | 0.5682 | 0.66898
45 | 6 | 150 | 20 | 3.52 | 2.33 | 4 | 1.5107 | 0.76776 | 1.0339
45 | 7 | 150 | 20 | 3.27 | 1.94 | 4 | 1.6856 | 0.34457 | 1.1555
45 | 8 | 150 | 20 | 1.56 | 0.92 | 4 | 1.6957 | 0.15534 | 0.55603
46 | 8 | 150 | 20.3 | 1.97 | 1.26 | 4 | 1.5635 | 0.36279 | 0.6261
46 | 9 | 150 | 19.5 | 2.8 | 1.68 | 5 | 1.6667 | 0.10433 | 0.31144
46 | 10 | 150 | 21.8 | 2.4 | 1.39 | 5 | 1.7266 | 0.070598 | 0.31398
48 | 7 | 150 | 14.5 | 4.85 | 3.08 | 5 | 1.5747 | 0.20082 | 0.36598
48 | 8 | 150 | 15.6 | 1.66 | 0.98 | 3 | 1.6939 | 0.3774 | 1.5763
48 | 9 | 150 | 16.5 | 4.45 | 2.61 | 5 | 1.705 | 0.11362 | 0.43293
48 | 10 | 150 | 19 | 3.13 | 1.86 | 5 | 1.6828 | 0.10442 | 0.34409
49 | 8 | 150 | 20 | 1.85 | 1.12 | 4 | 1.6518 | 0.2318 | 0.63422
49 | 9 | 150 | 20 | 2.72 | 1.57 | 5 | 1.7325 | 0.07053 | 0.32798
49 | 10 | 150 | 25 | 1.76 | 1.02 | 5 | 1.7255 | 0.059821 | 0.26381
51 | 7 | 150 | 16.8 | 1.6 | 1.11 | 4 | 1.4414 | 0.36336 | 0.3576
51 | 8 | 150 | 18 | 4.1 | 2.59 | 4 | 1.583 | 0.6217 | 1.1807
51 | 9 | 150 | 16.9 | 3.27 | 2.04 | 5 | 1.6029 | 0.14113 | 0.29642
51 | 10 | 150 | 18.5 | 2.3 | 1.4 | 5 | 1.6429 | 0.091278 | 0.23743
54 | 7 | 150 | 17.4 | 1.69 | 1.08 | 4 | 1.5648 | 0.26546 | 0.46107
54 | 8 | 150 | 19 | 2.04 | 1.25 | 4 | 1.632 | 0.26618 | 0.65203
54 | 10 | 150 | 15.1 | 1.29 | 0.75 | 4 | 1.72 | 0.083633 | 0.35421
55 | 5 | 150 | 18.4 | 4.58 | 2.74 | 4 | 1.6715 | 0.47846 | 1.4707
55 | 6 | 150 | 16.5 | 3.39 | 2 | 4 | 1.695 | 0.27954 | 0.9963
55 | 7 | 150 | 18.7 | 1.77 | 1.02 | 4 | 1.7353 | 0.12819 | 0.60925
55 | 8 | 150 | 19 | 4.98 | 2.86 | 5 | 1.7413 | 0.11526 | 0.57439
56 | 2 | 150 | 20 | 1.41 | 0.91 | 4 | 1.5495 | 0.26924 | 0.4344
56 | 3 | 150 | 20 | 2.24 | 1.36 | 4 | 1.6471 | 0.28705 | 0.76454
56 | 4 | 150 | 21 | 3.18 | 1.81 | 4 | 1.7569 | 0.21976 | 1.2498
56 | 5 | 150 | 25 | 1.38 | 0.74 | 4 | 1.8649 | 0.0202 | 0.69504
57 | 2 | 150 | 25 | 4.15 | 2.41 | 4 | 1.722 | 0.43972 | 1.8896
57 | 3 | 150 | 25 | 1.67 | 0.92 | 3 | 1.8152 | 0.15306 | 2.7862
57 | 4 | 150 | 25 | 1.85 | 1.02 | 4 | 1.8137 | 0.084491 | 0.90138
57 | 5 | 150 | 25 | 1.24 | 0.7 | 4 | 1.7714 | 0.090138 | 0.58644
59 | 4 | 150 | 20.5 | 4.37 | 2.84 | 4 | 1.5387 | 0.88838 | 1.3625
59 | 5 | 150 | 20.5 | 2.77 | 1.57 | 3 | 1.7643 | 0.45755 | 3.6556
59 | 6 | 150 | 20.5 | 2.71 | 1.54 | 4 | 1.7597 | 0.17864 | 1.0419
59 | 7 | 150 | 20 | 1.92 | 1.07 | 4 | 1.7944 | 0.088878 | 0.73848
61 | 6 | 150 | 21 | 2.53 | 1.43 | 4 | 1.7692 | 0.15754 | 1.0035
61 | 7 | 150 | 19.8 | 2.97 | 1.61 | 4 | 1.8447 | 0.062702 | 1.1698
61 | 9 | 150 | 20.5 | 1.38 | 0.8 | 4 | 1.725 | 0.11755 | 0.5165
63 | 7 | 150 | 20.5 | 2.5 | 1.71 | 5 | 1.462 | 0.21396 | 0.23094
63 | 8 | 150 | 20.3 | 3.5 | 2.21 | 4 | 1.5837 | 0.59691 | 1.1376
63 | 10 | 150 | 15.7 | 3.76 | 2.19 | 5 | 1.7169 | 0.084874 | 0.35149
65 | 9 | 150 | 19.3 | 0.91 | 0.68 | 6 | 1.3382 | 0.031089 | 0.014569
65 | 10 | 150 | 17.9 | 3.63 | 2.36 | 4 | 1.5381 | 0.6457 | 0.98752
66 | 6 | 100 | 18.5 | 1.8 | 1.17 | 4 | 1.5385 | 0.49581 | 0.75944
66 | 8 | 150 | 19.5 | 3.28 | 1.88 | 5 | 1.7447 | 0.075969 | 0.3893
66 | 10 | 150 | 18 | 3.6 | 2.09 | 5 | 1.7225 | 0.089864 | 0.38759
67 | 7 | 150 | 19.4 | 1.27 | 0.74 | 4 | 1.7162 | 0.10838 | 0.44665
67 | 8 | 150 | 22.1 | 1.36 | 0.8 | 4 | 1.7 | 0.14592 | 0.53761
67 | 9 | 150 | 16.2 | 1.32 | 0.77 | 4 | 1.7143 | 0.095214 | 0.38705
67 | 10 | 150 | 16 | 1.52 | 0.88 | 4 | 1.7273 | 0.09953 | 0.44483
69 | 7 | 150 | 25 | 3.6 | 2.14 | 5 | 1.6822 | 0.1585 | 0.52049
69 | 8 | 150 | 20 | 1.37 | 0.75 | 4 | 1.8267 | 0.041268 | 0.53866
69 | 9 | 150 | 22 | 3.09 | 1.76 | 5 | 1.7557 | 0.074163 | 0.41725
69 | 10 | 150 | 20 | 3.85 | 2.24 | 5 | 1.7188 | 0.1094 | 0.45917
71 | 7 | 150 | 25 | 2.29 | 1.55 | 5 | 1.4774 | 0.22798 | 0.26381
71 | 8 | 150 | 20 | 2.22 | 1.34 | 4 | 1.6567 | 0.27159 | 0.76454
71 | 9 | 150 | 25 | 1.07 | 0.62 | 4 | 1.7258 | 0.11055 | 0.4887
73 | 5 | 150 | 20 | 1.35 | 0.83 | 4 | 1.6265 | 0.19001 | 0.45178
73 | 6 | 150 | 25 | 1.23 | 0.72 | 4 | 1.7083 | 0.14205 | 0.55386
73 | 7 | 150 | 22 | 1.4 | 1.36 | 4 | 1.0294 | 1.1185 | 0.038227
73 | 8 | 150 | 20 | 1.49 | 0.85 | 4 | 1.7529 | 0.10122 | 0.55603
75 | 3 | 150 | 20 | 1.69 | 1.02 | 3 | 1.6569 | 0.6158 | 1.9912
75 | 4 | 150 | 21 | 1.98 | 1.15 | 4 | 1.7217 | 0.17652 | 0.75716
75 | 5 | 150 | 23 | 2.12 | 1.11 | 4 | 1.9099 | -0.022081 | 1.0091
75 | 6 | 150 | 22 | 2.02 | 1.1 | 4 | 1.8364 | 0.056385 | 0.87923
76 | 7 | 150 | 20 | 0.63 | 0.41 | 4 | 1.5366 | 0.12589 | 0.19114
76 | 8 | 150 | 21 | 1.48 | 0.89 | 4 | 1.6629 | 0.18436 | 0.53822
76 | 9 | 150 | 25 | 1.35 | 0.79 | 4 | 1.7089 | 0.15541 | 0.60816
76 | 10 | 150 | 22 | 1.56 | 0.9 | 4 | 1.7333 | 0.13475 | 0.63075
78 | 7 | 150 | 15 | 2.67 | 1.89 | 5 | 1.4127 | 0.19296 | 0.16684
78 | 8 | 150 | 20.8 | 3.69 | 2.43 | 5 | 1.5185 | 0.26775 | 0.37373
78 | 10 | 150 | 16.9 | 2.34 | 1.38 | 4 | 1.6957 | 0.1969 | 0.70477
80 | 7 | 150 | 20 | 2.03 | 1.47 | 5 | 1.381 | 0.21342 | 0.15971
80 | 8 | 150 | 20 | 1.67 | 1.03 | 4 | 1.6214 | 0.2404 | 0.55603
80 | 10 | 150 | 20 | 2.54 | 1.56 | 5 | 1.6282 | 0.11648 | 0.2795
82 | 1 | 150 | 20.5 | 2.14 | 1.74 | 5 | 1.2299 | 0.33577 | 0.11693
82 | 2 | 150 | 20 | 2.35 | 1.76 | 5 | 1.3352 | 0.27847 | 0.16827
82 | 3 | 150 | 20 | 1.64 | 1.06 | 4 | 1.5472 | 0.31572 | 0.5039
82 | 4 | 150 | 20 | 1.89 | 1.15 | 4 | 1.6435 | 0.2463 | 0.64291
83 | 5 | 150 | 17.5 | 2.49 | 1.53 | 4 | 1.6275 | 0.30537 | 0.72979
83 | 6 | 150 | 12.9 | 2.97 | 1.78 | 4 | 1.6685 | 0.2209 | 0.66685
83 | 7 | 150 | 16.5 | 1.9 | 1.17 | 4 | 1.6239 | 0.22313 | 0.52323
83 | 8 | 150 | 18.9 | 1.56 | 0.97 | 4 | 1.6082 | 0.22438 | 0.4844
84 | 7 | 150 | 13.9 | 1.49 | 1.1 | 4 | 1.3545 | 0.35565 | 0.23549
84 | 8 | 150 | 16.4 | 2.38 | 1.48 | 4 | 1.6081 | 0.29722 | 0.64117
84 | 9 | 150 | 14.8 | 2.35 | 1.39 | 4 | 1.6906 | 0.17815 | 0.6172
84 | 10 | 150 | 15.2 | 2.78 | 1.6 | 4 | 1.7375 | 0.16111 | 0.77914
88 | 6 | 150 | 20 | 4.63 | 2.76 | 4 | 1.6775 | 0.50946 | 1.6247
88 | 7 | 150 | 21 | 4.75 | 2.8 | 4 | 1.6964 | 0.49443 | 1.7789
88 | 8 | 150 | 23.5 | 4.22 | 2.4 | 4 | 1.7583 | 0.32259 | 1.8579
88 | 9 | 150 | 19.8 | 3.92 | 2.56 | 4 | 1.5312 | 0.78993 | 1.1698
90 | 7 | 150 | 14 | 1.76 | 1.33 | 4 | 1.3233 | 0.45837 | 0.26151
90 | 8 | 150 | 17.4 | 3.87 | 2.58 | 4 | 1.5 | 0.76054 | 0.97505
90 | 9 | 150 | 21 | 3.25 |  | 3
90 | 10 | 150 | 18.3 | 3.43 | 1.94 | 4 | 1.768 | 0.18809 | 1.1845
Work with various standards and replicates
Replicates
Set 1: 41 filtered, 7 analysed fresh. Remainder frozen for later analysis
20 | 1 | 100 | 25 | 2.68 | 1.52 | 2 | 1.7632 | 2.8854 | 20.6103
20 | 1 | 100 | 25 | 3.03 | 1.67 | 2 | 1.8144 | 1.6506 | 24.1638
20 | 1 | 100 | 25 | 2.82 | 1.58 | 2 | 1.7848 | 2.3915 | 22.0317
20 | 1 | 100 | 25 | 3.07 | 1.7 | 2 | 1.8059 | 1.9367 | 24.3415
20 | 1 | 100 | 25 | 2.93 | 1.63 | 2 | 1.7975 | 2.0983 | 23.0978
20 | 1 | 100 | 25 | 2.95 | 1.65 | 2 | 1.7879 | 2.4075 | 23.0978
20 | 1 | 100 | 25 | 2.88 | 1.62 | 2 | 1.7778 | 2.6545 | 22.387
Set 2: 24 filtered, 4 analysed fresh. Remainder frozen for later analysis
53 | 1 | 150 | 19 | 3.04 | 1.94 | 4 | 1.567 | 0.51717 | 0.9079
53 | 1 | 150 | 19 | 2.77 | 1.78 | 4 | 1.5562 | 0.49043 | 0.81711
53 | 1 | 150 | 19 | 3.08 | 1.95 | 4 | 1.5795 | 0.49976 | 0.93266
53 | 1 | 150 | 19 | 2.88 | 1.85 | 4 | 1.5568 | 0.50883 | 0.85012
Fucus standard
A. 10mL in 100mL
|  | 9 June |  | 2.38 | 1.23 | 2
|  | 9 June |  | 2.38 | 1.23 | 2
|  | 10 June |  | 2.45 | 1.26 | 2
|  | 11 June |  | 2.45 | 1.28 | 2
B. 1mL of A. in 10mL
|  | 9 June |  | 2.49 | 1.27 | 4
|  | 9 June |  | 2.5 | 1.29 | 4
|  | 10 June |  | 2.47 | 1.26 | 4
|  | 11 June |  | 2.45 | 1.25 | 4
Range comparison on individual samples
1x10 and 1x3.16
17 | 6 | 150 | 20 | 3.08 | 1.81 | 3 | 1.7017 | 0.85178 | 3.7744
17 | 6 | 150 | 20 | 1 | 0.58 | 2 | 1.7241 | 0.80167 | 3.9799
17 | 7 | 150 | 23 | 3.15 | 1.84 | 3 | 1.712 | 0.93101 | 4.4773
17 | 7 | 150 | 23 | 1.01 | 0.59 | 2 | 1.7119 | 1.0167 | 4.5769
30 | 7 | 150 | 23 | 4.53 | 2.59 | 3 | 1.749 | 0.98228 | 6.6305
30 | 7 | 150 | 23 | 1.46 | 0.83 | 2 | 1.759 | 1.0037 | 6.8654
1x31.6 and 1x10
35 | 8 | 150 | 17.3 | 4.38 | 2.76 | 4 | 1.587 | 0.62856 | 1.2174
35 | 8 | 150 | 17.3 | 1.36 | 0.86 | 3 | 1.5814 | 0.61596 | 1.2854
36 | 8 | 150 | 19.1 | 3.61 | 2.23 | 4 | 1.6188 | 0.50172 | 1.145
36 | 8 | 150 | 19.1 | 1.13 | 0.7 | 3 | 1.6143 | 0.48818 | 1.2205
55 | 5 | 150 | 18.4 | 4.58 | 2.74 | 4 | 1.6715 | 0.47846 | 1.4707
55 | 5 | 150 | 18.4 | 1.44 | 0.86 | 3 | 1.6744 | 0.43638 | 1.5859
37 | 8 | 150 | 18.5 | 4.28 | 2.65 | 4 | 1.6151 | 0.58545 | 1.3099
37 | 8 | 150 | 18.5 | 1.34 | 0.82 | 3 | 1.6341 | 0.50913 | 1.4295
65 | 10 | 150 | 17.9 | 3.63 | 2.36 | 4 | 1.5381 | 0.6457 | 0.98752
65 | 10 | 150 | 17.9 | 1.14 | 0.74 | 3 | 1.5405 | 0.62881 | 1.064
100x1 and 1x31.6
37 | 9 | 150 | 18 | 4 | 2.39 | 5 | 1.6736 | 0.13273 | 0.41325
37 | 9 | 150 | 18 | 1.28 | 0.77 | 4 | 1.6623 | 0.13707 | 0.39878
48 | 7 | 150 | 14.5 | 4.85 | 3.08 | 5 | 1.5747 | 0.20082 | 0.36598
48 | 7 | 150 | 14.5 | 1.59 | 0.99 | 4 | 1.6061 | 0.17706 | 0.37793
48 | 9 | 150 | 16.5 | 4.45 | 2.61 | 5 | 1.705 | 0.11362 | 0.43293
48 | 9 | 150 | 16.5 | 1.43 | 0.84 | 4 | 1.7024 | 0.11296 | 0.42289
55 | 8 | 150 | 19 | 4.98 | 2.86 | 5 | 1.7413 | 0.11526 | 0.57439
55 | 8 | 150 | 19 | 1.59 | 0.92 | 4 | 1.7283 | 0.12281 | 0.55299
36 | 10 | 150 | 19 | 3.46 | 2.02 | 5 | 1.7129 | 0.096942 | 0.39015
36 | 10 | 150 | 19 | 1.11 | 0.65 | 4 | 1.7077 | 0.097805 | 0.37967
63 | 10 | 150 | 15.7 | 3.76 | 2.19 | 5 | 1.7169 | 0.084874 | 0.35149
63 | 10 | 150 | 15.7 | 1.2 | 0.7 | 4 | 1.7143 | 0.083887 | 0.341
66 | 8 | 150 | 19.5 | 3.28 | 1.88 | 5 | 1.7447 | 0.075969 | 0.3893
66 | 8 | 150 | 19.5 | 1.07 | 0.6 | 4 | 1.7833 | 0.054213 | 0.39813
66 | 10 | 150 | 18 | 3.6 | 2.09 | 5 | 1.7225 | 0.089864 | 0.38759
66 | 10 | 150 | 18 | 1.16 | 0.67 | 4 | 1.7313 | 0.083118 | 0.38314

## IOSshell
! | file:9613.xls |  |  |  | Compiled by Melanie Quennville
! | file last modified:March 5, 1999
* | Cruise 9613 nutrient and chlorophyll data
*
* | Nutrient comments:
* | Main source file for nutrients:ecol_lib:\data\waterpro\nutrient\9613nut.xls
* | Samples were frozen before analyzed. N/Si samples were defrosted 24 h, P were defrosted 1 h.
* | Nutrient analysis was performed on an Autoanalyzer II, following the methods outlined in Barwell-Clarke and Whitney, 1997.
* | These samples were rapidly frozen in isopropanol, and as is usual with the method,
* | some of the PO4 samples were contaminated with alcohol. Since no replicate samples
* | were taken, the effect of the alcohol contamination or other factors on the variability
* | of the data is unknown.
* | An insoluble crystalline substance was noted in many of the samples.
* | Samples originating in waters with less than 27 ppt salinity were selected for turbidity analysis.
*
* | Chlorophyll comments:
* | Main source file for chlorophylls: ecol_lib: data\waterpro\chloroph\chldata\9613chl.xls
*
* | Missing samples:Nutrient samples from Haro/Saanich/Stuart, etc; nutrient samples casts 1-75 and 78.
!
! | Cruise | Identification |  |  | Pressure/ | Avg NO3 | Avg Si | Avg PO4 | Silicate 1 | Silicate 2 | Nitrate 1 | Nitrate 2 | PO4 1 | PO4 2 | Avg. phaeo | Avg. chl | phaeo 1 | phaeo 2 | Chl a 1 | Chl a 2 | Comments
! | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22
! |  | cast # | station ID | bottle # | Depth | umol/L | umol/L | umol/L | [6 empty] | ug/L | ug/L
! |  |  |  | sample #
|  | 2 |  | 1 | 30 | [9 empty] | 0.28355 | 2.7131
|  | 2 |  | 2 | 20 | [9 empty] | 0.39156 | 2.5797
|  | 2 |  | 3 | 10 | [9 empty] | 0.42947 | 2.4458
|  | 2 |  | 4 | 0.6 | [9 empty] | 0.46177 | 2.4205
|  | 3 |  | 8 | 30 | [9 empty] | 0.39914 | 1.62
|  | 4 |  | 1 | 20 | [9 empty] | 0.45914 | 4.3161
|  | 4 |  | 2 | 10 | [9 empty] | 0.55226 | 5.2804
|  | 4 |  | 3 | 0 | [9 empty] | 0.59118 | 6.5503
|  | 5 |  | 7 | 30 | [9 empty] | 0.46924 | 1.583
|  | 5 |  | 8 | 20 | [9 empty] | 0.61092 | 1.5514
|  | 5 |  | 9 | 10 | [9 empty] | 0.46289 | 2.3806
|  | 5 |  | 10 | 0.6 | [9 empty] | 0.5519 | 2.6302
|  | 6 |  | 5 | 30 | [9 empty] | 0.40686 | 1.1577
|  | 6 |  | 6 | 20 | [9 empty] | 0.27045 | 0.71094
|  | 6 |  | 9 | 9 | [9 empty] | 0.44395 | 1.0548
|  | 7 |  | 2 | 10 | [9 empty] | 0.46064 | 1.0759
|  | 8 |  | 5 | 30 | [9 empty] | 0.57818 | 0.51846
|  | 8 |  | 6 | 20 | [9 empty] | 0.6012 | 1.0367
|  | 8 |  | 7 | 10 | [9 empty] | 0.41797 | 1.2179
|  | 8 |  | 10 | 0 | [9 empty] | 0.31105 | 0.79947
|  | 9 |  | 6 | 30 | [9 empty] | 0.40118 | 1.0092
|  | 9 |  | 7 | 20 | [9 empty] | 0.30574 | 1.1025
|  | 10 |  | 1 | 0 | [9 empty] | 0.28317 | 0.85781
|  | 11 |  | 1 | 50 | [9 empty] | 0.9344 | 1.7238 |  |  |  |  | prob cast 12
|  | 11 |  | 2 | 30 | [9 empty] | 0.72992 | 1.7238
|  | 11 |  | 3 | 20 | [9 empty] | 0.80006 | 3.5961
|  | 11 |  | 4 | 10 | [9 empty] | 2.5974 | 9.1917
|  | 11 |  | 5 | 0 | [9 empty] | 3.9148 | 18.2413
|  | 12 |  | 3 | 50 | [9 empty] | 0.48741 | 2.4519 |  |  |  |  | prob cast 13
|  | 12 |  | 4 | 30 | [9 empty] | 0.52233 | 8.1358
|  | 12 |  | 5 | 20 | [9 empty] | 1.8466 | 14.3324
|  | 12 |  | 6 | 10 | [9 empty] | 2.5858 | 18.952
|  | 12 |  | 7 | 0 | [9 empty] | 1.7163 | 21.6763
|  | 14 |  | 4 | 30 | [9 empty] | 1.651 | 12.0961
|  | 14 |  | 5 | 20 | [9 empty] | 0.91822 | 14.4983
|  | 14 |  | 6 | 10 | [9 empty] | 2.4572 | 14.3917
|  | 14 |  | 7 | 0 | [9 empty] | 2.8659 | 12.4373
|  | 17 |  | 6 | 30 | [9 empty] | 0.85178 | 3.7744
|  | 17 |  | 7 | 20 | [9 empty] | 0.93101 | 4.4773
|  | 17 |  | 8 | 10 | [9 empty] | 3.6506 | 15.5169
|  | 17 |  | 9 | 0 | [9 empty] | 3.3711 | 12.911
|  | 30 |  | 7 | 30 | [9 empty] | 0.98228 | 6.6305
|  | 30 |  | 8 | 20 | [9 empty] | 1.7731 | 9.3812
|  | 30 |  | 9 | 10 | [9 empty] | 1.1556 | 23.4531
|  | 30 |  | 10 | 0 | [9 empty] | 7.4961 | 13.681
|  | 32 |  | 5 | 29 | [9 empty] | 0.88194 | 2.6005
|  | 32 |  | 6 | 19 | [9 empty] | 0.59719 | 3.183
|  | 32 |  | 7 | 8.7 | [9 empty] | 1.7948 | 5.5279
|  | 32 |  | 8 | 1.7 | [9 empty] | 1.0985 | 3.6556
|  | 34 |  | 5 | 32 | [9 empty] | 0.36641 | 0.53518
|  | 34 |  | 6 | 20 | [9 empty] | 0.49379 | 1.131
|  | 34 |  | 7 | 11 | [9 empty] | 0.4304 | 1.0078
|  | 34 |  | 8 | 1 | [9 empty] | 0.28974 | 0.79278
|  | 35 |  | 7 | 51 | [9 empty] | 0.25078 | 0.27465
|  | 35 |  | 8 | 26 | [9 empty] | 0.62856 | 1.2174
|  | 35 |  | 9 | 10 | [9 empty] | 0.08839 | 0.31272
|  | 35 |  | 10 | 1.7 | [9 empty] | 0.094505 | 0.31194
|  | 36 |  | 7 | 51 | [9 empty] | 0.15665 | 0.13347
|  | 36 |  | 8 | 24 | [9 empty] | 0.50172 | 1.145
|  | 36 |  | 9 | 9 | [9 empty] | 0.15488 | 0.50894
|  | 36 |  | 10 | 2.1 | [9 empty] | 0.096942 | 0.39015
|  | 37 |  | 7 | 30 | [9 empty] | 0.30345 | 0.58175
|  | 37 |  | 8 | 20 | [9 empty] | 0.58545 | 1.3099
|  | 37 |  | 9 | 10 | [9 empty] | 0.13273 | 0.41325
|  | 37 |  | 10 | 0.9 | [9 empty] | 0.083926 | 0.29803
|  | 38 |  | 5 | 30 | [9 empty] | 0.39601 | 0.5715
|  | 38 |  | 6 | 19 | [9 empty] | 0.50584 | 1.0426
|  | 38 |  | 7 | 8 | [9 empty] | 4.0463 | 13.2664
|  | 38 |  | 8 | 1.6 | [9 empty] | 3.6198 | 15.7538
|  | 42 |  | 6 | 30 | [9 empty] | 0.97419 | 0.70373
|  | 42 |  | 7 | 21 | [9 empty] | 0.72275 | 1.3727
|  | 42 |  | 8 | 11 | [9 empty] | 4.2547 | 18.0044
|  | 42 |  | 9 | 2 | [9 empty] | 1.3392 | 6.8653
|  | 45 |  | 5 | 31 | [9 empty] | 0.5682 | 0.66898
|  | 45 |  | 6 | 21 | [9 empty] | 0.76776 | 1.0339
|  | 45 |  | 7 | 10 | [9 empty] | 0.34457 | 1.1555
|  | 45 |  | 8 | 2 | [9 empty] | 0.15534 | 0.55603
|  | 46 |  | 8 | 31 | [9 empty] | 0.36279 | 0.6261
|  | 46 |  | 9 | 9 | [9 empty] | 0.10433 | 0.31144
|  | 46 |  | 10 | 0 | [9 empty] | 0.070598 | 0.31398
|  | 48 |  | 7 | 50 | [9 empty] | 0.20082 | 0.36598
|  | 48 |  | 8 | 25 | [9 empty] | 0.3774 | 1.5763
|  | 48 |  | 9 | 10 | [9 empty] | 0.11362 | 0.43293
|  | 48 |  | 10 | 0 | [9 empty] | 0.10442 | 0.34409
|  | 49 |  | 8 | 25 | [9 empty] | 0.2318 | 0.63422
|  | 49 |  | 9 | 10 | [9 empty] | 0.07053 | 0.32798
|  | 49 |  | 10 | 1 | [9 empty] | 0.059821 | 0.26381
|  | 51 |  | 7 | 51 | [9 empty] | 0.36336 | 0.3576
|  | 51 |  | 8 | 27 | [9 empty] | 0.6217 | 1.1807
|  | 51 |  | 9 | 10 | [9 empty] | 0.14113 | 0.29642
|  | 51 |  | 10 | 1.7 | [9 empty] | 0.091278 | 0.23743
|  | 54 |  | 7 | 50 | [9 empty] | 0.26546 | 0.46107
|  | 54 |  | 8 | 25 | [9 empty] | 0.26618 | 0.65203
|  | 54 |  | 10 | 2.7 | [9 empty] | 0.083633 | 0.35421
|  | 55 |  | 5 | 30 | [9 empty] | 0.47846 | 1.4707
|  | 55 |  | 6 | 21 | [9 empty] | 0.27954 | 0.9963
|  | 55 |  | 7 | 12 | [9 empty] | 0.12819 | 0.60925
|  | 55 |  | 8 | 1 | [9 empty] | 0.11526 | 0.57439
|  | 56 |  | 2 | 31 | [9 empty] | 0.26924 | 0.4344
|  | 56 |  | 3 | 21 | [9 empty] | 0.28705 | 0.76454
|  | 56 |  | 4 | 11 | [9 empty] | 0.21976 | 1.2498
|  | 56 |  | 5 | 1 | [9 empty] | 0.0202 | 0.69504
|  | 57 |  | 2 | 31 | [9 empty] | 0.43972 | 1.8896
|  | 57 |  | 3 | 20 | [9 empty] | 0.15306 | 2.7862
|  | 57 |  | 4 | 10 | [9 empty] | 0.084491 | 0.90138
|  | 57 |  | 5 | 3 | [9 empty] | 0.090138 | 0.58644
|  | 59 |  | 4 | 30 | [9 empty] | 0.88838 | 1.3625
|  | 59 |  | 5 | 20 | [9 empty] | 0.45755 | 3.6556
|  | 59 |  | 6 | 10 | [9 empty] | 0.17864 | 1.0419
|  | 59 |  | 7 | 0 | [9 empty] | 0.088878 | 0.73848
|  | 61 |  | 6 | 30 | [9 empty] | 0.15754 | 1.0035
|  | 61 |  | 7 | 20 | [9 empty] | 0.062702 | 1.1698
|  | 61 |  | 9 | 1 | [9 empty] | 0.11755 | 0.5165
|  | 63 |  | 7 | 51 | [9 empty] | 0.21396 | 0.23094
|  | 63 |  | 8 | 30 | [9 empty] | 0.59691 | 1.1376
|  | 63 |  | 10 | 3.9 | [9 empty] | 0.084874 | 0.35149
|  | 65 |  | 9 | 200 | [9 empty] | 0.031089 | 0.014569
|  | 65 |  | 10 | 3.2 | [9 empty] | 0.6457 | 0.98752
|  | 66 |  | 6 | 30 | [9 empty] | 0.49581 | 0.75944
|  | 66 |  | 8 | 10 | [9 empty] | 0.075969 | 0.3893
|  | 66 |  | 10 | 5 | [9 empty] | 0.089864 | 0.38759
|  | 67 |  | 7 | 49 | [9 empty] | 0.10838 | 0.44665
|  | 67 |  | 8 | 25 | [9 empty] | 0.14592 | 0.53761
|  | 67 |  | 9 | 9 | [9 empty] | 0.095214 | 0.38705
|  | 67 |  | 10 | 2 | [9 empty] | 0.09953 | 0.44483
|  | 69 |  | 7 | 49 | [9 empty] | 0.1585 | 0.52049
|  | 69 |  | 8 | 24 | [9 empty] | 0.041268 | 0.53866
|  | 69 |  | 9 | 11 | [9 empty] | 0.074163 | 0.41725
|  | 69 |  | 10 | 3 | [9 empty] | 0.1094 | 0.45917
|  | 71 |  | 7 | 49 | [9 empty] | 0.22798 | 0.26381
|  | 71 |  | 8 | 26 | [9 empty] | 0.27159 | 0.76454
|  | 71 |  | 9 | 11 | [9 empty] | 0.11055 | 0.4887
|  | 73 |  | 5 | 31 | [9 empty] | 0.19001 | 0.45178
|  | 73 |  | 6 | 20 | [9 empty] | 0.14205 | 0.55386
|  | 73 |  | 7 | 10 | [9 empty] | 1.1185 | 0.038227
|  | 73 |  | 8 | 1 | [9 empty] | 0.10122 | 0.55603
|  | 75 |  | 3 | 29 | [9 empty] | 0.6158 | 1.9912
|  | 75 |  | 4 | 20 | [9 empty] | 0.17652 | 0.75716
|  | 75 |  | 5 | 9 | [9 empty] | -0.022081 | 1.0091
|  | 75 |  | 6 | 3 | [9 empty] | 0.056385 | 0.87923
|  | 76 | LBP8 |  | 500 | 36.2675 | 74.0854 | 2.4162 | [12 empty] | PO4: salt around lid
|  | 76 | LBP8 |  | 300 | 26.4453 | 42.7061 | 2.5839 | [12 empty] | PO4: salt around lid
|  | 76 | LBP8 |  | 200 | 34.8535 | 55.7024 | 2.7587
|  | 76 | LBP8 |  | 150 | 29.9073 | 43.4889 | 2.4035 | [12 empty] | PO4: salt around lid
|  | 76 | LBP8 |  | 100 | 27.7147 | 35.3764 | 1.8496 | [12 empty] | N/Si: salt round lid
|  | 76 | LBP8 |  | 75 | 21.9674 | 27.7941 | 1.6495 | [6 empty] | 0.12589 | 0.19114
|  | 76 | LBP8 |  | 50 | 6.7797 | 10.5871 | 0.77668 | [6 empty] | 0.18436 | 0.53822
|  | 76 | LBP8 |  | 25 | 0.24145 | 6.1451 | 0.28136 | [6 empty] | 0.15541 | 0.60816 |  |  |  |  | PO4: foamy
|  | 76 | LBP8 |  | 10 | 0.70985 | 5.67 | 0.46443 | [6 empty] | 0.13475 | 0.63075
|  | 76 | LBP8 |  | 0 | 0.1985 | 5.7928 | 0.41103
|  | 78 | LBP6 |  | 47 | [9 empty] | 0.19296 | 0.16684
|  | 78 | LBP6 |  | 25 | [9 empty] | 0.26775 | 0.37373
|  | 78 | LBP6 |  | 4 | [9 empty] | 0.1969 | 0.70477
|  | 80 | LBP4 |  | 500 | 36.9732 | 76.1207 | 1.8171
|  | 80 | LBP4 |  | 300 | 35.6069 | 63.2414 | 1.374 | [12 empty] | PO4: salt around lid
|  | 80 | LBP4 |  | 200 | 29.6097 | 46.7044 | 2.5893 | [12 empty] | PO4: salt around lid
|  | 80 | LBP4 |  | 150 | 31.0893 | 46.8409 | 1.4448 | [12 empty] | N/Si: salt around lid. PO4: 2 copepods in sample
|  | 80 | LBP4 |  | 100 | 27.1831 | 36.175 | 1.2232 | [12 empty] | N/Si: salt around lid.
|  | 80 | LBP4 |  | 75 | 20.5924 | 28.4847 | 1.1884 | [12 empty] | PO4: lid cracked. N/Si: salt aound lid
|  | 80 | LBP4 |  | 50 | 14.226 | 20.9482 | 0.93837 | [6 empty] | 0.21342 | 0.15971
|  | 80 | LBP4 |  | 25 | 1.9666 | 4.9442 | 0.32905 | [6 empty] | 0.2404 | 0.55603 |  |  |  |  | N/Si, PO4: strong alc. odor
|  | 80 | LBP4 |  | 10 | 0.13197 | 2.593 | 0.2953 | [12 empty] | PO4: strong alc. odor
|  | 80 | LBP4 |  | 0 | 0.1295 | 2.8302 | 0.25201 | [6 empty] | 0.11648 | 0.2795 |  |  |  |  | PO4: strong alc. odor
|  | 82 | LBP2 |  | 100 | 25.5878 | 35.0398 | 1.0231 | [6 empty] | 0.33577 | 0.11693
|  | 82 | LBP2 |  | 75 | 16.8532 | 22.6958 | 1.0993 | [6 empty] | 0.27847 | 0.16827 |  |  |  |  | PO4: strong alc. odor.
|  | 82 | LBP2 |  | 50 | 8.7885 | 14.4954 | 0.83919 | [6 empty] | 0.31572 | 0.5039 |  |  |  |  | N/Si: moderate alc. odor
|  | 82 | LBP2 |  | 30 | 3.8498 | 6.9397 | 0.57413 | [6 empty] | 0.2463 | 0.64291 |  |  |  |  | PO4:moderate alc. odor
|  | 82 | LBP2 |  | 20 | 1.2441 | 4.4701 | 0.31 | [12 empty] | PO4:salt around lid
|  | 82 | LBP2 |  | 10 | 0.42032 | 4.0027 | 0.27619
|  | 82 | LBP2 |  | 0 | 0.17656 | 3.7706 | 0.28072
|  | 83 | CPE2 |  | 125 | 27.3274 | 39.7109 | 1.2565
|  | 83 | CPE2 |  | 100 | 23.8351 | 33.5488 | 1.1556
|  | 83 | CPE2 |  | 75 | 13.2192 | 16.9644 | 0.87764
|  | 83 | CPE2 |  | 50 | 8.4208 | 13.6309 | 0.68605 | [12 empty] | PO4: lid loose
|  | 83 | CPE2 |  | 30 | 7.9321 | 14.0059 | 0.66638 | [6 empty] | 0.30537 | 0.72979
|  | 83 | CPE2 |  | 20 | 0.037656 | 6.5027 | 0.28895 | [6 empty] | 0.2209 | 0.66685
|  | 83 | CPE2 |  | 10 | -0.0096223 | 6.5048 | 0.27927 | [6 empty] | 0.22313 | 0.52323 |  |  |  |  | PO4: moderate alc. smell
|  | 83 | CPE2 |  | 0 | -0.0086777 | 6.8642 | 0.30774 | [6 empty] | 0.22438 | 0.4844
|  | 84 | LQ03 |  | 500 | 39.4841 | 79.3637 | 2.0911 | [12 empty] | PO4: salt around lid.
|  | 84 | LQ03 |  | 300 | 36.2804 | 61.514 | 1.9124
|  | 84 | LQ03 |  | 200 | 34.2987 | 55.5065 | 1.753 | [12 empty] | PO4: strong alc. odor
|  | 84 | LQ03 |  | 150 | 30.8508 | 42.2183 | 1.733 | [12 empty] | PO4: lid loose, salt around rim.
|  | 84 | LQ03 |  | 100 | 25.8971 | 35.5707 | 1.6458
|  | 84 | LQ03 |  | 75 | 21.0198 | 28.8454 | 1.3659 | [12 empty] | PO4: lid loose, moderate alc. odor
|  | 84 | LQ03 |  | 50 | 16.1327 | 23.6977 | 0.76085 | [6 empty] | 0.35565 | 0.23549 |  |  |  |  | PO4: lid loose, moderate alc. odor
|  | 84 | LQ03 |  | 25 | 4.8057 | 7.3023 | 0.60704 | [6 empty] | 0.29722 | 0.64117
|  | 84 | LQ03 |  | 10 | 2.3063 | 4.9469 | 0.45337 | [6 empty] | 0.17815 | 0.6172
|  | 84 | LQ03 |  | 0 | 1.7283 | 3.4186 | 0.4531 | [6 empty] | 0.16111 | 0.77914
|  | 89 | CPE1 |  | 140 | 31.2239 | 52.9045 | 1.9705 | [12 empty] | PO4: lid loose
|  | 89 | CPE1 |  | 125 | 29.3064 | 47.7863 | 1.7448
|  | 89 | CPE1 |  | 100 | 23.4091 | 39.0257 | 1.615
|  | 89 | CPE1 |  | 75 | 21.6064 | 35.6472 | 1.423
|  | 89 | CPE1 |  | 50 | 8.0323 | 14.8361 | 1.0299
|  | 89 | CPE1 |  | 30 | 4.423 | 10.0695 | 0.60899 | [6 empty] | 0.50946 | 1.6247 |  |  |  |  | chl labelled #88
|  | 89 | CPE1 |  | 20 | 3.8915 | 9.1208 | 0.56101 | [6 empty] | 0.49443 | 1.7789 |  |  |  |  | PO4: lid loose
|  | 89 | CPE1 |  | 10 | 2.3018 | 7.3379 | 0.43193 | [6 empty] | 0.32259 | 1.8579
|  | 89 | CPE1 |  | 0 | 1.4349 | 5.4359 | 0.38405 | [6 empty] | 0.78993 | 1.1698 |  |  |  |  | N/Si: salt around lid
|  | 90 | Hotham |  | 500 | -0.056786 | 3.4155 | 0.1075
|  | 90 | Hotham |  | 300 | 9.3144 | 19.6654 | 0.63235
|  | 90 | Hotham |  | 200 | 24.5511 | 44.9197 | 1.6559
|  | 90 | Hotham |  | 100 | 29.7185 | 53.5041 | 1.7138
|  | 90 | Hotham |  | 75 | 30.2789 | 53.7146 | 1.9298
|  | 90 | Hotham |  | 50 | 30.2242 | 54.1714 | 2.0453 | [6 empty] | 0.45837 | 0.26151
|  | 90 | Hotham |  | 25 | 28.8885 | 61.0023 | 2.1614 | [6 empty] | 0.76054 | 0.97505
|  | 90 | Hotham |  | 10 | 29.9642 | 68.7834 | 2.3105
|  | 90 | Hotham |  | 0 | 29.2999 | 69.1098 | 2.2678 | [6 empty] | 0.18809 | 1.1845
|  | 94 | NI07 |  | 50 | 28.4773 | 48.967 | 1.7325 | [12 empty] | PO4: chemical smell
|  | 94 | NI07 |  | 30 | 27.4286 | 47.5299 | 1.6893 | [12 empty] | PO4: chemical smell
|  | 94 | NI07 |  | 20 | 22.9433 | 40.374 | 0.79582 | [12 empty] | PO4: chemical smell
|  | 94 | NI07 |  | 0 | 0.13771 | 31.1131 | 0.16081 | [12 empty] | PO4: chemical smell
|  | 95 | NI06 |  | 150 | 26.5312 | 53.8331 | 1.4378 | [12 empty] | PO4; salty
|  | 95 | NI06 |  | 125 | 23.9449 | 42.219 | 1.3286
|  | 95 | NI06 |  | 100 | 22.7663 | 39.6937 | 1.932
|  | 95 | NI06 |  | 70 | 22.3388 | 39.3575 | 1.4417
|  | 95 | NI06 |  | 50 | 25.448 | 44.3202 | 2.1712
|  | 95 | NI06 |  | 30 | 19.1366 | 31.1122 | 1.7343 | [12 empty] | N/Si: salt around lid
|  | 95 | NI06 |  | 20 | 20.1161 | 35.9738 | 1.6731 | [12 empty] | PO4: lid loose
|  | 95 | NI06 |  | 10 | 12.0375 | 25.8661 | 1.6181
|  | 95 | NI06 |  | 0 | 1.7875 | 50.5837 | 0.15022
|  | 96 | NI05 |  | 250 | 25.5527 | 52.8901 | 1.8416 | [12 empty] | PO4; lid loose
|  | 96 | NI05 |  | 150 | 23.0915 | 39.1293 | 1.3626
|  | 96 | NI05 |  | 125 | 24.6876 | 42.7986 | 1.4646
|  | 96 | NI05 |  | 100 | 24.4445 | 42.9502 | 1.3552 | [12 empty] | PO4: strong alc. odor,
|  | 96 | NI05 |  | 75 | 25.6533 | 44.6244 | 1.3505
|  | 96 | NI05 |  | 50 | 27.1822 | 48.0857 | 1.8989
|  | 96 | NI05 |  | 30 | 25.7665 | 45.818 | 1.3905 | [12 empty] | PO4: rim chipped. N/Si: alc odor
|  | 96 | NI05 |  | 20 | 23.2911 | 37.9157 | 1.4079 | [12 empty] | PO4: lid loose, salty
|  | 96 | NI05 |  | 10 | 14.6751 | 29.7132 | 1.3291 | [12 empty] | PO4: salt around lid. N/Si stored in glass
|  | 96 | NI05 |  | 0 | 0.4019 | 34.2079 | 0.16796
|  | 97 | NI04 |  | 250 | 27.2053 | 54.0004 | 2.0383
|  | 97 | NI04 |  | 150 | 25.53 | 44.1338 | 1.6384
|  | 97 | NI04 |  | 125 | 25.487 | 43.4186 | 1.4406 | [12 empty] | N/Si: salt around lid
|  | 97 | NI04 |  | 100 | 27.119 | 48.6692 | 1.7475 | [12 empty] | PO4,
|  | 97 | NI04 |  | 75 | 26.4049 | 46.8541 | 1.8812
|  | 97 | NI04 |  | 50 | 26.6038 | 46.3959 | 1.7979 | [12 empty] | N/Si: salt around lid
|  | 97 | NI04 |  | 30 | 25.0346 | 45.5571 | 1.8547 | [12 empty] | N/Si: salt around lid
|  | 97 | NI04 |  | 20 | 21.5147 | 38.8847 | 1.5469 | [12 empty] | N/Si: salt around lid
|  | 97 | NI04 |  | 10 | 9.3648 | 19.1717 | 0.94697 | [12 empty] | N/Si: salt around lid
|  | 97 | NI04 |  | 0 | 0.093789 | 39.3948 | 0.16103
|  | 98 | NI03 |  | 400 | 28.4583 | 69.1727 | 1.9806
|  | 98 | NI03 |  | 300 | 28.5092 | 63.1298 | 2.0999
|  | 98 | NI03 |  | 150 | 26.9847 | 49.7621 | 1.7386
|  | 98 | NI03 |  | 100 | 27.6577 | 48.7996 | 1.6946 | [12 empty] | PO4: lid loose, salty
|  | 98 | NI03 |  | 75 | 27.5672 | 49.5468 | 1.8091
|  | 98 | NI03 |  | 50 | 28.2873 | 50.3095 | 1.7739
|  | 98 | NI03 |  | 30 | 25.8794 | 46.1708 | 1.6196 | [12 empty] | N/Si: salt around lid
|  | 98 | NI03 |  | 20 | 21.7224 | 39.4937 | 1.3647 | [12 empty] | PO4: strong alc. odor, salty
|  | 98 | NI03 |  | 10 | 15.2241 | 28.7541 | 1.201 | [12 empty] | PO4: strong alc. odor, salty
|  | 98 | NI03 |  | 0 | 0.12811 | 21.0894 | 0.089219
|  | 99 | NI02 |  | 300 | 29.5344 | 64.469 | 2.1326
|  | 99 | NI02 |  | 150 | 26.6958 | 48.4438 | 2.1008
|  | 99 | NI02 |  | 125 | 26.4306 | 46.3333 | 2.1892
|  | 99 | NI02 |  | 75 | 28.7038 | 51.0422 | 2.352
|  | 99 | NI02 |  | 50 | 27.5666 | 51.5829 | 2.2837
|  | 99 | NI02 |  | 30 | 24.5676 | 46.1034 | 1.7789
|  | 99 | NI02 |  | 20 | 22.8773 | 43.4574 | 1.8683 | [12 empty] | N/Si: salt around lid. PO4: strong alc. odor
|  | 99 | NI02 |  | 10 | 1.5504 | 12.6272 | 0.50576
|  | 99 | NI02 |  | 0 | 0.018871 | 17.266 | 0.06153
|  | 100 | NI01 |  | 100 | 28.4513 | 51.7256 | 2.2347
|  | 100 | NI01 |  | 75 | 27.6771 | 49.9441 | 2.3122
|  | 100 | NI01 |  | 50 | 27.5147 | 51.2341 | 2.3957
|  | 100 | NI01 |  | 30 | 25.0455 | 46.1998 | 2.2342
|  | 100 | NI01 |  | 20 | 23.4902 | 44.7889 | 1.9474 | [12 empty] | PO4: lid loose, salty,
|  | 100 | NI01 |  | 10 | 21.7518 | 41.669 | 1.9821
|  | 100 | NI01 |  | 0 | 0.019193 | 14.188 | 0.1088