## Cruise 9614 Comments
Cruise 9614: Haro Strait, August 6, 1996 |  |  |  |  | Nutrient Data
File storage and data processing:
Nutrient analysis results are contained in the files:
961001 | aaz | anz | wk4 | xls
Analysis was performed on an Autoanalyser II, following the methods outlined in Barwell-Clarke, 1996.
The data were processed using the programs, GETDATA (for data acquisition), PEAKBASE (peak analysis),
Lotus 1-2-3 Rel. 4, and Excel.
Calibration
Standards used for these samples had been previously prepared and compared to Sagami standards and
prior standards.
The silicate standard (#96-3) was a 7500 uM solution of Na2SiF6, prepared from preweighed chemicals on Aug 9, 1996.
Nitrate standard (#96-2) was prepared to 2500.3 uM from preweighed KNO3 on July 31, 1996.
Phosphate standard was diluted to 249.9 uM on May 1, 1996 from K2HPO4 standard #96-1, prepared on May 1, 1996.
An Eppendorf maxipettor was used to pipette volumes greater than 1 ml. The pipette tips were calibrated on
September 23, 1996, and the corrected volume was used in calculating the standard's concentration.
For volumes less than 1 ml, an Eppendorf 100 to 1000 ul pipettor was used. It was calibrated on
July 4, 1996. Both pipettors delivered fairly accurate volumes.
Pooled deviation:
A total of 77 samples were measured, including duplicates.
Sixteen duplicate samples were measured. The pooled deviations of the pairs were calculated.
They were higher than usual; reasons for high variability are discussed below.
Sample pooled deviation
| Nitrate | 2.0251
| Silicate | 3.6889
| Phosphate | 0.4829
Deviation of check standards (machine variability)
| Nitrate | 0.10199
| Silicate | 0.21948
| Phosphate | 0.17167 | (one data point questionable; otherwise variability is .009)
Notes on factors affecting data quality:
The samples had been frozen in isopropanol while onboard ship. In some cases, particularly
for phosphate samples, it was observed that isopropanol had leaked into the samples.
It generally remained in a layer above the sample, although occaisionally it was observed within the
sample (e.g., Swanson, 0m). It was not as obviously contaminating in the nitrate and silicate samples,
but since the pooled deviations are much higher than usual, they also were probably contaminated.
Where duplicates differed in the amount of alcohol in the sample, they were noted. An effort was
made to pour off the alcohol when it was above the sample. This was easier for phosphate than for nitrate/silicate samples.
The phosphate sample lids tended to be loosely attached, and there was alcohol in the storage bags,
therefore alcohol leaking into the samples after freezing is a likely souce of contamination, but probably not
the sole source.
The samples were stored in 150 mm glass and plastic test tubes, which were too tall for the Autoanalyser
sampler, so all samples were transferred to plastic cups prior to measurement.
This extra transfer could also have been a source of contamination, although the cups had been acid washed,
and blanks were near zero.
The sampling was extremely variable; some test tubes were barely half full, while others were overfilled and had
cracked.
Samples contaminated with isopropanol include :
Station | N/Si |  | PO4
Sill | 0,20,50,75, 125 |  | 20,30,50,75,125
SH11 | 30250 |  | 0(one only),10,75,100,200
J de Fuca | 10 |  | 0 (one had more),20,30 (one had more),50, 75 (alot),150
Haro | 50 |  | 0(one only),30 (in the sample), 200,290
Stuart | 75(one only),100,200 |  | 0,20,30,50,75,100,150 (one had more), 200,310
Swanson | 0(one only),20,75 |  | 0(alot),10,20(one only),30,100

## raw data
file: 961001 |  | Cruise 9614 Haro Strait |  | August 6, 1996 |  | Nutrient Data
Y = C1 * X ^ 2 + C2 * X + C3
chan | regnum | regpos | C1 | C2 | C3
N | 1 | 4948 | 6.1039e-07 | 0.030897 | -0.0013886
N | 2 | 14068 | 6.9474e-07 | 0.030789 | 0.0013876
N | 3 | 27578 | 5.9681e-07 | 0.030873 | 0.0043453
S | 1 | 4804 | 3.2135e-06 | 0.14816 | 0.036187
S | 2 | 13728 | 2.2541e-06 | 0.14649 | 0.045075
S | 3 | 27364 | 2.6139e-06 | 0.14549 | 0.048226
P | 1 | 4932 | 1.3274e-07 | 0.005947 | 0.0031345
P | 2 | 13172 | -7.6538e-08 | 0.006106 | 0.0031773
P | 3 | 27518 | -1.4605e-07 | 0.0061378 | 0.0024441
chan | regnum | raw | meas | calc
N | 1 | 0 | 0 | -0.0013886
N | 1 | 257 | 7.97 | 7.9795
N | 1 | 257 | 7.97 | 7.9795
N | 1 | 513 | 16.05 | 16.0095
N | 1 | 1018 | 32.09 | 32.0845
N | 1 | 1018 | 32.09 | 32.0845
N | 1 | 768 | 24.07 | 24.0877
N | 1 | 768 | 24.07 | 24.0877
N | 1 | 0 | 0 | -0.0013886
N | 2 | 0 | 0 | 0.0013876
N | 2 | 257 | 7.97 | 7.9599
N | 2 | 258 | 7.97 | 7.9911
N | 2 | 512 | 16.05 | 15.9473
N | 2 | 517 | 16.05 | 16.1048
N | 2 | 1018 | 32.09 | 32.0641
N | 2 | 1019 | 32.09 | 32.0964
N | 2 | 767 | 24.03 | 24.025
N | 2 | 769 | 24.03 | 24.0887
N | 2 | 0 | 0 | 0.0013876
N | 3 | 0 | 0 | 0.0043453
N | 3 | 257 | 7.97 | 7.9782
N | 3 | 257 | 7.97 | 7.9782
N | 3 | 513 | 16.05 | 15.9993
N | 3 | 513 | 16.05 | 15.9993
N | 3 | 1019 | 32.09 | 32.0838
N | 3 | 1018 | 32.09 | 32.0517
N | 3 | 771 | 24.07 | 24.1623
N | 3 | 769 | 24.07 | 24.0987
N | 3 | 0 | 0 | 0.0043453
S | 1 | 0 | 0 | 0.036187
S | 1 | 200 | 30 | 29.7959
S | 1 | 201 | 30 | 29.9453
S | 1 | 401 | 59.79 | 59.9634
S | 1 | 401 | 59.79 | 59.9634
S | 1 | 596 | 89.58 | 89.4785
S | 1 | 596 | 89.58 | 89.4785
S | 1 | 792 | 119.37 | 119.3913
S | 1 | 792 | 119.37 | 119.3913
S | 1 | 0 | 0 | 0.036187
S | 2 | 0 | 0 | 0.045075
S | 2 | 203 | 30 | 29.8756
S | 2 | 203 | 30 | 29.8756
S | 2 | 406 | 59.79 | 59.8919
S | 2 | 406 | 59.79 | 59.8919
S | 2 | 605 | 89.58 | 89.4971
S | 2 | 606 | 89.58 | 89.6463
S | 2 | 806 | 119.37 | 119.581
S | 2 | 803 | 119.37 | 119.1307
S | 2 | 0 | 0 | 0.045075
S | 3 | 0 | 0 | 0.048226
S | 3 | 204 | 30 | 29.8376
S | 3 | 204 | 30 | 29.8376
S | 3 | 408 | 59.79 | 59.8445
S | 3 | 410 | 59.79 | 60.1397
S | 3 | 607 | 89.58 | 89.3256
S | 3 | 609 | 89.58 | 89.6229
S | 3 | 809 | 119.37 | 119.4628
S | 3 | 808 | 119.37 | 119.3131
S | 3 | 0 | 0 | 0.048226
P | 1 | 0 | 0 | 0.0031345
P | 1 | 164 | 0.995 | 0.98201
P | 1 | 332 | 1.99 | 1.9922
P | 1 | 492 | 2.98 | 2.9612
P | 1 | 500 | 2.98 | 3.0098
P | 1 | 658 | 3.98 | 3.9737
P | 1 | 659 | 3.98 | 3.9798
P | 1 | 0 | 0 | 0.0031345
P | 2 | 0 | 0 | 0.0031773
P | 2 | 162 | 0.995 | 0.99034
P | 2 | 162 | 0.995 | 0.99034
P | 2 | 326 | 1.99 | 1.9856
P | 2 | 329 | 1.99 | 2.0038
P | 2 | 490 | 2.98 | 2.9768
P | 3 | 0 | 0 | 0.0024441
P | 3 | 161 | 0.995 | 0.98685
P | 3 | 162 | 0.995 | 0.99294
P | 3 | 326 | 1.99 | 1.9879
P | 3 | 327 | 1.99 | 1.9939
P | 3 | 491 | 2.98 | 2.9809
P | 3 | 492 | 2.98 | 2.9869
P | 3 | 657 | 3.98 | 3.9719
P | 3 | 659 | 3.98 | 3.9838
P | 3 | 0 | 0 | 0.0024441
chan | Station | Depth | Conc | Peak | Time | Reg#1 | Reg#2
N | Sill | 0 | 20.0832 | 642 | 5124 | 1 | 2
N |  | 10 | 20.2389 | 647 | 5300 | 1 | 2
N |  | 20 | 20.4581 | 654 | 5476 | 1 | 2
N |  | 20 | 19.6635 | 629 | 5648 | 1 | 2
N |  | 30 | 20.1993 | 646 | 5818 | 1 | 2
N |  | 50 | 24.6455 | 786 | 5998 | 1 | 2
N |  | med std | 15.8653 | 509 | 6174 | 1 | 2
N |  | 75 | 23.112 | 738 | 6350 | 1 | 2
N |  | 100 | 29.5626 | 940 | 6526 | 1 | 2
N |  | 125 | 27.7657 | 884 | 6706 | 1 | 2
N | SH11 | 0 | 20.4644 | 654 | 7228 | 1 | 2
N |  | 0 | 21.3185 | 681 | 7404 | 1 | 2
N |  | 10 | 23.4769 | 749 | 7578 | 1 | 2
N |  | 20 | 20.9018 | 668 | 7754 | 1 | 2
N |  | 30 | 18.4615 | 591 | 7930 | 1 | 2
N |  | 30 | 21.1831 | 677 | 8102 | 1 | 2
N |  | 50 | 24.1371 | 770 | 8278 | 1 | 2
N |  | 75 | 23.753 | 758 | 8454 | 1 | 2
N |  | med std | 15.9912 | 513 | 8630 | 1 | 2
N |  | 100 | 25.5975 | 816 | 8806 | 1 | 2
N |  | 150 | 25.4679 | 812 | 8980 | 1 | 2
N |  | 200 | 26.6795 | 850 | 9156 | 1 | 2
N |  | 280 | 23.3288 | 745 | 9332 | 1 | 2
N | J. de Fuca | 0 | 21.1619 | 676 | 9858 | 1 | 2
N |  | 0 | 21.3184 | 681 | 10034 | 1 | 2
N |  | 10 | 19.9531 | 638 | 10206 | 1 | 2
N |  | 20 | 20.2678 | 648 | 10382 | 1 | 2
N |  | 30 | 23.7591 | 758 | 10558 | 1 | 2
N |  | 30 | 21.5638 | 689 | 10734 | 1 | 2
N |  | med std | 16.2158 | 520 | 10910 | 1 | 2
N |  | 50 | 25.091 | 800 | 11084 | 1 | 2
N |  | 75 | 32.4908 | 1031 | 11260 | 1 | 2
N |  | 100 | 32.8437 | 1042 | 11436 | 1 | 2
N |  | 125 | 31.7157 | 1007 | 11612 | 1 | 2
N |  | 150 | 32.6157 | 1035 | 11786 | 1 | 2
N | Haro | 0 | 15.9486 | 512 | 14732 | 2 | 3
N |  | 0 | 14.817 | 476 | 14908 | 2 | 3
N |  | 10 | 20.1524 | 645 | 15084 | 2 | 3
N |  | 20 | 18.5715 | 595 | 15260 | 2 | 3
N |  | 30 | 19.3949 | 621 | 15436 | 2 | 3
N |  | 30 | 20.5675 | 658 | 15608 | 2 | 3
N |  | med std | 16.0513 | 515 | 15784 | 2 | 3
N |  | 50 | 19.9997 | 640 | 15960 | 2 | 3
N |  | 75 | 19.3047 | 618 | 16136 | 2 | 3
N |  | 150 | 21.4592 | 686 | 16312 | 2 | 3
N |  | 150 | 21.0481 | 673 | 16484 | 2 | 3
N |  | 200 | 25.115 | 801 | 16660 | 2 | 3
N |  | 290 | 27.7624 | 884 | 16836 | 2 | 3
N | Stuart Isl. | 0 | 15.0986 | 485 | 17362 | 2 | 3
N |  | 20 | 19.2963 | 618 | 17538 | 2 | 3
N |  | 30??? | 20.6909 | 662 | 17714 | 2 | 3
N |  | 30 | 11.65 | 375 | 17890 | 2 | 3
N |  | 50 | 22.0887 | 706 | 18066 | 2 | 3
N |  | med std | 15.9864 | 513 | 18238 | 2 | 3
N |  | 75 | 22.9798 | 734 | 18414 | 2 | 3
N |  | 75 | 24.8897 | 794 | 18590 | 2 | 3
N |  | 100 | 20.1901 | 646 | 18766 | 2 | 3
N |  | 100 | 25.1137 | 801 | 18942 | 2 | 3
N |  | 150 | 24.3183 | 776 | 19114 | 2 | 3
N |  | 150 | 25.242 | 805 | 19290 | 2 | 3
N |  | 200 | 24.6695 | 787 | 19466 | 2 | 3
N |  | 310 | 27.06 | 862 | 19642 | 2 | 3
N | Swanson | 0 | 16.1381 | 518 | 21218 | 2 | 3
N |  | 0 | 14.5663 | 468 | 21394 | 2 | 3
N |  | 10 | 20.09 | 643 | 21570 | 2 | 3
N |  | 20 | 20.5983 | 659 | 21746 | 2 | 3
N |  | 20 | 19.4914 | 624 | 21922 | 2 | 3
N |  | 30 | 21.5202 | 688 | 22094 | 2 | 3
N |  | med std | 15.9594 | 512 | 22270 | 2 | 3
N |  | 75 | 24.1908 | 772 | 22446 | 2 | 3
N |  | 100 | 24.6053 | 785 | 22622 | 2 | 3
N |  | 125 | 26.677 | 850 | 22798 | 2 | 3
N | Hein Isl. | 0 | 21.6407 | 692 | 23324 | 2 | 3
N |  | 10 | 21.7687 | 696 | 23500 | 2 | 3
N |  | 20 | 21.5792 | 690 | 23674 | 2 | 3
N |  | 30 | 22.946 | 733 | 23850 | 2 | 3
N |  | 30 | 23.1057 | 738 | 24026 | 2 | 3
N |  | 50 | 24.3155 | 776 | 24200 | 2 | 3
N |  | med std | 16.0828 | 516 | 24376 | 2 | 3
N |  | 75 | 25.1767 | 803 | 24550 | 2 | 3
N |  | 100 | 27.89 | 888 | 24726 | 2 | 3
N |  | 125 | 29.5538 | 940 | 24902 | 2 | 3
N |  | 145 | 29.8738 | 950 | 25078 | 2 | 3
N |  | 145 | 30.6425 | 974 | 25252 | 2 | 3
S | Sill | 0 | 39.011 | 262 | 5126 | 1 | 2
S |  | 10 | 38.5238 | 259 | 5302 | 1 | 2
S |  | 20 | 39.5298 | 266 | 5478 | 1 | 2
S |  | 20 | 37.7016 | 254 | 5654 | 1 | 2
S |  | 30 | 38.2606 | 258 | 5824 | 1 | 2
S |  | 50 | 42.5365 | 287 | 6000 | 1 | 2
S |  | med std | 59.9239 | 404 | 6176 | 1 | 2
S |  | 75 | 38.8873 | 263 | 6352 | 1 | 2
S |  | 100 | 47.6006 | 322 | 6528 | 1 | 2
S |  | 125 | 45.7715 | 310 | 6704 | 1 | 2
S | SH11 | 0 | 37.5443 | 252 | 7232 | 1 | 2
S |  | 0 | 39.6066 | 266 | 7408 | 1 | 2
S |  | 10 | 41.9652 | 282 | 7584 | 1 | 2
S |  | 20 | 38.3461 | 258 | 7760 | 1 | 2
S |  | 30 | 32.6525 | 220 | 7936 | 1 | 2
S |  | 30 | 38.7304 | 261 | 8104 | 1 | 2
S |  | 50 | 42.7186 | 288 | 8280 | 1 | 2
S |  | 75 | 41.1941 | 278 | 8456 | 1 | 2
S |  | med std | 59.9299 | 404 | 8632 | 1 | 2
S |  | 100 | 44.2438 | 299 | 8808 | 1 | 2
S |  | 150 | 43.1667 | 292 | 8984 | 1 | 2
S |  | 200 | 44.1678 | 299 | 9160 | 1 | 2
S |  | 280 | 38.5032 | 261 | 9336 | 1 | 2
S | J. de Fuca | 0 | 38.891 | 261 | 9864 | 1 | 2
S |  | 0 | 39.7557 | 267 | 10040 | 1 | 2
S |  | 10 | 36.8839 | 248 | 10216 | 1 | 2
S |  | 20 | 37.3006 | 251 | 10392 | 1 | 2
S |  | 30 | 41.445 | 279 | 10568 | 1 | 2
S |  | 30 | 38.8763 | 262 | 10744 | 1 | 2
S |  | med std | 59.5864 | 401 | 10912 | 1 | 2
S |  | 50 | 40.0017 | 270 | 11088 | 1 | 2
S |  | 75 | 49.786 | 336 | 11264 | 1 | 2
S |  | 100 | 50.4861 | 341 | 11440 | 1 | 2
S |  | 125 | 48.6579 | 329 | 11616 | 1 | 2
S |  | 150 | 49.8027 | 337 | 11792 | 1 | 2
S | Haro | 0 | 30.7448 | 209 | 14736 | 2 | 3
S |  | 0 | 28.965 | 197 | 14912 | 2 | 3
S |  | 10 | 38.3835 | 261 | 15088 | 2 | 3
S |  | 20 | 35.5676 | 242 | 15264 | 2 | 3
S |  | 30 | 36.2899 | 247 | 15440 | 2 | 3
S |  | 30 | 38.6324 | 263 | 15616 | 2 | 3
S |  | med std | 60.1735 | 409 | 15792 | 2 | 3
S |  | 50 | 37.2767 | 254 | 15968 | 2 | 3
S |  | 75 | 34.4669 | 235 | 16144 | 2 | 3
S |  | 150 | 36.806 | 251 | 16316 | 2 | 3
S |  | 150 | 35.9092 | 245 | 16492 | 2 | 3
S |  | 200 | 43.1008 | 294 | 16668 | 2 | 3
S |  | 290 | 45.4387 | 310 | 16844 | 2 | 3
S | Stuart Isl. | 0 | 34.8775 | 237 | 17356 | 2 | 3
S |  | 20 | 36.9285 | 251 | 17532 | 2 | 3
S |  | 30??? | 38.8314 | 264 | 17708 | 2 | 3
S |  | 30 | 22.0343 | 150 | 17884 | 2 | 3
S |  | 50 | 40.2754 | 274 | 18060 | 2 | 3
S |  | med std | 59.9087 | 407 | 18236 | 2 | 3
S |  | 75 | 40.2439 | 274 | 18412 | 2 | 3
S |  | 75 | 43.028 | 293 | 18588 | 2 | 3
S |  | 100 | 35.9438 | 245 | 18764 | 2 | 3
S |  | 100 | 43.5838 | 297 | 18940 | 2 | 3
S |  | 150 | 41.7999 | 285 | 19116 | 2 | 3
S |  | 150 | 42.961 | 293 | 19292 | 2 | 3
S |  | 200 | 41.7672 | 285 | 19468 | 2 | 3
S |  | 310 | 44.546 | 304 | 19644 | 2 | 3
S | Swanson | 0 | 34.5773 | 235 | 21228 | 2 | 3
S |  | 0 | 30.5812 | 208 | 21404 | 2 | 3
S |  | 10 | 39.2594 | 267 | 21580 | 2 | 3
S |  | 20 | 39.6819 | 270 | 21756 | 2 | 3
S |  | 20 | 37.3054 | 254 | 21924 | 2 | 3
S |  | 30 | 41.853 | 285 | 22100 | 2 | 3
S |  | med std | 60.1371 | 409 | 22276 | 2 | 3
S |  | 75 | 42.8419 | 292 | 22452 | 2 | 3
S |  | 100 | 42.8204 | 292 | 22628 | 2 | 3
S |  | 125 | 46.1848 | 315 | 22804 | 2 | 3
S | Hein Isl. | 0 | 40.0409 | 272 | 23324 | 2 | 3
S |  | 10 | 40.0236 | 272 | 23500 | 2 | 3
S |  | 20 | 39.2687 | 267 | 23676 | 2 | 3
S |  | 30 | 41.0216 | 279 | 23852 | 2 | 3
S |  | 30 | 41.5939 | 283 | 24028 | 2 | 3
S |  | 50 | 42.9031 | 292 | 24204 | 2 | 3
S |  | med std | 60.3136 | 410 | 24380 | 2 | 3
S |  | 75 | 42.8663 | 292 | 24556 | 2 | 3
S |  | 100 | 45.3527 | 309 | 24732 | 2 | 3
S |  | 125 | 46.3648 | 316 | 24908 | 2 | 3
S |  | 145 | 46.6397 | 318 | 25084 | 2 | 3
S |  | 145 | 48.2402 | 329 | 25260 | 2 | 3
P | Sill | 0 | 1.8917 | 315 | 5106 | 1 | 2
P |  | 10 | 1.8941 | 315 | 5276 | 1 | 2
P |  | 20 | 1.7336 | 288 | 5452 | 1 | 2
P |  | 20 | 1.9413 | 322 | 5628 | 1 | 2
P |  | 30 | 1.9558 | 324 | 5804 | 1 | 2
P |  | 50 | 2.1276 | 352 | 5980 | 1 | 2
P |  | med std | 2.0152 | 333 | 6156 | 1 | 2
P |  | 75 | 2.1568 | 356 | 6332 | 1 | 2
P |  | 100 | 2.4556 | 405 | 6508 | 1 | 2
P |  | 125 | 2.4097 | 397 | 6678 | 1 | 2
P | SH11 | 0 | 1.7709 | 295 | 7204 | 1 | 2
P |  | 0 | 1.7186 | 286 | 7380 | 1 | 2
P |  | 10 | 1.8532 | 308 | 7556 | 1 | 2
P |  | 20 | 2.0001 | 332 | 7732 | 1 | 2
P |  | 30 | 1.8208 | 302 | 7908 | 1 | 2
P |  | 30 | 1.9194 | 318 | 8084 | 1 | 2
P |  | 50 | 2.0725 | 343 | 8260 | 1 | 2
P |  | 75 | 1.9173 | 317 | 8436 | 1 | 2
P |  | med std | 2.4574 | 406 | 8608 | 1 | 2
P |  | 100 | 2.0542 | 339 | 8784 | 1 | 2
P |  | 150 | 2.1046 | 347 | 8960 | 1 | 2
P |  | 200 | 2.0461 | 337 | 9136 | 1 | 2
P |  | 280 | 2.0723 | 341 | 9312 | 1 | 2
P | J. de Fuca | 0 | 1.7649 | 294 | 9836 | 1 | 2
P |  | 0 | 1.821 | 303 | 10012 | 1 | 2
P |  | 10 | 1.9738 | 328 | 10188 | 1 | 2
P |  | 20 | 1.8912 | 314 | 10364 | 1 | 2
P |  | 30 | 1.7784 | 295 | 10540 | 1 | 2
P |  | 30 | 1.8528 | 307 | 10716 | 1 | 2
P |  | med std | 1.9937 | 330 | 10892 | 1 | 2
P |  | 50 | 2.1287 | 352 | 11068 | 1 | 2
P |  | 75 | 2.4027 | 397 | 11240 | 1 | 2
P |  | 100 | 2.3503 | 388 | 11416 | 1 | 2
P |  | 125 | 2.4188 | 399 | 11592 | 1 | 2
P |  | 150 | 2.4329 | 401 | 11768 | 1 | 2
P | Haro | 0 | 1.6585 | 272 | 14890 | 2 | 3
P |  | 10 | 1.7132 | 281 | 15066 | 2 | 3
P |  | 20 | 1.6103 | 264 | 15242 | 2 | 3
P |  | 30 | 1.6833 | 276 | 15418 | 2 | 3
P |  | 30 | 1.6835 | 276 | 15590 | 2 | 3
P |  | 0 | 1.5382 | 252 | 15766 | 2 | 3 | repeat
P |  | 50 | 1.9927 | 327 | 15942 | 2 | 3
P |  | 75 | 1.8053 | 296 | 16118 | 2 | 3
P |  | 150 | 2.0535 | 337 | 16290 | 2 | 3
P |  | 150 | 2.0778 | 341 | 16466 | 2 | 3
P |  | 200 | 2.084 | 342 | 16642 | 2 | 3
P |  | 290 | 2.223 | 365 | 16818 | 2 | 3
P | Stuart Isl. | 0 | 1.4523 | 238 | 17344 | 2 | 3
P |  | 20 | 1.7921 | 294 | 17520 | 2 | 3
P |  | 30??? | 1.8528 | 304 | 17696 | 2 | 3
P |  | 30 | 1.8348 | 301 | 17872 | 2 | 3
P |  | 50 | 2.0347 | 334 | 18048 | 2 | 3
P |  | med std | 1.9985 | 328 | 18220 | 2 | 3
P |  | 75 | 2.0289 | 333 | 18396 | 2 | 3
P |  | 75 | 2.023 | 332 | 18572 | 2 | 3
P |  | 100 | 2.1078 | 346 | 18748 | 2 | 3
P |  | 100 | 1.9325 | 317 | 18920 | 2 | 3
P |  | 150 | 2.0415 | 335 | 19096 | 2 | 3
P |  | 150 | 1.9993 | 328 | 19272 | 2 | 3
P |  | 200 | 2.1022 | 345 | 19448 | 2 | 3
P |  | 310 | 2.1929 | 360 | 19620 | 2 | 3
P | Swanson | 0 | 1.5433 | 253 | 21206 | 2 | 3
P |  | 0 | 4.25 | 702 | 21350 | 2 | 3
P |  | 10 | 1.6408 | 269 | 21532 | 2 | 3
P |  | 20 | 1.7744 | 291 | 21722 | 2 | 3
P |  | 20 | 1.7201 | 282 | 21898 | 2 | 3
P |  | 30 | 1.8172 | 298 | 22074 | 2 | 3
P |  | med std | 1.9869 | 326 | 22250 | 2 | 3
P |  | 75 | 2.0838 | 342 | 22426 | 2 | 3
P |  | 100 | 1.9933 | 327 | 22602 | 2 | 3
P |  | 125 | 2.1083 | 346 | 22778 | 2 | 3
P | Hein Isl. | 0 | 1.8222 | 299 | 23308 | 2 | 3
P |  | 10 | 1.9919 | 327 | 23474 | 2 | 3
P |  | 20 | 2.1857 | 359 | 23642 | 2 | 3
P |  | 30 | 2.2281 | 366 | 23796 | 2 | 3
P |  | 30 | 2.0892 | 343 | 24006 | 2 | 3
P |  | 50 | 2.1014 | 345 | 24182 | 2 | 3
P |  | med std | 1.9927 | 327 | 24358 | 2 | 3
P |  | 75 | 2.1138 | 347 | 24530 | 2 | 3
P |  | 100 | 2.2408 | 368 | 24706 | 2 | 3
P |  | 125 | 2.4279 | 399 | 24882 | 2 | 3
P |  | 145 | 2.4581 | 404 | 25058 | 2 | 3
P |  | 145 | 2.416 | 397 | 25234 | 2 | 3
P |  | SG | 0.015255 | 2 | 27698 | 2 | 3
P |  | Neutr. | 0.1619 | 26 | 27854 | 2 | 3
P |  | Phiso. | 0.94314 | 154 | 28030 | 2 | 3

## collated data
file: 961001 |  | Cruise 9614: Haro Strait Nutrient Data
Sample order | Station | Depth | Nitrate | Silicate | Phosphate | 10*phos. | Comments
1 | Sill | 0 | 20.0832 | 39.011 | 1.8917 | 18.9175
2 | Sill | 10 | 20.2389 | 38.5238 | 1.8941 | 18.9411
3 | Sill | 20 | 20.4581 | 39.5298 | 1.7336 | 17.3362
4 | Sill | 20 | 19.6635 | 37.7016 | 1.9413 | 19.4129
5 | Sill | 30 | 20.1993 | 38.2606 | 1.9558 | 19.5583
6 | Sill | 50 | 24.6455 | 42.5365 | 2.1276 | 21.2757
7 | Sill | med std | 15.8653 | 59.9239 | 2.0152 | 20.1519
8 | Sill | 75 | 23.112 | 38.8873 | 2.1568 | 21.5678
9 | Sill | 100 | 29.5626 | 47.6006 | 2.4556 | 24.5563
10 | Sill | 125 | 27.7657 | 45.7715 | 2.4097 | 24.0969
11 | SH11 | 0 | 20.4644 | 37.5443 | 1.7709 | 17.7094 | P: no alcohol visible
12 | SH11 | 0 | 21.3185 | 39.6066 | 1.7186 | 17.1858 | P: alcohol (poured off)
13 | SH11 | 10 | 23.4769 | 41.9652 | 1.8532 | 18.5319
14 | SH11 | 20 | 20.9018 | 38.3461 | 2.0001 | 20.0006
15 | SH11 | 30 | 18.4615 | 32.6525 | 1.8208 | 18.2084
16 | SH11 | 30 | 21.1831 | 38.7304 | 1.9194 | 19.1942
17 | SH11 | 50 | 24.1371 | 42.7186 | 2.0725 | 20.7249
18 | SH11 | 75 | 23.753 | 41.1941 | 1.9173 | 19.1729
19 | SH11 | med std | 15.9912 | 59.9299 | 2.4574 | 24.5744 | P: high
20 | SH11 | 100 | 25.5975 | 44.2438 | 2.0542 | 20.5423
21 | SH11 | 150 | 25.4679 | 43.1667 | 2.1046 | 21.0461
22 | SH11 | 200 | 26.6795 | 44.1678 | 2.0461 | 20.461
23 | SH11 | 280 | 23.3288 | 38.5032 | 2.0723 | 20.7229 | P: stored in plastic
24 | J. de Fuca | 0 | 21.1619 | 38.891 | 1.7649 | 17.6486
25 | J. de Fuca | 0 | 21.3184 | 39.7557 | 1.821 | 18.2102 | P: more alc. in sample than other dupl.
26 | J. de Fuca | 10 | 19.9531 | 36.8839 | 1.9738 | 19.7382
27 | J. de Fuca | 20 | 20.2678 | 37.3006 | 1.8912 | 18.9123
28 | J. de Fuca | 30 | 23.7591 | 41.445 | 1.7784 | 17.7843
29 | J. de Fuca | 30 | 21.5638 | 38.8763 | 1.8528 | 18.5279
30 | J. de Fuca | med std | 16.2158 | 59.5864 | 1.9937 | 19.937
31 | J. de Fuca | 50 | 25.091 | 40.0017 | 2.1287 | 21.2866 | Nitrate a bit high
32 | J. de Fuca | 75 | 32.4908 | 49.786 | 2.4027 | 24.0274 | Nitrate a bit high
33 | J. de Fuca | 100 | 32.8437 | 50.4861 | 2.3503 | 23.5029 | Nitrate a bit high
34 | J. de Fuca | 125 | 31.7157 | 48.6579 | 2.4188 | 24.1879 | Nitrate a bit high
35 | J. de Fuca | 150 | 32.6157 | 49.8027 | 2.4329 | 24.3287 | Nitrate a bit high
36 | Haro | 0 | 15.9486 | 30.7448 | 1.5382 | 15.3817 | Most PO4 samples overfilled for this station
37 | Haro | 0 | 14.817 | 28.965 | 1.6585 | 16.5845 | P: more alc. in sample than other dupl.
38 | Haro | 10 | 20.1524 | 38.3835 | 1.7132 | 17.1322
39 | Haro | 20 | 18.5715 | 35.5676 | 1.6103 | 16.1034
40 | Haro | 30 | 19.3949 | 36.2899 | 1.6833 | 16.8331 | P: alcohol in sample
41 | Haro | 30 | 20.5675 | 38.6324 | 1.6835 | 16.835
42 | Haro | med std | 16.0513 | 60.1735 |  | 0
43 | Haro | 50 | 19.9997 | 37.2767 | 1.9927 | 19.9271
44 | Haro | 75 | 19.3047 | 34.4669 | 1.8053 | 18.0526 | P: bubbles on tt walls after defrosting
45 | Haro | 150 | 21.4592 | 36.806 | 2.0535 | 20.535
46 | Haro | 150 | 21.0481 | 35.9092 | 2.0778 | 20.7782 | P: lid gone from smple
47 | Haro | 200 | 25.115 | 43.1008 | 2.084 | 20.8401
48 | Haro | 290 | 27.7624 | 45.4387 | 2.223 | 22.2302
49 | Stuart Isl. | 0 | 15.0986 | 34.8775 | 1.4523 | 14.5225
50 | Stuart Isl. | 20 | 19.2963 | 36.9285 | 1.7921 | 17.9205
51 | Stuart Isl. | 30??? | 20.6909 | 38.8314 | 1.8528 | 18.528 | PO4: high; alcohol in sample
52 | Stuart Isl. | 30 | 11.65 | 22.0343 | 1.8348 | 18.3478
53 | Stuart Isl. | 50 | 22.0887 | 40.2754 | 2.0347 | 20.347
54 | Stuart Isl. | med std | 15.9864 | 59.9087 | 1.9985 | 19.9853
55 | Stuart Isl. | 75 | 22.9798 | 40.2439 | 2.0289 | 20.2892
56 | Stuart Isl. | 75 | 24.8897 | 43.028 | 2.023 | 20.23
57 | Stuart Isl. | 100 | 20.1901 | 35.9438 | 2.1078 | 21.0777 | PO4: high
58 | Stuart Isl. | 100 | 25.1137 | 43.5838 | 1.9325 | 19.3254
59 | Stuart Isl. | 150 | 24.3183 | 41.7999 | 2.0415 | 20.4153
60 | Stuart Isl. | 150 | 25.242 | 42.961 | 1.9993 | 19.9935
61 | Stuart Isl. | 200 | 24.6695 | 41.7672 | 2.1022 | 21.0221
62 | Stuart Isl. | 310 | 27.06 | 44.546 | 2.1929 | 21.9289
63 | Swanson | 0 | 16.1381 | 34.5773 | 1.5433 | 15.4334
64 | Swanson | 0 | 14.5663 | 30.5812 | 4.25 | 42.4998 | PO4: high; alot of alcohol in sample. N/Si: alcohol in sample
65 | Swanson | 10 | 20.09 | 39.2594 | 1.6408 | 16.4082
66 | Swanson | 20 | 20.5983 | 39.6819 | 1.7744 | 17.7441 | P: no alcohol
67 | Swanson | 20 | 19.4914 | 37.3054 | 1.7201 | 17.2009 | N/Si/P: alcohol in sample
68 | Swanson | 30 | 21.5202 | 41.853 | 1.8172 | 18.1723
69 | Swanson | med std | 15.9594 | 60.1371 | 1.9869 | 19.8689
70 | Swanson | 75 | 24.1908 | 42.8419 | 2.0838 | 20.838
71 | Swanson | 100 | 24.6053 | 42.8204 | 1.9933 | 19.9331
72 | Swanson | 125 | 26.677 | 46.1848 | 2.1083 | 21.0829
73 | Hein Isl. | 0 | 21.6407 | 40.0409 | 1.8222 | 18.2218 | All samples rapidly defrosted in moving RT air
74 | Hein Isl. | 10 | 21.7687 | 40.0236 | 1.9919 | 19.9194
75 | Hein Isl. | 20 | 21.5792 | 39.2687 | 2.1857 | 21.857
76 | Hein Isl. | 30 | 22.946 | 41.0216 | 2.2281 | 22.2813 | PO4: high; poor peak
77 | Hein Isl. | 30 | 23.1057 | 41.5939 | 2.0892 | 20.8921
78 | Hein Isl. | 50 | 24.3155 | 42.9031 | 2.1014 | 21.0145
79 | Hein Isl. | med std | 16.0828 | 60.3136 | 1.9927 | 19.9274
80 | Hein Isl. | 75 | 25.1767 | 42.8663 | 2.1138 | 21.1381
81 | Hein Isl. | 100 | 27.89 | 45.3527 | 2.2408 | 22.4079
82 | Hein Isl. | 125 | 29.5538 | 46.3648 | 2.4279 | 24.2791
83 | Hein Isl. | 145 | 29.8738 | 46.6397 | 2.4581 | 24.581
84 | Hein Isl. | 145 | 30.6425 | 48.2402 | 2.416 | 24.1599

## Pooled deviation
Pooled deviation calculation
Nitrate
Station | Depth | n1 | n2 | n1-n2 | (n1-n2)^2
Sill | 20 | 20.4581 | 19.6635 | 0.79462 | 0.63142
SH11 | 0 | 20.4644 | 21.3185 | -0.85409 | 0.72947
SH11 | 30 | 18.4615 | 21.1831 | -2.7216 | 7.4071
J. de Fuca | 0 | 21.1619 | 21.3184 | -0.1565 | 0.024492
J. de Fuca | 30 | 23.7591 | 21.5638 | 2.1953 | 4.8193
Haro | 0 | 15.9486 | 14.817 | 1.1317 | 1.2807
Haro | 30 | 19.3949 | 20.5675 | -1.1726 | 1.375
Haro | 150 | 21.4592 | 21.0481 | 0.41109 | 0.16899
Stuart Isl. | 30??? | 20.6909 | 11.65 | 9.0409 | 81.7373
Stuart Isl. | 75 | 22.9798 | 24.8897 | -1.9098 | 3.6475
Stuart Isl. | 100 | 20.1901 | 25.1137 | -4.9236 | 24.2415
Stuart Isl. | 150 | 24.3183 | 25.242 | -0.92379 | 0.85339
Swanson | 0 | 16.1381 | 14.5663 | 1.5719 | 2.4708
Swanson | 20 | 20.5983 | 19.4914 | 1.1068 | 1.2251
Hein Isl. | 30 | 22.946 | 23.1057 | -0.15978 | 0.02553
Hein Isl. | 145 | 29.8738 | 30.6425 | -0.76868 | 0.59087
|  |  | Sum of differences |  | 131.2284
|  |  | No. of pairs |  | 16
|  |  | Pooled deviation |  | 2.0251
Silicate
Station | Depth | n1 | n2 | n1-n2 | (n1-n2)^2
Sill | 20 | 39.5298 | 37.7016 | 1.8282 | 3.3424
SH11 | 0 | 37.5443 | 39.6066 | -2.0623 | 4.2531
SH11 | 30 | 32.6525 | 38.7304 | -6.078 | 36.9416
J. de Fuca | 0 | 38.891 | 39.7557 | -0.86464 | 0.7476
J. de Fuca | 30 | 41.445 | 38.8763 | 2.5687 | 6.5982
Haro | 0 | 30.7448 | 28.965 | 1.7798 | 3.1678
Haro | 30 | 36.2899 | 38.6324 | -2.3424 | 5.4869
Haro | 150 | 36.806 | 35.9092 | 0.89678 | 0.80421
Stuart Isl. | 30??? | 38.8314 | 22.0343 | 16.7971 | 282.1412
Stuart Isl. | 75 | 40.2439 | 43.028 | -2.7841 | 7.7513
Stuart Isl. | 100 | 35.9438 | 43.5838 | -7.64 | 58.3698
Stuart Isl. | 150 | 41.7999 | 42.961 | -1.1611 | 1.3482
Swanson | 0 | 34.5773 | 30.5812 | 3.9961 | 15.9685
Swanson | 20 | 39.6819 | 37.3054 | 2.3765 | 5.6478
Hein Isl. | 30 | 41.0216 | 41.5939 | -0.57224 | 0.32746
Hein Isl. | 145 | 46.6397 | 48.2402 | -1.6004 | 2.5613
|  |  | Sum of differences |  | 435.4573
|  |  | No. of pairs |  | 16
|  |  | Pooled deviation |  | 3.6889
Phosphate
Station | Depth | n1 | n2 | n1-n2 | (n1-n2)^2
Sill | 20 | 1.7336 | 1.9413 | -0.20767 | 0.043125
SH11 | 0 | 1.7709 | 1.7186 | 0.052351 | 0.0027406
SH11 | 30 | 1.8208 | 1.9194 | -0.098581 | 0.0097182
J. de Fuca | 0 | 1.7649 | 1.821 | -0.056158 | 0.0031537
J. de Fuca | 30 | 1.7784 | 1.8528 | -0.074363 | 0.0055299
Haro | 0 | 1.5382 | 1.6585 | -0.12028 | 0.014467
Haro | 30 | 1.6833 | 1.6835 | -0.000196 | 3.8416e-08
Haro | 150 | 2.0535 | 2.0778 | -0.024326 | 0.00059175
Stuart Isl. | 30??? | 1.8528 | 1.8348 | 0.018018 | 0.00032465
Stuart Isl. | 75 | 2.0289 | 2.023 | 0.005916 | 3.4999e-05
Stuart Isl. | 100 | 2.1078 | 1.9325 | 0.17523 | 0.030706
Stuart Isl. | 150 | 2.0415 | 1.9993 | 0.042183 | 0.0017794
Swanson | 0 | 1.5433 | 4.25 | -2.7066 | 7.3259
Swanson | 20 | 1.7744 | 1.7201 | 0.054313 | 0.0029499
Hein Isl. | 30 | 2.2281 | 2.0892 | 0.13892 | 0.019298
Hein Isl. | 145 | 2.4581 | 2.416 | 0.042118 | 0.0017739
|  |  | Sum of differences |  | 7.4621
|  |  | No. of pairs |  | 16
|  |  | Pooled deviation |  | 0.4829
Standards
Nitrate
Sill | med std | 15.8653
SH11 | med std | 15.9912
J. de Fuca | med std | 16.2158
Haro | med std | 16.0513
Stuart Isl. | med std | 15.9864
Swanson | med std | 15.9594
Hein Isl. | med std | 16.0828
Standard deviation: |  | 0.10199
Silicate
Sill | med std | 59.9239
SH11 | med std | 59.9299
J. de Fuca | med std | 59.5864
Haro | med std | 60.1735
Stuart Isl. | med std | 59.9087
Swanson | med std | 60.1371
Hein Isl. | med std | 60.3136
Standard deviation: |  | 0.21948
Phosphate
Sill | med std | 2.0152
SH11 | med std | 2.4574
J. de Fuca | med std | 1.9937
Haro | med std
Stuart Isl. | med std | 1.9985
Swanson | med std | 1.9869
Hein Isl. | med std | 1.9927
Standard deviation: |  | 0.17167
(without SH11, dev is .009)