## 9615 General comments
Cruise 9615: Saanich Inlet, Haro Strait, Juan de Fuca Strait. November, 1996
Nutrient data
File storage and data processing:
Nutrient analysis results are contained in the files:
| 961104 | aaz | anz | wk4 | xls | intercalibration of standards
| 961105 | aaz | anz | wk4 | xls | Saanich Inlet
| 961107 | aaz | anz | wk4 | xls | Haro, Swanson
| 961108 | aaz | anz | wk4 | xls | J de Fuca, Sill, etc.
| 961112 | aaz | anz | wk4 | xls | DON data
Analysis was performed on an Autoanalyser II, following the methods outlined in Barwell-Clarke (1996), and data
were processed using the programs, GETDATA (for data acquisition), PEAKBASE(peak analysis), LOTUS 1-2-3 Rel. 4,
and Excel.
Calibration:
Phosphate standard was freshly prepared from weighed K2HPO4 (#96-2) on Nov 4, 1996. A 12500 uM solution was
prepared then diluted to 1250 uM. The diluted solution was used to prepare daily running standards. Both solutions were
compared to previously prepared standards and were within acceptable limits (1.3% and 0.3% greater than the
old standard, respectively).
The silicate standard (#96-3) was a 7500 uM solution of Na2SiF6, prepared from preweighed chemicals on Aug. 9, 1996.
Nitrate standard (#96-2) was a 2500.3 uM solution from preweighed KNO3 prepared on July 31, 1996.
For Saanich Inlet measurement, ammonium standard was a 1249.9 uM solution diluted from 96-1 stock solution. Diluted August 9, 1996.
For the other measurements, the 12499 uM stock (96-1) was freshly diluted to 124.99 uM in fresh DMQ. It was compared to
the standard used for Saanich Inlet. The results are reported in the pooled deviation sheet in this file.
An Eppendorf maxipettor was used to pipette volumes greater than 1 ml. It was assumed that delivery was close to the rate
determined on September 23, 1996. The corrected volume was used in calculating the standard's
concentration in the working standards. For volumes less than 100 ul, an Eppendorf pipettor (Ecology #16801J) was used.
Eppendorf Pipettor #107106 was used for volumes between 100 and 1000 ul, and was calibrated upon use.
Pooled deviations: | [5 empty] | C2 values
| Nitrate | 0.047337 |  |  |  |  | 961105 | 961107 | 961108 | 961112
| Silicate | 0.30354 |  |  |  | nitrate | 0.0364 | 0.0364 | 0.0362 | 0.042
| Phosphate | 0.010539 |  |  |  |  | 0.036 | 0.0364 | 0.0361 | 0.417
| Ammonia | 0.16435 | file: 961105 | [6 empty] | 0.0417
|  | 0.033308 | file: 961107 | [6 empty] | 0.0416
|  | 0.012263 | file: 961108 | [6 empty] | 0.0417
[6 empty] | silicate | 0.205 | 0.193 | 0.201
Std. deviation of standards | [6 empty] | 0.203 | 0.19 | 0.199
[6 empty] | phosphate | 0.00727 | 0.00732 | 0.00726
|  | Nitrate | 0.070766 |  |  |  | 0.00728 | 0.0074 | 0.00724
|  | Silicate | 0.17651 | (n=3)
|  | Phosphate | 0.0064514 |  |  | ammonia | 0.00871 | 0.0055 | 0.00548 |  | (std cal change on 961107)
[7 empty] | 0.00833 | 0.00544 | 0.00572
0.00604
Reproducibility of samples in all nutrients was very good.
Higher ammonia variability on 961105 was due to poor replication in duplicates and contamination by ammonia cleaner.
Standards reproducibility was very good.
Comments on factors affecting data quality:
NH4 blanks (NaCl) were slightly different from the rinse; were prepared in separate containers, using same DMQ. They were about 9 or 10 pts contaminated.
contaminated. Perhaps the containers (freshly acid cleaned), test tubes, or the atmosphere contaminated the blanks.
During reading of the Saanich Inlet samples, an aerosol ammonia cleaner was employed in the lab. While it was quickly removed,
it probably added a falsely high peak in ammonia at 100 m. Sample variability was much greater at this depth.
Because ammonia samples are easily contaminated, duplicate samples were taken and measured for all stations. The averages
of the two measurements are reported.
Ammonia "peaks" were very low, and oddly shaped, as though contaminated with fresh water. Pooled deviation suspciously low.
Although no peaks were lower than the baseline, it is possible that the rinse water was slightly contaminated, such that the
baseline was elevated and the true level of ammonia in the samples was higher than reported. The difference of DMQ from
NaCl baselines was: about 32 pts on 961105, and about 58 pts on 961107 and 961108 (the latter two days were measured at
a different std. calibration). The reagent+DMQ baseline was much higher on 961107.
Silicate profiles were quite flat, and did not follow same trends as N and P.

## Saanich
Cruise 9615: Saanich Inlet, mean nutrient levels (n=2)
Station | Depth | Nitrate | Silicate | Phosphate | Ammon.
Saanich Inlet | 0 | 20.3577 | 47.2401 | 2.1191 | 0.28177
| 5 | 23.5089 | 49.3875 | 2.3202 | 0.12924
| 10 | 25.3052 | 56.7117 | 2.4811 | 0.047069
| 20 | 25.8 | 53.368 | 2.4587 | 0.085996
| 30 | 26.2942 | 52.4086 | 2.4473 | 0.26217
| 40 | 26.3795 | 53.9307 | 2.4762 | 0.11605
| 50 | 26.4091 | 52.5585 | 2.4685 | 0.030583
| 75 | 24.1192 | 66.4712 | 3.2441 | 0.3766
| 100 | 6.2421 | 97.0797 | 4.8427 | 1.3525 | "Windex" being used in lab.
| 125 | 10.1277 | 95.6715 | 4.7715 | 0.24224
| 150 | 15.3132 | 91.6632 | 4.5463 | 0.027286
| 200 | 21.0381 | 89.1175 | 4.3472 | 0.060898
| 220 | 15.468 | 102.275 | 4.8295 | 2.5615
Saanich Inlet Nutrients (all samples)
Sample order | Depth | Nitrate | Silicate | Phosphate | Ammon.
1 | 0 | 20.3439 | 47.0395 | 2.1082 | 0.20347
2 | 0 | 20.3715 | 47.4407 | 2.13 | 0.36006
3 | 5 | 23.4773 | 49.2907 | 2.3057 | 0.098934
4 | 5 | 23.5406 | 49.4844 | 2.3348 | 0.15956
5 | 10 | 25.3485 | 56.7194 | 2.4812 | 0.029774
6 | 10 | 25.2619 | 56.704 | 2.481 | 0.064364
7 | 20 | 25.8063 | 53.5822 | 2.4588 | 0.13334
8 | 20 | 25.7937 | 53.1538 | 2.4586 | 0.038655
9 | 30 | 26.2265 | 52.5188 | 2.4438 | 0.13319
10 | 30 | 26.3619 | 52.2983 | 2.4509 | 0.39116
11 | 40 | 26.386 | 53.9381 | 2.48 | 0.2102
12 | 40 | 26.373 | 53.9234 | 2.4725 | 0.021912
13 | 50 | 26.36 | 52.8755 | 2.465 | 0.022022
14 | 50 | 26.4582 | 52.2415 | 2.4721 | 0.039144
15 | med std. | 15.9512 | 60.0806 | 2.0111 | 1.9921
16 | 75 | 24.1804 | 66.6874 | 3.2406 | 0.01388
17 | 75 | 24.0581 | 66.2549 | 3.2476 | 0.73931
18 | 100 | 6.2615 | 96.9891 | 4.8394 | 1.2836 | Ammonia: "Windex" being used in lab
19 | 100 | 6.2226 | 97.1703 | 4.846 | 1.4215 | "
20 | 125 | 10.1117 | 95.685 | 4.7792 | 0.30158
21 | 125 | 10.1437 | 95.658 | 4.7638 | 0.1829
22 | 150 | 15.3166 | 91.8841 | 4.5577 | 0.048188
23 | 150 | 15.3098 | 91.4422 | 4.535 | 0.0063841
24 | 200 | 21.0431 | 89.13 | 4.3438 | 0.065056
25 | 200 | 21.0332 | 89.1049 | 4.3505 | 0.056741
26 | 220 | 15.4715 | 102.8102 | 4.8408 | 2.5716
27 | 220 | 15.4645 | 101.7397 | 4.8181 | 2.5513

## Haro,Swan,Sat,SH11,Stu
file: 961107
Station | Depth | Nitrate | Silicate | Phosphate | Ammonia | Notes
Haro | 0 | 26.9538 | 52.0218 | 2.3311 | 0.023995 | Ammonia numbers are the average of two replicates.
| 10 | 27.331 | 51.9549 | 2.3466 | 0.045754
| 20 | 27.4484 | 51.6918 | 2.3472 | 0.02885
| 30 | 27.7518 | 51.625 | 2.3331 | 0.56798
| 50 | 28.9863 | 50.9704 | 2.4149 | 0.10223
| 75 | 29.7754 | 50.9042 | 2.4376 | 0.061803
| 100 | 29.7822 | 50.8379 | 2.4456 | 0.040794
| 150 | 30.0874 | 50.7716 | 2.4535 | 0.050078
| 200 | 30.3557 | 50.7053 | 2.4909 | 0.042687
| 290 | 30.6989 | 50.8342 | 2.4989 | 0.0041556
Swanson | 0 | 26.2849 | 52.0043 | 2.2356
| 10 | 26.1059 | 52.3156 | 2.2585
| 30 | 26.7812 | 51.8414 | 2.2888
| 50 | 27.8295 | 51.564 | 2.3559
| med | 15.9817 | 47.7745 | 1.9954
| 75 | 29.1854 | 51.0195 | 2.4384
| 100 | 29.9022 | 50.935 | 2.4538
| 150 | 30.4334 | 51.0493 | 2.4839
Satellite | 0 | 25.9255 | 52.7983 | 2.2797
| 10 | 26.151 | 52.5275 | 2.2804
| 20 | 26.3394 | 53.0422 | 2.4877
| 30 | 26.3631 | 53.7523 | 2.385
| 50 | 26.9971 | 54.6576 | 2.5406
| 75 | 28.2637 | 53.2099 | 2.5043
SH11 | 0 m | 27.426 | 52.2285 | 2.3239
| 10 | 27.6149 | 51.9755 | 2.3392
| 20 | 27.804 | 51.9191 | 2.3618
| 30 | 27.8069 | 52.059 | 2.355
| 50 | 28.1451 | 51.8064 | 2.3776
| med | 16.0607 | 48.0294 | 2.002
| 75 | 29.0085 | 51.4978 | 2.4155
| 100 | 29.6087 | 51.4416 | 2.4308
| 150 | 30.3213 | 51.1898 | 2.4681
| 200 | 30.8478 | 50.9382 | 2.5054
| 270 | 30.6271 | 50.8822 | 2.5132
Stuart | 0 m | 27.1008 | 53.0021 | 2.3388 | 0.1039
| 10 | 27.2182 | 52.7439 | 2.3468 | 0.08686
| 20 | 27.5956 | 52.4859 | 2.3474 | 0.028593
| 30 | 27.6017 | 52.6206 | 2.3627 | 0.072127
| 50 | 27.9054 | 52.1669 | 2.3486 | 0.046909
| 75 | 28.3583 | 51.5178 | 2.3787 | 0.041045
| 100 | 28.5881 | 51.6527 | 2.4014 | 0.016032
| 150 | 30.1236 | 51.5916 | 2.4609 | 0.032077
| 200 | 30.5787 | 51.3378 | 2.4983 | 0.042384
| 310 | 30.8474 | 51.4722 | 2.5357 | 0.025735
Notes: NH4 blanks were slightly different from the rinse; were prepared in separate containers, using same DMQ.
About 9 or 10 pts contaminated. Ammonia "peaks" were very low, oddly shaped, as though contaminated with fresh water.
Silicate profiles were quite flat, did not follow same trends as N, P.

## Hein,Sill,JdF
file: 961108 |  | 9615 Nutrient Data
Station | Depth | Nitrate | Silicate | Phosphate | Ammonia
Hein | 0 | 27.9748 | 52.6495 | 2.3748 | 0.047726
| 10 | 28.0758 | 52.5872 | 2.3745 | 0.050563
| 20 | 28.2136 | 52.3237 | 2.3966 | 0.033999
| 30 | 28.3884 | 52.464 | 2.3814 | 0.034052
| 50 | 29.0815 | 51.5931 | 2.4183 | 0.042457
| 75 | 29.9222 | 51.1279 | 2.4776 | 0.036934
| 100 | 30.7995 | 50.6635 | 2.4699 | 0.051031
| 150 | 31.5283 | 51.0059 | 2.559 | 0.051124
Sill | 0 m | 27.7991 | 52.2562 | 2.3898 | 0.037062 | Phos. odd peak. NH4: Parafilm broken
| 10 | 27.8627 | 52.4085 | 2.3895 | 0.031433
| 20 | 28.0735 | 51.7496 | 2.4042 | 0.054214
| 30 | 28.4315 | 52.3069 | 2.4113 | 0.03435
| 50 | 29.3786 | 50.6375 | 2.4185 | 0.020392
| high | 23.8904 | 71.8502 | 3.008
| 75 | 30.5717 | 50.3368 | 2.4924 | 0.0268
| 100 | 30.6704 | 48.8811 | 2.4252 | 0.024565
| 125 | 30.8427 | 49.0346 | 2.4696 | 0.036832
J de F | 0 m | 27.776 | 52.4535 | 2.3674 | 0.034629
| 10 | 28.5342 | 51.997 | 2.4787 | 0.035313
| 20 | 29.1804 | 51.5412 | 2.4264 | 0.035985
| 30 | 29.6036 | 51.2886 | 2.441 | 0.063223
| 50 | 30.7287 | 51.0365 | 2.4557 | 0.055148
| 75 | 31.7042 | 49.777 | 2.5224 | 0.046972
| med | 16.1052 | 48.1134 | 2.0021
| 100 | 32.285 | 49.8814 | 2.5071 | 0.059639
| 150 | 32.1874 | 49.631 | 2.5366 | 0.069405

## Pooled dev. calc.
Pooled deviation calculations: 9615
Nitrate: Saanich Inlet
| Depth | n1 | n2 | n1-n2 | (n1-n2)^2 | mean | Notes
| 0 | 20.3439 | 20.3715 | -0.02762 | 0.00076286 | 20.3577 | boldface indicates suspect data.
| 5 | 23.4773 | 23.5406 | -0.06328 | 0.0040044 | 23.5089
| 10 | 25.3485 | 25.2619 | 0.08658 | 0.0074961 | 25.3052
| 20 | 25.8063 | 25.7937 | 0.0126 | 0.00015876 | 25.8
| 30 | 26.2265 | 26.3619 | -0.13543 | 0.018341 | 26.2942
| 40 | 26.386 | 26.373 | 0.01299 | 0.00016874 | 26.3795
| 50 | 26.36 | 26.4582 | -0.09814 | 0.0096315 | 26.4091
| 75 | 24.1804 | 24.0581 | 0.12229 | 0.014955 | 24.1192
| 100 | 6.2615 | 6.2226 | 0.038975 | 0.0015191 | 6.2421
| 125 | 10.1117 | 10.1437 | -0.03206 | 0.0010278 | 10.1277
| 150 | 15.3166 | 15.3098 | 0.00688 | 4.7334e-05 | 15.3132
| 200 | 21.0431 | 21.0332 | 0.00996 | 9.9202e-05 | 21.0381
| 220 | 15.4715 | 15.4645 | 0.00697 | 4.8581e-05 | 15.468
|  |  | Sum of squared diff |  | 0.05826
|  |  | No. of pairs |  | 13
|  |  | Pooled dev. |  | 0.047337
Silicate: Saanich Inlet
| Depth | n1 | n2 | n1-n2 | (n1-n2)^2 | mean
| 0 | 47.0395 | 47.4407 | -0.40129 | 0.16103 | 47.2401
| 5 | 49.2907 | 49.4844 | -0.19366 | 0.037504 | 49.3875
| 10 | 56.7194 | 56.704 | 0.01545 | 0.0002387 | 56.7117
| 20 | 53.5822 | 53.1538 | 0.42842 | 0.18354 | 53.368
| 30 | 52.5188 | 52.2983 | 0.22053 | 0.048633 | 52.4086
| 40 | 53.9381 | 53.9234 | 0.01468 | 0.0002155 | 53.9307
| 50 | 52.8755 | 52.2415 | 0.634 | 0.40196 | 52.5585
| 75 | 66.6874 | 66.2549 | 0.43254 | 0.18709 | 66.4712
| 100 | 96.9891 | 97.1703 | -0.1812 | 0.032833 | 97.0797
| 125 | 95.685 | 95.658 | 0.02694 | 0.00072576 | 95.6715
| 150 | 91.8841 | 91.4422 | 0.44183 | 0.19521 | 91.6632
| 200 | 89.13 | 89.1049 | 0.02504 | 0.000627 | 89.1175
| 220 | 102.8102 | 101.7397 | 1.0705 | 1.146 | 102.275
|  |  | Sum of squared diff |  | 2.3956
|  |  | No. of pairs |  | 13
|  |  | Pooled dev. |  | 0.30354
Phosphate: Saanich Inlet
| Depth | n1 | n2 | n1-n2 | (n1-n2)^2 | mean
| 0 | 2.1082 | 2.13 | -0.021821 | 0.00047616 | 2.1191
| 5 | 2.3057 | 2.3348 | -0.029136 | 0.00084891 | 2.3202
| 10 | 2.4812 | 2.481 | 0.000194 | 3.7636e-08 | 2.4811
| 20 | 2.4588 | 2.4586 | 0.000191 | 3.6481e-08 | 2.4587
| 30 | 2.4438 | 2.4509 | -0.007138 | 5.0951e-05 | 2.4473
| 40 | 2.48 | 2.4725 | 0.007516 | 5.649e-05 | 2.4762
| 50 | 2.465 | 2.4721 | -0.007127 | 5.0794e-05 | 2.4685
| 75 | 3.2406 | 3.2476 | -0.007004 | 4.9056e-05 | 3.2441
| 100 | 4.8394 | 4.846 | -0.006605 | 4.3626e-05 | 4.8427
| 125 | 4.7792 | 4.7638 | 0.015401 | 0.00023719 | 4.7715
| 150 | 4.5577 | 4.535 | 0.022651 | 0.00051307 | 4.5463
| 200 | 4.3438 | 4.3505 | -0.006737 | 4.5387e-05 | 4.3472
| 220 | 4.8408 | 4.8181 | 0.022721 | 0.00051624 | 4.8295
|  |  | Sum of squared diff |  | 0.0028879
|  |  | No. of pairs |  | 13
|  |  | Pooled dev. |  | 0.010539
Nitrate, Silicate, and Phosphate standardards replicability:
|  |  | Nitrate | Silicate | Phosphate
|  | med std. | 15.9512 |  | 2.0111
|  | med | 15.9817 | 47.7745 | 1.9954
|  | med | 16.1052 | 48.1134 | 2.0021
|  | med | 16.0607 | 48.0294 | 2.002
|  | std dev | 0.070766 | 0.17651 | 0.0064514
Check standard reproducibility is acceptable.
Ammonia: Saanich Inlet
| Depth | n1 | n2 | n1-n2 | (n1-n2)^2 | mean
| 0 | 0.20347 | 0.36006 | -0.1566 | 0.024522 | 0.28177
| 5 | 0.098934 | 0.15956 | -0.060622 | 0.003675 | 0.12924
| 10 | 0.029774 | 0.064364 | -0.03459 | 0.0011965 | 0.047069
| 20 | 0.13334 | 0.038655 | 0.094682 | 0.0089647 | 0.085996
| 30 | 0.13319 | 0.39116 | -0.25797 | 0.06655 | 0.26217
| 40 | 0.2102 | 0.021912 | 0.18828 | 0.035451 | 0.11605
| 50 | 0.022022 | 0.039144 | -0.017121 | 0.00029313 | 0.030583
| 75 | 0.01388 | 0.73931 | -0.72543 | 0.52625 | 0.3766
| 100 | 1.2836 | 1.4215 | -0.13797 | 0.019037 | 1.3525
| 125 | 0.30158 | 0.1829 | 0.11868 | 0.014085 | 0.24224
| 150 | 0.048188 | 0.0063841 | 0.041804 | 0.0017476 | 0.027286
| 200 | 0.065056 | 0.056741 | 0.0083153 | 6.9144e-05 | 0.060898
| 220 | 2.5716 | 2.5513 | 0.020326 | 0.00041315 | 2.5615
|  |  | Sum of squared diff |  | 0.70225
|  |  | No. of pairs |  | 13
|  |  | Pooled dev. |  | 0.16435
961107 | Ammonia: Pooled deviation
| Station | Depth | n1 | n2 | n1-n2 | (n1-n2)^2 | mean
| Haro | 0 |  | 0.023995 |  | 0 | 0.023995 | 1 repl contaminated
|  | 10 | 0.01279 | 0.078719 | -0.065929 | 0.0043466 | 0.045754
|  | 20 | 0.067438 | -0.0097383 | 0.077177 | 0.0059563 | 0.02885
|  | 30 | 0.49933 | 0.63664 | -0.13731 | 0.018855 | 0.56798 | both contam?
|  | 50 | 0.099592 | 0.10486 | -0.0052672 | 2.7743e-05 | 0.10223
|  | 75 | 0.066052 | 0.057555 | 0.0084966 | 7.2192e-05 | 0.061803
|  | 100 | 0.040794 |  | 0.040794 | 0.0016641 | 0.040794 | second sample corrupted
|  | 150 | 0.042988 | 0.057168 | -0.014179 | 0.00020106 | 0.050078
|  | 200 | 0.064665 | 0.020709 | 0.043956 | 0.0019321 | 0.042687
|  | 290 | 0.0041556 |  | 0.0041556 | 0 | 0.0041556 | 1repl contam.
| Stuart | 0 | 0.10123 | 0.10656 | -0.0053249 | 2.8355e-05 | 0.1039
|  | 10 | 0.089729 | 0.08399 | 0.0057388 | 3.2934e-05 | 0.08686
|  | 20 | 0.028683 | 0.028503 | 0.0001799 | 3.2364e-08 | 0.028593
|  | 30 |  | 0.072127 | -0.072127 | 0.0052023 | 0.072127 | 1 repl. contam.
|  | 50 | 0.06622 | 0.027598 | 0.038622 | 0.0014917 | 0.046909
|  | 75 | 0.016468 | 0.065622 | -0.049153 | 0.0024161 | 0.041045
|  | 100 | 0.010654 | 0.02141 | -0.010756 | 0.0001157 | 0.016032
|  | 150 | 0.037636 | 0.026518 | 0.011118 | 0.0001236 | 0.032077
|  | 200 |  | 0.042384 | -0.042384 | 0.0017964 | 0.042384 | air in one repl.
|  | 310 | 0.020373 | 0.031097 | -0.010724 | 0.000115 | 0.025735
|  |  |  | sum of squared dif. |  | 0.044377
|  |  |  | no of samples |  | 20
|  |  |  | pooled dev. |  | 0.033308
ammonia standards
|  | l | 0.52531 | 0.49576 | 0.029548 | 0.00087309 | 0.51054
|  | l | 0.52082 | 0.48236 | 0.038455 | 0.0014788 | 0.50159
|  | m | 1.0216 | 1.014 | 0.00758 | 5.7456e-05 | 1.0178
|  | h | 1.5155 | 1.5252 | -0.009705 | 9.4187e-05 | 1.5204
|  | x | 2.042 | 2.0191 | 0.022946 | 0.00052652 | 2.0305
|  | chk | 2.1614 | 2.1127 | 0.048656 | 0.0023674 | 2.137
|  |  |  | sum of squared dif. |  | 0.0053975
|  |  |  | no of samples |  | 6
|  |  |  | pooled dev. |  | 0.021208
note: the check standard was a 2 uM solution of a previously prepared standard, used to compare the
accuracy of this freshly diluted standard. It was about 5 % higher than the freshly prepared std.
961108: ammonia
Ammonia | Depth | n1 | n2 | (n1-n2) | (n1-n2)^2 | mean
Hein | 0 m | 0.044947 | 0.050504 | -0.0055571 | 3.0881e-05 | 0.047726
| 10 | 0.061613 | 0.039513 | 0.0221 | 0.00048841 | 0.050563
| 20 | 0.050633 | 0.017366 | 0.033267 | 0.0011067 | 0.033999
| 30 | 0.022915 | 0.045189 | -0.022274 | 0.00049614 | 0.034052
| 50 | 0.034068 | 0.050846 | -0.016779 | 0.00028152 | 0.042457
| 75 | 0.03412 | 0.039748 | -0.0056275 | 3.1669e-05 | 0.036934
| 100 | 0.056635 | 0.045426 | 0.011209 | 0.00012564 | 0.051031
| 150 | 0.045461 | 0.056786 | -0.011325 | 0.00012827 | 0.051124
Sill | 0 m | 0.039878 | 0.034246 | 0.0056325 | 3.1725e-05 | 0.037062
| 10 | 0.039931 | 0.022935 | 0.016996 | 0.00028886 | 0.031433
| 20 | 0.068419 | 0.04001 | 0.028409 | 0.00080708 | 0.054214
| 30 | 0.028637 | 0.040063 | -0.011426 | 0.00013056 | 0.03435
| 50 | 0.028839 | 0.011945 | 0.016894 | 0.0002854 | 0.020392
| 75 | 0.023754 | 0.029846 | -0.006092 | 3.7112e-05 | 0.0268
| 100 | 0.024403 | 0.024727 | -0.00032409 | 1.0503e-07 | 0.024565
| 125 | 0.036658 | 0.037006 | -0.00034773 | 1.2092e-07 | 0.036832
J de F | 0 m | 0.031541 | 0.037717 | -0.0061759 | 3.8141e-05 | 0.034629
| 10 | 0.032213 | 0.038413 | -0.0061994 | 3.8433e-05 | 0.035313
| 20 | 0.044636 | 0.027334 | 0.017302 | 0.00029935 | 0.035985
| 30 | 0.086643 | 0.039804 | 0.046839 | 0.0021939 | 0.063223
| 50 | 0.051995 | 0.0583 | -0.0063042 | 3.9743e-05 | 0.055148
| 75 | 0.046792 | 0.047152 | -0.00035944 | 1.292e-07 | 0.046972
| 100 | 0.059447 | 0.05983 | -0.0003826 | 1.4638e-07 | 0.059639
| 150 | 0.060213 | 0.078597 | -0.018385 | 0.000338 | 0.069405
|  |  | Sum of sq. diff |  | 0.007218
|  |  | total no. of samples |  | 24
|  |  | pooled deviation |  | 0.012263
ammonia | standards
| l | 0.49296 | 0.49296 | 0 | 0 | 0.49296
| m | 1.013 | 0.97783 | 0.035207 | 0.0012395 | 0.99543
| h | 1.4847 | 1.5944 | -0.10966 | 0.012025 | 1.5395
| x | 2.0009 | 2.0065 | -0.005688 | 3.2353e-05 | 2.0037
| chk | 2.1371 | 2.1144 | 0.022665 | 0.0005137 | 2.1258
|  |  | Sum of sq. diff |  | 0.013811
|  |  | total no. of samples |  | 5
|  |  | pooled deviation |  | 0.037163
Check standard is about 5% higher than x.