## File List
Number of Files= |  | 9
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 96310001.thi | 96310001.thm | 12 | 27 | 96310001.thi & 96310001.thm
2 | 96310002.thi | 96310002.thm | 29 | 36 | 96310002.thi & 96310002.thm
3 | 96310005.thi | 96310005.thm | 38 | 51 | 96310005.thi & 96310005.thm
4 | 96310006.thi | 96310006.thm | 53 | 86 | 96310006.thi & 96310006.thm
5 | 96310007.thi | 96310007.thm | 88 | 97 | 96310007.thi & 96310007.thm
6 | 96310016.thi | 96310016.thm | 99 | 106 | 96310016.thi & 96310016.thm
7 | 96310017.thi | 96310017.thm | 108 | 119 | 96310017.thi & 96310017.thm
8 | 96310023.thi | 96310023.thm | 121 | 124 | 96310023.thi & 96310023.thm
9 | 96310044.thi | 96310044.thm | 126 | 129 | 96310044.thi & 96310044.thm

## (Temp-mctd - Temp-ictd)
Calculation of Linear Least Squares Fit For
(Temp-mctd - Temp-ictd)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Temp-mctd - Temp-ictd), Prop=Temp-mctd
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.33672 |  | X | CALC Y
m= | -0.0085627 | 0.0012202 |  | Std Dev of Resid |  | 0.008235 |  | -1.6641 | 0.007433
b= | -0.0068162 | 0.0008497 |  | Resid Sum of Squares |  | 0.0065781 |  | 0.4337 | -0.01053
# of Values Extracted = |  |  | 110
# of Values Used in Fit = |  |  | 99
File | Use | P-mctd | Temp-mctd | Temp-mctd | Diff (Temp-mctd - Temp-ictd) |  |  |  | Fit vs. | Temp-mctd
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 100.2 | -1.5682 | 0 | -0.0242 | 0.0066118 | 0.030812 |  | -1.5682 | -0.0242
1 | YES | 150.2 | -1.5854 | 0 | 0.0063 | 0.0067591 | 0.00045914 |  | -1.5854 | 0.0063
1 | YES | 200.1 | -1.0111 | 0 | -0.0182 | 0.0018415 | 0.020042 |  | -1.0111 | -0.0182
1 | YES | 249.9 | -0.3682 | 0 | -0.0153 | -0.0036634 | 0.011637 |  | -0.3682 | -0.0153
1 | YES | 299.8 | 0.0726 | 0 | -0.0146 | -0.0074379 | 0.0071621 |  | 0.0726 | -0.0146
1 | YES | 349.9 | 0.2811 | 0 | -0.014 | -0.0092232 | 0.0047768 |  | 0.2811 | -0.014
1 | YES | 399.8 | 0.3813 | 0 | -0.0107 | -0.010081 | 0.00061879 |  | 0.3813 | -0.0107
1 | YES | 450.1 | 0.4041 | 0 | -0.0099 | -0.010276 | -0.00037644 |  | 0.4041 | -0.0099
1 | YES | 499.8 | 0.4069 | 0 | -0.0091 | -0.0103 | -0.0012004 |  | 0.4069 | -0.0091
1 | YES | 550 | 0.3906 | 0 | -0.009 | -0.010161 | -0.0011608 |  | 0.3906 | -0.009
1 | YES | 600.1 | 0.373 | 0 | -0.0087 | -0.01001 | -0.0013101 |  | 0.373 | -0.0087
1 | YES | 650.1 | 0.3446 | 0 | -0.009 | -0.009767 | -0.00076696 |  | 0.3446 | -0.009
1 | YES | 699.8 | 0.3103 | 0 | -0.0084 | -0.0094733 | -0.0010733 |  | 0.3103 | -0.0084
1 | YES | 750.1 | 0.2659 | 0 | -0.0084 | -0.0090931 | -0.00069305 |  | 0.2659 | -0.0084
1 | YES | 799.8 | 0.2325 | 0 | -0.0093 | -0.0088071 | 0.00049291 |  | 0.2325 | -0.0093
1 | NO | 0 | 0 | 0 | -0.1494 | -0.0068162 | 0.14258 |  | -1.5005 | 0.008
2 | NO | 99.7 | -1.6104 | 0 | 0.0046 | 0.0069732 | 0.0023731 |  | -0.7174 | 0.0049
2 | YES | 150 | -1.5005 | 0 | 0.008 | 0.0060321 | -0.0019679 |  | -0.118 | -0.0114
2 | YES | 199.7 | -0.7174 | 0 | 0.0049 | -0.00067334 | -0.0055733 |  | 0.218 | -0.0105
2 | YES | 249.8 | -0.118 | 0 | -0.0114 | -0.0058058 | 0.0055942 |  | 0.3515 | -0.009
2 | YES | 300.2 | 0.218 | 0 | -0.0105 | -0.0086829 | 0.0018171 |  | -1.6633 | 0.0074999
2 | YES | 349.7 | 0.3515 | 0 | -0.009 | -0.009826 | -0.00082604 |  | -1.52 | -0.0007
2 | NO | 0 | 0 | 0 | -0.4145 | -0.0068162 | 0.40768 |  | -0.4865 | -0.0044
2 | NO | 0 | 0 | 0 | -0.406 | -0.0068162 | 0.39918 |  | 0.0435 | -0.0182
3 | NO | 99.8 | -1.6357 | 0 | 0.0022 | 0.0071898 | 0.0049898 |  | 0.2878 | -0.016
3 | YES | 149.8 | -1.6633 | 0 | 0.0074999 | 0.0074261 | -7.3781e-05 |  | 0.3963 | -0.0101
3 | YES | 200.1 | -1.52 | 0 | -0.0007 | 0.0061991 | 0.0068991 |  | 0.4282 | -0.0109
3 | YES | 250.1 | -0.4865 | 0 | -0.0044 | -0.0026505 | 0.0017495 |  | 0.4337 | -0.0094
3 | YES | 300.2 | 0.0435 | 0 | -0.0182 | -0.0071887 | 0.011011 |  | 0.4165 | -0.0084
3 | YES | 349.7 | 0.2878 | 0 | -0.016 | -0.0092806 | 0.0067194 |  | 0.3927 | -0.0088
3 | YES | 399.9 | 0.3963 | 0 | -0.0101 | -0.01021 | -0.00010965 |  | 0.3619 | -0.0082
3 | YES | 450.1 | 0.4282 | 0 | -0.0109 | -0.010483 | 0.0004172 |  | 0.3264 | -0.0023
3 | YES | 500 | 0.4337 | 0 | -0.0094 | -0.01053 | -0.0011299 |  | -1.6641 | 0.0086999
3 | YES | 550 | 0.4165 | 0 | -0.0084 | -0.010383 | -0.0019826 |  | -1.213 | 0.0365
3 | YES | 599.9 | 0.3927 | 0 | -0.0088 | -0.010179 | -0.0013788 |  | -0.4522 | 0.0063
3 | YES | 650.1 | 0.3619 | 0 | -0.0082 | -0.0099151 | -0.0017151 |  | -0.0014 | -0.0012
3 | YES | 699.9 | 0.3264 | 0 | -0.0023 | -0.0096111 | -0.0073111 |  | 0.2659 | -0.0064
3 | NO | 0 | 0 | 0 | -0.3207 | -0.0068162 | 0.31388 |  | 0.3814 | -0.0096
4 | NO | 99.9 | -1.6176 | 0 | 0.00080001 | 0.0070348 | 0.0062348 |  | 0.4188 | -0.0098
4 | YES | 150.2 | -1.6641 | 0 | 0.0086999 | 0.007433 | -0.0012669 |  | 0.4243 | -0.0097
4 | YES | 199.8 | -1.213 | 0 | 0.0365 | 0.0035704 | -0.03293 |  | 0.4115 | -0.0095
4 | YES | 250.1 | -0.4522 | 0 | 0.0063 | -0.0029442 | -0.0092442 |  | 0.3904 | -0.0091
4 | YES | 299.9 | -0.0014 | 0 | -0.0012 | -0.0068043 | -0.0056043 |  | 0.3714 | -0.0087
4 | YES | 350.1 | 0.2659 | 0 | -0.0064 | -0.0090931 | -0.0026931 |  | 0.3328 | -0.0088
4 | YES | 400.1 | 0.3814 | 0 | -0.0096 | -0.010082 | -0.00048206 |  | 0.28 | -0.0083
4 | YES | 450 | 0.4188 | 0 | -0.0098 | -0.010402 | -0.00060229 |  | 0.2321 | -0.0057
4 | YES | 500 | 0.4243 | 0 | -0.0097 | -0.010449 | -0.00074941 |  | 0.172 | -0.0074
4 | YES | 549.8 | 0.4115 | 0 | -0.0095 | -0.01034 | -0.00083981 |  | 0.1229 | -0.0066
4 | YES | 600 | 0.3904 | 0 | -0.0091 | -0.010159 | -0.0010591 |  | 0.0683 | -0.0069
4 | YES | 650.1 | 0.3714 | 0 | -0.0087 | -0.0099964 | -0.0012964 |  | 0.0242 | -0.0065
4 | YES | 700.2 | 0.3328 | 0 | -0.0088 | -0.0096659 | -0.00086592 |  | -0.0231 | -0.0068
4 | YES | 750.2 | 0.28 | 0 | -0.0083 | -0.0092138 | -0.0009138 |  | -0.0663 | -0.008
4 | YES | 800.2 | 0.2321 | 0 | -0.0057 | -0.0088037 | -0.0031036 |  | -0.1062 | -0.01
4 | YES | 850.1 | 0.172 | 0 | -0.0074 | -0.008289 | -0.00088904 |  | -0.1366 | -0.0064
4 | YES | 900.1 | 0.1229 | 0 | -0.0066 | -0.0078686 | -0.0012686 |  | -0.1818 | -0.0043
4 | YES | 950.2 | 0.0683 | 0 | -0.0069 | -0.0074011 | -0.00050108 |  | -0.2121 | -0.0055
4 | YES | 1000.2 | 0.0242 | 0 | -0.0065 | -0.0070235 | -0.00052346 |  | -0.2455 | -0.0056
4 | YES | 1050 | -0.0231 | 0 | -0.0068 | -0.0066184 | 0.00018156 |  | -0.2705 | -0.0035
4 | YES | 1099.8 | -0.0663 | 0 | -0.008 | -0.0062485 | 0.0017515 |  | -0.297 | -0.0041
4 | YES | 1149.7 | -0.1062 | 0 | -0.01 | -0.0059069 | 0.0040931 |  | -0.3191 | -0.0048
4 | YES | 1200.1 | -0.1366 | 0 | -0.0064 | -0.0056466 | 0.00075343 |  | -0.3365 | -0.0036
4 | YES | 1249.7 | -0.1818 | 0 | -0.0043 | -0.0052595 | -0.00095954 |  | -0.3564 | -0.0056
4 | YES | 1299.9 | -0.2121 | 0 | -0.0055 | -0.0050001 | 0.00049991 |  | -0.3705 | -0.0042
4 | YES | 1349.8 | -0.2455 | 0 | -0.0056 | -0.0047141 | 0.00088592 |  | -0.3847 | -0.0043
4 | YES | 1399.8 | -0.2705 | 0 | -0.0035 | -0.0045 | -0.001 |  | -0.4015 | -0.0037
4 | YES | 1449.8 | -0.297 | 0 | -0.0041 | -0.0042731 | -0.00017312 |  | -1.6565 | 0.0053
4 | YES | 1499.8 | -0.3191 | 0 | -0.0048 | -0.0040839 | 0.00071612 |  | -1.5485 | 0.006
4 | YES | 1550 | -0.3365 | 0 | -0.0036 | -0.0039349 | -0.00033488 |  | -0.3801 | -0.0089
4 | YES | 1599.8 | -0.3564 | 0 | -0.0056 | -0.0037645 | 0.0018355 |  | 0.1195 | -0.0106
4 | YES | 1650.1 | -0.3705 | 0 | -0.0042 | -0.0036438 | 0.00055626 |  | 0.3312 | -0.0114
4 | YES | 1700 | -0.3847 | 0 | -0.0043 | -0.0035222 | 0.00077784 |  | 0.405 | -0.0114
4 | YES | 1748.4 | -0.4015 | 0 | -0.0037 | -0.0033783 | 0.00032168 |  | 0.4285 | -0.011
5 | NO | 99.8 | -1.644 | 0 | 0.0048 | 0.0072609 | 0.0024609 |  | 0.4214 | -0.0101
5 | YES | 150.3 | -1.6565 | 0 | 0.0053 | 0.0073679 | 0.0020679 |  | -1.6061 | 0.0037
5 | YES | 200 | -1.5485 | 0 | 0.006 | 0.0064431 | 0.00044311 |  | -1.5979 | 0.0104
5 | YES | 249.8 | -0.3801 | 0 | -0.0089 | -0.0035615 | 0.0053385 |  | -0.9396 | -0.0178
5 | YES | 299.9 | 0.1195 | 0 | -0.0106 | -0.0078395 | 0.0027605 |  | -0.2464 | -0.0072
5 | YES | 350.3 | 0.3312 | 0 | -0.0114 | -0.0096522 | 0.0017478 |  | 0.2449 | -0.0109
5 | YES | 400 | 0.405 | 0 | -0.0114 | -0.010284 | 0.0011159 |  | 0.383 | -0.0119
5 | YES | 450.1 | 0.4285 | 0 | -0.011 | -0.010485 | 0.00051463 |  | 0.4139 | -0.0112
5 | YES | 500 | 0.4214 | 0 | -0.0101 | -0.010425 | -0.00032458 |  | 0.4148 | -0.0078
5 | NO | 0 | 0 | 0 | -0.4274 | -0.0068162 | 0.42058 |  | -1.5919 | 0.0287
6 | YES | 100 | -1.6061 | 0 | 0.0037 | 0.0069364 | 0.0032363 |  | -1.5277 | -0.0023999
6 | YES | 149.7 | -1.5979 | 0 | 0.0104 | 0.0068661 | -0.0035338 |  | -0.7356 | 0.0264
6 | YES | 199.7 | -0.9396 | 0 | -0.0178 | 0.0012293 | 0.019029 |  | -0.1917 | 0.0009
6 | YES | 250.2 | -0.2464 | 0 | -0.0072 | -0.0047064 | 0.0024936 |  | 0.1442 | -0.0106
6 | YES | 300 | 0.2449 | 0 | -0.0109 | -0.0089133 | 0.0019867 |  | 0.347 | -0.0108
6 | YES | 350.2 | 0.383 | 0 | -0.0119 | -0.010096 | 0.0018042 |  | 0.4082 | -0.0112
6 | YES | 399.7 | 0.4139 | 0 | -0.0112 | -0.01036 | 0.00083964 |  | 0.4272 | -0.0094
6 | YES | 439.2 | 0.4148 | 0 | -0.0078 | -0.010368 | -0.0025681 |  | 0.4184 | -0.0096
7 | YES | 100 | -1.5919 | 0 | 0.0287 | 0.0068148 | -0.021885 |  | 0.3867 | -0.0084
7 | YES | 149.7 | -1.5277 | 0 | -0.0023999 | 0.006265 | 0.008665 |  | 0.3516 | -0.0095
7 | YES | 200.2 | -0.7356 | 0 | 0.0264 | -0.0005175 | -0.026917 |  | 0.3401 | -0.0089
7 | YES | 249.9 | -0.1917 | 0 | 0.0009 | -0.0051748 | -0.0060748 |  | -1.6368 | -0.0108
7 | YES | 299.9 | 0.1442 | 0 | -0.0106 | -0.008051 | 0.002549 |  | -1.5148 | 0.0405
7 | YES | 350.1 | 0.347 | 0 | -0.0108 | -0.0097875 | 0.0010125 |  | -0.2185 | 0.002
7 | YES | 400 | 0.4082 | 0 | -0.0112 | -0.010312 | 0.00088845 |  | -0.2623 | -0.0127
7 | YES | 450.2 | 0.4272 | 0 | -0.0094 | -0.010474 | -0.0010742 |  | 0.3132 | -0.0094
7 | YES | 499.8 | 0.4184 | 0 | -0.0096 | -0.010399 | -0.00079888 |  | 0.3139 | -0.0077
7 | YES | 550.2 | 0.3867 | 0 | -0.0084 | -0.010127 | -0.0017275
7 | YES | 600.2 | 0.3516 | 0 | -0.0095 | -0.0098269 | -0.0003269
7 | YES | 628.6 | 0.3401 | 0 | -0.0089 | -0.0097284 | -0.00082841
8 | YES | 100.2 | -1.6368 | 0 | -0.0108 | 0.0071992 | 0.017999
8 | YES | 150 | -1.5148 | 0 | 0.0405 | 0.0061546 | -0.034345
8 | YES | 200 | -0.2185 | 0 | 0.002 | -0.0049453 | -0.0069453
8 | NO | 0 | 0 | 0 | 0.0267 | -0.0068162 | -0.033516
9 | NO | 99.7 | -1.434 | 0 | -0.0124 | 0.0054627 | 0.017863
9 | YES | 150 | -0.2623 | 0 | -0.0127 | -0.0045702 | 0.0081298
9 | YES | 199.9 | 0.3132 | 0 | -0.0094 | -0.0094981 | -9.808e-05
9 | YES | 203.7 | 0.3139 | 0 | -0.0077 | -0.0095041 | -0.0018041
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
YES
YES
YES
YES
YES
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
YES
YES
YES
FIT vs. P-mctd
FIT vs. Temp-mctd
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 3
| Primary | Secondary |  | Comparison Name
Ref | P-ictd | P-mctd |  | P-mctd - P-ictd
Comp 1 | Sal-ictd | Sal-mctd |  | Sal-mctd - Sal-ictd
Comp 2 | Temp-ictd | Temp-mctd |  | Temp-mctd - Temp-ictd
Average Size: | 1
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | P-ictd | P-mctd | P-mctd | (S-P) | Sal-ictd | Sal-mctd | Sal-mctd | (S-P) | Temp-ictd | Temp-mctd | Temp-mctd | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
96310001.thi | 96310001.thm | 1 | 100 | 100.2 | 0 | 0.2 | 32.5935 | 32.6095 | 0 | 0.016003 | -1.544 | -1.5682 | 0 | -0.0242
96310001.thi | 96310001.thm | 1 | 150 | 150.2 | 0 | 0.2 | 32.9785 | 33.0156 | 0 | 0.037098 | -1.5917 | -1.5854 | 0 | 0.0063
96310001.thi | 96310001.thm | 1 | 200 | 200.1 | 0 | 0.10001 | 33.9165 | 33.9482 | 0 | 0.0317 | -0.9929 | -1.0111 | 0 | -0.0182
96310001.thi | 96310001.thm | 1 | 250 | 249.9 | 0 | -0.10001 | 34.5272 | 34.5608 | 0 | 0.0336 | -0.3529 | -0.3682 | 0 | -0.0153
96310001.thi | 96310001.thm | 1 | 300 | 299.8 | 0 | -0.20001 | 34.6843 | 34.7214 | 0 | 0.037102 | 0.0872 | 0.0726 | 0 | -0.0146
96310001.thi | 96310001.thm | 1 | 350 | 349.9 | 0 | -0.10001 | 34.7465 | 34.7872 | 0 | 0.040703 | 0.2951 | 0.2811 | 0 | -0.014
96310001.thi | 96310001.thm | 1 | 400 | 399.8 | 0 | -0.20001 | 34.7861 | 34.8292 | 0 | 0.043102 | 0.392 | 0.3813 | 0 | -0.0107
96310001.thi | 96310001.thm | 1 | 450 | 450.1 | 0 | 0.10001 | 34.8044 | 34.847 | 0 | 0.042599 | 0.414 | 0.4041 | 0 | -0.0099
96310001.thi | 96310001.thm | 1 | 500 | 499.8 | 0 | -0.20001 | 34.8249 | 34.8673 | 0 | 0.042396 | 0.416 | 0.4069 | 0 | -0.0091
96310001.thi | 96310001.thm | 1 | 550.1 | 550 | 0 | -0.099976 | 34.8373 | 34.8804 | 0 | 0.043102 | 0.3996 | 0.3906 | 0 | -0.009
96310001.thi | 96310001.thm | 1 | 599.9 | 600.1 | 0 | 0.19995 | 34.8468 | 34.8899 | 0 | 0.043098 | 0.3817 | 0.373 | 0 | -0.0087
96310001.thi | 96310001.thm | 1 | 650 | 650.1 | 0 | 0.099976 | 34.8529 | 34.8957 | 0 | 0.042797 | 0.3536 | 0.3446 | 0 | -0.009
96310001.thi | 96310001.thm | 1 | 699.9 | 699.8 | 0 | -0.10004 | 34.8582 | 34.9008 | 0 | 0.042599 | 0.3187 | 0.3103 | 0 | -0.0084
96310001.thi | 96310001.thm | 1 | 750.1 | 750.1 | 0 | 0 | 34.8622 | 34.9055 | 0 | 0.043297 | 0.2743 | 0.2659 | 0 | -0.0084
96310001.thi | 96310001.thm | 1 | 800 | 799.8 | 0 | -0.20001 | 34.8661 | 34.9091 | 0 | 0.042999 | 0.2418 | 0.2325 | 0 | -0.0093
96310001.thi | 96310001.thm | 0 | 871.5 | 0 | 0 | -871.5 | 34.8746 | 0 | 0 | -34.8746 | 0.1494 | 0 | 0 | -0.1494
96310002.thi | 96310002.thm | 1 | 100.1 | 99.7 | 0 | -0.4 | 32.5802 | 32.615 | 0 | 0.034801 | -1.615 | -1.6104 | 0 | 0.0046
96310002.thi | 96310002.thm | 1 | 150 | 150 | 0 | 0 | 33.0906 | 33.1498 | 0 | 0.0592 | -1.5085 | -1.5005 | 0 | 0.008
96310002.thi | 96310002.thm | 1 | 199.9 | 199.7 | 0 | -0.2 | 34.1884 | 34.2483 | 0 | 0.059898 | -0.7223 | -0.7174 | 0 | 0.0049
96310002.thi | 96310002.thm | 1 | 250.1 | 249.8 | 0 | -0.3 | 34.6147 | 34.6552 | 0 | 0.040501 | -0.1066 | -0.118 | 0 | -0.0114
96310002.thi | 96310002.thm | 1 | 300.1 | 300.2 | 0 | 0.10001 | 34.7214 | 34.7662 | 0 | 0.0448 | 0.2285 | 0.218 | 0 | -0.0105
96310002.thi | 96310002.thm | 1 | 349.9 | 349.7 | 0 | -0.19998 | 34.7713 | 34.8169 | 0 | 0.045597 | 0.3605 | 0.3515 | 0 | -0.009
96310002.thi | 96310002.thm | 0 | 400 | 0 | 0 | -400 | 34.8042 | 0 | 0 | -34.8042 | 0.4145 | 0 | 0 | -0.4145
96310002.thi | 96310002.thm | 0 | 441.5 | 0 | 0 | -441.5 | 34.8214 | 0 | 0 | -34.8214 | 0.406 | 0 | 0 | -0.406
96310005.thi | 96310005.thm | 1 | 100 | 99.8 | 0 | -0.2 | 32.5026 | 32.5299 | 0 | 0.027298 | -1.6379 | -1.6357 | 0 | 0.0022
96310005.thi | 96310005.thm | 1 | 150 | 149.8 | 0 | -0.2 | 32.768 | 32.7879 | 0 | 0.019897 | -1.6708 | -1.6633 | 0 | 0.0074999
96310005.thi | 96310005.thm | 1 | 199.9 | 200.1 | 0 | 0.20001 | 33.208 | 33.2289 | 0 | 0.020901 | -1.5193 | -1.52 | 0 | -0.0007
96310005.thi | 96310005.thm | 1 | 250 | 250.1 | 0 | 0.10001 | 34.4474 | 34.4845 | 0 | 0.037102 | -0.4821 | -0.4865 | 0 | -0.0044
96310005.thi | 96310005.thm | 1 | 300 | 300.2 | 0 | 0.20001 | 34.6644 | 34.7031 | 0 | 0.0387 | 0.0617 | 0.0435 | 0 | -0.0182
96310005.thi | 96310005.thm | 1 | 349.9 | 349.7 | 0 | -0.19998 | 34.7371 | 34.7812 | 0 | 0.044102 | 0.3038 | 0.2878 | 0 | -0.016
96310005.thi | 96310005.thm | 1 | 400.1 | 399.9 | 0 | -0.20001 | 34.7803 | 34.8263 | 0 | 0.046001 | 0.4064 | 0.3963 | 0 | -0.0101
96310005.thi | 96310005.thm | 1 | 450 | 450.1 | 0 | 0.10001 | 34.8051 | 34.85 | 0 | 0.044899 | 0.4391 | 0.4282 | 0 | -0.0109
96310005.thi | 96310005.thm | 1 | 500.1 | 500 | 0 | -0.10001 | 34.8198 | 34.8639 | 0 | 0.044098 | 0.4431 | 0.4337 | 0 | -0.0094
96310005.thi | 96310005.thm | 1 | 550 | 550 | 0 | 0 | 34.8342 | 34.877 | 0 | 0.042797 | 0.4249 | 0.4165 | 0 | -0.0084
96310005.thi | 96310005.thm | 1 | 600.1 | 599.9 | 0 | -0.19995 | 34.8428 | 34.8877 | 0 | 0.044899 | 0.4015 | 0.3927 | 0 | -0.0088
96310005.thi | 96310005.thm | 1 | 649.9 | 650.1 | 0 | 0.19995 | 34.8516 | 34.8962 | 0 | 0.044598 | 0.3701 | 0.3619 | 0 | -0.0082
96310005.thi | 96310005.thm | 1 | 700 | 699.9 | 0 | -0.099976 | 34.8588 | 34.9011 | 0 | 0.042301 | 0.3287 | 0.3264 | 0 | -0.0023
96310005.thi | 96310005.thm | 0 | 712.8 | 0 | 0 | -712.8 | 34.859 | 0 | 0 | -34.859 | 0.3207 | 0 | 0 | -0.3207
96310006.thi | 96310006.thm | 1 | 100.1 | 99.9 | 0 | -0.2 | 32.4979 | 32.547 | 0 | 0.049103 | -1.6184 | -1.6176 | 0 | 0.00080001
96310006.thi | 96310006.thm | 1 | 150 | 150.2 | 0 | 0.2 | 32.8394 | 32.8801 | 0 | 0.040699 | -1.6728 | -1.6641 | 0 | 0.0086999
96310006.thi | 96310006.thm | 1 | 200.1 | 199.8 | 0 | -0.3 | 33.5494 | 33.6316 | 0 | 0.082199 | -1.2495 | -1.213 | 0 | 0.0365
96310006.thi | 96310006.thm | 1 | 250 | 250.1 | 0 | 0.10001 | 34.4707 | 34.5133 | 0 | 0.042603 | -0.4585 | -0.4522 | 0 | 0.0063
96310006.thi | 96310006.thm | 1 | 300.1 | 299.9 | 0 | -0.20001 | 34.6545 | 34.6946 | 0 | 0.0401 | -0.0002 | -0.0014 | 0 | -0.0012
96310006.thi | 96310006.thm | 1 | 350 | 350.1 | 0 | 0.10001 | 34.7403 | 34.7813 | 0 | 0.041 | 0.2723 | 0.2659 | 0 | -0.0064
96310006.thi | 96310006.thm | 1 | 400.1 | 400.1 | 0 | 0 | 34.7806 | 34.8219 | 0 | 0.041298 | 0.391 | 0.3814 | 0 | -0.0096
96310006.thi | 96310006.thm | 1 | 449.9 | 450 | 0 | 0.10001 | 34.8039 | 34.8467 | 0 | 0.042797 | 0.4286 | 0.4188 | 0 | -0.0098
96310006.thi | 96310006.thm | 1 | 500 | 500 | 0 | 0 | 34.8204 | 34.8634 | 0 | 0.042999 | 0.434 | 0.4243 | 0 | -0.0097
96310006.thi | 96310006.thm | 1 | 549.9 | 549.8 | 0 | -0.10004 | 34.8347 | 34.8771 | 0 | 0.0424 | 0.421 | 0.4115 | 0 | -0.0095
96310006.thi | 96310006.thm | 1 | 600.1 | 600 | 0 | -0.099976 | 34.8441 | 34.8871 | 0 | 0.042999 | 0.3995 | 0.3904 | 0 | -0.0091
96310006.thi | 96310006.thm | 1 | 649.9 | 650.1 | 0 | 0.19995 | 34.8527 | 34.8948 | 0 | 0.042099 | 0.3801 | 0.3714 | 0 | -0.0087
96310006.thi | 96310006.thm | 1 | 699.9 | 700.2 | 0 | 0.29999 | 34.8587 | 34.9026 | 0 | 0.0439 | 0.3416 | 0.3328 | 0 | -0.0088
96310006.thi | 96310006.thm | 1 | 750 | 750.2 | 0 | 0.20001 | 34.8639 | 34.9062 | 0 | 0.042301 | 0.2883 | 0.28 | 0 | -0.0083
96310006.thi | 96310006.thm | 1 | 800 | 800.2 | 0 | 0.20001 | 34.8693 | 34.9106 | 0 | 0.041298 | 0.2378 | 0.2321 | 0 | -0.0057
96310006.thi | 96310006.thm | 1 | 849.9 | 850.1 | 0 | 0.19995 | 34.8718 | 34.9153 | 0 | 0.043499 | 0.1794 | 0.172 | 0 | -0.0074
96310006.thi | 96310006.thm | 1 | 900.1 | 900.1 | 0 | 0 | 34.8759 | 34.9188 | 0 | 0.0429 | 0.1295 | 0.1229 | 0 | -0.0066
96310006.thi | 96310006.thm | 1 | 949.9 | 950.2 | 0 | 0.29999 | 34.8802 | 34.9231 | 0 | 0.0429 | 0.0752 | 0.0683 | 0 | -0.0069
96310006.thi | 96310006.thm | 1 | 999.9 | 1000.2 | 0 | 0.29999 | 34.8827 | 34.9256 | 0 | 0.042896 | 0.0307 | 0.0242 | 0 | -0.0065
96310006.thi | 96310006.thm | 1 | 1050.1 | 1050 | 0 | -0.099976 | 34.8864 | 34.9301 | 0 | 0.043701 | -0.0163 | -0.0231 | 0 | -0.0068
96310006.thi | 96310006.thm | 1 | 1100.1 | 1099.8 | 0 | -0.29993 | 34.8892 | 34.9396 | 0 | 0.050404 | -0.0583 | -0.0663 | 0 | -0.008
96310006.thi | 96310006.thm | 1 | 1150.1 | 1149.7 | 0 | -0.40002 | 34.8926 | 34.9459 | 0 | 0.053299 | -0.0962 | -0.1062 | 0 | -0.01
96310006.thi | 96310006.thm | 1 | 1199.9 | 1200.1 | 0 | 0.19995 | 34.896 | 34.9461 | 0 | 0.050098 | -0.1302 | -0.1366 | 0 | -0.0064
96310006.thi | 96310006.thm | 1 | 1249.9 | 1249.7 | 0 | -0.20007 | 34.9001 | 34.9512 | 0 | 0.051098 | -0.1775 | -0.1818 | 0 | -0.0043
96310006.thi | 96310006.thm | 1 | 1299.9 | 1299.9 | 0 | 0 | 34.9026 | 34.9539 | 0 | 0.0513 | -0.2066 | -0.2121 | 0 | -0.0055
96310006.thi | 96310006.thm | 1 | 1350.1 | 1349.8 | 0 | -0.29993 | 34.9064 | 34.9588 | 0 | 0.052402 | -0.2399 | -0.2455 | 0 | -0.0056
96310006.thi | 96310006.thm | 1 | 1399.9 | 1399.8 | 0 | -0.099976 | 34.9099 | 34.9611 | 0 | 0.051201 | -0.267 | -0.2705 | 0 | -0.0035
96310006.thi | 96310006.thm | 1 | 1450 | 1449.8 | 0 | -0.19995 | 34.913 | 34.9653 | 0 | 0.052303 | -0.2929 | -0.297 | 0 | -0.0041
96310006.thi | 96310006.thm | 1 | 1500 | 1499.8 | 0 | -0.19995 | 34.9161 | 34.9702 | 0 | 0.0541 | -0.3143 | -0.3191 | 0 | -0.0048
96310006.thi | 96310006.thm | 1 | 1549.9 | 1550 | 0 | 0.099976 | 34.9201 | 34.9733 | 0 | 0.0532 | -0.3329 | -0.3365 | 0 | -0.0036
96310006.thi | 96310006.thm | 1 | 1599.9 | 1599.8 | 0 | -0.099976 | 34.922 | 34.9779 | 0 | 0.055901 | -0.3508 | -0.3564 | 0 | -0.0056
96310006.thi | 96310006.thm | 1 | 1650 | 1650.1 | 0 | 0.099976 | 34.9262 | 34.9805 | 0 | 0.054298 | -0.3663 | -0.3705 | 0 | -0.0042
96310006.thi | 96310006.thm | 1 | 1700 | 1700 | 0 | 0 | 34.9302 | 34.9854 | 0 | 0.055203 | -0.3804 | -0.3847 | 0 | -0.0043
96310006.thi | 96310006.thm | 1 | 1748.1 | 1748.4 | 0 | 0.30005 | 34.935 | 34.9906 | 0 | 0.055599 | -0.3978 | -0.4015 | 0 | -0.0037
96310007.thi | 96310007.thm | 1 | 100 | 99.8 | 0 | -0.2 | 32.5743 | 32.602 | 0 | 0.027702 | -1.6488 | -1.644 | 0 | 0.0048
96310007.thi | 96310007.thm | 1 | 149.9 | 150.3 | 0 | 0.40001 | 32.7982 | 32.828 | 0 | 0.0298 | -1.6618 | -1.6565 | 0 | 0.0053
96310007.thi | 96310007.thm | 1 | 200 | 200 | 0 | 0 | 33.1434 | 33.1705 | 0 | 0.027103 | -1.5545 | -1.5485 | 0 | 0.006
96310007.thi | 96310007.thm | 1 | 249.9 | 249.8 | 0 | -0.099991 | 34.5015 | 34.5355 | 0 | 0.034 | -0.3712 | -0.3801 | 0 | -0.0089
96310007.thi | 96310007.thm | 1 | 299.9 | 299.9 | 0 | 0 | 34.689 | 34.7309 | 0 | 0.041901 | 0.1301 | 0.1195 | 0 | -0.0106
96310007.thi | 96310007.thm | 1 | 349.9 | 350.3 | 0 | 0.39999 | 34.757 | 34.8039 | 0 | 0.046902 | 0.3426 | 0.3312 | 0 | -0.0114
96310007.thi | 96310007.thm | 1 | 399.9 | 400 | 0 | 0.10001 | 34.7891 | 34.8352 | 0 | 0.046101 | 0.4164 | 0.405 | 0 | -0.0114
96310007.thi | 96310007.thm | 1 | 449.9 | 450.1 | 0 | 0.20001 | 34.806 | 34.857 | 0 | 0.050999 | 0.4395 | 0.4285 | 0 | -0.011
96310007.thi | 96310007.thm | 1 | 500 | 500 | 0 | 0 | 34.8233 | 34.8685 | 0 | 0.0452 | 0.4315 | 0.4214 | 0 | -0.0101
96310007.thi | 96310007.thm | 0 | 523.1 | 0 | 0 | -523.1 | 34.8282 | 0 | 0 | -34.8282 | 0.4274 | 0 | 0 | -0.4274
96310016.thi | 96310016.thm | 1 | 100.1 | 100 | 0 | -0.099999 | 32.6213 | 32.6528 | 0 | 0.031502 | -1.6098 | -1.6061 | 0 | 0.0037
96310016.thi | 96310016.thm | 1 | 150 | 149.7 | 0 | -0.3 | 32.9686 | 33.0084 | 0 | 0.039799 | -1.6083 | -1.5979 | 0 | 0.0104
96310016.thi | 96310016.thm | 1 | 200 | 199.7 | 0 | -0.3 | 33.9866 | 33.9835 | 0 | -0.0030975 | -0.9218 | -0.9396 | 0 | -0.0178
96310016.thi | 96310016.thm | 1 | 249.9 | 250.2 | 0 | 0.3 | 34.5657 | 34.6125 | 0 | 0.046799 | -0.2392 | -0.2464 | 0 | -0.0072
96310016.thi | 96310016.thm | 1 | 300 | 300 | 0 | 0 | 34.7274 | 34.775 | 0 | 0.0476 | 0.2558 | 0.2449 | 0 | -0.0109
96310016.thi | 96310016.thm | 1 | 349.9 | 350.2 | 0 | 0.30002 | 34.7819 | 34.8384 | 0 | 0.056503 | 0.3949 | 0.383 | 0 | -0.0119
96310016.thi | 96310016.thm | 1 | 400.1 | 399.7 | 0 | -0.39999 | 34.8065 | 34.8666 | 0 | 0.060101 | 0.4251 | 0.4139 | 0 | -0.0112
96310016.thi | 96310016.thm | 1 | 439.3 | 439.2 | 0 | -0.099976 | 34.8232 | 34.8817 | 0 | 0.058498 | 0.4226 | 0.4148 | 0 | -0.0078
96310017.thi | 96310017.thm | 1 | 99.9 | 100 | 0 | 0.099999 | 32.6002 | 32.6518 | 0 | 0.051598 | -1.6206 | -1.5919 | 0 | 0.0287
96310017.thi | 96310017.thm | 1 | 150 | 149.7 | 0 | -0.3 | 33.0865 | 33.1246 | 0 | 0.038101 | -1.5253 | -1.5277 | 0 | -0.0023999
96310017.thi | 96310017.thm | 1 | 200.1 | 200.2 | 0 | 0.099991 | 34.1948 | 34.2771 | 0 | 0.082298 | -0.762 | -0.7356 | 0 | 0.0264
96310017.thi | 96310017.thm | 1 | 249.9 | 249.9 | 0 | 0 | 34.5929 | 34.6398 | 0 | 0.046902 | -0.1926 | -0.1917 | 0 | 0.0009
96310017.thi | 96310017.thm | 1 | 300 | 299.9 | 0 | -0.10001 | 34.7047 | 34.7488 | 0 | 0.044098 | 0.1548 | 0.1442 | 0 | -0.0106
96310017.thi | 96310017.thm | 1 | 350 | 350.1 | 0 | 0.10001 | 34.7647 | 34.8087 | 0 | 0.043999 | 0.3578 | 0.347 | 0 | -0.0108
96310017.thi | 96310017.thm | 1 | 400 | 400 | 0 | 0 | 34.7935 | 34.8399 | 0 | 0.046402 | 0.4194 | 0.4082 | 0 | -0.0112
96310017.thi | 96310017.thm | 1 | 450 | 450.2 | 0 | 0.20001 | 34.8146 | 34.863 | 0 | 0.048397 | 0.4366 | 0.4272 | 0 | -0.0094
96310017.thi | 96310017.thm | 1 | 499.9 | 499.8 | 0 | -0.10001 | 34.8298 | 34.8746 | 0 | 0.0448 | 0.428 | 0.4184 | 0 | -0.0096
96310017.thi | 96310017.thm | 1 | 550 | 550.2 | 0 | 0.20001 | 34.8442 | 34.8882 | 0 | 0.043999 | 0.3951 | 0.3867 | 0 | -0.0084
96310017.thi | 96310017.thm | 1 | 600 | 600.2 | 0 | 0.20001 | 34.8534 | 34.8969 | 0 | 0.043499 | 0.3611 | 0.3516 | 0 | -0.0095
96310017.thi | 96310017.thm | 1 | 627.9 | 628.6 | 0 | 0.69995 | 34.8552 | 34.9014 | 0 | 0.0462 | 0.349 | 0.3401 | 0 | -0.0089
96310023.thi | 96310023.thm | 1 | 99.9 | 100.2 | 0 | 0.3 | 32.6574 | 32.7089 | 0 | 0.051502 | -1.626 | -1.6368 | 0 | -0.0108
96310023.thi | 96310023.thm | 1 | 150 | 150 | 0 | 0 | 33.1528 | 33.2398 | 0 | 0.086998 | -1.5553 | -1.5148 | 0 | 0.0405
96310023.thi | 96310023.thm | 1 | 200 | 200 | 0 | 0 | 34.5534 | 34.6138 | 0 | 0.060402 | -0.2205 | -0.2185 | 0 | 0.002
96310023.thi | 96310023.thm | 0 | 215.8 | 0 | 0 | -215.8 | 34.6399 | 0 | 0 | -34.6399 | -0.0267 | 0 | 0 | 0.0267
96310044.thi | 96310044.thm | 1 | 99.9 | 99.7 | 0 | -0.2 | 33.3091 | 33.3501 | 0 | 0.041 | -1.4216 | -1.434 | 0 | -0.0124
96310044.thi | 96310044.thm | 1 | 149.9 | 150 | 0 | 0.10001 | 34.5456 | 34.6013 | 0 | 0.055698 | -0.2496 | -0.2623 | 0 | -0.0127
96310044.thi | 96310044.thm | 1 | 200 | 199.9 | 0 | -0.10001 | 34.757 | 34.8056 | 0 | 0.048599 | 0.3226 | 0.3132 | 0 | -0.0094
96310044.thi | 96310044.thm | 1 | 203.3 | 203.7 | 0 | 0.39999 | 34.7562 | 34.8046 | 0 | 0.048401 | 0.3216 | 0.3139 | 0 | -0.0077
Create Fit Sheet