## File List
Number of Files= |  | 9
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 96310001.thi | 96310001.th2 | 12 | 27 | 96310001.thi & 96310001.th2
2 | 96310002.thi | 96310002.th2 | 29 | 36 | 96310002.thi & 96310002.th2
3 | 96310005.thi | 96310005.th2 | 38 | 51 | 96310005.thi & 96310005.th2
4 | 96310006.thi | 96310006.th2 | 53 | 86 | 96310006.thi & 96310006.th2
5 | 96310007.thi | 96310007.th2 | 88 | 97 | 96310007.thi & 96310007.th2
6 | 96310016.thi | 96310016.th2 | 99 | 106 | 96310016.thi & 96310016.th2
7 | 96310017.thi | 96310017.th2 | 108 | 119 | 96310017.thi & 96310017.th2
8 | 96310023.thi | 96310023.th2 | 121 | 124 | 96310023.thi & 96310023.th2
9 | 96310044.thi | 96310044.th2 | 126 | 129 | 96310044.thi & 96310044.th2

## (Temp-MCTD - Temp-ICTD)
Calculation of Linear Least Squares Fit For
(Temp-MCTD - Temp-ICTD)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Temp-MCTD - Temp-ICTD), Prop=Temp-MCTD
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 8.4893e-06 |  | X | CALC Y
m= | 3.4742e-05 | 0.0012107 |  | Std Dev of Resid |  | 0.0082409 |  | -1.6716 | -7.2989e-05
b= | -1.4915e-05 | 0.00084848 |  | Resid Sum of Squares |  | 0.0065874 |  | 0.4442 | 5.1726e-07
# of Values Extracted = |  |  | 110
# of Values Used in Fit = |  |  | 99
File | Use | P-MCTD | Temp-MCTD | Temp-MCTD | Diff (Temp-MCTD - Temp-ICTD) |  |  |  | Fit vs. | Temp-MCTD
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 100.2 | -1.5749 | 0 | -0.0309 | -6.963e-05 | 0.03083 |  | -1.5749 | -0.0309
1 | YES | 150.2 | -1.5922 | 0 | -0.00050008 | -7.0231e-05 | 0.00042985 |  | -1.5922 | -0.00050008
1 | YES | 200.1 | -1.013 | 0 | -0.0201 | -5.0109e-05 | 0.02005 |  | -1.013 | -0.0201
1 | YES | 249.9 | -0.3646 | 0 | -0.0117 | -2.7582e-05 | 0.011672 |  | -0.3646 | -0.0117
1 | YES | 299.8 | 0.08 | 0 | -0.0072 | -1.2136e-05 | 0.0071879 |  | 0.08 | -0.0072
1 | YES | 349.9 | 0.2903 | 0 | -0.0048 | -4.8295e-06 | 0.0047952 |  | 0.2903 | -0.0048
1 | YES | 399.8 | 0.3914 | 0 | -0.00059998 | -1.3171e-06 | 0.00059866 |  | 0.3914 | -0.00059998
1 | YES | 450.1 | 0.4144 | 0 | 0.00040001 | -5.1805e-07 | -0.00040053 |  | 0.4144 | 0.00040001
1 | YES | 499.8 | 0.4172 | 0 | 0.0012 | -4.2077e-07 | -0.0012004 |  | 0.4172 | 0.0012
1 | YES | 550 | 0.4008 | 0 | 0.0012 | -9.9053e-07 | -0.001201 |  | 0.4008 | 0.0012
1 | YES | 600.1 | 0.383 | 0 | 0.0013 | -1.6089e-06 | -0.0013016 |  | 0.383 | 0.0013
1 | YES | 650.1 | 0.3544 | 0 | 0.00080001 | -2.6026e-06 | -0.00080262 |  | 0.3544 | 0.00080001
1 | YES | 699.8 | 0.3198 | 0 | 0.0011 | -3.8046e-06 | -0.0011038 |  | 0.3198 | 0.0011
1 | YES | 750.1 | 0.275 | 0 | 0.0007 | -5.3611e-06 | -0.00070536 |  | 0.275 | 0.0007
1 | YES | 799.8 | 0.2413 | 0 | -0.00049999 | -6.5319e-06 | 0.00049346 |  | 0.2413 | -0.00049999
1 | NO | 0 | 0 | 0 | -0.1494 | -1.4915e-05 | 0.14939 |  | -1.5066 | 0.0019
2 | NO | 99.7 | -1.6174 | 0 | -0.0024 | -7.1106e-05 | 0.0023289 |  | -0.7168 | 0.0055
2 | YES | 150 | -1.5066 | 0 | 0.0019 | -6.7257e-05 | -0.0019672 |  | -0.1122 | -0.0056
2 | YES | 199.7 | -0.7168 | 0 | 0.0055 | -3.9818e-05 | -0.0055398 |  | 0.2267 | -0.0018
2 | YES | 249.8 | -0.1122 | 0 | -0.0056 | -1.8813e-05 | 0.0055812 |  | 0.3613 | 0.00079998
2 | YES | 300.2 | 0.2267 | 0 | -0.0018 | -7.0391e-06 | 0.001793 |  | -1.6708 | 0
2 | YES | 349.7 | 0.3613 | 0 | 0.00079998 | -2.3628e-06 | -0.00080235 |  | -1.5263 | -0.007
2 | NO | 0 | 0 | 0 | -0.4145 | -1.4915e-05 | 0.41449 |  | -0.4839 | -0.0018
2 | NO | 0 | 0 | 0 | -0.406 | -1.4915e-05 | 0.40599 |  | 0.0507 | -0.011
3 | NO | 99.8 | -1.643 | 0 | -0.0051 | -7.1996e-05 | 0.005028 |  | 0.2971 | -0.0067
3 | YES | 149.8 | -1.6708 | 0 | 0 | -7.2962e-05 | -7.2962e-05 |  | 0.4065 | 0.00010002
3 | YES | 200.1 | -1.5263 | 0 | -0.007 | -6.7942e-05 | 0.006932 |  | 0.4387 | -0.00040001
3 | YES | 250.1 | -0.4839 | 0 | -0.0018 | -3.1727e-05 | 0.0017683 |  | 0.4442 | 0.0011
3 | YES | 300.2 | 0.0507 | 0 | -0.011 | -1.3154e-05 | 0.010987 |  | 0.4269 | 0.002
3 | YES | 349.7 | 0.2971 | 0 | -0.0067 | -4.5933e-06 | 0.0066954 |  | 0.4029 | 0.0014
3 | YES | 399.9 | 0.4065 | 0 | 0.00010002 | -7.9251e-07 | -0.00010081 |  | 0.3718 | 0.0017
3 | YES | 450.1 | 0.4387 | 0 | -0.00040001 | 3.2618e-07 | 0.00040033 |  | 0.336 | 0.0073
3 | YES | 500 | 0.4442 | 0 | 0.0011 | 5.1726e-07 | -0.0010995 |  | -1.6716 | 0.0012
3 | YES | 550 | 0.4269 | 0 | 0.002 | -8.3772e-08 | -0.0020001 |  | -1.2166 | 0.0329
3 | YES | 599.9 | 0.4029 | 0 | 0.0014 | -9.1758e-07 | -0.0014009 |  | -0.4493 | 0.0092
3 | YES | 650.1 | 0.3718 | 0 | 0.0017 | -1.998e-06 | -0.001702 |  | 0.0054 | 0.0056
3 | YES | 699.9 | 0.336 | 0 | 0.0073 | -3.2418e-06 | -0.0073032 |  | 0.275 | 0.0027
3 | NO | 0 | 0 | 0 | -0.3207 | -1.4915e-05 | 0.32069 |  | 0.3915 | 0.00049999
4 | NO | 99.9 | -1.6247 | 0 | -0.0063 | -7.136e-05 | 0.0062286 |  | 0.4292 | 0.00059998
4 | YES | 150.2 | -1.6716 | 0 | 0.0012 | -7.2989e-05 | -0.0012729 |  | 0.4347 | 0.00070003
4 | YES | 199.8 | -1.2166 | 0 | 0.0329 | -5.7182e-05 | -0.032957 |  | 0.4218 | 0.00079998
4 | YES | 250.1 | -0.4493 | 0 | 0.0092 | -3.0525e-05 | -0.0092305 |  | 0.4006 | 0.0011
4 | YES | 299.9 | 0.0054 | 0 | 0.0056 | -1.4727e-05 | -0.0056147 |  | 0.3814 | 0.0013
4 | YES | 350.1 | 0.275 | 0 | 0.0027 | -5.3611e-06 | -0.0027054 |  | 0.3425 | 0.0009
4 | YES | 400.1 | 0.3915 | 0 | 0.00049999 | -1.3136e-06 | -0.00050131 |  | 0.2892 | 0.0009
4 | YES | 450 | 0.4292 | 0 | 0.00059998 | -3.8661e-09 | -0.00059998 |  | 0.2409 | 0.0031
4 | YES | 500 | 0.4347 | 0 | 0.00070003 | 1.8721e-07 | -0.00069984 |  | 0.1803 | 0.0009
4 | YES | 549.8 | 0.4218 | 0 | 0.00079998 | -2.6096e-07 | -0.00080024 |  | 0.1308 | 0.0013
4 | YES | 600 | 0.4006 | 0 | 0.0011 | -9.9748e-07 | -0.001101 |  | 0.0757 | 0.0005
4 | YES | 650.1 | 0.3814 | 0 | 0.0013 | -1.6645e-06 | -0.0013016 |  | 0.0312 | 0.0005
4 | YES | 700.2 | 0.3425 | 0 | 0.0009 | -3.016e-06 | -0.00090302 |  | -0.0165 | -0.0002
4 | YES | 750.2 | 0.2892 | 0 | 0.0009 | -4.8677e-06 | -0.00090487 |  | -0.0601 | -0.0018
4 | YES | 800.2 | 0.2409 | 0 | 0.0031 | -6.5458e-06 | -0.0031065 |  | -0.1003 | -0.0041
4 | YES | 850.1 | 0.1803 | 0 | 0.0009 | -8.6511e-06 | -0.00090865 |  | -0.131 | -0.0008
4 | YES | 900.1 | 0.1308 | 0 | 0.0013 | -1.0371e-05 | -0.0013104 |  | -0.1766 | 0.0009
4 | YES | 950.2 | 0.0757 | 0 | 0.0005 | -1.2285e-05 | -0.00051229 |  | -0.2071 | -0.00050001
4 | YES | 1000.2 | 0.0312 | 0 | 0.0005 | -1.3831e-05 | -0.00051383 |  | -0.2408 | -0.0009
4 | YES | 1050 | -0.0165 | 0 | -0.0002 | -1.5488e-05 | 0.00018451 |  | -0.266 | 0.00099999
4 | YES | 1099.8 | -0.0601 | 0 | -0.0018 | -1.7003e-05 | 0.001783 |  | -0.2928 | 9.9987e-05
4 | YES | 1149.7 | -0.1003 | 0 | -0.0041 | -1.84e-05 | 0.0040816 |  | -0.315 | -0.0007
4 | YES | 1200.1 | -0.131 | 0 | -0.0008 | -1.9466e-05 | 0.00078053 |  | -0.3326 | 0.00029999
4 | YES | 1249.7 | -0.1766 | 0 | 0.0009 | -2.105e-05 | -0.00092105 |  | -0.3527 | -0.0019
4 | YES | 1299.9 | -0.2071 | 0 | -0.00050001 | -2.211e-05 | 0.0004779 |  | -0.3669 | -0.00060001
4 | YES | 1349.8 | -0.2408 | 0 | -0.0009 | -2.3281e-05 | 0.00087672 |  | -0.3812 | -0.00079998
4 | YES | 1399.8 | -0.266 | 0 | 0.00099999 | -2.4156e-05 | -0.0010241 |  | -0.3982 | -0.00040001
4 | YES | 1449.8 | -0.2928 | 0 | 9.9987e-05 | -2.5087e-05 | -0.00012507 |  | -1.6639 | -0.0021
4 | YES | 1499.8 | -0.315 | 0 | -0.0007 | -2.5859e-05 | 0.00067414 |  | -1.555 | -0.00049996
4 | YES | 1550 | -0.3326 | 0 | 0.00029999 | -2.647e-05 | -0.00032646 |  | -0.3766 | -0.0054
4 | YES | 1599.8 | -0.3527 | 0 | -0.0019 | -2.7168e-05 | 0.0018728 |  | 0.1273 | -0.0028
4 | YES | 1650.1 | -0.3669 | 0 | -0.00060001 | -2.7662e-05 | 0.00057235 |  | 0.3408 | -0.0018
4 | YES | 1700 | -0.3812 | 0 | -0.00079998 | -2.8159e-05 | 0.00077183 |  | 0.4153 | -0.0011
4 | YES | 1748.4 | -0.3982 | 0 | -0.00040001 | -2.8749e-05 | 0.00037126 |  | 0.439 | -0.00049999
5 | NO | 99.8 | -1.6513 | 0 | -0.0024999 | -7.2284e-05 | 0.0024277 |  | 0.4318 | 0.00030002
5 | YES | 150.3 | -1.6639 | 0 | -0.0021 | -7.2722e-05 | 0.0020273 |  | -1.6131 | -0.0033001
5 | YES | 200 | -1.555 | 0 | -0.00049996 | -6.8939e-05 | 0.00043103 |  | -1.6048 | 0.0035
5 | YES | 249.8 | -0.3766 | 0 | -0.0054 | -2.7999e-05 | 0.005372 |  | -0.9409 | -0.0191
5 | YES | 299.9 | 0.1273 | 0 | -0.0028 | -1.0492e-05 | 0.0027895 |  | -0.2417 | -0.0025
5 | YES | 350.3 | 0.3408 | 0 | -0.0018 | -3.075e-06 | 0.0017969 |  | 0.2538 | -0.002
5 | YES | 400 | 0.4153 | 0 | -0.0011 | -4.8678e-07 | 0.0010995 |  | 0.3931 | -0.0018
5 | YES | 450.1 | 0.439 | 0 | -0.00049999 | 3.366e-07 | 0.00050033 |  | 0.4243 | -0.00080001
5 | YES | 500 | 0.4318 | 0 | 0.00030002 | 8.6463e-08 | -0.00029993 |  | 0.4252 | 0.0026
5 | NO | 0 | 0 | 0 | -0.4274 | -1.4915e-05 | 0.42739 |  | -1.5988 | 0.0218
6 | YES | 100 | -1.6131 | 0 | -0.0033001 | -7.0957e-05 | 0.0032291 |  | -1.534 | -0.0087
6 | YES | 149.7 | -1.6048 | 0 | 0.0035 | -7.0669e-05 | -0.0035706 |  | -0.7351 | 0.0269
6 | YES | 199.7 | -0.9409 | 0 | -0.0191 | -4.7604e-05 | 0.019052 |  | -0.1865 | 0.0061
6 | YES | 250.2 | -0.2417 | 0 | -0.0025 | -2.3312e-05 | 0.0024767 |  | 0.1522 | -0.0026
6 | YES | 300 | 0.2538 | 0 | -0.002 | -6.0976e-06 | 0.0019939 |  | 0.3568 | -0.001
6 | YES | 350.2 | 0.3931 | 0 | -0.0018 | -1.258e-06 | 0.0017987 |  | 0.4185 | -0.0009
6 | YES | 399.7 | 0.4243 | 0 | -0.00080001 | -1.741e-07 | 0.00079984 |  | 0.4377 | 0.0011
6 | YES | 439.2 | 0.4252 | 0 | 0.0026 | -1.4283e-07 | -0.0026001 |  | 0.4288 | 0.00079998
7 | YES | 100 | -1.5988 | 0 | 0.0218 | -7.046e-05 | -0.02187 |  | 0.3968 | 0.0017
7 | YES | 149.7 | -1.534 | 0 | -0.0087 | -6.8209e-05 | 0.0086318 |  | 0.3614 | 0.00030002
7 | YES | 200.2 | -0.7351 | 0 | 0.0269 | -4.0454e-05 | -0.026941 |  | 0.3498 | 0.00079998
7 | YES | 249.9 | -0.1865 | 0 | 0.0061 | -2.1394e-05 | -0.0061214 |  | -1.6441 | -0.0181
7 | YES | 299.9 | 0.1522 | 0 | -0.0026 | -9.6274e-06 | 0.0025904 |  | -1.521 | 0.0343
7 | YES | 350.1 | 0.3568 | 0 | -0.001 | -2.5192e-06 | 0.0009975 |  | -0.2136 | 0.0069
7 | YES | 400 | 0.4185 | 0 | -0.0009 | -3.756e-07 | 0.00089962 |  | -0.2578 | -0.0082
7 | YES | 450.2 | 0.4377 | 0 | 0.0011 | 2.9144e-07 | -0.0010997 |  | 0.3227 | 9.9987e-05
7 | YES | 499.8 | 0.4288 | 0 | 0.00079998 | -1.7763e-08 | -0.0008 |  | 0.3234 | 0.0018
7 | YES | 550.2 | 0.3968 | 0 | 0.0017 | -1.1295e-06 | -0.0017011
7 | YES | 600.2 | 0.3614 | 0 | 0.00030002 | -2.3594e-06 | -0.00030238
7 | YES | 628.6 | 0.3498 | 0 | 0.00079998 | -2.7624e-06 | -0.00080275
8 | YES | 100.2 | -1.6441 | 0 | -0.0181 | -7.2034e-05 | 0.018028
8 | YES | 150 | -1.521 | 0 | 0.0343 | -6.7757e-05 | -0.034368
8 | YES | 200 | -0.2136 | 0 | 0.0069 | -2.2336e-05 | -0.0069223
8 | NO | 0 | 0 | 0 | 0.0267 | -1.4915e-05 | -0.026715
9 | NO | 99.7 | -1.4395 | 0 | -0.0179 | -6.4926e-05 | 0.017835
9 | YES | 150 | -0.2578 | 0 | -0.0082 | -2.3871e-05 | 0.0081761
9 | YES | 199.9 | 0.3227 | 0 | 9.9987e-05 | -3.7039e-06 | -0.00010369
9 | YES | 203.7 | 0.3234 | 0 | 0.0018 | -3.6796e-06 | -0.0018037
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
YES
YES
YES
YES
YES
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
YES
YES
YES
FIT vs. P-MCTD
FIT vs. Temp-MCTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal-MCTD - Sal-ICTD)
Calculation of Linear Least Squares Fit For
(Sal-MCTD - Sal-ICTD)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal-MCTD - Sal-ICTD), Prop=P-MCTD
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.0048033 |  | X | CALC Y
m= | -9.9457e-07 | 1.749e-06 |  | Std Dev of Resid |  | 0.0034041 |  | 100 | 0.034115
b= | 0.034215 | 0.00091971 |  | Resid Sum of Squares |  | 0.0007764 |  | 1099.8 | 0.033121
# of Values Extracted = |  |  | 110
# of Values Used in Fit = |  |  | 69
File | Use | P-MCTD | Sal-MCTD | Sal-MCTD | Diff (Sal-MCTD - Sal-ICTD) |  |  |  | Fit vs. | P-MCTD
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 100.2 | 32.6168 | 0 | 0.0233 | 0.034115 | 0.010815 |  | 150.2 | 0.044701
1 | YES | 150.2 | 33.0232 | 0 | 0.044701 | 0.034065 | -0.010635 |  | 200.1 | 0.033901
1 | YES | 200.1 | 33.9504 | 0 | 0.033901 | 0.034016 | 0.0001143 |  | 249.9 | 0.029503
1 | YES | 249.9 | 34.5567 | 0 | 0.029503 | 0.033966 | 0.0044631 |  | 299.8 | 0.028702
1 | YES | 299.8 | 34.713 | 0 | 0.028702 | 0.033916 | 0.0052145 |  | 349.9 | 0.0303
1 | YES | 349.9 | 34.7768 | 0 | 0.0303 | 0.033867 | 0.0035664 |  | 399.8 | 0.0317
1 | YES | 399.8 | 34.8178 | 0 | 0.0317 | 0.033817 | 0.0021168 |  | 450.1 | 0.030998
1 | YES | 450.1 | 34.8354 | 0 | 0.030998 | 0.033767 | 0.0027687 |  | 499.8 | 0.0308
1 | YES | 499.8 | 34.8557 | 0 | 0.0308 | 0.033717 | 0.0029175 |  | 550 | 0.0317
1 | YES | 550 | 34.869 | 0 | 0.0317 | 0.033668 | 0.0019674 |  | 600.1 | 0.031899
1 | YES | 600.1 | 34.8787 | 0 | 0.031899 | 0.033618 | 0.0017192 |  | 650.1 | 0.031799
1 | YES | 650.1 | 34.8847 | 0 | 0.031799 | 0.033568 | 0.0017686 |  | 699.8 | 0.031899
1 | YES | 699.8 | 34.8901 | 0 | 0.031899 | 0.033519 | 0.00162 |  | 750.1 | 0.032997
1 | YES | 750.1 | 34.8952 | 0 | 0.032997 | 0.033468 | 0.00047139 |  | 799.8 | 0.0331
1 | YES | 799.8 | 34.8992 | 0 | 0.0331 | 0.033419 | 0.00031896 |  | 249.8 | 0.033901
1 | NO | 0 | 0 | 0 | -34.8746 | 0.034215 | 34.9088 |  | 300.2 | 0.034901
2 | NO | 99.7 | 32.6227 | 0 | 0.0425 | 0.034115 | -0.0083841 |  | 349.7 | 0.0345
2 | NO | 150 | 33.1566 | 0 | 0.066002 | 0.034065 | -0.031937 |  | 149.8 | 0.028198
2 | NO | 199.7 | 34.2477 | 0 | 0.059299 | 0.034016 | -0.025284 |  | 200.1 | 0.027901
2 | YES | 249.8 | 34.6486 | 0 | 0.033901 | 0.033966 | 6.4874e-05 |  | 250.1 | 0.034203
2 | YES | 300.2 | 34.7563 | 0 | 0.034901 | 0.033916 | -0.00098475 |  | 300.2 | 0.030602
2 | YES | 349.7 | 34.8058 | 0 | 0.0345 | 0.033867 | -0.00063338 |  | 349.7 | 0.0336
2 | NO | 0 | 0 | 0 | -34.8042 | 0.034215 | 34.8384 |  | 399.9 | 0.0345
2 | NO | 0 | 0 | 0 | -34.8214 | 0.034215 | 34.8556 |  | 450.1 | 0.0331
3 | NO | 99.8 | 32.5378 | 0 | 0.035198 | 0.034115 | -0.0010829 |  | 500 | 0.0322
3 | YES | 149.8 | 32.7962 | 0 | 0.028198 | 0.034066 | 0.0058673 |  | 550 | 0.031097
3 | YES | 200.1 | 33.2359 | 0 | 0.027901 | 0.034016 | 0.0061148 |  | 599.9 | 0.033501
3 | YES | 250.1 | 34.4816 | 0 | 0.034203 | 0.033966 | -0.00023682 |  | 650.1 | 0.033398
3 | YES | 300.2 | 34.695 | 0 | 0.030602 | 0.033916 | 0.0033144 |  | 699.9 | 0.031502
3 | YES | 349.7 | 34.7707 | 0 | 0.0336 | 0.033867 | 0.00026682 |  | 250.1 | 0.0392
3 | YES | 399.9 | 34.8148 | 0 | 0.0345 | 0.033817 | -0.00068331 |  | 299.9 | 0.032402
3 | YES | 450.1 | 34.8382 | 0 | 0.0331 | 0.033767 | 0.00066676 |  | 350.1 | 0.030701
3 | YES | 500 | 34.852 | 0 | 0.0322 | 0.033717 | 0.0015173 |  | 400.1 | 0.029999
3 | YES | 550 | 34.8653 | 0 | 0.031097 | 0.033668 | 0.0025701 |  | 450 | 0.031097
3 | YES | 599.9 | 34.8763 | 0 | 0.033501 | 0.033618 | 0.00011717 |  | 500 | 0.0313
3 | YES | 650.1 | 34.885 | 0 | 0.033398 | 0.033568 | 0.00017025 |  | 549.8 | 0.030697
3 | YES | 699.9 | 34.8903 | 0 | 0.031502 | 0.033518 | 0.0020166 |  | 600 | 0.031498
3 | NO | 0 | 0 | 0 | -34.859 | 0.034215 | 34.8932 |  | 650.1 | 0.030899
4 | NO | 99.9 | 32.5547 | 0 | 0.056801 | 0.034115 | -0.022686 |  | 700.2 | 0.032902
4 | NO | 150.2 | 32.8885 | 0 | 0.049099 | 0.034065 | -0.015034 |  | 750.2 | 0.031902
4 | NO | 199.8 | 33.6358 | 0 | 0.086399 | 0.034016 | -0.052383 |  | 800.2 | 0.0313
4 | YES | 250.1 | 34.5099 | 0 | 0.0392 | 0.033966 | -0.005234 |  | 850.1 | 0.034199
4 | YES | 299.9 | 34.6869 | 0 | 0.032402 | 0.033916 | 0.0015142 |  | 900.1 | 0.0341
4 | YES | 350.1 | 34.771 | 0 | 0.030701 | 0.033866 | 0.0031656 |  | 950.2 | 0.034599
4 | YES | 400.1 | 34.8106 | 0 | 0.029999 | 0.033817 | 0.0038178 |  | 1000.2 | 0.035
4 | YES | 450 | 34.835 | 0 | 0.031097 | 0.033767 | 0.0026696 |  | 1050 | 0.036301
4 | YES | 500 | 34.8517 | 0 | 0.0313 | 0.033717 | 0.0024176 |  | 1099.8 | 0.043301
4 | YES | 549.8 | 34.8654 | 0 | 0.030697 | 0.033668 | 0.0029708 |  | 150.3 | 0.038101
4 | YES | 600 | 34.8756 | 0 | 0.031498 | 0.033618 | 0.0021198 |  | 200 | 0.034302
4 | YES | 650.1 | 34.8836 | 0 | 0.030899 | 0.033568 | 0.0026689 |  | 249.8 | 0.030003
4 | YES | 700.2 | 34.8916 | 0 | 0.032902 | 0.033518 | 0.00061632 |  | 299.9 | 0.0331
4 | YES | 750.2 | 34.8958 | 0 | 0.031902 | 0.033468 | 0.0015661 |  | 350.3 | 0.0359
4 | YES | 800.2 | 34.9006 | 0 | 0.0313 | 0.033419 | 0.0021191 |  | 400 | 0.034401
4 | YES | 850.1 | 34.906 | 0 | 0.034199 | 0.033369 | -0.00082977 |  | 450.1 | 0.0392
4 | YES | 900.1 | 34.91 | 0 | 0.0341 | 0.033319 | -0.0007803 |  | 500 | 0.033501
4 | YES | 950.2 | 34.9148 | 0 | 0.034599 | 0.033269 | -0.0013298 |  | 100 | 0.0392
4 | YES | 1000.2 | 34.9177 | 0 | 0.035 | 0.03322 | -0.0017801 |  | 250.2 | 0.0415
4 | YES | 1050 | 34.9227 | 0 | 0.036301 | 0.03317 | -0.0031305 |  | 300 | 0.037498
4 | YES | 1099.8 | 34.9325 | 0 | 0.043301 | 0.033121 | -0.01018 |  | 249.9 | 0.041
4 | NO | 1149.7 | 34.9393 | 0 | 0.046699 | 0.033071 | -0.013628 |  | 299.9 | 0.035099
4 | NO | 1200.1 | 34.9397 | 0 | 0.043701 | 0.033021 | -0.01068 |  | 350.1 | 0.032997
4 | NO | 1249.7 | 34.9453 | 0 | 0.0452 | 0.032972 | -0.012229 |  | 400 | 0.034702
4 | NO | 1299.9 | 34.9482 | 0 | 0.045601 | 0.032922 | -0.012679 |  | 450.2 | 0.036598
4 | NO | 1349.8 | 34.9534 | 0 | 0.047001 | 0.032872 | -0.014129 |  | 499.8 | 0.0331
4 | NO | 1399.8 | 34.9561 | 0 | 0.0462 | 0.032822 | -0.013377 |  | 550.2 | 0.0326
4 | NO | 1449.8 | 34.9606 | 0 | 0.047604 | 0.032773 | -0.014831 |  | 600.2 | 0.032398
4 | NO | 1499.8 | 34.9656 | 0 | 0.0495 | 0.032723 | -0.016777 |  | 628.6 | 0.035198
4 | NO | 1550 | 34.9689 | 0 | 0.048798 | 0.032673 | -0.016125 |  | 199.9 | 0.037899
4 | NO | 1599.8 | 34.9737 | 0 | 0.051701 | 0.032623 | -0.019077 |  | 203.7 | 0.037701
4 | NO | 1650.1 | 34.9765 | 0 | 0.050301 | 0.032573 | -0.017727
4 | NO | 1700 | 34.9814 | 0 | 0.051201 | 0.032524 | -0.018677
4 | NO | 1748.4 | 34.9869 | 0 | 0.051899 | 0.032476 | -0.019423
5 | NO | 99.8 | 32.6101 | 0 | 0.035801 | 0.034115 | -0.0016856
5 | YES | 150.3 | 32.8363 | 0 | 0.038101 | 0.034065 | -0.0040362
5 | YES | 200 | 33.1777 | 0 | 0.034302 | 0.034016 | -0.0002862
5 | YES | 249.8 | 34.5315 | 0 | 0.030003 | 0.033966 | 0.0039635
5 | YES | 299.9 | 34.7221 | 0 | 0.0331 | 0.033916 | 0.00081615
5 | YES | 350.3 | 34.7929 | 0 | 0.0359 | 0.033866 | -0.002034
5 | YES | 400 | 34.8235 | 0 | 0.034401 | 0.033817 | -0.00058421
5 | YES | 450.1 | 34.8452 | 0 | 0.0392 | 0.033767 | -0.0054329
5 | YES | 500 | 34.8568 | 0 | 0.033501 | 0.033717 | 0.00021653
5 | NO | 0 | 0 | 0 | -34.8282 | 0.034215 | 34.8624
6 | YES | 100 | 32.6605 | 0 | 0.0392 | 0.034115 | -0.0050847
6 | NO | 149.7 | 33.016 | 0 | 0.047398 | 0.034066 | -0.013332
6 | NO | 199.7 | 33.9849 | 0 | -0.0016975 | 0.034016 | 0.035713
6 | YES | 250.2 | 34.6072 | 0 | 0.0415 | 0.033966 | -0.0075344
6 | YES | 300 | 34.7649 | 0 | 0.037498 | 0.033916 | -0.0035824
6 | NO | 350.2 | 34.827 | 0 | 0.045101 | 0.033866 | -0.011235
6 | NO | 399.7 | 34.8549 | 0 | 0.048401 | 0.033817 | -0.014584
6 | NO | 439.2 | 34.87 | 0 | 0.046799 | 0.033778 | -0.013021
7 | NO | 100 | 32.6594 | 0 | 0.0592 | 0.034115 | -0.025085
7 | NO | 149.7 | 33.1316 | 0 | 0.045101 | 0.034066 | -0.011036
7 | NO | 200.2 | 34.2766 | 0 | 0.081799 | 0.034015 | -0.047783
7 | YES | 249.9 | 34.6339 | 0 | 0.041 | 0.033966 | -0.0070344
7 | YES | 299.9 | 34.7398 | 0 | 0.035099 | 0.033916 | -0.0011828
7 | YES | 350.1 | 34.7977 | 0 | 0.032997 | 0.033866 | 0.00086922
7 | YES | 400 | 34.8282 | 0 | 0.034702 | 0.033817 | -0.00088561
7 | YES | 450.2 | 34.8512 | 0 | 0.036598 | 0.033767 | -0.0028314
7 | YES | 499.8 | 34.8629 | 0 | 0.0331 | 0.033717 | 0.00061733
7 | YES | 550.2 | 34.8768 | 0 | 0.0326 | 0.033667 | 0.0010669
7 | YES | 600.2 | 34.8858 | 0 | 0.032398 | 0.033618 | 0.0012194
7 | YES | 628.6 | 34.8904 | 0 | 0.035198 | 0.033589 | -0.0016089
8 | NO | 100.2 | 32.7168 | 0 | 0.059402 | 0.034115 | -0.025288
8 | NO | 150 | 33.2467 | 0 | 0.093899 | 0.034065 | -0.059833
8 | NO | 200 | 34.6082 | 0 | 0.054802 | 0.034016 | -0.020786
8 | NO | 0 | 0 | 0 | -34.6399 | 0.034215 | 34.6741
9 | NO | 99.7 | 33.3562 | 0 | 0.0471 | 0.034115 | -0.012985
9 | NO | 150 | 34.5962 | 0 | 0.050598 | 0.034065 | -0.016533
9 | YES | 199.9 | 34.7949 | 0 | 0.037899 | 0.034016 | -0.0038833
9 | YES | 203.7 | 34.7939 | 0 | 0.037701 | 0.034012 | -0.0036888
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
YES
YES
YES
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
NO
NO
YES
YES
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
YES
YES
FIT vs. P-MCTD
FIT vs. Sal-MCTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 3
| Primary | Secondary |  | Comparison Name
Ref | P-ICTD | P-MCTD |  | P-MCTD - P-ICTD
Comp 1 | Sal-ICTD | Sal-MCTD |  | Sal-MCTD - Sal-ICTD
Comp 2 | Temp-ICTD | Temp-MCTD |  | Temp-MCTD - Temp-ICTD
Average Size: | 1
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | P-ICTD | P-MCTD | Pressure:Adj | (S-P) | Sal-ICTD | Sal-MCTD | Sal-MCTD | (S-P) | Temp-ICTD | Temp-MCTD | Temp-MCTD | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
96310001.thi | 96310001.th2 | 1 | 100 | 100.2 | 0 | 0.2 | 32.5935 | 32.6168 | 0 | 0.0233 | -1.544 | -1.5749 | 0 | -0.0309
96310001.thi | 96310001.th2 | 1 | 150 | 150.2 | 0 | 0.2 | 32.9785 | 33.0232 | 0 | 0.044701 | -1.5917 | -1.5922 | 0 | -0.00050008
96310001.thi | 96310001.th2 | 1 | 200 | 200.1 | 0 | 0.10001 | 33.9165 | 33.9504 | 0 | 0.033901 | -0.9929 | -1.013 | 0 | -0.0201
96310001.thi | 96310001.th2 | 1 | 250 | 249.9 | 0 | -0.10001 | 34.5272 | 34.5567 | 0 | 0.029503 | -0.3529 | -0.3646 | 0 | -0.0117
96310001.thi | 96310001.th2 | 1 | 300 | 299.8 | 0 | -0.20001 | 34.6843 | 34.713 | 0 | 0.028702 | 0.0872 | 0.08 | 0 | -0.0072
96310001.thi | 96310001.th2 | 1 | 350 | 349.9 | 0 | -0.10001 | 34.7465 | 34.7768 | 0 | 0.0303 | 0.2951 | 0.2903 | 0 | -0.0048
96310001.thi | 96310001.th2 | 1 | 400 | 399.8 | 0 | -0.20001 | 34.7861 | 34.8178 | 0 | 0.0317 | 0.392 | 0.3914 | 0 | -0.00059998
96310001.thi | 96310001.th2 | 1 | 450 | 450.1 | 0 | 0.10001 | 34.8044 | 34.8354 | 0 | 0.030998 | 0.414 | 0.4144 | 0 | 0.00040001
96310001.thi | 96310001.th2 | 1 | 500 | 499.8 | 0 | -0.20001 | 34.8249 | 34.8557 | 0 | 0.0308 | 0.416 | 0.4172 | 0 | 0.0012
96310001.thi | 96310001.th2 | 1 | 550.1 | 550 | 0 | -0.099976 | 34.8373 | 34.869 | 0 | 0.0317 | 0.3996 | 0.4008 | 0 | 0.0012
96310001.thi | 96310001.th2 | 1 | 599.9 | 600.1 | 0 | 0.19995 | 34.8468 | 34.8787 | 0 | 0.031899 | 0.3817 | 0.383 | 0 | 0.0013
96310001.thi | 96310001.th2 | 1 | 650 | 650.1 | 0 | 0.099976 | 34.8529 | 34.8847 | 0 | 0.031799 | 0.3536 | 0.3544 | 0 | 0.00080001
96310001.thi | 96310001.th2 | 1 | 699.9 | 699.8 | 0 | -0.10004 | 34.8582 | 34.8901 | 0 | 0.031899 | 0.3187 | 0.3198 | 0 | 0.0011
96310001.thi | 96310001.th2 | 1 | 750.1 | 750.1 | 0 | 0 | 34.8622 | 34.8952 | 0 | 0.032997 | 0.2743 | 0.275 | 0 | 0.0007
96310001.thi | 96310001.th2 | 1 | 800 | 799.8 | 0 | -0.20001 | 34.8661 | 34.8992 | 0 | 0.0331 | 0.2418 | 0.2413 | 0 | -0.00049999
96310001.thi | 96310001.th2 | 0 | 871.5 | 0 | 0 | -871.5 | 34.8746 | 0 | 0 | -34.8746 | 0.1494 | 0 | 0 | -0.1494
96310002.thi | 96310002.th2 | 1 | 100.1 | 99.7 | 0 | -0.4 | 32.5802 | 32.6227 | 0 | 0.0425 | -1.615 | -1.6174 | 0 | -0.0024
96310002.thi | 96310002.th2 | 1 | 150 | 150 | 0 | 0 | 33.0906 | 33.1566 | 0 | 0.066002 | -1.5085 | -1.5066 | 0 | 0.0019
96310002.thi | 96310002.th2 | 1 | 199.9 | 199.7 | 0 | -0.2 | 34.1884 | 34.2477 | 0 | 0.059299 | -0.7223 | -0.7168 | 0 | 0.0055
96310002.thi | 96310002.th2 | 1 | 250.1 | 249.8 | 0 | -0.3 | 34.6147 | 34.6486 | 0 | 0.033901 | -0.1066 | -0.1122 | 0 | -0.0056
96310002.thi | 96310002.th2 | 1 | 300.1 | 300.2 | 0 | 0.10001 | 34.7214 | 34.7563 | 0 | 0.034901 | 0.2285 | 0.2267 | 0 | -0.0018
96310002.thi | 96310002.th2 | 1 | 349.9 | 349.7 | 0 | -0.19998 | 34.7713 | 34.8058 | 0 | 0.0345 | 0.3605 | 0.3613 | 0 | 0.00079998
96310002.thi | 96310002.th2 | 0 | 400 | 0 | 0 | -400 | 34.8042 | 0 | 0 | -34.8042 | 0.4145 | 0 | 0 | -0.4145
96310002.thi | 96310002.th2 | 0 | 441.5 | 0 | 0 | -441.5 | 34.8214 | 0 | 0 | -34.8214 | 0.406 | 0 | 0 | -0.406
96310005.thi | 96310005.th2 | 1 | 100 | 99.8 | 0 | -0.2 | 32.5026 | 32.5378 | 0 | 0.035198 | -1.6379 | -1.643 | 0 | -0.0051
96310005.thi | 96310005.th2 | 1 | 150 | 149.8 | 0 | -0.2 | 32.768 | 32.7962 | 0 | 0.028198 | -1.6708 | -1.6708 | 0 | 0
96310005.thi | 96310005.th2 | 1 | 199.9 | 200.1 | 0 | 0.20001 | 33.208 | 33.2359 | 0 | 0.027901 | -1.5193 | -1.5263 | 0 | -0.007
96310005.thi | 96310005.th2 | 1 | 250 | 250.1 | 0 | 0.10001 | 34.4474 | 34.4816 | 0 | 0.034203 | -0.4821 | -0.4839 | 0 | -0.0018
96310005.thi | 96310005.th2 | 1 | 300 | 300.2 | 0 | 0.20001 | 34.6644 | 34.695 | 0 | 0.030602 | 0.0617 | 0.0507 | 0 | -0.011
96310005.thi | 96310005.th2 | 1 | 349.9 | 349.7 | 0 | -0.19998 | 34.7371 | 34.7707 | 0 | 0.0336 | 0.3038 | 0.2971 | 0 | -0.0067
96310005.thi | 96310005.th2 | 1 | 400.1 | 399.9 | 0 | -0.20001 | 34.7803 | 34.8148 | 0 | 0.0345 | 0.4064 | 0.4065 | 0 | 0.00010002
96310005.thi | 96310005.th2 | 1 | 450 | 450.1 | 0 | 0.10001 | 34.8051 | 34.8382 | 0 | 0.0331 | 0.4391 | 0.4387 | 0 | -0.00040001
96310005.thi | 96310005.th2 | 1 | 500.1 | 500 | 0 | -0.10001 | 34.8198 | 34.852 | 0 | 0.0322 | 0.4431 | 0.4442 | 0 | 0.0011
96310005.thi | 96310005.th2 | 1 | 550 | 550 | 0 | 0 | 34.8342 | 34.8653 | 0 | 0.031097 | 0.4249 | 0.4269 | 0 | 0.002
96310005.thi | 96310005.th2 | 1 | 600.1 | 599.9 | 0 | -0.19995 | 34.8428 | 34.8763 | 0 | 0.033501 | 0.4015 | 0.4029 | 0 | 0.0014
96310005.thi | 96310005.th2 | 1 | 649.9 | 650.1 | 0 | 0.19995 | 34.8516 | 34.885 | 0 | 0.033398 | 0.3701 | 0.3718 | 0 | 0.0017
96310005.thi | 96310005.th2 | 1 | 700 | 699.9 | 0 | -0.099976 | 34.8588 | 34.8903 | 0 | 0.031502 | 0.3287 | 0.336 | 0 | 0.0073
96310005.thi | 96310005.th2 | 0 | 712.8 | 0 | 0 | -712.8 | 34.859 | 0 | 0 | -34.859 | 0.3207 | 0 | 0 | -0.3207
96310006.thi | 96310006.th2 | 1 | 100.1 | 99.9 | 0 | -0.2 | 32.4979 | 32.5547 | 0 | 0.056801 | -1.6184 | -1.6247 | 0 | -0.0063
96310006.thi | 96310006.th2 | 1 | 150 | 150.2 | 0 | 0.2 | 32.8394 | 32.8885 | 0 | 0.049099 | -1.6728 | -1.6716 | 0 | 0.0012
96310006.thi | 96310006.th2 | 1 | 200.1 | 199.8 | 0 | -0.3 | 33.5494 | 33.6358 | 0 | 0.086399 | -1.2495 | -1.2166 | 0 | 0.0329
96310006.thi | 96310006.th2 | 1 | 250 | 250.1 | 0 | 0.10001 | 34.4707 | 34.5099 | 0 | 0.0392 | -0.4585 | -0.4493 | 0 | 0.0092
96310006.thi | 96310006.th2 | 1 | 300.1 | 299.9 | 0 | -0.20001 | 34.6545 | 34.6869 | 0 | 0.032402 | -0.0002 | 0.0054 | 0 | 0.0056
96310006.thi | 96310006.th2 | 1 | 350 | 350.1 | 0 | 0.10001 | 34.7403 | 34.771 | 0 | 0.030701 | 0.2723 | 0.275 | 0 | 0.0027
96310006.thi | 96310006.th2 | 1 | 400.1 | 400.1 | 0 | 0 | 34.7806 | 34.8106 | 0 | 0.029999 | 0.391 | 0.3915 | 0 | 0.00049999
96310006.thi | 96310006.th2 | 1 | 449.9 | 450 | 0 | 0.10001 | 34.8039 | 34.835 | 0 | 0.031097 | 0.4286 | 0.4292 | 0 | 0.00059998
96310006.thi | 96310006.th2 | 1 | 500 | 500 | 0 | 0 | 34.8204 | 34.8517 | 0 | 0.0313 | 0.434 | 0.4347 | 0 | 0.00070003
96310006.thi | 96310006.th2 | 1 | 549.9 | 549.8 | 0 | -0.10004 | 34.8347 | 34.8654 | 0 | 0.030697 | 0.421 | 0.4218 | 0 | 0.00079998
96310006.thi | 96310006.th2 | 1 | 600.1 | 600 | 0 | -0.099976 | 34.8441 | 34.8756 | 0 | 0.031498 | 0.3995 | 0.4006 | 0 | 0.0011
96310006.thi | 96310006.th2 | 1 | 649.9 | 650.1 | 0 | 0.19995 | 34.8527 | 34.8836 | 0 | 0.030899 | 0.3801 | 0.3814 | 0 | 0.0013
96310006.thi | 96310006.th2 | 1 | 699.9 | 700.2 | 0 | 0.29999 | 34.8587 | 34.8916 | 0 | 0.032902 | 0.3416 | 0.3425 | 0 | 0.0009
96310006.thi | 96310006.th2 | 1 | 750 | 750.2 | 0 | 0.20001 | 34.8639 | 34.8958 | 0 | 0.031902 | 0.2883 | 0.2892 | 0 | 0.0009
96310006.thi | 96310006.th2 | 1 | 800 | 800.2 | 0 | 0.20001 | 34.8693 | 34.9006 | 0 | 0.0313 | 0.2378 | 0.2409 | 0 | 0.0031
96310006.thi | 96310006.th2 | 1 | 849.9 | 850.1 | 0 | 0.19995 | 34.8718 | 34.906 | 0 | 0.034199 | 0.1794 | 0.1803 | 0 | 0.0009
96310006.thi | 96310006.th2 | 1 | 900.1 | 900.1 | 0 | 0 | 34.8759 | 34.91 | 0 | 0.0341 | 0.1295 | 0.1308 | 0 | 0.0013
96310006.thi | 96310006.th2 | 1 | 949.9 | 950.2 | 0 | 0.29999 | 34.8802 | 34.9148 | 0 | 0.034599 | 0.0752 | 0.0757 | 0 | 0.0005
96310006.thi | 96310006.th2 | 1 | 999.9 | 1000.2 | 0 | 0.29999 | 34.8827 | 34.9177 | 0 | 0.035 | 0.0307 | 0.0312 | 0 | 0.0005
96310006.thi | 96310006.th2 | 1 | 1050.1 | 1050 | 0 | -0.099976 | 34.8864 | 34.9227 | 0 | 0.036301 | -0.0163 | -0.0165 | 0 | -0.0002
96310006.thi | 96310006.th2 | 1 | 1100.1 | 1099.8 | 0 | -0.29993 | 34.8892 | 34.9325 | 0 | 0.043301 | -0.0583 | -0.0601 | 0 | -0.0018
96310006.thi | 96310006.th2 | 1 | 1150.1 | 1149.7 | 0 | -0.40002 | 34.8926 | 34.9393 | 0 | 0.046699 | -0.0962 | -0.1003 | 0 | -0.0041
96310006.thi | 96310006.th2 | 1 | 1199.9 | 1200.1 | 0 | 0.19995 | 34.896 | 34.9397 | 0 | 0.043701 | -0.1302 | -0.131 | 0 | -0.0008
96310006.thi | 96310006.th2 | 1 | 1249.9 | 1249.7 | 0 | -0.20007 | 34.9001 | 34.9453 | 0 | 0.0452 | -0.1775 | -0.1766 | 0 | 0.0009
96310006.thi | 96310006.th2 | 1 | 1299.9 | 1299.9 | 0 | 0 | 34.9026 | 34.9482 | 0 | 0.045601 | -0.2066 | -0.2071 | 0 | -0.00050001
96310006.thi | 96310006.th2 | 1 | 1350.1 | 1349.8 | 0 | -0.29993 | 34.9064 | 34.9534 | 0 | 0.047001 | -0.2399 | -0.2408 | 0 | -0.0009
96310006.thi | 96310006.th2 | 1 | 1399.9 | 1399.8 | 0 | -0.099976 | 34.9099 | 34.9561 | 0 | 0.0462 | -0.267 | -0.266 | 0 | 0.00099999
96310006.thi | 96310006.th2 | 1 | 1450 | 1449.8 | 0 | -0.19995 | 34.913 | 34.9606 | 0 | 0.047604 | -0.2929 | -0.2928 | 0 | 9.9987e-05
96310006.thi | 96310006.th2 | 1 | 1500 | 1499.8 | 0 | -0.19995 | 34.9161 | 34.9656 | 0 | 0.0495 | -0.3143 | -0.315 | 0 | -0.0007
96310006.thi | 96310006.th2 | 1 | 1549.9 | 1550 | 0 | 0.099976 | 34.9201 | 34.9689 | 0 | 0.048798 | -0.3329 | -0.3326 | 0 | 0.00029999
96310006.thi | 96310006.th2 | 1 | 1599.9 | 1599.8 | 0 | -0.099976 | 34.922 | 34.9737 | 0 | 0.051701 | -0.3508 | -0.3527 | 0 | -0.0019
96310006.thi | 96310006.th2 | 1 | 1650 | 1650.1 | 0 | 0.099976 | 34.9262 | 34.9765 | 0 | 0.050301 | -0.3663 | -0.3669 | 0 | -0.00060001
96310006.thi | 96310006.th2 | 1 | 1700 | 1700 | 0 | 0 | 34.9302 | 34.9814 | 0 | 0.051201 | -0.3804 | -0.3812 | 0 | -0.00079998
96310006.thi | 96310006.th2 | 1 | 1748.1 | 1748.4 | 0 | 0.30005 | 34.935 | 34.9869 | 0 | 0.051899 | -0.3978 | -0.3982 | 0 | -0.00040001
96310007.thi | 96310007.th2 | 1 | 100 | 99.8 | 0 | -0.2 | 32.5743 | 32.6101 | 0 | 0.035801 | -1.6488 | -1.6513 | 0 | -0.0024999
96310007.thi | 96310007.th2 | 1 | 149.9 | 150.3 | 0 | 0.40001 | 32.7982 | 32.8363 | 0 | 0.038101 | -1.6618 | -1.6639 | 0 | -0.0021
96310007.thi | 96310007.th2 | 1 | 200 | 200 | 0 | 0 | 33.1434 | 33.1777 | 0 | 0.034302 | -1.5545 | -1.555 | 0 | -0.00049996
96310007.thi | 96310007.th2 | 1 | 249.9 | 249.8 | 0 | -0.099991 | 34.5015 | 34.5315 | 0 | 0.030003 | -0.3712 | -0.3766 | 0 | -0.0054
96310007.thi | 96310007.th2 | 1 | 299.9 | 299.9 | 0 | 0 | 34.689 | 34.7221 | 0 | 0.0331 | 0.1301 | 0.1273 | 0 | -0.0028
96310007.thi | 96310007.th2 | 1 | 349.9 | 350.3 | 0 | 0.39999 | 34.757 | 34.7929 | 0 | 0.0359 | 0.3426 | 0.3408 | 0 | -0.0018
96310007.thi | 96310007.th2 | 1 | 399.9 | 400 | 0 | 0.10001 | 34.7891 | 34.8235 | 0 | 0.034401 | 0.4164 | 0.4153 | 0 | -0.0011
96310007.thi | 96310007.th2 | 1 | 449.9 | 450.1 | 0 | 0.20001 | 34.806 | 34.8452 | 0 | 0.0392 | 0.4395 | 0.439 | 0 | -0.00049999
96310007.thi | 96310007.th2 | 1 | 500 | 500 | 0 | 0 | 34.8233 | 34.8568 | 0 | 0.033501 | 0.4315 | 0.4318 | 0 | 0.00030002
96310007.thi | 96310007.th2 | 0 | 523.1 | 0 | 0 | -523.1 | 34.8282 | 0 | 0 | -34.8282 | 0.4274 | 0 | 0 | -0.4274
96310016.thi | 96310016.th2 | 1 | 100.1 | 100 | 0 | -0.099999 | 32.6213 | 32.6605 | 0 | 0.0392 | -1.6098 | -1.6131 | 0 | -0.0033001
96310016.thi | 96310016.th2 | 1 | 150 | 149.7 | 0 | -0.3 | 32.9686 | 33.016 | 0 | 0.047398 | -1.6083 | -1.6048 | 0 | 0.0035
96310016.thi | 96310016.th2 | 1 | 200 | 199.7 | 0 | -0.3 | 33.9866 | 33.9849 | 0 | -0.0016975 | -0.9218 | -0.9409 | 0 | -0.0191
96310016.thi | 96310016.th2 | 1 | 249.9 | 250.2 | 0 | 0.3 | 34.5657 | 34.6072 | 0 | 0.0415 | -0.2392 | -0.2417 | 0 | -0.0025
96310016.thi | 96310016.th2 | 1 | 300 | 300 | 0 | 0 | 34.7274 | 34.7649 | 0 | 0.037498 | 0.2558 | 0.2538 | 0 | -0.002
96310016.thi | 96310016.th2 | 1 | 349.9 | 350.2 | 0 | 0.30002 | 34.7819 | 34.827 | 0 | 0.045101 | 0.3949 | 0.3931 | 0 | -0.0018
96310016.thi | 96310016.th2 | 1 | 400.1 | 399.7 | 0 | -0.39999 | 34.8065 | 34.8549 | 0 | 0.048401 | 0.4251 | 0.4243 | 0 | -0.00080001
96310016.thi | 96310016.th2 | 1 | 439.3 | 439.2 | 0 | -0.099976 | 34.8232 | 34.87 | 0 | 0.046799 | 0.4226 | 0.4252 | 0 | 0.0026
96310017.thi | 96310017.th2 | 1 | 99.9 | 100 | 0 | 0.099999 | 32.6002 | 32.6594 | 0 | 0.0592 | -1.6206 | -1.5988 | 0 | 0.0218
96310017.thi | 96310017.th2 | 1 | 150 | 149.7 | 0 | -0.3 | 33.0865 | 33.1316 | 0 | 0.045101 | -1.5253 | -1.534 | 0 | -0.0087
96310017.thi | 96310017.th2 | 1 | 200.1 | 200.2 | 0 | 0.099991 | 34.1948 | 34.2766 | 0 | 0.081799 | -0.762 | -0.7351 | 0 | 0.0269
96310017.thi | 96310017.th2 | 1 | 249.9 | 249.9 | 0 | 0 | 34.5929 | 34.6339 | 0 | 0.041 | -0.1926 | -0.1865 | 0 | 0.0061
96310017.thi | 96310017.th2 | 1 | 300 | 299.9 | 0 | -0.10001 | 34.7047 | 34.7398 | 0 | 0.035099 | 0.1548 | 0.1522 | 0 | -0.0026
96310017.thi | 96310017.th2 | 1 | 350 | 350.1 | 0 | 0.10001 | 34.7647 | 34.7977 | 0 | 0.032997 | 0.3578 | 0.3568 | 0 | -0.001
96310017.thi | 96310017.th2 | 1 | 400 | 400 | 0 | 0 | 34.7935 | 34.8282 | 0 | 0.034702 | 0.4194 | 0.4185 | 0 | -0.0009
96310017.thi | 96310017.th2 | 1 | 450 | 450.2 | 0 | 0.20001 | 34.8146 | 34.8512 | 0 | 0.036598 | 0.4366 | 0.4377 | 0 | 0.0011
96310017.thi | 96310017.th2 | 1 | 499.9 | 499.8 | 0 | -0.10001 | 34.8298 | 34.8629 | 0 | 0.0331 | 0.428 | 0.4288 | 0 | 0.00079998
96310017.thi | 96310017.th2 | 1 | 550 | 550.2 | 0 | 0.20001 | 34.8442 | 34.8768 | 0 | 0.0326 | 0.3951 | 0.3968 | 0 | 0.0017
96310017.thi | 96310017.th2 | 1 | 600 | 600.2 | 0 | 0.20001 | 34.8534 | 34.8858 | 0 | 0.032398 | 0.3611 | 0.3614 | 0 | 0.00030002
96310017.thi | 96310017.th2 | 1 | 627.9 | 628.6 | 0 | 0.69995 | 34.8552 | 34.8904 | 0 | 0.035198 | 0.349 | 0.3498 | 0 | 0.00079998
96310023.thi | 96310023.th2 | 1 | 99.9 | 100.2 | 0 | 0.3 | 32.6574 | 32.7168 | 0 | 0.059402 | -1.626 | -1.6441 | 0 | -0.0181
96310023.thi | 96310023.th2 | 1 | 150 | 150 | 0 | 0 | 33.1528 | 33.2467 | 0 | 0.093899 | -1.5553 | -1.521 | 0 | 0.0343
96310023.thi | 96310023.th2 | 1 | 200 | 200 | 0 | 0 | 34.5534 | 34.6082 | 0 | 0.054802 | -0.2205 | -0.2136 | 0 | 0.0069
96310023.thi | 96310023.th2 | 0 | 215.8 | 0 | 0 | -215.8 | 34.6399 | 0 | 0 | -34.6399 | -0.0267 | 0 | 0 | 0.0267
96310044.thi | 96310044.th2 | 1 | 99.9 | 99.7 | 0 | -0.2 | 33.3091 | 33.3562 | 0 | 0.0471 | -1.4216 | -1.4395 | 0 | -0.0179
96310044.thi | 96310044.th2 | 1 | 149.9 | 150 | 0 | 0.10001 | 34.5456 | 34.5962 | 0 | 0.050598 | -0.2496 | -0.2578 | 0 | -0.0082
96310044.thi | 96310044.th2 | 1 | 200 | 199.9 | 0 | -0.10001 | 34.757 | 34.7949 | 0 | 0.037899 | 0.3226 | 0.3227 | 0 | 9.9987e-05
96310044.thi | 96310044.th2 | 1 | 203.3 | 203.7 | 0 | 0.39999 | 34.7562 | 34.7939 | 0 | 0.037701 | 0.3216 | 0.3234 | 0 | 0.0018
Create Fit Sheet