## File List
Number of Files= |  | 9
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 96310001.thi | 96310001.th3 | 12 | 27 | 96310001.thi & 96310001.th3
2 | 96310002.thi | 96310002.th3 | 29 | 36 | 96310002.thi & 96310002.th3
3 | 96310005.thi | 96310005.th3 | 38 | 51 | 96310005.thi & 96310005.th3
4 | 96310006.thi | 96310006.th3 | 53 | 86 | 96310006.thi & 96310006.th3
5 | 96310007.thi | 96310007.th3 | 88 | 97 | 96310007.thi & 96310007.th3
6 | 96310016.thi | 96310016.th3 | 99 | 106 | 96310016.thi & 96310016.th3
7 | 96310017.thi | 96310017.th3 | 108 | 119 | 96310017.thi & 96310017.th3
8 | 96310023.thi | 96310023.th3 | 121 | 124 | 96310023.thi & 96310023.th3
9 | 96310044.thi | 96310044.th3 | 126 | 129 | 96310044.thi & 96310044.th3

## (Sal-MCTD - Sal-ICTD)
Calculation of Linear Least Squares Fit For
(Sal-MCTD - Sal-ICTD)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal-MCTD - Sal-ICTD), Prop=P-MCTD
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.021849 |  | X | CALC Y
m= | -1.9336e-06 | 1.6047e-06 |  | Std Dev of Resid |  | 0.0029101 |  | 100 | -5.166e-05
b= | 0.0001417 | 0.00082826 |  | Resid Sum of Squares |  | 0.00055045 |  | 1050 | -0.0018886
# of Values Extracted = |  |  | 110
# of Values Used in Fit = |  |  | 67
File | Use | P-MCTD | Sal-MCTD | Sal-MCTD | Diff (Sal-MCTD - Sal-ICTD) |  |  |  | Fit vs. | P-MCTD
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 100.2 | 32.5826 | 0 | -0.010899 | -5.2047e-05 | 0.010847 |  | 200.1 | -0.00030136
1 | NO | 150.2 | 32.989 | 0 | 0.010498 | -0.00014873 | -0.010647 |  | 249.9 | -0.0046997
1 | YES | 200.1 | 33.9162 | 0 | -0.00030136 | -0.00024522 | 5.6144e-05 |  | 299.8 | -0.0055008
1 | YES | 249.9 | 34.5225 | 0 | -0.0046997 | -0.00034151 | 0.0043582 |  | 349.9 | -0.0038986
1 | YES | 299.8 | 34.6788 | 0 | -0.0055008 | -0.000438 | 0.0050628 |  | 399.8 | -0.0024986
1 | YES | 349.9 | 34.7426 | 0 | -0.0038986 | -0.00053488 | 0.0033637 |  | 450.1 | -0.0032005
1 | YES | 399.8 | 34.7836 | 0 | -0.0024986 | -0.00063136 | 0.0018673 |  | 499.8 | -0.0034027
1 | YES | 450.1 | 34.8012 | 0 | -0.0032005 | -0.00072863 | 0.0024719 |  | 550 | -0.0024986
1 | YES | 499.8 | 34.8215 | 0 | -0.0034027 | -0.00082473 | 0.002578 |  | 600.1 | -0.0023003
1 | YES | 550 | 34.8348 | 0 | -0.0024986 | -0.0009218 | 0.0015768 |  | 650.1 | -0.0024033
1 | YES | 600.1 | 34.8445 | 0 | -0.0023003 | -0.0010187 | 0.0012816 |  | 699.8 | -0.0023003
1 | YES | 650.1 | 34.8505 | 0 | -0.0024033 | -0.0011154 | 0.0012879 |  | 750.1 | -0.0012016
1 | YES | 699.8 | 34.8559 | 0 | -0.0023003 | -0.0012115 | 0.0010888 |  | 799.8 | -0.0010986
1 | YES | 750.1 | 34.861 | 0 | -0.0012016 | -0.0013087 | -0.00010709 |  | 249.8 | -0.00030136
1 | YES | 799.8 | 34.865 | 0 | -0.0010986 | -0.0014048 | -0.00030619 |  | 300.2 | 0.00069809
1 | NO | 0 | 0 | 0 | -34.8746 | 0.0001417 | 34.8747 |  | 349.7 | 0.00029755
2 | NO | 99.7 | 32.5885 | 0 | 0.0083008 | -5.108e-05 | -0.0083519 |  | 149.8 | -0.0060005
2 | NO | 150 | 33.1224 | 0 | 0.031799 | -0.00014834 | -0.031948 |  | 200.1 | -0.0063019
2 | NO | 199.7 | 34.2135 | 0 | 0.025101 | -0.00024444 | -0.025345 |  | 250.1 | 0
2 | YES | 249.8 | 34.6144 | 0 | -0.00030136 | -0.00034132 | -3.9958e-05 |  | 300.2 | -0.0035973
2 | YES | 300.2 | 34.7221 | 0 | 0.00069809 | -0.00043877 | -0.0011369 |  | 349.7 | -0.00059891
2 | YES | 349.7 | 34.7716 | 0 | 0.00029755 | -0.00053449 | -0.00083203 |  | 399.9 | 0.00030136
2 | NO | 0 | 0 | 0 | -34.8042 | 0.0001417 | 34.8043 |  | 450.1 | -0.0010986
2 | NO | 0 | 0 | 0 | -34.8214 | 0.0001417 | 34.8215 |  | 500 | -0.0020027
3 | NO | 99.8 | 32.5036 | 0 | 0.00099945 | -5.1273e-05 | -0.0010507 |  | 550 | -0.0031014
3 | YES | 149.8 | 32.762 | 0 | -0.0060005 | -0.00014795 | 0.0058526 |  | 599.9 | -0.0007019
3 | YES | 200.1 | 33.2017 | 0 | -0.0063019 | -0.00024522 | 0.0060567 |  | 650.1 | -0.00080109
3 | YES | 250.1 | 34.4474 | 0 | 0 | -0.0003419 | -0.0003419 |  | 699.9 | -0.0027008
3 | YES | 300.2 | 34.6608 | 0 | -0.0035973 | -0.00043877 | 0.0031585 |  | 250.1 | 0.0050011
3 | YES | 349.7 | 34.7365 | 0 | -0.00059891 | -0.00053449 | 6.4418e-05 |  | 299.9 | -0.0018005
3 | YES | 399.9 | 34.7806 | 0 | 0.00030136 | -0.00063156 | -0.00093292 |  | 350.1 | -0.0034981
3 | YES | 450.1 | 34.804 | 0 | -0.0010986 | -0.00072863 | 0.00037 |  | 400.1 | -0.0042
3 | YES | 500 | 34.8178 | 0 | -0.0020027 | -0.00082511 | 0.0011776 |  | 450 | -0.0031014
3 | YES | 550 | 34.8311 | 0 | -0.0031014 | -0.0009218 | 0.0021796 |  | 500 | -0.0028992
3 | YES | 599.9 | 34.8421 | 0 | -0.0007019 | -0.0010183 | -0.00031638 |  | 549.8 | -0.0035019
3 | YES | 650.1 | 34.8508 | 0 | -0.00080109 | -0.0011154 | -0.00031427 |  | 600 | -0.0027008
3 | YES | 699.9 | 34.8561 | 0 | -0.0027008 | -0.0012116 | 0.0014892 |  | 650.1 | -0.0032997
3 | NO | 0 | 0 | 0 | -34.859 | 0.0001417 | 34.8591 |  | 700.2 | -0.0013008
4 | NO | 99.9 | 32.5205 | 0 | 0.022602 | -5.1466e-05 | -0.022654 |  | 750.2 | -0.0023003
4 | NO | 150.2 | 32.8543 | 0 | 0.0149 | -0.00014873 | -0.015049 |  | 800.2 | -0.0028992
4 | NO | 199.8 | 33.6016 | 0 | 0.0522 | -0.00024464 | -0.052445 |  | 850.1 | 0
4 | YES | 250.1 | 34.4757 | 0 | 0.0050011 | -0.0003419 | -0.005343 |  | 900.1 | -9.9182e-05
4 | YES | 299.9 | 34.6527 | 0 | -0.0018005 | -0.00043819 | 0.0013623 |  | 950.2 | 0.00040054
4 | YES | 350.1 | 34.7368 | 0 | -0.0034981 | -0.00053526 | 0.0029628 |  | 1000.2 | 0.00079727
4 | YES | 400.1 | 34.7764 | 0 | -0.0042 | -0.00063194 | 0.003568 |  | 1050 | 0.0021019
4 | YES | 450 | 34.8008 | 0 | -0.0031014 | -0.00072843 | 0.0023729 |  | 150.3 | 0.0039024
4 | YES | 500 | 34.8175 | 0 | -0.0028992 | -0.00082511 | 0.0020741 |  | 200 | 0.000103
4 | YES | 549.8 | 34.8312 | 0 | -0.0035019 | -0.00092141 | 0.0025805 |  | 249.8 | -0.0042
4 | YES | 600 | 34.8414 | 0 | -0.0027008 | -0.0010185 | 0.0016823 |  | 299.9 | -0.0010986
4 | YES | 650.1 | 34.8494 | 0 | -0.0032997 | -0.0011154 | 0.0021844 |  | 350.3 | 0.0017013
4 | YES | 700.2 | 34.8574 | 0 | -0.0013008 | -0.0012122 | 8.8581e-05 |  | 400 | 0.00019836
4 | YES | 750.2 | 34.8616 | 0 | -0.0023003 | -0.0013089 | 0.00099135 |  | 450.1 | 0.0050011
4 | YES | 800.2 | 34.8664 | 0 | -0.0028992 | -0.0014056 | 0.0014936 |  | 500 | -0.00069809
4 | YES | 850.1 | 34.8718 | 0 | 0 | -0.0015021 | -0.0015021 |  | 100 | 0.0050011
4 | YES | 900.1 | 34.8758 | 0 | -9.9182e-05 | -0.0015988 | -0.0014996 |  | 250.2 | 0.0073013
4 | YES | 950.2 | 34.8806 | 0 | 0.00040054 | -0.0016956 | -0.0020962 |  | 300 | 0.0032997
4 | YES | 1000.2 | 34.8835 | 0 | 0.00079727 | -0.0017923 | -0.0025896 |  | 249.9 | 0.0068016
4 | YES | 1050 | 34.8885 | 0 | 0.0021019 | -0.0018886 | -0.0039905 |  | 299.9 | 0.00090027
4 | NO | 1099.8 | 34.8983 | 0 | 0.0091019 | -0.0019849 | -0.011087 |  | 350.1 | -0.0012016
4 | NO | 1149.7 | 34.9051 | 0 | 0.012501 | -0.0020814 | -0.014582 |  | 400 | 0.00049973
4 | NO | 1200.1 | 34.9055 | 0 | 0.0094986 | -0.0021789 | -0.011677 |  | 450.2 | 0.0023994
4 | NO | 1249.7 | 34.9111 | 0 | 0.010998 | -0.0022748 | -0.013273 |  | 499.8 | -0.0010986
4 | NO | 1299.9 | 34.914 | 0 | 0.011402 | -0.0023718 | -0.013774 |  | 550.2 | -0.0015984
4 | NO | 1349.8 | 34.9192 | 0 | 0.012802 | -0.0024683 | -0.01527 |  | 600.2 | -0.0018005
4 | NO | 1399.8 | 34.9219 | 0 | 0.012001 | -0.002565 | -0.014566 |  | 628.6 | 0.00099945
4 | NO | 1449.8 | 34.9264 | 0 | 0.013401 | -0.0026617 | -0.016063 |  | 199.9 | 0.0037003
4 | NO | 1499.8 | 34.9314 | 0 | 0.015301 | -0.0027584 | -0.018059 |  | 203.7 | 0.0035019
4 | NO | 1550 | 34.9347 | 0 | 0.014599 | -0.0028554 | -0.017454
4 | NO | 1599.8 | 34.9395 | 0 | 0.017498 | -0.0029517 | -0.02045
4 | NO | 1650.1 | 34.9423 | 0 | 0.016098 | -0.003049 | -0.019147
4 | NO | 1700 | 34.9472 | 0 | 0.017002 | -0.0031455 | -0.020148
4 | NO | 1748.4 | 34.9527 | 0 | 0.0177 | -0.0032391 | -0.020939
5 | NO | 99.8 | 32.5759 | 0 | 0.0016022 | -5.1273e-05 | -0.0016534
5 | YES | 150.3 | 32.8021 | 0 | 0.0039024 | -0.00014892 | -0.0040514
5 | YES | 200 | 33.1435 | 0 | 0.000103 | -0.00024502 | -0.00034802
5 | YES | 249.8 | 34.4973 | 0 | -0.0042 | -0.00034132 | 0.0038587
5 | YES | 299.9 | 34.6879 | 0 | -0.0010986 | -0.00043819 | 0.00066044
5 | YES | 350.3 | 34.7587 | 0 | 0.0017013 | -0.00053565 | -0.002237
5 | YES | 400 | 34.7893 | 0 | 0.00019836 | -0.00063175 | -0.00083011
5 | YES | 450.1 | 34.811 | 0 | 0.0050011 | -0.00072863 | -0.0057297
5 | YES | 500 | 34.8226 | 0 | -0.00069809 | -0.00082511 | -0.00012702
5 | NO | 0 | 0 | 0 | -34.8282 | 0.0001417 | 34.8283
6 | YES | 100 | 32.6263 | 0 | 0.0050011 | -5.166e-05 | -0.0050527
6 | NO | 149.7 | 32.9818 | 0 | 0.013199 | -0.00014776 | -0.013347
6 | NO | 199.7 | 33.9507 | 0 | -0.0359 | -0.00024444 | 0.035656
6 | YES | 250.2 | 34.573 | 0 | 0.0073013 | -0.00034209 | -0.0076434
6 | YES | 300 | 34.7307 | 0 | 0.0032997 | -0.00043839 | -0.0037381
6 | NO | 350.2 | 34.7928 | 0 | 0.010902 | -0.00053546 | -0.011438
6 | NO | 399.7 | 34.8207 | 0 | 0.014202 | -0.00063117 | -0.014833
6 | NO | 439.2 | 34.8358 | 0 | 0.0126 | -0.00070755 | -0.013307
7 | NO | 100 | 32.6252 | 0 | 0.024998 | -5.166e-05 | -0.025049
7 | NO | 149.7 | 33.0974 | 0 | 0.010902 | -0.00014776 | -0.01105
7 | NO | 200.2 | 34.2424 | 0 | 0.0476 | -0.00024541 | -0.047845
7 | YES | 249.9 | 34.5997 | 0 | 0.0068016 | -0.00034151 | -0.0071431
7 | YES | 299.9 | 34.7056 | 0 | 0.00090027 | -0.00043819 | -0.0013385
7 | YES | 350.1 | 34.7635 | 0 | -0.0012016 | -0.00053526 | 0.00066637
7 | YES | 400 | 34.794 | 0 | 0.00049973 | -0.00063175 | -0.0011315
7 | YES | 450.2 | 34.817 | 0 | 0.0023994 | -0.00072882 | -0.0031283
7 | YES | 499.8 | 34.8287 | 0 | -0.0010986 | -0.00082473 | 0.0002739
7 | YES | 550.2 | 34.8426 | 0 | -0.0015984 | -0.00092218 | 0.00067618
7 | YES | 600.2 | 34.8516 | 0 | -0.0018005 | -0.0010189 | 0.00078168
7 | YES | 628.6 | 34.8562 | 0 | 0.00099945 | -0.0010738 | -0.0020732
8 | NO | 100.2 | 32.6826 | 0 | 0.0252 | -5.2047e-05 | -0.025252
8 | NO | 150 | 33.2125 | 0 | 0.0597 | -0.00014834 | -0.059848
8 | NO | 200 | 34.574 | 0 | 0.020603 | -0.00024502 | -0.020848
8 | NO | 0 | 0 | 0 | -34.6399 | 0.0001417 | 34.64
9 | NO | 99.7 | 33.322 | 0 | 0.012897 | -5.108e-05 | -0.012949
9 | NO | 150 | 34.562 | 0 | 0.016399 | -0.00014834 | -0.016548
9 | YES | 199.9 | 34.7607 | 0 | 0.0037003 | -0.00024483 | -0.0039451
9 | YES | 203.7 | 34.7597 | 0 | 0.0035019 | -0.00025218 | -0.0037541
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
YES
YES
YES
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
NO
NO
YES
YES
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
YES
YES
FIT vs. P-MCTD
FIT vs. Sal-MCTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 3
| Primary | Secondary |  | Comparison Name
Ref | P-ICTD | P-MCTD |  | P-MCTD - P-ICTD
Comp 1 | Sal-ICTD | Sal-MCTD |  | Sal-MCTD - Sal-ICTD
Comp 2 | Temp-MCTD | Temp-MCTD |  | Temp-MCTD - Temp-MCTD
Average Size: | 1
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | P-ICTD | P-MCTD | P-MCTD | (S-P) | Sal-ICTD | Sal-MCTD | Sal-MCTD | (S-P) | Temp-MCTD | Temp-MCTD | Temp-MCTD | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
96310001.thi | 96310001.th3 | 1 | 100 | 100.2 | 0 | 0.2 | 32.5935 | 32.5826 | 0 | -0.010899 | -1.544 | -1.5749 | 0 | -0.0309
96310001.thi | 96310001.th3 | 1 | 150 | 150.2 | 0 | 0.2 | 32.9785 | 32.989 | 0 | 0.010498 | -1.5917 | -1.5922 | 0 | -0.00050008
96310001.thi | 96310001.th3 | 1 | 200 | 200.1 | 0 | 0.10001 | 33.9165 | 33.9162 | 0 | -0.00030136 | -0.9929 | -1.013 | 0 | -0.0201
96310001.thi | 96310001.th3 | 1 | 250 | 249.9 | 0 | -0.10001 | 34.5272 | 34.5225 | 0 | -0.0046997 | -0.3529 | -0.3646 | 0 | -0.0117
96310001.thi | 96310001.th3 | 1 | 300 | 299.8 | 0 | -0.20001 | 34.6843 | 34.6788 | 0 | -0.0055008 | 0.0872 | 0.08 | 0 | -0.0072
96310001.thi | 96310001.th3 | 1 | 350 | 349.9 | 0 | -0.10001 | 34.7465 | 34.7426 | 0 | -0.0038986 | 0.2951 | 0.2903 | 0 | -0.0048
96310001.thi | 96310001.th3 | 1 | 400 | 399.8 | 0 | -0.20001 | 34.7861 | 34.7836 | 0 | -0.0024986 | 0.392 | 0.3914 | 0 | -0.00059998
96310001.thi | 96310001.th3 | 1 | 450 | 450.1 | 0 | 0.10001 | 34.8044 | 34.8012 | 0 | -0.0032005 | 0.414 | 0.4144 | 0 | 0.00040001
96310001.thi | 96310001.th3 | 1 | 500 | 499.8 | 0 | -0.20001 | 34.8249 | 34.8215 | 0 | -0.0034027 | 0.416 | 0.4172 | 0 | 0.0012
96310001.thi | 96310001.th3 | 1 | 550.1 | 550 | 0 | -0.099976 | 34.8373 | 34.8348 | 0 | -0.0024986 | 0.3996 | 0.4008 | 0 | 0.0012
96310001.thi | 96310001.th3 | 1 | 599.9 | 600.1 | 0 | 0.19995 | 34.8468 | 34.8445 | 0 | -0.0023003 | 0.3817 | 0.383 | 0 | 0.0013
96310001.thi | 96310001.th3 | 1 | 650 | 650.1 | 0 | 0.099976 | 34.8529 | 34.8505 | 0 | -0.0024033 | 0.3536 | 0.3544 | 0 | 0.00080001
96310001.thi | 96310001.th3 | 1 | 699.9 | 699.8 | 0 | -0.10004 | 34.8582 | 34.8559 | 0 | -0.0023003 | 0.3187 | 0.3198 | 0 | 0.0011
96310001.thi | 96310001.th3 | 1 | 750.1 | 750.1 | 0 | 0 | 34.8622 | 34.861 | 0 | -0.0012016 | 0.2743 | 0.275 | 0 | 0.0007
96310001.thi | 96310001.th3 | 1 | 800 | 799.8 | 0 | -0.20001 | 34.8661 | 34.865 | 0 | -0.0010986 | 0.2418 | 0.2413 | 0 | -0.00049999
96310001.thi | 96310001.th3 | 0 | 871.5 | 0 | 0 | -871.5 | 34.8746 | 0 | 0 | -34.8746 | 0.1494 | 0 | 0 | -0.1494
96310002.thi | 96310002.th3 | 1 | 100.1 | 99.7 | 0 | -0.4 | 32.5802 | 32.5885 | 0 | 0.0083008 | -1.615 | -1.6174 | 0 | -0.0024
96310002.thi | 96310002.th3 | 1 | 150 | 150 | 0 | 0 | 33.0906 | 33.1224 | 0 | 0.031799 | -1.5085 | -1.5066 | 0 | 0.0019
96310002.thi | 96310002.th3 | 1 | 199.9 | 199.7 | 0 | -0.2 | 34.1884 | 34.2135 | 0 | 0.025101 | -0.7223 | -0.7168 | 0 | 0.0055
96310002.thi | 96310002.th3 | 1 | 250.1 | 249.8 | 0 | -0.3 | 34.6147 | 34.6144 | 0 | -0.00030136 | -0.1066 | -0.1122 | 0 | -0.0056
96310002.thi | 96310002.th3 | 1 | 300.1 | 300.2 | 0 | 0.10001 | 34.7214 | 34.7221 | 0 | 0.00069809 | 0.2285 | 0.2267 | 0 | -0.0018
96310002.thi | 96310002.th3 | 1 | 349.9 | 349.7 | 0 | -0.19998 | 34.7713 | 34.7716 | 0 | 0.00029755 | 0.3605 | 0.3613 | 0 | 0.00079998
96310002.thi | 96310002.th3 | 0 | 400 | 0 | 0 | -400 | 34.8042 | 0 | 0 | -34.8042 | 0.4145 | 0 | 0 | -0.4145
96310002.thi | 96310002.th3 | 0 | 441.5 | 0 | 0 | -441.5 | 34.8214 | 0 | 0 | -34.8214 | 0.406 | 0 | 0 | -0.406
96310005.thi | 96310005.th3 | 1 | 100 | 99.8 | 0 | -0.2 | 32.5026 | 32.5036 | 0 | 0.00099945 | -1.6379 | -1.643 | 0 | -0.0051
96310005.thi | 96310005.th3 | 1 | 150 | 149.8 | 0 | -0.2 | 32.768 | 32.762 | 0 | -0.0060005 | -1.6708 | -1.6708 | 0 | 0
96310005.thi | 96310005.th3 | 1 | 199.9 | 200.1 | 0 | 0.20001 | 33.208 | 33.2017 | 0 | -0.0063019 | -1.5193 | -1.5263 | 0 | -0.007
96310005.thi | 96310005.th3 | 1 | 250 | 250.1 | 0 | 0.10001 | 34.4474 | 34.4474 | 0 | 0 | -0.4821 | -0.4839 | 0 | -0.0018
96310005.thi | 96310005.th3 | 1 | 300 | 300.2 | 0 | 0.20001 | 34.6644 | 34.6608 | 0 | -0.0035973 | 0.0617 | 0.0507 | 0 | -0.011
96310005.thi | 96310005.th3 | 1 | 349.9 | 349.7 | 0 | -0.19998 | 34.7371 | 34.7365 | 0 | -0.00059891 | 0.3038 | 0.2971 | 0 | -0.0067
96310005.thi | 96310005.th3 | 1 | 400.1 | 399.9 | 0 | -0.20001 | 34.7803 | 34.7806 | 0 | 0.00030136 | 0.4064 | 0.4065 | 0 | 0.00010002
96310005.thi | 96310005.th3 | 1 | 450 | 450.1 | 0 | 0.10001 | 34.8051 | 34.804 | 0 | -0.0010986 | 0.4391 | 0.4387 | 0 | -0.00040001
96310005.thi | 96310005.th3 | 1 | 500.1 | 500 | 0 | -0.10001 | 34.8198 | 34.8178 | 0 | -0.0020027 | 0.4431 | 0.4442 | 0 | 0.0011
96310005.thi | 96310005.th3 | 1 | 550 | 550 | 0 | 0 | 34.8342 | 34.8311 | 0 | -0.0031014 | 0.4249 | 0.4269 | 0 | 0.002
96310005.thi | 96310005.th3 | 1 | 600.1 | 599.9 | 0 | -0.19995 | 34.8428 | 34.8421 | 0 | -0.0007019 | 0.4015 | 0.4029 | 0 | 0.0014
96310005.thi | 96310005.th3 | 1 | 649.9 | 650.1 | 0 | 0.19995 | 34.8516 | 34.8508 | 0 | -0.00080109 | 0.3701 | 0.3718 | 0 | 0.0017
96310005.thi | 96310005.th3 | 1 | 700 | 699.9 | 0 | -0.099976 | 34.8588 | 34.8561 | 0 | -0.0027008 | 0.3287 | 0.336 | 0 | 0.0073
96310005.thi | 96310005.th3 | 0 | 712.8 | 0 | 0 | -712.8 | 34.859 | 0 | 0 | -34.859 | 0.3207 | 0 | 0 | -0.3207
96310006.thi | 96310006.th3 | 1 | 100.1 | 99.9 | 0 | -0.2 | 32.4979 | 32.5205 | 0 | 0.022602 | -1.6184 | -1.6247 | 0 | -0.0063
96310006.thi | 96310006.th3 | 1 | 150 | 150.2 | 0 | 0.2 | 32.8394 | 32.8543 | 0 | 0.0149 | -1.6728 | -1.6716 | 0 | 0.0012
96310006.thi | 96310006.th3 | 1 | 200.1 | 199.8 | 0 | -0.3 | 33.5494 | 33.6016 | 0 | 0.0522 | -1.2495 | -1.2166 | 0 | 0.0329
96310006.thi | 96310006.th3 | 1 | 250 | 250.1 | 0 | 0.10001 | 34.4707 | 34.4757 | 0 | 0.0050011 | -0.4585 | -0.4493 | 0 | 0.0092
96310006.thi | 96310006.th3 | 1 | 300.1 | 299.9 | 0 | -0.20001 | 34.6545 | 34.6527 | 0 | -0.0018005 | -0.0002 | 0.0054 | 0 | 0.0056
96310006.thi | 96310006.th3 | 1 | 350 | 350.1 | 0 | 0.10001 | 34.7403 | 34.7368 | 0 | -0.0034981 | 0.2723 | 0.275 | 0 | 0.0027
96310006.thi | 96310006.th3 | 1 | 400.1 | 400.1 | 0 | 0 | 34.7806 | 34.7764 | 0 | -0.0042 | 0.391 | 0.3915 | 0 | 0.00049999
96310006.thi | 96310006.th3 | 1 | 449.9 | 450 | 0 | 0.10001 | 34.8039 | 34.8008 | 0 | -0.0031014 | 0.4286 | 0.4292 | 0 | 0.00059998
96310006.thi | 96310006.th3 | 1 | 500 | 500 | 0 | 0 | 34.8204 | 34.8175 | 0 | -0.0028992 | 0.434 | 0.4347 | 0 | 0.00070003
96310006.thi | 96310006.th3 | 1 | 549.9 | 549.8 | 0 | -0.10004 | 34.8347 | 34.8312 | 0 | -0.0035019 | 0.421 | 0.4218 | 0 | 0.00079998
96310006.thi | 96310006.th3 | 1 | 600.1 | 600 | 0 | -0.099976 | 34.8441 | 34.8414 | 0 | -0.0027008 | 0.3995 | 0.4006 | 0 | 0.0011
96310006.thi | 96310006.th3 | 1 | 649.9 | 650.1 | 0 | 0.19995 | 34.8527 | 34.8494 | 0 | -0.0032997 | 0.3801 | 0.3814 | 0 | 0.0013
96310006.thi | 96310006.th3 | 1 | 699.9 | 700.2 | 0 | 0.29999 | 34.8587 | 34.8574 | 0 | -0.0013008 | 0.3416 | 0.3425 | 0 | 0.0009
96310006.thi | 96310006.th3 | 1 | 750 | 750.2 | 0 | 0.20001 | 34.8639 | 34.8616 | 0 | -0.0023003 | 0.2883 | 0.2892 | 0 | 0.0009
96310006.thi | 96310006.th3 | 1 | 800 | 800.2 | 0 | 0.20001 | 34.8693 | 34.8664 | 0 | -0.0028992 | 0.2378 | 0.2409 | 0 | 0.0031
96310006.thi | 96310006.th3 | 1 | 849.9 | 850.1 | 0 | 0.19995 | 34.8718 | 34.8718 | 0 | 0 | 0.1794 | 0.1803 | 0 | 0.0009
96310006.thi | 96310006.th3 | 1 | 900.1 | 900.1 | 0 | 0 | 34.8759 | 34.8758 | 0 | -9.9182e-05 | 0.1295 | 0.1308 | 0 | 0.0013
96310006.thi | 96310006.th3 | 1 | 949.9 | 950.2 | 0 | 0.29999 | 34.8802 | 34.8806 | 0 | 0.00040054 | 0.0752 | 0.0757 | 0 | 0.0005
96310006.thi | 96310006.th3 | 1 | 999.9 | 1000.2 | 0 | 0.29999 | 34.8827 | 34.8835 | 0 | 0.00079727 | 0.0307 | 0.0312 | 0 | 0.0005
96310006.thi | 96310006.th3 | 1 | 1050.1 | 1050 | 0 | -0.099976 | 34.8864 | 34.8885 | 0 | 0.0021019 | -0.0163 | -0.0165 | 0 | -0.0002
96310006.thi | 96310006.th3 | 1 | 1100.1 | 1099.8 | 0 | -0.29993 | 34.8892 | 34.8983 | 0 | 0.0091019 | -0.0583 | -0.0601 | 0 | -0.0018
96310006.thi | 96310006.th3 | 1 | 1150.1 | 1149.7 | 0 | -0.40002 | 34.8926 | 34.9051 | 0 | 0.012501 | -0.0962 | -0.1003 | 0 | -0.0041
96310006.thi | 96310006.th3 | 1 | 1199.9 | 1200.1 | 0 | 0.19995 | 34.896 | 34.9055 | 0 | 0.0094986 | -0.1302 | -0.131 | 0 | -0.0008
96310006.thi | 96310006.th3 | 1 | 1249.9 | 1249.7 | 0 | -0.20007 | 34.9001 | 34.9111 | 0 | 0.010998 | -0.1775 | -0.1766 | 0 | 0.0009
96310006.thi | 96310006.th3 | 1 | 1299.9 | 1299.9 | 0 | 0 | 34.9026 | 34.914 | 0 | 0.011402 | -0.2066 | -0.2071 | 0 | -0.00050001
96310006.thi | 96310006.th3 | 1 | 1350.1 | 1349.8 | 0 | -0.29993 | 34.9064 | 34.9192 | 0 | 0.012802 | -0.2399 | -0.2408 | 0 | -0.0009
96310006.thi | 96310006.th3 | 1 | 1399.9 | 1399.8 | 0 | -0.099976 | 34.9099 | 34.9219 | 0 | 0.012001 | -0.267 | -0.266 | 0 | 0.00099999
96310006.thi | 96310006.th3 | 1 | 1450 | 1449.8 | 0 | -0.19995 | 34.913 | 34.9264 | 0 | 0.013401 | -0.2929 | -0.2928 | 0 | 9.9987e-05
96310006.thi | 96310006.th3 | 1 | 1500 | 1499.8 | 0 | -0.19995 | 34.9161 | 34.9314 | 0 | 0.015301 | -0.3143 | -0.315 | 0 | -0.0007
96310006.thi | 96310006.th3 | 1 | 1549.9 | 1550 | 0 | 0.099976 | 34.9201 | 34.9347 | 0 | 0.014599 | -0.3329 | -0.3326 | 0 | 0.00029999
96310006.thi | 96310006.th3 | 1 | 1599.9 | 1599.8 | 0 | -0.099976 | 34.922 | 34.9395 | 0 | 0.017498 | -0.3508 | -0.3527 | 0 | -0.0019
96310006.thi | 96310006.th3 | 1 | 1650 | 1650.1 | 0 | 0.099976 | 34.9262 | 34.9423 | 0 | 0.016098 | -0.3663 | -0.3669 | 0 | -0.00060001
96310006.thi | 96310006.th3 | 1 | 1700 | 1700 | 0 | 0 | 34.9302 | 34.9472 | 0 | 0.017002 | -0.3804 | -0.3812 | 0 | -0.00079998
96310006.thi | 96310006.th3 | 1 | 1748.1 | 1748.4 | 0 | 0.30005 | 34.935 | 34.9527 | 0 | 0.0177 | -0.3978 | -0.3982 | 0 | -0.00040001
96310007.thi | 96310007.th3 | 1 | 100 | 99.8 | 0 | -0.2 | 32.5743 | 32.5759 | 0 | 0.0016022 | -1.6488 | -1.6513 | 0 | -0.0024999
96310007.thi | 96310007.th3 | 1 | 149.9 | 150.3 | 0 | 0.40001 | 32.7982 | 32.8021 | 0 | 0.0039024 | -1.6618 | -1.6639 | 0 | -0.0021
96310007.thi | 96310007.th3 | 1 | 200 | 200 | 0 | 0 | 33.1434 | 33.1435 | 0 | 0.000103 | -1.5545 | -1.555 | 0 | -0.00049996
96310007.thi | 96310007.th3 | 1 | 249.9 | 249.8 | 0 | -0.099991 | 34.5015 | 34.4973 | 0 | -0.0042 | -0.3712 | -0.3766 | 0 | -0.0054
96310007.thi | 96310007.th3 | 1 | 299.9 | 299.9 | 0 | 0 | 34.689 | 34.6879 | 0 | -0.0010986 | 0.1301 | 0.1273 | 0 | -0.0028
96310007.thi | 96310007.th3 | 1 | 349.9 | 350.3 | 0 | 0.39999 | 34.757 | 34.7587 | 0 | 0.0017013 | 0.3426 | 0.3408 | 0 | -0.0018
96310007.thi | 96310007.th3 | 1 | 399.9 | 400 | 0 | 0.10001 | 34.7891 | 34.7893 | 0 | 0.00019836 | 0.4164 | 0.4153 | 0 | -0.0011
96310007.thi | 96310007.th3 | 1 | 449.9 | 450.1 | 0 | 0.20001 | 34.806 | 34.811 | 0 | 0.0050011 | 0.4395 | 0.439 | 0 | -0.00049999
96310007.thi | 96310007.th3 | 1 | 500 | 500 | 0 | 0 | 34.8233 | 34.8226 | 0 | -0.00069809 | 0.4315 | 0.4318 | 0 | 0.00030002
96310007.thi | 96310007.th3 | 0 | 523.1 | 0 | 0 | -523.1 | 34.8282 | 0 | 0 | -34.8282 | 0.4274 | 0 | 0 | -0.4274
96310016.thi | 96310016.th3 | 1 | 100.1 | 100 | 0 | -0.099999 | 32.6213 | 32.6263 | 0 | 0.0050011 | -1.6098 | -1.6131 | 0 | -0.0033001
96310016.thi | 96310016.th3 | 1 | 150 | 149.7 | 0 | -0.3 | 32.9686 | 32.9818 | 0 | 0.013199 | -1.6083 | -1.6048 | 0 | 0.0035
96310016.thi | 96310016.th3 | 1 | 200 | 199.7 | 0 | -0.3 | 33.9866 | 33.9507 | 0 | -0.0359 | -0.9218 | -0.9409 | 0 | -0.0191
96310016.thi | 96310016.th3 | 1 | 249.9 | 250.2 | 0 | 0.3 | 34.5657 | 34.573 | 0 | 0.0073013 | -0.2392 | -0.2417 | 0 | -0.0025
96310016.thi | 96310016.th3 | 1 | 300 | 300 | 0 | 0 | 34.7274 | 34.7307 | 0 | 0.0032997 | 0.2558 | 0.2538 | 0 | -0.002
96310016.thi | 96310016.th3 | 1 | 349.9 | 350.2 | 0 | 0.30002 | 34.7819 | 34.7928 | 0 | 0.010902 | 0.3949 | 0.3931 | 0 | -0.0018
96310016.thi | 96310016.th3 | 1 | 400.1 | 399.7 | 0 | -0.39999 | 34.8065 | 34.8207 | 0 | 0.014202 | 0.4251 | 0.4243 | 0 | -0.00080001
96310016.thi | 96310016.th3 | 1 | 439.3 | 439.2 | 0 | -0.099976 | 34.8232 | 34.8358 | 0 | 0.0126 | 0.4226 | 0.4252 | 0 | 0.0026
96310017.thi | 96310017.th3 | 1 | 99.9 | 100 | 0 | 0.099999 | 32.6002 | 32.6252 | 0 | 0.024998 | -1.6206 | -1.5988 | 0 | 0.0218
96310017.thi | 96310017.th3 | 1 | 150 | 149.7 | 0 | -0.3 | 33.0865 | 33.0974 | 0 | 0.010902 | -1.5253 | -1.534 | 0 | -0.0087
96310017.thi | 96310017.th3 | 1 | 200.1 | 200.2 | 0 | 0.099991 | 34.1948 | 34.2424 | 0 | 0.0476 | -0.762 | -0.7351 | 0 | 0.0269
96310017.thi | 96310017.th3 | 1 | 249.9 | 249.9 | 0 | 0 | 34.5929 | 34.5997 | 0 | 0.0068016 | -0.1926 | -0.1865 | 0 | 0.0061
96310017.thi | 96310017.th3 | 1 | 300 | 299.9 | 0 | -0.10001 | 34.7047 | 34.7056 | 0 | 0.00090027 | 0.1548 | 0.1522 | 0 | -0.0026
96310017.thi | 96310017.th3 | 1 | 350 | 350.1 | 0 | 0.10001 | 34.7647 | 34.7635 | 0 | -0.0012016 | 0.3578 | 0.3568 | 0 | -0.001
96310017.thi | 96310017.th3 | 1 | 400 | 400 | 0 | 0 | 34.7935 | 34.794 | 0 | 0.00049973 | 0.4194 | 0.4185 | 0 | -0.0009
96310017.thi | 96310017.th3 | 1 | 450 | 450.2 | 0 | 0.20001 | 34.8146 | 34.817 | 0 | 0.0023994 | 0.4366 | 0.4377 | 0 | 0.0011
96310017.thi | 96310017.th3 | 1 | 499.9 | 499.8 | 0 | -0.10001 | 34.8298 | 34.8287 | 0 | -0.0010986 | 0.428 | 0.4288 | 0 | 0.00079998
96310017.thi | 96310017.th3 | 1 | 550 | 550.2 | 0 | 0.20001 | 34.8442 | 34.8426 | 0 | -0.0015984 | 0.3951 | 0.3968 | 0 | 0.0017
96310017.thi | 96310017.th3 | 1 | 600 | 600.2 | 0 | 0.20001 | 34.8534 | 34.8516 | 0 | -0.0018005 | 0.3611 | 0.3614 | 0 | 0.00030002
96310017.thi | 96310017.th3 | 1 | 627.9 | 628.6 | 0 | 0.69995 | 34.8552 | 34.8562 | 0 | 0.00099945 | 0.349 | 0.3498 | 0 | 0.00079998
96310023.thi | 96310023.th3 | 1 | 99.9 | 100.2 | 0 | 0.3 | 32.6574 | 32.6826 | 0 | 0.0252 | -1.626 | -1.6441 | 0 | -0.0181
96310023.thi | 96310023.th3 | 1 | 150 | 150 | 0 | 0 | 33.1528 | 33.2125 | 0 | 0.0597 | -1.5553 | -1.521 | 0 | 0.0343
96310023.thi | 96310023.th3 | 1 | 200 | 200 | 0 | 0 | 34.5534 | 34.574 | 0 | 0.020603 | -0.2205 | -0.2136 | 0 | 0.0069
96310023.thi | 96310023.th3 | 0 | 215.8 | 0 | 0 | -215.8 | 34.6399 | 0 | 0 | -34.6399 | -0.0267 | 0 | 0 | 0.0267
96310044.thi | 96310044.th3 | 1 | 99.9 | 99.7 | 0 | -0.2 | 33.3091 | 33.322 | 0 | 0.012897 | -1.4216 | -1.4395 | 0 | -0.0179
96310044.thi | 96310044.th3 | 1 | 149.9 | 150 | 0 | 0.10001 | 34.5456 | 34.562 | 0 | 0.016399 | -0.2496 | -0.2578 | 0 | -0.0082
96310044.thi | 96310044.th3 | 1 | 200 | 199.9 | 0 | -0.10001 | 34.757 | 34.7607 | 0 | 0.0037003 | 0.3226 | 0.3227 | 0 | 9.9987e-05
96310044.thi | 96310044.th3 | 1 | 203.3 | 203.7 | 0 | 0.39999 | 34.7562 | 34.7597 | 0 | 0.0035019 | 0.3216 | 0.3234 | 0 | 0.0018
Create Fit Sheet