1996-31 File List

9631\DOC

9631_Proc_March2002.doc – processing document for Jan/Mar 2002 processing

9631File_List.doc – this document

Studies for calibration and choice of parameters for routines

9631com1.csv & .xls – output of COMPARE after initial calibration of ICTD and MCTD

9631com2.csv & .xls – output of COMPARE after correction of MCTD temperature

9631com3.csv & .xls – output of COMPARE after correction of MCTD salinity

ICTD_delete.xls – study to determine minimum descent rate to be used for DELETE

ICTD_pressure_study – study to determine correction to ICTD pressure

ICTD_timing.xls – study to determine sample interval for ICTD

mctd_surf_pres.xls – study to determine correction to MCTD pressure

1996-31_ICTD_conductivity_calibration_bottle_levels.doc

Calibration Control Files

1996bot.ccf - calibration control file for the initial calibration of the bottles (used in 2002)

1996mctd.ccf – 1st calibration control file for the MCTD (used in 2002)

1996new.ccf – calibration control file for the initial calibration of the ICTD (used in 2002)

9631rcal.ccf – final calibration of ICTD to correct salinity to match bottles

mctdtemp.ccf – 2nd calibration control file for the MCTD (used in 2002)

mctdsal.ccf – 3rd calibration control file for the MCTD (used in 2002)

Program and related files prepared by Humfrey Melling for time compensation

ICTD-ADJ96.exe

MCTD-ADJ96.exe

ICTD-lmR.lis

MCTD-lmR.lis

9631\ICTD\BOT

*.bot – bottle files, converted only

*.cob – bottle files after initial calibration

*.rac – bottle files after  final calibration, bottle-averaging and header editing

9631\ICTD\Fluor-Trans

*.re2 – files with Padj, Transmissivity and Fluorescence, -Converted but otherwise unprocessed.

9631\ICTD\PROCESSED

*.adj – after time compensation

*.box – after filtering (2 runs)

*.cal – after calibration of T and P and unit conversion of C

*.ctd – final files

*.del – after DELETE

*.edt – after editing in VIEWEDIT to remove spikes

*.edz – after CTDEDIT

*.log – CTDEDIT logs

delete.log – log file produced by DELETE

*.new – converted data with header editing done in 1998

*.raw – converted data from processing done in 1998

9631\ICTD\RAW

Data files from original acquisition:

BT1, C00, HDR, RAW

9631\MCTD\PROCESSED

*.adj – after time compensation

*.box – after filtering (2 runs)

*.cal – after initial calibration

*.cnv – converted files (work done in 1998)

*.co1 – after calibration of temperature to match ICTD

*.co2 – after calibration of salinity to match ICTD

*.ctd – final files

*.del – after DELETE

*.edt – after editing in VIEWEDIT to remove spikes

*.edz – after CTDEDIT

*.log – CTDEDIT logs

delete.log – log file produced by DELETE

9631\MCTD\RAW

Data files from original acquisition

DAT and 1534.CNF