## File List
Number of Files= |  | 7
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 97010005.hyd | 97010005.sam | 11 | 22 | 97010005.hyd & 97010005.sam
2 | 97010007.hyd | 97010007.sam | 24 | 31 | 97010007.hyd & 97010007.sam
3 | 97010010.hyd | 97010010.sam | 33 | 41 | 97010010.hyd & 97010010.sam
4 | 97010012.hyd | 97010012.sam | 43 | 51 | 97010012.hyd & 97010012.sam
5 | 97010014.hyd | 97010014.sam | 53 | 62 | 97010014.hyd & 97010014.sam
6 | 97010016.hyd | 97010016.sam | 64 | 71 | 97010016.hyd & 97010016.sam
7 | 97010018.hyd | 97010018.sam | 73 | 80 | 97010018.hyd & 97010018.sam

## (Salinity - Salinityb) Ch
Correction for Sea-Bird CTD 0443.

## (Salinity - Salinityb)
Calculation of Linear Least Squares Fit For
(Salinity - Salinityb)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Salinity - Salinityb), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | #VALUE! |  | X | CALC Y
m= | #VALUE! | #VALUE! |  | Std Dev of Resid |  | #VALUE! |  | #NAME? | #NAME?
b= | #VALUE! | #VALUE! |  | Resid Sum of Squares |  | #VALUE! |  | #NAME? | #NAME?
# of Values Extracted = |  |  | 64
# of Values Used in Fit = |  |  | 10
File | Use | Pressure | Salinity | Salinity | Diff (Salinity - Salinityb) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 221.792 | 31.2723 | 0.00026357 | -0.02227 | #VALUE! | #VALUE! |  | 221.792 | -0.02227
1 | YES | 200.965 | 31.2674 | 0.00052445 | -0.019995 | #VALUE! | #VALUE! |  | 200.965 | -0.019995
1 | YES | 150.817 | 31.2366 | 0.00053381 | -0.023207 | #VALUE! | #VALUE! |  | 150.817 | -0.023207
1 | NO | 124.779 | 31.2023 | 0.0019731 | -0.020254 | #VALUE! | #VALUE! |  | 144.32 | -0.014523
1 | NO | 99.867 | 30.8922 | 0.010778 | 0.0074596 | #VALUE! | #VALUE! |  | 149.897 | -0.013039
1 | NO | 75.015 | 30.078 | 0.00098481 | -0.012188 | #VALUE! | #VALUE! |  | 259.086 | -0.010731
1 | NO | 50.303 | 29.7272 | 0.0031816 | -0.026051 | #VALUE! | #VALUE! |  | 200.219 | -0.023127
1 | NO | 39.969 | 29.5674 | 0.0045008 | 0.016527 | #VALUE! | #VALUE! |  | 150.414 | -0.0072269
1 | NO | 30.538 | 29.3995 | 0.0099482 | 0.012003 | #VALUE! | #VALUE! |  | 146.905 | -0.0362
1 | NO | 20.049 | 29.2987 | 0.0013118 | -0.00086784 | #VALUE! | #VALUE! |  | 148.585 | -0.0020256
1 | NO | 9.81 | 29.1897 | 0.0070486 | 0.063909 | #VALUE! | #VALUE!
1 | NO | 1.644 | 26.1885 | 0.41224 | 1.9389 | #VALUE! | #VALUE!
2 | YES | 144.32 | 32.2423 | 0.00027816 | -0.014523 | #VALUE! | #VALUE!
2 | NO | 99.812 | 30.7963 | 0.0017533 | -0.20014 | #VALUE! | #VALUE!
2 | NO | 74.011 | 30.7117 | 0.00021175 | -0.0079498 | #VALUE! | #VALUE!
2 | NO | 49.628 | 30.3614 | 0.015497 | 0.057825 | #VALUE! | #VALUE!
2 | NO | 29.782 | 30.041 | 0.021597 | 0.021751 | #VALUE! | #VALUE!
2 | NO | 20.094 | 29.961 | 0.0016757 | -0.0116 | #VALUE! | #VALUE!
2 | NO | 9.719 | 29.8955 | 0.0035116 | 0.0030556 | #VALUE! | #VALUE!
2 | NO | 1.471 | 29.8597 | 0.00092058 | -0.012041 | #VALUE! | #VALUE!
3 | NO | 199.6 | 31.0877 | 0.00044561 | -0.32754 | #VALUE! | #VALUE!
3 | YES | 149.897 | 30.8825 | 0.0003025 | -0.013039 | #VALUE! | #VALUE!
3 | NO | 99.819 | 30.4652 | 0.00042164 | -0.01984 | #VALUE! | #VALUE!
3 | NO | 75.832 | 30.33 | 0.0041059 | 0.063854 | #VALUE! | #VALUE!
3 | NO | 49.919 | 30.1172 | 0.00020152 | -0.006094 | #VALUE! | #VALUE!
3 | NO | 29.805 | 30.0812 | 0.0022727 | -0.0052834 | #VALUE! | #VALUE!
3 | NO | 20.134 | 30.0684 | 0.00030558 | -0.0095654 | #VALUE! | #VALUE!
3 | NO | 9.984 | 30.0513 | 0.00061635 | -0.0058994 | #VALUE! | #VALUE!
3 | NO | 1.884 | 29.9952 | 0.002448 | -0.024065 | #VALUE! | #VALUE!
4 | YES | 259.086 | 30.8866 | 0.00045568 | -0.010731 | #VALUE! | #VALUE!
4 | YES | 200.219 | 30.5374 | 0.00045869 | -0.023127 | #VALUE! | #VALUE!
4 | YES | 150.414 | 30.3706 | 0.00044307 | -0.0072269 | #VALUE! | #VALUE!
4 | NO | 100.337 | 30.2081 | 0.0042494 | 0.0049229 | #VALUE! | #VALUE!
4 | NO | 75.128 | 30.0093 | 0.0028566 | -0.02001 | #VALUE! | #VALUE!
4 | NO | 50.28 | 29.9201 | 0.00028931 | -0.0071411 | #VALUE! | #VALUE!
4 | NO | 30.014 | 29.8967 | 0.00092973 | -0.0077629 | #VALUE! | #VALUE!
4 | NO | 20.23 | 29.8867 | 0.0028194 | 0.029449 | #VALUE! | #VALUE!
4 | NO | 9.746 | 29.8522 | 0.00086884 | 0.11678 | #VALUE! | #VALUE!
5 | NO | 310.888 | 31.2985 | 0.0013248 | 0.015474 | #VALUE! | #VALUE!
5 | NO | 199.956 | 30.7642 | 0.0073001 | -0.067549 | #VALUE! | #VALUE!
5 | YES | 146.905 | 30.3602 | 0 | -0.0362 | #VALUE! | #VALUE!
5 | NO | 101.867 | 30.1808 | 0.0010987 | -0.03348 | #VALUE! | #VALUE!
5 | NO | 75.014 | 29.9489 | 0.00051311 | -0.026649 | #VALUE! | #VALUE!
5 | NO | 49.955 | 29.8092 | 0.0054994 | 0.016857 | #VALUE! | #VALUE!
5 | NO | 30.339 | 29.7389 | 0.0010504 | -0.0010738 | #VALUE! | #VALUE!
5 | NO | 20.039 | 29.7361 | 0.00033879 | -0.0034676 | #VALUE! | #VALUE!
5 | NO | 9.996 | 29.7362 | 0.0016104 | 0.033689 | #VALUE! | #VALUE!
5 | NO | 1.431 | 29.6736 | 7.1481e-05 | -0.0029507 | #VALUE! | #VALUE!
6 | NO | 120.928 | 32.2677 | 0.0017702 | -1.1444e-05 | #VALUE! | #VALUE!
6 | NO | 100.295 | 31.8141 | 0.0010723 | -0.080324 | #VALUE! | #VALUE!
6 | NO | 74.812 | 31.1117 | 0.011909 | -0.054701 | #VALUE! | #VALUE!
6 | NO | 50.023 | 30.5633 | 0.0029651 | -0.0066834 | #VALUE! | #VALUE!
6 | NO | 30.286 | 30.0427 | 0.012896 | -0.01181 | #VALUE! | #VALUE!
6 | NO | 20.138 | 29.931 | 0.006863 | -0.0069008 | #VALUE! | #VALUE!
6 | NO | 9.763 | 29.8044 | 0.004921 | -0.010809 | #VALUE! | #VALUE!
6 | NO | 1.651 | 29.776 | 0 | -0.0040016 | #VALUE! | #VALUE!
7 | YES | 148.585 | 32.8204 | 9.496e-05 | -0.0020256 | #VALUE! | #VALUE!
7 | NO | 99.473 | 31.829 | 0 | -0.0292 | #VALUE! | #VALUE!
7 | NO | 75.006 | 31.4346 | 0.0005381 | -0.023775 | #VALUE! | #VALUE!
7 | NO | 49.879 | 30.4124 | 0.00049319 | -0.0057659 | #VALUE! | #VALUE!
7 | NO | 30.42 | 30.2242 | 0.0011551 | 0.00015259 | #VALUE! | #VALUE!
7 | NO | 20.376 | 30.2042 | 0.0004159 | -0.0039597 | #VALUE! | #VALUE!
7 | NO | 10.101 | 30.1964 | 0.00017087 | -0.004425 | #VALUE! | #VALUE!
7 | NO | 1.673 | 30.1967 | 0.00023874 | -0.0026665 | #VALUE! | #VALUE!
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
NO
NO
NO
NO
NO
NO
NO
NO
YES
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
NO
NO
NO
NO
NO
NO
NO
FIT vs. Pressure
FIT vs. Salinity
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 2
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | Salinityb | Salinity |  | Salinity - Salinityb
Average Size: | 0
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | Salinityb | Salinity | Salinity | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
97010005.hyd | 97010005.sam | 31 | 221.8 | 221.792 | 0 | -0.0079956 | 31.2946 | 31.2723 | 0.00026357 | -0.02227
97010005.hyd | 97010005.sam | 42 | 201 | 200.965 | 0 | -0.035004 | 31.2874 | 31.2674 | 0.00052445 | -0.019995
97010005.hyd | 97010005.sam | 29 | 150.8 | 150.817 | 0 | 0.016998 | 31.2598 | 31.2366 | 0.00053381 | -0.023207
97010005.hyd | 97010005.sam | 32 | 124.8 | 124.779 | 0 | -0.021004 | 31.2226 | 31.2023 | 0.0019731 | -0.020254
97010005.hyd | 97010005.sam | 20 | 99.9 | 99.867 | 0 | -0.033005 | 30.8847 | 30.8922 | 0.010778 | 0.0074596
97010005.hyd | 97010005.sam | 30 | 75 | 75.015 | 0 | 0.014999 | 30.0902 | 30.078 | 0.00098481 | -0.012188
97010005.hyd | 97010005.sam | 2 | 50.3 | 50.303 | 0 | 0.0030022 | 29.7533 | 29.7272 | 0.0031816 | -0.026051
97010005.hyd | 97010005.sam | 29 | 40 | 39.969 | 0 | -0.030998 | 29.5509 | 29.5674 | 0.0045008 | 0.016527
97010005.hyd | 97010005.sam | 24 | 30.5 | 30.538 | 0 | 0.038 | 29.3875 | 29.3995 | 0.0099482 | 0.012003
97010005.hyd | 97010005.sam | 25 | 20.1 | 20.049 | 0 | -0.051001 | 29.2996 | 29.2987 | 0.0013118 | -0.00086784
97010005.hyd | 97010005.sam | 24 | 10 | 9.81 | 0 | -0.19 | 29.1258 | 29.1897 | 0.0070486 | 0.063909
97010005.hyd | 97010005.sam | 22 | 1.6 | 1.644 | 0 | 0.044 | 24.2496 | 26.1885 | 0.41224 | 1.9389
97010007.hyd | 97010007.sam | 15 | 144.3 | 144.32 | 0 | 0.020004 | 32.2568 | 32.2423 | 0.00027816 | -0.014523
97010007.hyd | 97010007.sam | 11 | 99.8 | 99.812 | 0 | 0.011993 | 30.9964 | 30.7963 | 0.0017533 | -0.20014
97010007.hyd | 97010007.sam | 2 | 74.1 | 74.011 | 0 | -0.088997 | 30.7196 | 30.7117 | 0.00021175 | -0.0079498
97010007.hyd | 97010007.sam | 28 | 49.6 | 49.628 | 0 | 0.028 | 30.3036 | 30.3614 | 0.015497 | 0.057825
97010007.hyd | 97010007.sam | 31 | 29.8 | 29.782 | 0 | -0.018 | 30.0192 | 30.041 | 0.021597 | 0.021751
97010007.hyd | 97010007.sam | 9 | 20.1 | 20.094 | 0 | -0.0060005 | 29.9726 | 29.961 | 0.0016757 | -0.0116
97010007.hyd | 97010007.sam | 7 | 9.7 | 9.719 | 0 | 0.019 | 29.8924 | 29.8955 | 0.0035116 | 0.0030556
97010007.hyd | 97010007.sam | 29 | 1.5 | 1.471 | 0 | -0.029 | 29.8717 | 29.8597 | 0.00092058 | -0.012041
97010010.hyd | 97010010.sam | 21 | 199.6 | 199.6 | 0 | 0 | 31.4152 | 31.0877 | 0.00044561 | -0.32754
97010010.hyd | 97010010.sam | 21 | 149.9 | 149.897 | 0 | -0.0029907 | 30.8955 | 30.8825 | 0.0003025 | -0.013039
97010010.hyd | 97010010.sam | 5 | 99.8 | 99.819 | 0 | 0.018997 | 30.485 | 30.4652 | 0.00042164 | -0.01984
97010010.hyd | 97010010.sam | 15 | 75.8 | 75.832 | 0 | 0.031998 | 30.2661 | 30.33 | 0.0041059 | 0.063854
97010010.hyd | 97010010.sam | 15 | 49.9 | 49.919 | 0 | 0.018997 | 30.1233 | 30.1172 | 0.00020152 | -0.006094
97010010.hyd | 97010010.sam | 25 | 29.8 | 29.805 | 0 | 0.0050011 | 30.0865 | 30.0812 | 0.0022727 | -0.0052834
97010010.hyd | 97010010.sam | 12 | 20.2 | 20.134 | 0 | -0.066 | 30.078 | 30.0684 | 0.00030558 | -0.0095654
97010010.hyd | 97010010.sam | 7 | 10 | 9.984 | 0 | -0.016 | 30.0572 | 30.0513 | 0.00061635 | -0.0058994
97010010.hyd | 97010010.sam | 28 | 1.9 | 1.884 | 0 | -0.016 | 30.0193 | 29.9952 | 0.002448 | -0.024065
97010012.hyd | 97010012.sam | 30 | 259.1 | 259.086 | 0 | -0.014008 | 30.8973 | 30.8866 | 0.00045568 | -0.010731
97010012.hyd | 97010012.sam | 11 | 200.2 | 200.219 | 0 | 0.018997 | 30.5605 | 30.5374 | 0.00045869 | -0.023127
97010012.hyd | 97010012.sam | 15 | 150.4 | 150.414 | 0 | 0.014008 | 30.3778 | 30.3706 | 0.00044307 | -0.0072269
97010012.hyd | 97010012.sam | 9 | 100.3 | 100.337 | 0 | 0.036995 | 30.2032 | 30.2081 | 0.0042494 | 0.0049229
97010012.hyd | 97010012.sam | 22 | 75.1 | 75.128 | 0 | 0.028 | 30.0293 | 30.0093 | 0.0028566 | -0.02001
97010012.hyd | 97010012.sam | 32 | 50.3 | 50.28 | 0 | -0.020001 | 29.9272 | 29.9201 | 0.00028931 | -0.0071411
97010012.hyd | 97010012.sam | 53 | 30 | 30.014 | 0 | 0.014 | 29.9045 | 29.8967 | 0.00092973 | -0.0077629
97010012.hyd | 97010012.sam | 24 | 9.8 | 20.23 | 0 | 10.43 | 29.8573 | 29.8867 | 0.0028194 | 0.029449
97010012.hyd | 97010012.sam | 33 | 1.5 | 9.746 | 0 | 8.246 | 29.7354 | 29.8522 | 0.00086884 | 0.11678
97010014.hyd | 97010014.sam | 25 | 310.9 | 310.888 | 0 | -0.011993 | 31.283 | 31.2985 | 0.0013248 | 0.015474
97010014.hyd | 97010014.sam | 22 | 200 | 199.956 | 0 | -0.044006 | 30.8317 | 30.7642 | 0.0073001 | -0.067549
97010014.hyd | 97010014.sam | 1 | 146.9 | 146.905 | 0 | 0.0050049 | 30.3964 | 30.3602 | 0 | -0.0362
97010014.hyd | 97010014.sam | 5 | 101.9 | 101.867 | 0 | -0.033005 | 30.2143 | 30.1808 | 0.0010987 | -0.03348
97010014.hyd | 97010014.sam | 36 | 75 | 75.014 | 0 | 0.014 | 29.9756 | 29.9489 | 0.00051311 | -0.026649
97010014.hyd | 97010014.sam | 9 | 49.9 | 49.955 | 0 | 0.055 | 29.7923 | 29.8092 | 0.0054994 | 0.016857
97010014.hyd | 97010014.sam | 42 | 30.3 | 30.339 | 0 | 0.039002 | 29.74 | 29.7389 | 0.0010504 | -0.0010738
97010014.hyd | 97010014.sam | 28 | 20.1 | 20.039 | 0 | -0.061001 | 29.7396 | 29.7361 | 0.00033879 | -0.0034676
97010014.hyd | 97010014.sam | 18 | 10 | 9.996 | 0 | -0.0039997 | 29.7025 | 29.7362 | 0.0016104 | 0.033689
97010014.hyd | 97010014.sam | 2 | 1.4 | 1.431 | 0 | 0.031 | 29.6766 | 29.6736 | 7.1481e-05 | -0.0029507
97010016.hyd | 97010016.sam | 9 | 120.9 | 120.928 | 0 | 0.028 | 32.2677 | 32.2677 | 0.0017702 | -1.1444e-05
97010016.hyd | 97010016.sam | 4 | 100.4 | 100.295 | 0 | -0.105 | 31.8944 | 31.8141 | 0.0010723 | -0.080324
97010016.hyd | 97010016.sam | 6 | 74.8 | 74.812 | 0 | 0.011993 | 31.1664 | 31.1117 | 0.011909 | -0.054701
97010016.hyd | 97010016.sam | 6 | 50 | 50.023 | 0 | 0.022999 | 30.57 | 30.5633 | 0.0029651 | -0.0066834
97010016.hyd | 97010016.sam | 22 | 30.3 | 30.286 | 0 | -0.014 | 30.0545 | 30.0427 | 0.012896 | -0.01181
97010016.hyd | 97010016.sam | 5 | 20.1 | 20.138 | 0 | 0.038 | 29.9379 | 29.931 | 0.006863 | -0.0069008
97010016.hyd | 97010016.sam | 13 | 9.8 | 9.763 | 0 | -0.037001 | 29.8152 | 29.8044 | 0.004921 | -0.010809
97010016.hyd | 97010016.sam | 1 | 1.6 | 1.651 | 0 | 0.051 | 29.78 | 29.776 | 0 | -0.0040016
97010018.hyd | 97010018.sam | 4 | 148.6 | 148.585 | 0 | -0.014999 | 32.8224 | 32.8204 | 9.496e-05 | -0.0020256
97010018.hyd | 97010018.sam | 1 | 99.4 | 99.473 | 0 | 0.072998 | 31.8582 | 31.829 | 0 | -0.0292
97010018.hyd | 97010018.sam | 4 | 75 | 75.006 | 0 | 0.0059967 | 31.4584 | 31.4346 | 0.0005381 | -0.023775
97010018.hyd | 97010018.sam | 3 | 49.8 | 49.879 | 0 | 0.079002 | 30.4182 | 30.4124 | 0.00049319 | -0.0057659
97010018.hyd | 97010018.sam | 13 | 30.4 | 30.42 | 0 | 0.020001 | 30.224 | 30.2242 | 0.0011551 | 0.00015259
97010018.hyd | 97010018.sam | 5 | 20.4 | 20.376 | 0 | -0.024 | 30.2082 | 30.2042 | 0.0004159 | -0.0039597
97010018.hyd | 97010018.sam | 4 | 10 | 10.101 | 0 | 0.101 | 30.2008 | 30.1964 | 0.00017087 | -0.004425
97010018.hyd | 97010018.sam | 12 | 1.7 | 1.673 | 0 | -0.027 | 30.1994 | 30.1967 | 0.00023874 | -0.0026665
Create Fit Sheet