## File List
Number of Files= |  | 2
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 97030004.srt | 97030003.avg | 11 | 19 | 97030004.srt & 97030003.avg
2 | 97030009.srt | 97030008.avg | 21 | 29 | 97030009.srt & 97030008.avg

## (Salinity - Salinityb) Ch
Correction for CTD 53,501
Casts 1-9.

## (Salinity - Salinityb)
Calculation of Linear Least Squares Fit For
(Salinity - Salinityb)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Salinity - Salinityb), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | #VALUE! |  | X | CALC Y
m= | #VALUE! | #VALUE! |  | Std Dev of Resid |  | #VALUE! |  | #NAME? | #NAME?
b= | #VALUE! | #VALUE! |  | Resid Sum of Squares |  | #VALUE! |  | #NAME? | #NAME?
# of Values Extracted = |  |  | 18
# of Values Used in Fit = |  |  | 4
File | Use | Pressure | Salinity | Salinity | Diff (Salinity - Salinityb) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 0.62 | 30.0892 | 0 | 0.2578 | #VALUE! | #VALUE! |  | 100.48 | 0.015749
1 | NO | 10.5 | 30.0301 | 0.0028296 | 0.1045 | #VALUE! | #VALUE! |  | 76.5 | 0.015301
1 | NO | 20.51 | 30.0817 | 0.00091846 | 0.13565 | #VALUE! | #VALUE! |  | 101.485 | 0.019451
1 | NO | 20.51 | 30.0817 | 0.00091846 | 0.13535 | #VALUE! | #VALUE! |  | 125.475 | 0.018249
1 | NO | 30.485 | 30.0951 | 0.0023346 | 0.13965 | #VALUE! | #VALUE!
1 | NO | 50.485 | 30.0928 | 0.00091846 | 0.051151 | #VALUE! | #VALUE!
1 | NO | 76.485 | 30.2945 | 0.0059397 | -0.0102 | #VALUE! | #VALUE!
1 | YES | 100.48 | 30.5613 | 0.072196 | 0.015749 | #VALUE! | #VALUE!
1 | NO | 0 | 0 | 0 | -30.9382 | #VALUE! | #VALUE!
2 | NO | 0.34 | 28.2088 | 0 | -0.3104 | #VALUE! | #VALUE!
2 | NO | 11.475 | 29.1676 | 0.0033947 | -0.0312 | #VALUE! | #VALUE!
2 | NO | 22.515 | 29.316 | 0.020719 | 0.06995 | #VALUE! | #VALUE!
2 | NO | 22.515 | 29.316 | 0.020719 | -0.087549 | #VALUE! | #VALUE!
2 | NO | 31.495 | 29.555 | 0.02595 | -0.03455 | #VALUE! | #VALUE!
2 | NO | 51.49 | 29.6669 | 0.0007782 | 0.01675 | #VALUE! | #VALUE!
2 | YES | 76.5 | 29.6963 | 0.0005651 | 0.015301 | #VALUE! | #VALUE!
2 | YES | 101.485 | 29.7332 | 0.0007782 | 0.019451 | #VALUE! | #VALUE!
2 | YES | 125.475 | 29.7682 | 0.0007782 | 0.018249 | #VALUE! | #VALUE!
NO
NO
NO
NO
NO
NO
NO
YES
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
FIT vs. Pressure
FIT vs. Salinity
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 2
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | Salinityb | Salinity |  | Salinity - Salinityb
Average Size: | 1
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | Salinityb | Salinity | Salinity | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
97030004.srt | 97030003.avg | 2 | 0 | 0.62 | 0.46669 | 0.62 | 29.8314 | 30.0892 | 0 | 0.2578
97030004.srt | 97030003.avg | 2 | 10.8 | 10.5 | 0.69296 | -0.3 | 29.9256 | 30.0301 | 0.0028296 | 0.1045
97030004.srt | 97030003.avg | 2 | 20.5 | 20.51 | 0.70711 | 0.01 | 29.9461 | 30.0817 | 0.00091846 | 0.13565
97030004.srt | 97030003.avg | 2 | 20.5 | 20.51 | 0.70711 | 0.01 | 29.9464 | 30.0817 | 0.00091846 | 0.13535
97030004.srt | 97030003.avg | 2 | 30.6 | 30.485 | 0.70004 | -0.115 | 29.9554 | 30.0951 | 0.0023346 | 0.13965
97030004.srt | 97030003.avg | 2 | 50.8 | 50.485 | 0.70003 | -0.315 | 30.0416 | 30.0928 | 0.00091846 | 0.051151
97030004.srt | 97030003.avg | 2 | 76.1 | 76.485 | 0.70004 | 0.385 | 30.3047 | 30.2945 | 0.0059397 | -0.0102
97030004.srt | 97030003.avg | 2 | 100.7 | 100.48 | 0.70711 | -0.21999 | 30.5456 | 30.5613 | 0.072196 | 0.015749
97030004.srt | 97030003.avg | 0 | 156 | 0 | 0 | -156 | 30.9382 | 0 | 0 | -30.9382
97030009.srt | 97030008.avg | 1 | 0 | 0.34 | 0 | 0.34 | 28.5192 | 28.2088 | 0 | -0.3104
97030009.srt | 97030008.avg | 2 | 11.3 | 11.475 | 0.72832 | 0.175 | 29.1988 | 29.1676 | 0.0033947 | -0.0312
97030009.srt | 97030008.avg | 2 | 22.6 | 22.515 | 0.72832 | -0.085001 | 29.246 | 29.316 | 0.020719 | 0.06995
97030009.srt | 97030008.avg | 2 | 22.6 | 22.515 | 0.72832 | -0.085001 | 29.4035 | 29.316 | 0.020719 | -0.087549
97030009.srt | 97030008.avg | 2 | 31.8 | 31.495 | 0.71418 | -0.305 | 29.5895 | 29.555 | 0.02595 | -0.03455
97030009.srt | 97030008.avg | 2 | 51.8 | 51.49 | 0.70711 | -0.31 | 29.6501 | 29.6669 | 0.0007782 | 0.01675
97030009.srt | 97030008.avg | 2 | 76.4 | 76.5 | 0.72125 | 0.099999 | 29.681 | 29.6963 | 0.0005651 | 0.015301
97030009.srt | 97030008.avg | 2 | 101.8 | 101.485 | 0.71417 | -0.315 | 29.7137 | 29.7332 | 0.0007782 | 0.019451
97030009.srt | 97030008.avg | 2 | 125.6 | 125.475 | 0.71418 | -0.12499 | 29.7499 | 29.7682 | 0.0007782 | 0.018249
Create Fit Sheet