## File List
Number of Files= |  | 8
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 97130024.hyd | 97130024.sam | 11 | 32 | 97130024.hyd & 97130024.sam
2 | 97130036.hyd | 97130036.sam | 34 | 51 | 97130036.hyd & 97130036.sam
3 | 97130040.hyd | 97130040.sam | 53 | 72 | 97130040.hyd & 97130040.sam
4 | 97130066.hyd | 97130066.sam | 74 | 93 | 97130066.hyd & 97130066.sam
5 | 97130072.hyd | 97130072.sam | 95 | 114 | 97130072.hyd & 97130072.sam
6 | 97130106.hyd | 97130106.sam | 116 | 135 | 97130106.hyd & 97130106.sam
7 | 97130112.hyd | 97130112.sam | 137 | 153 | 97130112.hyd & 97130112.sam
8 | 97130188.hyd | 97130188.sam | 155 | 178 | 97130188.hyd & 97130188.sam

## (Sal00 - Salinityb) Ch
Correction for Sea-Bird CTD 0437.

## (Sal00 - Salinityb)
Calculation of Linear Least Squares Fit For
(Sal00 - Salinityb)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal00 - Salinityb), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | #VALUE! |  | X | CALC Y
m= | #VALUE! | #VALUE! |  | Std Dev of Resid |  | #VALUE! |  | #NAME? | #NAME?
b= | #VALUE! | #VALUE! |  | Resid Sum of Squares |  | #VALUE! |  | #NAME? | #NAME?
# of Values Extracted = |  |  | 161
# of Values Used in Fit = |  |  | 36
File | Use | Pressure | Sal00 | Sal00 | Diff (Sal00 - Salinityb) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 326.337 | 34.0312 | 0.00033903 | -0.024601 | #VALUE! | #VALUE! |  | 326.337 | -0.024601
1 | NO | 274.395 | 34.0186 | 0.0012083 | -0.023956 | #VALUE! | #VALUE! |  | 1200.3 | -0.024983
1 | NO | 254.668 | 34.0022 | 0.0016344 | -0.02882 | #VALUE! | #VALUE! |  | 1000.75 | -0.024597
1 | NO | 224.782 | 33.9632 | 0.0022194 | -0.02618 | #VALUE! | #VALUE! |  | 799.778 | -0.02322
1 | NO | 200.232 | 33.9418 | 0.0019971 | -0.025345 | #VALUE! | #VALUE! |  | 600.3 | -0.023231
1 | NO | 174.432 | 33.8932 | 0.00075973 | -0.026363 | #VALUE! | #VALUE! |  | 500.681 | -0.024437
1 | NO | 149.274 | 33.8405 | 0.0016419 | -0.026894 | #VALUE! | #VALUE! |  | 1001.38 | -0.0238
1 | NO | 124.412 | 33.7744 | 0.00058591 | -0.026791 | #VALUE! | #VALUE! |  | 798.55 | -0.024548
1 | NO | 99.6552 | 33.5563 | 0.0022372 | -0.052303 | #VALUE! | #VALUE! |  | 498.333 | -0.023003
1 | NO | 75.4505 | 32.8531 | 0.034849 | -0.063221 | #VALUE! | #VALUE! |  | 303.401 | -0.026417
1 | NO | 49.3638 | 32.482 | 0.0024844 | -0.035953 | #VALUE! | #VALUE! |  | 1729.93 | -0.021645
1 | NO | 30.0108 | 32.2398 | 0.013864 | -0.073505 | #VALUE! | #VALUE! |  | 1199.92 | -0.018642
1 | NO | 20.2498 | 32.0517 | 0.0054059 | -0.039886 | #VALUE! | #VALUE! |  | 1000.18 | -0.021469
1 | NO | 19.989 | 32.0484 | 0.0038284 | -0.041588 | #VALUE! | #VALUE! |  | 799.096 | -0.019077
1 | NO | 14.3114 | 31.7084 | 0.020542 | 0.027805 | #VALUE! | #VALUE! |  | 1900.49 | -0.022633
1 | NO | 8.9289 | 30.1944 | 0.088697 | 0.036024 | #VALUE! | #VALUE! |  | 1200.41 | -0.019222
1 | NO | 9.4682 | 30.3649 | 0.018906 | 0.056452 | #VALUE! | #VALUE! |  | 1000.74 | -0.021679
1 | NO | 4.4099 | 29.9859 | 0.0061926 | -0.017519 | #VALUE! | #VALUE! |  | 799.556 | -0.019417
1 | NO | 5.1904 | 29.9761 | 0.006741 | -0.030911 | #VALUE! | #VALUE! |  | 600.221 | -0.020443
1 | NO | 5.0534 | 29.9841 | 0.0048632 | -0.023272 | #VALUE! | #VALUE! |  | 500.397 | -0.020142
1 | NO | 1.2597 | 29.9685 | 0.0094723 | -0.030855 | #VALUE! | #VALUE! |  | 1547.59 | -0.02354
1 | NO | 1.8459 | 29.9812 | 0.0097011 | -0.019095 | #VALUE! | #VALUE! |  | 1200.96 | -0.023937
2 | YES | 1200.3 | 34.4093 | 0.00040657 | -0.024983 | #VALUE! | #VALUE! |  | 1001.9 | -0.022331
2 | YES | 1000.75 | 34.3286 | 0.0003074 | -0.024597 | #VALUE! | #VALUE! |  | 800.248 | -0.023556
2 | YES | 799.778 | 34.2354 | 0.00044943 | -0.02322 | #VALUE! | #VALUE! |  | 601.961 | -0.023209
2 | YES | 600.3 | 34.1224 | 0.00036729 | -0.023231 | #VALUE! | #VALUE! |  | 499.874 | -0.025028
2 | YES | 500.681 | 34.0742 | 0.00033733 | -0.024437 | #VALUE! | #VALUE! |  | 800.116 | -0.022205
2 | NO | 399.22 | 34.0323 | 0.001059 | 133.032 | #VALUE! | #VALUE! |  | 600.187 | -0.021149
2 | NO | 299.568 | 33.9865 | 0.0003242 | 132.987 | #VALUE! | #VALUE! |  | 495.926 | -0.020229
2 | NO | 248.578 | 33.9748 | 0.00032584 | 132.975 | #VALUE! | #VALUE! |  | 399.847 | -0.022171
2 | NO | 199.54 | 33.9315 | 0.00065351 | 132.932 | #VALUE! | #VALUE! |  | 1801.25 | -0.022881
2 | NO | 150.349 | 33.875 | 0.0044282 | 132.875 | #VALUE! | #VALUE! |  | 1199.09 | -0.023205
2 | NO | 124.094 | 33.7215 | 0.0078633 | 132.721 | #VALUE! | #VALUE! |  | 998.911 | -0.019978
2 | NO | 100.123 | 33.4643 | 0.023001 | 132.464 | #VALUE! | #VALUE! |  | 798.525 | -0.021709
2 | NO | 74.8976 | 32.9148 | 0.027023 | 131.915 | #VALUE! | #VALUE! |  | 599.532 | -0.019897
2 | NO | 50.6294 | 32.3903 | 0.00709 | 131.39 | #VALUE! | #VALUE! |  | 500.267 | -0.023277
2 | NO | 30.4302 | 32.1627 | 0.019049 | 131.163 | #VALUE! | #VALUE!
2 | NO | 20.6638 | 31.8229 | 0.049623 | 130.823 | #VALUE! | #VALUE!
2 | NO | 10.5305 | 30.9055 | 0.007934 | 129.906 | #VALUE! | #VALUE!
2 | NO | 0.17984 | 30.8976 | 0.0022919 | 129.898 | #VALUE! | #VALUE!
3 | YES | 1001.38 | 34.3342 | 0.00022653 | -0.0238 | #VALUE! | #VALUE!
3 | YES | 798.55 | 34.256 | 0.00030348 | -0.024548 | #VALUE! | #VALUE!
3 | YES | 498.333 | 34.0918 | 0.00028862 | -0.023003 | #VALUE! | #VALUE!
3 | YES | 303.401 | 33.982 | 0.00020626 | -0.026417 | #VALUE! | #VALUE!
3 | NO | 151.111 | 33.8798 | 0.00038638 | -0.024624 | #VALUE! | #VALUE!
3 | NO | 100.88 | 33.7154 | 0.00028886 | 132.715 | #VALUE! | #VALUE!
3 | NO | 74.8329 | 33.5186 | 0.0031076 | 132.519 | #VALUE! | #VALUE!
3 | NO | 49.3307 | 32.8752 | 0.0048115 | 131.875 | #VALUE! | #VALUE!
3 | NO | 29.9392 | 32.0372 | 0.0081969 | 131.037 | #VALUE! | #VALUE!
3 | NO | 29.9814 | 32.0338 | 0.0030588 | 131.034 | #VALUE! | #VALUE!
3 | NO | 19.7732 | 31.5424 | 0.018756 | 130.542 | #VALUE! | #VALUE!
3 | NO | 14.7288 | 31.5555 | 0.0079629 | 130.555 | #VALUE! | #VALUE!
3 | NO | 14.722 | 31.5458 | 0.0045103 | 130.546 | #VALUE! | #VALUE!
3 | NO | 9.7622 | 31.0804 | 0.017541 | 130.08 | #VALUE! | #VALUE!
3 | NO | 4.0229 | 31.0714 | 0.0013365 | 130.071 | #VALUE! | #VALUE!
3 | NO | 4.449 | 31.069 | 0.00019939 | 130.069 | #VALUE! | #VALUE!
3 | NO | 4.4617 | 31.0692 | 0.00022776 | 130.069 | #VALUE! | #VALUE!
3 | NO | 4.4008 | 31.0693 | 0.0002317 | 130.069 | #VALUE! | #VALUE!
3 | NO | 0.87316 | 31.0681 | 0.0001943 | 130.068 | #VALUE! | #VALUE!
3 | NO | 0.99989 | 31.0685 | 0.00021829 | 130.069 | #VALUE! | #VALUE!
4 | YES | 1729.93 | 34.5202 | 0.0002709 | -0.021645 | #VALUE! | #VALUE!
4 | YES | 1199.92 | 34.4028 | 0.00025553 | -0.018642 | #VALUE! | #VALUE!
4 | YES | 1000.18 | 34.3346 | 0.00034641 | -0.021469 | #VALUE! | #VALUE!
4 | YES | 799.096 | 34.2621 | 0.00040115 | -0.019077 | #VALUE! | #VALUE!
4 | NO | 598.722 | 34.1594 | 0.00036993 | 133.159 | #VALUE! | #VALUE!
4 | NO | 499.13 | 34.0765 | 0.00067506 | 133.076 | #VALUE! | #VALUE!
4 | NO | 399.74 | 33.9969 | 0.0020246 | 132.997 | #VALUE! | #VALUE!
4 | NO | 299.406 | 33.959 | 0.00038501 | 132.959 | #VALUE! | #VALUE!
4 | NO | 249.428 | 33.9393 | 0.0002876 | 132.939 | #VALUE! | #VALUE!
4 | NO | 200.104 | 33.902 | 0.0021088 | 132.902 | #VALUE! | #VALUE!
4 | NO | 174.416 | 33.8703 | 0.00036674 | 132.87 | #VALUE! | #VALUE!
4 | NO | 149.98 | 33.8028 | 0.0029016 | 132.803 | #VALUE! | #VALUE!
4 | NO | 125.173 | 33.6989 | 0.002351 | 132.699 | #VALUE! | #VALUE!
4 | NO | 100.25 | 33.3651 | 0.011122 | 132.365 | #VALUE! | #VALUE!
4 | NO | 75.4885 | 32.7359 | 0.0056156 | 131.736 | #VALUE! | #VALUE!
4 | NO | 50.2798 | 32.5288 | 0.0015691 | 131.529 | #VALUE! | #VALUE!
4 | NO | 29.9082 | 32.3464 | 0.0020903 | 131.346 | #VALUE! | #VALUE!
4 | NO | 20.3327 | 32.0124 | 0.0085325 | 131.012 | #VALUE! | #VALUE!
4 | NO | 10.1051 | 30.4719 | 0.002437 | 129.472 | #VALUE! | #VALUE!
4 | NO | 0.72208 | 30.4839 | 0.00030233 | 129.484 | #VALUE! | #VALUE!
5 | YES | 1900.49 | 34.5424 | 0.00045506 | -0.022633 | #VALUE! | #VALUE!
5 | YES | 1200.41 | 34.4073 | 0.00023055 | -0.019222 | #VALUE! | #VALUE!
5 | YES | 1000.74 | 34.3431 | 0.00047704 | -0.021679 | #VALUE! | #VALUE!
5 | YES | 799.556 | 34.2741 | 0.00054347 | -0.019417 | #VALUE! | #VALUE!
5 | YES | 600.221 | 34.1533 | 0.0018838 | -0.020443 | #VALUE! | #VALUE!
5 | YES | 500.397 | 34.0553 | 0.00037525 | -0.020142 | #VALUE! | #VALUE!
5 | NO | 400.432 | 33.9949 | 0.0015758 | 132.995 | #VALUE! | #VALUE!
5 | NO | 301.221 | 33.9421 | 0.00034952 | 132.942 | #VALUE! | #VALUE!
5 | NO | 249.883 | 33.9242 | 0.0007746 | 132.924 | #VALUE! | #VALUE!
5 | NO | 202.54 | 33.906 | 0.00099143 | 132.906 | #VALUE! | #VALUE!
5 | NO | 176.007 | 33.8778 | 0.0012842 | 132.878 | #VALUE! | #VALUE!
5 | NO | 150.373 | 33.805 | 0.004199 | 132.805 | #VALUE! | #VALUE!
5 | NO | 125.625 | 33.6677 | 0.0041086 | 132.668 | #VALUE! | #VALUE!
5 | NO | 100.342 | 33.2838 | 0.014465 | 132.284 | #VALUE! | #VALUE!
5 | NO | 74.8425 | 32.6208 | 0.006704 | 131.621 | #VALUE! | #VALUE!
5 | NO | 50.2735 | 32.4531 | 0.0039275 | 131.453 | #VALUE! | #VALUE!
5 | NO | 29.6163 | 32.3858 | 0.0059218 | 131.386 | #VALUE! | #VALUE!
5 | NO | 20.7259 | 32.1774 | 0.079498 | 131.177 | #VALUE! | #VALUE!
5 | NO | 10.241 | 30.6096 | 0.0016767 | 129.61 | #VALUE! | #VALUE!
5 | NO | 0.80882 | 30.6104 | 0.00024403 | 129.61 | #VALUE! | #VALUE!
6 | YES | 1547.59 | 34.4761 | 0.00022442 | -0.02354 | #VALUE! | #VALUE!
6 | YES | 1200.96 | 34.4143 | 0.0002474 | -0.023937 | #VALUE! | #VALUE!
6 | YES | 1001.9 | 34.3441 | 0.00060692 | -0.022331 | #VALUE! | #VALUE!
6 | YES | 800.248 | 34.2584 | 0.00048632 | -0.023556 | #VALUE! | #VALUE!
6 | YES | 601.961 | 34.1535 | 0.00051984 | -0.023209 | #VALUE! | #VALUE!
6 | YES | 499.874 | 34.0872 | 0.00032425 | -0.025028 | #VALUE! | #VALUE!
6 | NO | 399.91 | 34.0377 | 0.00026842 | 133.038 | #VALUE! | #VALUE!
6 | NO | 302.532 | 33.9864 | 0.0005012 | 132.986 | #VALUE! | #VALUE!
6 | NO | 250.617 | 33.9587 | 0.00027805 | 132.959 | #VALUE! | #VALUE!
6 | NO | 201.134 | 33.9181 | 0.0036038 | 132.918 | #VALUE! | #VALUE!
6 | NO | 175.153 | 33.8474 | 0.00072584 | 132.847 | #VALUE! | #VALUE!
6 | NO | 150.256 | 33.7507 | 0.0034633 | 132.751 | #VALUE! | #VALUE!
6 | NO | 126.025 | 33.5392 | 0.0050192 | 132.539 | #VALUE! | #VALUE!
6 | NO | 100.362 | 33.3226 | 0.0026469 | 132.323 | #VALUE! | #VALUE!
6 | NO | 75.4401 | 32.7391 | 0.0030294 | 131.739 | #VALUE! | #VALUE!
6 | NO | 50.2911 | 32.4833 | 0.0029448 | 131.483 | #VALUE! | #VALUE!
6 | NO | 30.8292 | 32.4089 | 0.0033794 | 131.409 | #VALUE! | #VALUE!
6 | NO | 20.1363 | 32.1725 | 0.0036687 | 131.173 | #VALUE! | #VALUE!
6 | NO | 10.8461 | 30.5818 | 0.0010093 | 129.582 | #VALUE! | #VALUE!
6 | NO | 0.46211 | 30.5604 | 0.0015292 | -0.024017 | #VALUE! | #VALUE!
7 | NO | 0 | 0 | 0 | -34.4445 | #VALUE! | #VALUE!
7 | YES | 800.116 | 34.2502 | 0.00043306 | -0.022205 | #VALUE! | #VALUE!
7 | YES | 600.187 | 34.1437 | 0.00062255 | -0.021149 | #VALUE! | #VALUE!
7 | YES | 495.926 | 34.0834 | 0.0008122 | -0.020229 | #VALUE! | #VALUE!
7 | YES | 399.847 | 34.0322 | 0.00037537 | -0.022171 | #VALUE! | #VALUE!
7 | NO | 299.902 | 33.9844 | 0.00058994 | -0.015259 | #VALUE! | #VALUE!
7 | NO | 199.896 | 33.9085 | 0.0024027 | -0.021862 | #VALUE! | #VALUE!
7 | NO | 174.242 | 33.8417 | 0.0017756 | -0.032906 | #VALUE! | #VALUE!
7 | NO | 149.778 | 33.7711 | 0.0017556 | -0.029656 | #VALUE! | #VALUE!
7 | NO | 124.985 | 33.6522 | 0.017217 | -0.022621 | #VALUE! | #VALUE!
7 | NO | 100.344 | 33.3356 | 0.032663 | -0.020706 | #VALUE! | #VALUE!
7 | NO | 73.804 | 32.5766 | 0.0041371 | -0.030582 | #VALUE! | #VALUE!
7 | NO | 50.0257 | 32.5035 | 0.010487 | -0.0007515 | #VALUE! | #VALUE!
7 | NO | 30.1354 | 32.4123 | 0.01884 | -0.031487 | #VALUE! | #VALUE!
7 | NO | 19.9259 | 32.2954 | 0.065926 | -0.072674 | #VALUE! | #VALUE!
7 | NO | 9.9634 | 31.5573 | 0.29604 | 0.5701 | #VALUE! | #VALUE!
7 | NO | 0.23927 | 30.4217 | 0.0010199 | -0.022993 | #VALUE! | #VALUE!
8 | YES | 1801.25 | 34.5391 | 0.00067364 | -0.022881 | #VALUE! | #VALUE!
8 | YES | 1199.09 | 34.4296 | 0.00029135 | -0.023205 | #VALUE! | #VALUE!
8 | YES | 998.911 | 34.3646 | 0.00074823 | -0.019978 | #VALUE! | #VALUE!
8 | YES | 798.525 | 34.2669 | 0.00075799 | -0.021709 | #VALUE! | #VALUE!
8 | YES | 599.532 | 34.1535 | 0.0012639 | -0.019897 | #VALUE! | #VALUE!
8 | YES | 500.267 | 34.0827 | 0.0010405 | -0.023277 | #VALUE! | #VALUE!
8 | NO | 400.453 | 34.029 | 0.0025586 | 133.029 | #VALUE! | #VALUE!
8 | NO | 299.03 | 33.9701 | 0.0013307 | 132.97 | #VALUE! | #VALUE!
8 | NO | 199.343 | 33.9172 | 0.0029204 | 132.917 | #VALUE! | #VALUE!
8 | NO | 149.763 | 33.823 | 0.0056797 | 132.823 | #VALUE! | #VALUE!
8 | NO | 99.2373 | 33.4991 | 0.029728 | 132.499 | #VALUE! | #VALUE!
8 | NO | 74.8058 | 32.7081 | 0.03398 | 131.708 | #VALUE! | #VALUE!
8 | NO | 59.6532 | 32.4814 | 0.010976 | 131.481 | #VALUE! | #VALUE!
8 | NO | 59.496 | 32.4883 | 0.015797 | 131.488 | #VALUE! | #VALUE!
8 | NO | 49.4321 | 32.4289 | 0.008142 | 131.429 | #VALUE! | #VALUE!
8 | NO | 32.9792 | 32.4094 | 0.0048382 | 131.409 | #VALUE! | #VALUE!
8 | NO | 19.5233 | 32.1024 | 0.08262 | 131.102 | #VALUE! | #VALUE!
8 | NO | 19.57 | 31.9016 | 0.021186 | 130.902 | #VALUE! | #VALUE!
8 | NO | 8.8443 | 30.7679 | 0.011149 | 129.768 | #VALUE! | #VALUE!
8 | NO | 5.2524 | 30.7519 | 0.00023863 | 129.752 | #VALUE! | #VALUE!
8 | NO | 5.4745 | 30.7523 | 0.0002594 | -0.025328 | #VALUE! | #VALUE!
8 | NO | 5.4511 | 30.7523 | 0.00024224 | -0.02569 | #VALUE! | #VALUE!
8 | NO | 0.58342 | 30.753 | 0.00082251 | -0.024849 | #VALUE! | #VALUE!
8 | NO | 0.19007 | 30.7528 | 0.00030222 | -0.024761 | #VALUE! | #VALUE!
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
FIT vs. Pressure
FIT vs. Sal00
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 2
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | Salinityb | Sal00 |  | Sal00 - Salinityb
Average Size: | 1.5
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | Salinityb | Sal00 | Sal00 | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
97130024.hyd | 97130024.sam | 73 | 326.3 | 326.337 | 0.1898 | 0.037018 | 34.0558 | 34.0312 | 0.00033903 | -0.024601
97130024.hyd | 97130024.sam | 73 | 274.4 | 274.395 | 0.47143 | -0.0046997 | 34.0426 | 34.0186 | 0.0012083 | -0.023956
97130024.hyd | 97130024.sam | 73 | 254.7 | 254.668 | 0.23812 | -0.032364 | 34.031 | 34.0022 | 0.0016344 | -0.02882
97130024.hyd | 97130024.sam | 73 | 224.8 | 224.782 | 0.38481 | -0.018356 | 33.9894 | 33.9632 | 0.0022194 | -0.02618
97130024.hyd | 97130024.sam | 73 | 200.2 | 200.232 | 0.40949 | 0.031937 | 33.9671 | 33.9418 | 0.0019971 | -0.025345
97130024.hyd | 97130024.sam | 73 | 174.4 | 174.432 | 0.55453 | 0.032089 | 33.9196 | 33.8932 | 0.00075973 | -0.026363
97130024.hyd | 97130024.sam | 73 | 149.3 | 149.274 | 0.19389 | -0.026489 | 33.8674 | 33.8405 | 0.0016419 | -0.026894
97130024.hyd | 97130024.sam | 73 | 124.4 | 124.412 | 0.3413 | 0.012161 | 33.8012 | 33.7744 | 0.00058591 | -0.026791
97130024.hyd | 97130024.sam | 73 | 99.7 | 99.6552 | 0.15801 | -0.044823 | 33.6086 | 33.5563 | 0.0022372 | -0.052303
97130024.hyd | 97130024.sam | 73 | 75.5 | 75.4505 | 0.52724 | -0.049492 | 32.9163 | 32.8531 | 0.034849 | -0.063221
97130024.hyd | 97130024.sam | 73 | 49.4 | 49.3638 | 0.34612 | -0.036194 | 32.518 | 32.482 | 0.0024844 | -0.035953
97130024.hyd | 97130024.sam | 73 | 30 | 30.0108 | 0.14406 | 0.010794 | 32.3133 | 32.2398 | 0.013864 | -0.073505
97130024.hyd | 97130024.sam | 73 | 20.3 | 20.2498 | 0.19914 | -0.050245 | 32.0916 | 32.0517 | 0.0054059 | -0.039886
97130024.hyd | 97130024.sam | 73 | 20 | 19.989 | 0.091045 | -0.011042 | 32.09 | 32.0484 | 0.0038284 | -0.041588
97130024.hyd | 97130024.sam | 73 | 14.3 | 14.3114 | 0.27326 | 0.011383 | 31.6806 | 31.7084 | 0.020542 | 0.027805
97130024.hyd | 97130024.sam | 73 | 8.9 | 8.9289 | 0.14607 | 0.028863 | 30.1584 | 30.1944 | 0.088697 | 0.036024
97130024.hyd | 97130024.sam | 73 | 9.5 | 9.4682 | 0.29156 | -0.031767 | 30.3084 | 30.3649 | 0.018906 | 0.056452
97130024.hyd | 97130024.sam | 73 | 4.4 | 4.4099 | 0.23494 | 0.0098906 | 30.0034 | 29.9859 | 0.0061926 | -0.017519
97130024.hyd | 97130024.sam | 73 | 5.2 | 5.1904 | 0.22031 | -0.0096025 | 30.007 | 29.9761 | 0.006741 | -0.030911
97130024.hyd | 97130024.sam | 73 | 5.1 | 5.0534 | 0.2259 | -0.046644 | 30.0074 | 29.9841 | 0.0048632 | -0.023272
97130024.hyd | 97130024.sam | 73 | 1.3 | 1.2597 | 0.14101 | -0.040246 | 29.9994 | 29.9685 | 0.0094723 | -0.030855
97130024.hyd | 97130024.sam | 73 | 1.8 | 1.8459 | 0.18119 | 0.045877 | 30.0003 | 29.9812 | 0.0097011 | -0.019095
97130036.hyd | 97130036.sam | 73 | 1200.3 | 1200.3 | 0.49374 | -0.0012207 | 34.4343 | 34.4093 | 0.00040657 | -0.024983
97130036.hyd | 97130036.sam | 73 | 1000.8 | 1000.75 | 0.23086 | -0.0495 | 34.3532 | 34.3286 | 0.0003074 | -0.024597
97130036.hyd | 97130036.sam | 73 | 799.8 | 799.778 | 0.23078 | -0.021729 | 34.2586 | 34.2354 | 0.00044943 | -0.02322
97130036.hyd | 97130036.sam | 73 | 600.3 | 600.3 | 0.48049 | 0 | 34.1456 | 34.1224 | 0.00036729 | -0.023231
97130036.hyd | 97130036.sam | 73 | 500.7 | 500.681 | 0.18851 | -0.019226 | 34.0986 | 34.0742 | 0.00033733 | -0.024437
97130036.hyd | 97130036.sam | 73 | 399.2 | 399.22 | 0.3455 | 0.019989 | -99 | 34.0323 | 0.001059 | 133.032
97130036.hyd | 97130036.sam | 73 | 299.6 | 299.568 | 0.16988 | -0.03241 | -99 | 33.9865 | 0.0003242 | 132.987
97130036.hyd | 97130036.sam | 73 | 248.6 | 248.578 | 0.28604 | -0.021683 | -99 | 33.9748 | 0.00032584 | 132.975
97130036.hyd | 97130036.sam | 72 | 199.6 | 199.54 | 0.78343 | -0.059952 | -99 | 33.9315 | 0.00065351 | 132.932
97130036.hyd | 97130036.sam | 73 | 150.3 | 150.349 | 0.20793 | 0.048523 | -99 | 33.875 | 0.0044282 | 132.875
97130036.hyd | 97130036.sam | 68 | 124.2 | 124.094 | 0.841 | -0.1055 | -99 | 33.7215 | 0.0078633 | 132.721
97130036.hyd | 97130036.sam | 73 | 100.1 | 100.123 | 0.45562 | 0.022629 | -99 | 33.4643 | 0.023001 | 132.464
97130036.hyd | 97130036.sam | 73 | 74.9 | 74.8976 | 0.62418 | -0.0024109 | -99 | 32.9148 | 0.027023 | 131.915
97130036.hyd | 97130036.sam | 73 | 50.6 | 50.6294 | 0.24297 | 0.0294 | -99 | 32.3903 | 0.00709 | 131.39
97130036.hyd | 97130036.sam | 73 | 30.4 | 30.4302 | 0.28978 | 0.030165 | -99 | 32.1627 | 0.019049 | 131.163
97130036.hyd | 97130036.sam | 73 | 20.7 | 20.6638 | 0.18484 | -0.036165 | -99 | 31.8229 | 0.049623 | 130.823
97130036.hyd | 97130036.sam | 73 | 10.5 | 10.5305 | 0.33936 | 0.030535 | -99 | 30.9055 | 0.007934 | 129.906
97130036.hyd | 97130036.sam | 73 | 0.2 | 0.17984 | 0.23578 | -0.020164 | -99 | 30.8976 | 0.0022919 | 129.898
97130040.hyd | 97130040.sam | 73 | 1001.4 | 1001.38 | 0.050666 | -0.02417 | 34.358 | 34.3342 | 0.00022653 | -0.0238
97130040.hyd | 97130040.sam | 73 | 798.6 | 798.55 | 0.065102 | -0.050232 | 34.2805 | 34.256 | 0.00030348 | -0.024548
97130040.hyd | 97130040.sam | 73 | 498.3 | 498.333 | 0.16004 | 0.033203 | 34.1148 | 34.0918 | 0.00028862 | -0.023003
97130040.hyd | 97130040.sam | 73 | 303.4 | 303.401 | 0.052299 | 0.0007019 | 34.0084 | 33.982 | 0.00020626 | -0.026417
97130040.hyd | 97130040.sam | 73 | 151.1 | 151.111 | 0.18427 | 0.011444 | 33.9044 | 33.8798 | 0.00038638 | -0.024624
97130040.hyd | 97130040.sam | 73 | 100.9 | 100.88 | 0.060761 | -0.020012 | -99 | 33.7154 | 0.00028886 | 132.715
97130040.hyd | 97130040.sam | 73 | 74.8 | 74.8329 | 0.11511 | 0.03286 | -99 | 33.5186 | 0.0031076 | 132.519
97130040.hyd | 97130040.sam | 73 | 49.3 | 49.3307 | 0.074871 | 0.030712 | -99 | 32.8752 | 0.0048115 | 131.875
97130040.hyd | 97130040.sam | 73 | 29.9 | 29.9392 | 0.093386 | 0.039192 | -99 | 32.0372 | 0.0081969 | 131.037
97130040.hyd | 97130040.sam | 73 | 30 | 29.9814 | 0.10894 | -0.018631 | -99 | 32.0338 | 0.0030588 | 131.034
97130040.hyd | 97130040.sam | 73 | 19.8 | 19.7732 | 0.15308 | -0.026779 | -99 | 31.5424 | 0.018756 | 130.542
97130040.hyd | 97130040.sam | 73 | 14.7 | 14.7288 | 0.20758 | 0.028822 | -99 | 31.5555 | 0.0079629 | 130.555
97130040.hyd | 97130040.sam | 73 | 14.7 | 14.722 | 0.15352 | 0.021959 | -99 | 31.5458 | 0.0045103 | 130.546
97130040.hyd | 97130040.sam | 73 | 9.8 | 9.7622 | 0.14498 | -0.037849 | -99 | 31.0804 | 0.017541 | 130.08
97130040.hyd | 97130040.sam | 73 | 4 | 4.0229 | 0.12545 | 0.022932 | -99 | 31.0714 | 0.0013365 | 130.071
97130040.hyd | 97130040.sam | 73 | 4.4 | 4.449 | 0.1058 | 0.049055 | -99 | 31.069 | 0.00019939 | 130.069
97130040.hyd | 97130040.sam | 73 | 4.5 | 4.4617 | 0.14402 | -0.038261 | -99 | 31.0692 | 0.00022776 | 130.069
97130040.hyd | 97130040.sam | 73 | 4.4 | 4.4008 | 0.077777 | 0.00080824 | -99 | 31.0693 | 0.0002317 | 130.069
97130040.hyd | 97130040.sam | 73 | 0.9 | 0.87316 | 0.038527 | -0.026836 | -99 | 31.0681 | 0.0001943 | 130.068
97130040.hyd | 97130040.sam | 73 | 1 | 0.99989 | 0.23112 | -0.00010955 | -99 | 31.0685 | 0.00021829 | 130.069
97130066.hyd | 97130066.sam | 73 | 1729.9 | 1729.93 | 0.09295 | 0.033203 | 34.5418 | 34.5202 | 0.0002709 | -0.021645
97130066.hyd | 97130066.sam | 73 | 1199.9 | 1199.92 | 0.35804 | 0.017578 | 34.4214 | 34.4028 | 0.00025553 | -0.018642
97130066.hyd | 97130066.sam | 73 | 1000.2 | 1000.18 | 0.27926 | -0.018677 | 34.3561 | 34.3346 | 0.00034641 | -0.021469
97130066.hyd | 97130066.sam | 73 | 799.1 | 799.096 | 0.3087 | -0.0040894 | 34.2812 | 34.2621 | 0.00040115 | -0.019077
97130066.hyd | 97130066.sam | 73 | 598.7 | 598.722 | 0.49782 | 0.022339 | -99 | 34.1594 | 0.00036993 | 133.159
97130066.hyd | 97130066.sam | 73 | 499.1 | 499.13 | 0.22778 | 0.030243 | -99 | 34.0765 | 0.00067506 | 133.076
97130066.hyd | 97130066.sam | 73 | 399.7 | 399.74 | 0.26254 | 0.04007 | -99 | 33.9969 | 0.0020246 | 132.997
97130066.hyd | 97130066.sam | 73 | 299.4 | 299.406 | 0.51481 | 0.0058899 | -99 | 33.959 | 0.00038501 | 132.959
97130066.hyd | 97130066.sam | 73 | 249.4 | 249.428 | 0.22284 | 0.027634 | -99 | 33.9393 | 0.0002876 | 132.939
97130066.hyd | 97130066.sam | 73 | 200.1 | 200.104 | 0.21618 | 0.0042419 | -99 | 33.902 | 0.0021088 | 132.902
97130066.hyd | 97130066.sam | 73 | 174.4 | 174.416 | 0.23167 | 0.0159 | -99 | 33.8703 | 0.00036674 | 132.87
97130066.hyd | 97130066.sam | 73 | 150 | 149.98 | 0.43372 | -0.020477 | -99 | 33.8028 | 0.0029016 | 132.803
97130066.hyd | 97130066.sam | 73 | 125.2 | 125.173 | 0.11175 | -0.027206 | -99 | 33.6989 | 0.002351 | 132.699
97130066.hyd | 97130066.sam | 73 | 100.3 | 100.25 | 0.72785 | -0.049988 | -99 | 33.3651 | 0.011122 | 132.365
97130066.hyd | 97130066.sam | 73 | 75.5 | 75.4885 | 0.36773 | -0.011467 | -99 | 32.7359 | 0.0056156 | 131.736
97130066.hyd | 97130066.sam | 73 | 50.3 | 50.2798 | 0.076845 | -0.020164 | -99 | 32.5288 | 0.0015691 | 131.529
97130066.hyd | 97130066.sam | 73 | 29.9 | 29.9082 | 0.243 | 0.008152 | -99 | 32.3464 | 0.0020903 | 131.346
97130066.hyd | 97130066.sam | 73 | 20.3 | 20.3327 | 0.15596 | 0.032741 | -99 | 32.0124 | 0.0085325 | 131.012
97130066.hyd | 97130066.sam | 73 | 10.1 | 10.1051 | 0.14108 | 0.0051088 | -99 | 30.4719 | 0.002437 | 129.472
97130066.hyd | 97130066.sam | 73 | 0.7 | 0.72208 | 0.099648 | 0.022082 | -99 | 30.4839 | 0.00030233 | 129.484
97130072.hyd | 97130072.sam | 73 | 1900.5 | 1900.49 | 0.42564 | -0.012451 | 34.565 | 34.5424 | 0.00045506 | -0.022633
97130072.hyd | 97130072.sam | 73 | 1200.4 | 1200.41 | 0.17655 | 0.014282 | 34.4265 | 34.4073 | 0.00023055 | -0.019222
97130072.hyd | 97130072.sam | 73 | 1000.7 | 1000.74 | 0.096336 | 0.040649 | 34.3648 | 34.3431 | 0.00047704 | -0.021679
97130072.hyd | 97130072.sam | 73 | 799.6 | 799.556 | 0.49209 | -0.04364 | 34.2935 | 34.2741 | 0.00054347 | -0.019417
97130072.hyd | 97130072.sam | 73 | 600.2 | 600.221 | 0.47478 | 0.021301 | 34.1737 | 34.1533 | 0.0018838 | -0.020443
97130072.hyd | 97130072.sam | 73 | 500.4 | 500.397 | 0.11365 | -0.0028992 | 34.0754 | 34.0553 | 0.00037525 | -0.020142
97130072.hyd | 97130072.sam | 73 | 400.4 | 400.432 | 0.24646 | 0.031952 | -99 | 33.9949 | 0.0015758 | 132.995
97130072.hyd | 97130072.sam | 73 | 301.2 | 301.221 | 0.33524 | 0.021271 | -99 | 33.9421 | 0.00034952 | 132.942
97130072.hyd | 97130072.sam | 73 | 249.9 | 249.883 | 0.14785 | -0.016663 | -99 | 33.9242 | 0.0007746 | 132.924
97130072.hyd | 97130072.sam | 73 | 202.5 | 202.54 | 0.41416 | 0.040405 | -99 | 33.906 | 0.00099143 | 132.906
97130072.hyd | 97130072.sam | 73 | 176 | 176.007 | 0.1427 | 0.0069733 | -99 | 33.8778 | 0.0012842 | 132.878
97130072.hyd | 97130072.sam | 73 | 150.4 | 150.373 | 0.30324 | -0.02684 | -99 | 33.805 | 0.004199 | 132.805
97130072.hyd | 97130072.sam | 73 | 125.6 | 125.625 | 0.31152 | 0.024918 | -99 | 33.6677 | 0.0041086 | 132.668
97130072.hyd | 97130072.sam | 73 | 100.3 | 100.342 | 0.34591 | 0.04171 | -99 | 33.2838 | 0.014465 | 132.284
97130072.hyd | 97130072.sam | 73 | 74.8 | 74.8425 | 0.27366 | 0.042503 | -99 | 32.6208 | 0.006704 | 131.621
97130072.hyd | 97130072.sam | 73 | 50.3 | 50.2735 | 0.34657 | -0.026466 | -99 | 32.4531 | 0.0039275 | 131.453
97130072.hyd | 97130072.sam | 73 | 29.6 | 29.6163 | 0.11952 | 0.01626 | -99 | 32.3858 | 0.0059218 | 131.386
97130072.hyd | 97130072.sam | 73 | 20.7 | 20.7259 | 0.40153 | 0.025917 | -99 | 32.1774 | 0.079498 | 131.177
97130072.hyd | 97130072.sam | 73 | 10.2 | 10.241 | 0.18953 | 0.040986 | -99 | 30.6096 | 0.0016767 | 129.61
97130072.hyd | 97130072.sam | 73 | 0.8 | 0.80882 | 0.096888 | 0.0088219 | -99 | 30.6104 | 0.00024403 | 129.61
97130106.hyd | 97130106.sam | 73 | 1547.6 | 1547.59 | 0.11101 | -0.006958 | 34.4996 | 34.4761 | 0.00022442 | -0.02354
97130106.hyd | 97130106.sam | 73 | 1201 | 1200.96 | 0.31111 | -0.037964 | 34.4382 | 34.4143 | 0.0002474 | -0.023937
97130106.hyd | 97130106.sam | 73 | 1001.9 | 1001.9 | 0.35218 | -0.001709 | 34.3664 | 34.3441 | 0.00060692 | -0.022331
97130106.hyd | 97130106.sam | 73 | 800.2 | 800.248 | 0.12769 | 0.048096 | 34.282 | 34.2584 | 0.00048632 | -0.023556
97130106.hyd | 97130106.sam | 73 | 602 | 601.961 | 0.33203 | -0.039368 | 34.1767 | 34.1535 | 0.00051984 | -0.023209
97130106.hyd | 97130106.sam | 73 | 499.9 | 499.874 | 0.18932 | -0.025513 | 34.1122 | 34.0872 | 0.00032425 | -0.025028
97130106.hyd | 97130106.sam | 73 | 399.9 | 399.91 | 0.18399 | 0.010498 | -99 | 34.0377 | 0.00026842 | 133.038
97130106.hyd | 97130106.sam | 73 | 302.5 | 302.532 | 0.29073 | 0.031586 | -99 | 33.9864 | 0.0005012 | 132.986
97130106.hyd | 97130106.sam | 73 | 250.6 | 250.617 | 0.10151 | 0.016769 | -99 | 33.9587 | 0.00027805 | 132.959
97130106.hyd | 97130106.sam | 73 | 201.1 | 201.134 | 0.30499 | 0.03392 | -99 | 33.9181 | 0.0036038 | 132.918
97130106.hyd | 97130106.sam | 73 | 175.2 | 175.153 | 0.33155 | -0.04744 | -99 | 33.8474 | 0.00072584 | 132.847
97130106.hyd | 97130106.sam | 73 | 150.3 | 150.256 | 0.16658 | -0.044128 | -99 | 33.7507 | 0.0034633 | 132.751
97130106.hyd | 97130106.sam | 73 | 126 | 126.025 | 0.21697 | 0.024757 | -99 | 33.5392 | 0.0050192 | 132.539
97130106.hyd | 97130106.sam | 73 | 100.4 | 100.362 | 0.10518 | -0.037849 | -99 | 33.3226 | 0.0026469 | 132.323
97130106.hyd | 97130106.sam | 73 | 75.4 | 75.4401 | 0.084381 | 0.040138 | -99 | 32.7391 | 0.0030294 | 131.739
97130106.hyd | 97130106.sam | 73 | 50.3 | 50.2911 | 0.31448 | -0.0089302 | -99 | 32.4833 | 0.0029448 | 131.483
97130106.hyd | 97130106.sam | 73 | 30.8 | 30.8292 | 0.11334 | 0.029205 | -99 | 32.4089 | 0.0033794 | 131.409
97130106.hyd | 97130106.sam | 73 | 20.1 | 20.1363 | 0.19285 | 0.036343 | -99 | 32.1725 | 0.0036687 | 131.173
97130106.hyd | 97130106.sam | 73 | 10.8 | 10.8461 | 0.05983 | 0.046137 | -99 | 30.5818 | 0.0010093 | 129.582
97130106.hyd | 97130106.sam | 73 | 0.5 | 0.46211 | 0.1046 | -0.03789 | 30.5844 | 30.5604 | 0.0015292 | -0.024017
97130112.hyd | 97130112.sam | 0 | 1240.6 | 0 | 0 | -1240.6 | 34.4445 | 0 | 0 | -34.4445
97130112.hyd | 97130112.sam | 73 | 800.1 | 800.116 | 0.30768 | 0.016357 | 34.2724 | 34.2502 | 0.00043306 | -0.022205
97130112.hyd | 97130112.sam | 73 | 600.1 | 600.187 | 0.15514 | 0.08667 | 34.1648 | 34.1437 | 0.00062255 | -0.021149
97130112.hyd | 97130112.sam | 73 | 495.9 | 495.926 | 0.39155 | 0.026245 | 34.1036 | 34.0834 | 0.0008122 | -0.020229
97130112.hyd | 97130112.sam | 73 | 399.8 | 399.847 | 0.1728 | 0.046997 | 34.0544 | 34.0322 | 0.00037537 | -0.022171
97130112.hyd | 97130112.sam | 73 | 299.9 | 299.902 | 0.13626 | 0.0017395 | 33.9997 | 33.9844 | 0.00058994 | -0.015259
97130112.hyd | 97130112.sam | 73 | 199.9 | 199.896 | 0.15477 | -0.0042419 | 33.9304 | 33.9085 | 0.0024027 | -0.021862
97130112.hyd | 97130112.sam | 73 | 174.2 | 174.242 | 0.37371 | 0.042435 | 33.8746 | 33.8417 | 0.0017756 | -0.032906
97130112.hyd | 97130112.sam | 73 | 149.8 | 149.778 | 0.28068 | -0.021515 | 33.8008 | 33.7711 | 0.0017556 | -0.029656
97130112.hyd | 97130112.sam | 73 | 125 | 124.985 | 0.20013 | -0.014946 | 33.6748 | 33.6522 | 0.017217 | -0.022621
97130112.hyd | 97130112.sam | 73 | 100.3 | 100.344 | 0.20664 | 0.043915 | 33.3563 | 33.3356 | 0.032663 | -0.020706
97130112.hyd | 97130112.sam | 73 | 73.8 | 73.804 | 0.16778 | 0.0040359 | 32.6072 | 32.5766 | 0.0041371 | -0.030582
97130112.hyd | 97130112.sam | 73 | 50 | 50.0257 | 0.11811 | 0.025673 | 32.5043 | 32.5035 | 0.010487 | -0.0007515
97130112.hyd | 97130112.sam | 73 | 30.1 | 30.1354 | 0.13708 | 0.035438 | 32.4438 | 32.4123 | 0.01884 | -0.031487
97130112.hyd | 97130112.sam | 73 | 19.9 | 19.9259 | 0.066155 | 0.02589 | 32.3681 | 32.2954 | 0.065926 | -0.072674
97130112.hyd | 97130112.sam | 73 | 10 | 9.9634 | 0.11481 | -0.036631 | 30.9872 | 31.5573 | 0.29604 | 0.5701
97130112.hyd | 97130112.sam | 73 | 0.2 | 0.23927 | 0.086057 | 0.039274 | 30.4447 | 30.4217 | 0.0010199 | -0.022993
97130188.hyd | 97130188.sam | 73 | 1801.3 | 1801.25 | 0.2108 | -0.046143 | 34.562 | 34.5391 | 0.00067364 | -0.022881
97130188.hyd | 97130188.sam | 73 | 1199.1 | 1199.09 | 0.10458 | -0.0083008 | 34.4528 | 34.4296 | 0.00029135 | -0.023205
97130188.hyd | 97130188.sam | 73 | 998.9 | 998.911 | 0.37975 | 0.010681 | 34.3846 | 34.3646 | 0.00074823 | -0.019978
97130188.hyd | 97130188.sam | 73 | 798.5 | 798.525 | 0.20207 | 0.02533 | 34.2886 | 34.2669 | 0.00075799 | -0.021709
97130188.hyd | 97130188.sam | 73 | 599.5 | 599.532 | 0.041765 | 0.031799 | 34.1734 | 34.1535 | 0.0012639 | -0.019897
97130188.hyd | 97130188.sam | 73 | 500.3 | 500.267 | 0.16656 | -0.033203 | 34.106 | 34.0827 | 0.0010405 | -0.023277
97130188.hyd | 97130188.sam | 73 | 400.5 | 400.453 | 0.20357 | -0.047424 | -99 | 34.029 | 0.0025586 | 133.029
97130188.hyd | 97130188.sam | 73 | 299 | 299.03 | 0.19284 | 0.029968 | -99 | 33.9701 | 0.0013307 | 132.97
97130188.hyd | 97130188.sam | 73 | 199.3 | 199.343 | 0.4187 | 0.04306 | -99 | 33.9172 | 0.0029204 | 132.917
97130188.hyd | 97130188.sam | 73 | 149.8 | 149.763 | 0.24794 | -0.037338 | -99 | 33.823 | 0.0056797 | 132.823
97130188.hyd | 97130188.sam | 73 | 99.2 | 99.2373 | 0.18168 | 0.037292 | -99 | 33.4991 | 0.029728 | 132.499
97130188.hyd | 97130188.sam | 73 | 74.8 | 74.8058 | 0.11198 | 0.0058365 | -99 | 32.7081 | 0.03398 | 131.708
97130188.hyd | 97130188.sam | 48 | 59.7 | 59.6532 | 0.18204 | -0.046791 | -99 | 32.4814 | 0.010976 | 131.481
97130188.hyd | 97130188.sam | 72 | 59.5 | 59.496 | 0.070946 | -0.0040283 | -99 | 32.4883 | 0.015797 | 131.488
97130188.hyd | 97130188.sam | 73 | 49.4 | 49.4321 | 0.21867 | 0.032124 | -99 | 32.4289 | 0.008142 | 131.429
97130188.hyd | 97130188.sam | 73 | 33 | 32.9792 | 0.14645 | -0.020836 | -99 | 32.4094 | 0.0048382 | 131.409
97130188.hyd | 97130188.sam | 54 | 19.5 | 19.5233 | 0.10837 | 0.023315 | -99 | 32.1024 | 0.08262 | 131.102
97130188.hyd | 97130188.sam | 72 | 19.6 | 19.57 | 0.15331 | -0.029985 | -99 | 31.9016 | 0.021186 | 130.902
97130188.hyd | 97130188.sam | 73 | 8.8 | 8.8443 | 0.047207 | 0.044288 | -99 | 30.7679 | 0.011149 | 129.768
97130188.hyd | 97130188.sam | 62 | 5.3 | 5.2524 | 0.062544 | -0.047629 | -99 | 30.7519 | 0.00023863 | 129.752
97130188.hyd | 97130188.sam | 55 | 5.5 | 5.4745 | 0.061299 | -0.025528 | 30.7776 | 30.7523 | 0.0002594 | -0.025328
97130188.hyd | 97130188.sam | 72 | 5.5 | 5.4511 | 0.031319 | -0.048875 | 30.778 | 30.7523 | 0.00024224 | -0.02569
97130188.hyd | 97130188.sam | 41 | 0.6 | 0.58342 | 0.072063 | -0.016585 | 30.7778 | 30.753 | 0.00082251 | -0.024849
97130188.hyd | 97130188.sam | 72 | 0.2 | 0.19007 | 0.12351 | -0.0099306 | 30.7776 | 30.7528 | 0.00030222 | -0.024761
Create Fit Sheet