Institute of Ocean Sciences

CRUISE SUMMARY

Cruise ID#:	97-13

Dates:    Start:	July 16,1997		    End:	July 27,1997

Project:  	Laperouse and GLOBEC

Location:	Laperouse, Endeavour Ridge and Barkley Canyon

Vessel:	J.P. Tully

Chief Scientist:	Rick Thomson

| CTD# | Make | Model | Serial # | Used with Rosette? | CTD Calibration Sheet Completed? |
| --- | --- | --- | --- | --- | --- |
| 1 | Sea-Bird | SBE911-Plus | 0437 | yes | yes |

Notes:

A transmissometer and PAR sensor were connected to the CTD.

Institute of Ocean Sciences

CTD Calibration Information

Make/Model/Serial #:  Sea-Bird/SBE911 plus/0437

| Calibration Information |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sensor |  | Pre-Cruise |  | Post Cruise |  |
| Name | S/N | Date | Location | Date | Location |
| Pressure | 63502 | 11-Jan-96 | Sea-Bird |  |  |
| Temperature:Primary | 2038 | 30-Jul-96 | Sea-Bird |  |  |
| Conductivity:Primary | 1729 | 23-Jul-96 | Sea-Bird |  |  |
| Temperature:Secondary | 2023 | 25-Jul-96 | Sea-Bird |  |  |
| Conductivity:Secondary | 1766 | 23-Jul-96 | Sea-Bird |  |  |
| Transmissometer | 192D | 31-Oct-96 | Factory |  |  |
| PAR sensor | ? | ? | ? |  |  |

Sensor Calibration Notes:

Listing of configuration file used is attached.