Organization of files for 1997-20, 1997-21 and 1997-22

Note that the data from cruises 1997-20, 1997-21 and 1997-22 used the same equipment and were analyzed as a group. Documents providing information about all legs (9720,9721,9722) of the cruise are filed under 1997-20. Documents concerning only 1997-21 or 1997-22 are filed under the folders for those cruises. The data files are stored in the folder for the particular cruise.

This data was reprocessed in February/March 2002. The preliminary steps from the original processing were reused.

9720

The following documents concern all JOIS data for 1997 (1997-20, 1997-21 and 1997-22)

9720_proc_March2002.doc – processing notes for reprocessing of JOIS data

9720com1.csv & xls – comparison of ICTD and MCTD after initial calibration

9720com1.csv & xls – comparison of ICTD and MCTD after calibration of MCTD temp

9720com1.csv & xls - comparison of ICTD and MCTD after calibration of MCTD salinity

9720file.doc – this document

The following documents concern only Leg 1 (1997-20)

9720chem.xls

scipart.xls

workplan.xls

Leg1summ.doc

Methods.doc

9720\ICTD\

Data files from original acquisition:

BT1, C00, HDR, RAW

The following documents concern all JOIS data for 1997 (1997-20, 1997-21 and 1997-22)

ICTD conductivity calibration.doc

ICTD_delete_study – comparison of maximum pressure before and after DELETE

Ictd_press_study.xls – surface pressure study

1997-20-22 ICTD conductivity calibration  bottle levels – description of comparison done by H. Melling

1997new.ccf – calibration control file for the ICTD (used in 2002)

1997 bot.ccf – calibration control file for calibration of bottle data

boxcar.log – record of parameters used for ICTD filter

delete.log – record of warnings issued by DELETE

Programs prepared by Humfrey Melling for time compensation

C-WGTS.lis

ICTD-lmR.lis

ICTD-ADJ.exe

9720\ICTD\IOS (data files from this leg only)

*.adj – after time compensation

*.box – after filter

*.cal – after calibration of T and P and unit conversion of C

*.ctd – final files

*.del – after DELETE

*.ed1 – after editing in VIEWEDIT to remove spikes

*.edt – after CTDEDIT

*.log – CTDEDIT logs

*.raw – converted data

9720\ICTD\Bot (data files from this leg only)

*.bot – bottle files, converted only

*.cal – bottle files, calibrated

*.rac – bottle files, calibrated, averaged by bottle number

9720\ICTD\Fluor-Trans (data files from this leg only)

*.re2 – files with Padj, Transmissivity and Fluorescence, -Converted but otherwise unprocessed

9720\MCTD

Data files from original acquisition

HDR, RAW

The following documents concern all JOIS data for 1997 (1997-20, 1997-21 and 1997-22)

1997mctd.ccf – 1st calibration control file for the MCTD (used in 2002)

mctdtemp.ccf – 2nd calibration control file for the MCTD (used in 2002)

mctdsal.ccf – 3rd calibration control file for the MCTD (used in 2002)

MCTD_delete_study – comparison of maximum pressure before and after DELETE

Mctd_press_study.xls – surface pressure study

MCTD_ICTD_Temp_Comp.xls – initial study comparing temp.from the two CTDs

delete.log – log from running of DELETE for all MCTD files

Programs prepared by Humfrey Melling for time compensation

C-WGTS.lis

MCTD-lmR.lis

MCTD-ADJ.exe

9720\MCTD\IOS (data files from this leg only)

*.adj – after time compensation

*.box – after filter

*.cal – after initial calibration

*.c01 – after calibration of Temperature

*.c02 – after calibration of Salinity

*.cnv – converted data (from processing in March 1998)

*.ctd – final files

*.del – after DELETE

*.ed1 – after use of text editor to remove initial downcast

*.ed2, ed3 – after editing in VIEWEDIT to remove spikes (2 runs)

*.edt – after CTDEDIT

*.log – CTDEDIT logs

9721

9720_proc_March2002.doc – processing notes for reprocessing of JOIS data

9720file.doc – this document

The following documents concern only Leg 2 (1997-21)

9721casts.xls – list of casts with times and positions

9721-Report.wri – cruise report

9721\ICTD\      (data files from this leg only)

Data files from original acquisition:

BT1, C00, EDB, HDR, RAW

9721\ICTD\IOS (data files from this leg only)

*.adj – after time compensation

*.box – after filter

*.cal – after calibration of T and P and unit conversion of C

*.ctd – final files

*.del – after DELETE

*.ed1 – after editing in VIEWEDIT to remove spikes

*.edt – after CTDEDIT

*.log – CTDEDIT logs

*.raw – converted data

9721\ICTD\Bot (data files from this leg only)

*.bot – bottle files, converted only

*.cal – bottle files, calibrated

*.rac – bottle files, calibrated, averaged by bottle number

9721\ICTD\Fluor-Trans (data files from this leg only)

*.re2 – files with Padj, Transmissivity and Fluorescence, -Converted but otherwise unprocessed

9721\MCTD

Data files from original acquisition

HDR, RAW

9721\MCTD\IOS (data files from this leg only)

*.adj – after time compensation

*.box – after filter

*.cal – after initial calibration

*.c01 – after calibration of Temperature

*.c02 – after calibration of Salinity

*.cnv – converted data (from processing in March 1998)

*.ctd – final files

*.del – after DELETE

*.ed1 – after use of text editor to remove initial downcast

*.ed2, ed3 – after editing in VIEWEDIT to remove spikes (2 runs)

*.edt – after CTDEDIT

*.log – CTDEDIT logs

9722

9720_proc_March2002.doc – processing notes for reprocessing of JOIS data

9720file.doc – this document

The following documents concern only Leg3 (1997-22)

9722chem.xls – chemistry data

Leg3Rpt.doc – cruise report

9722\ICTD\      (data files from this leg only)

Data files from original acquisition:

BT1, C00, EDB, HDR, RAW

9722\ICTD\IOS (data files from this leg only)

*.adj – after time compensation

*.box – after filter

*.cal – after calibration of T and P and unit conversion of C

*.ctd – final files

*.del – after DELETE

*.ed1 – after editing in VIEWEDIT to remove spikes

*.edt – after CTDEDIT

*.log – CTDEDIT logs

*.raw – converted data

9722\ICTD\Bot (data files from this leg only)

*.bot – bottle files, converted only

*.cal – bottle files, calibrated

*.rac – bottle files, calibrated, averaged by bottle number

9722\ICTD\Fluor-Trans (data files from this leg only)

*.re2 – files with Padj, Transmissivity and Fluorescence, -Converted but otherwise unprocessed

9722\MCTD

Data files from original acquisition

HDR, RAW

9722\MCTD\IOS (data files from this leg only)

*.adj – after time compensation

*.box – after filter

*.cal – after initial calibration

*.c01 – after calibration of Temperature

*.c02 – after calibration of Salinity

*.cnv – converted data (from processing in March 1998)

*.ctd – final files

*.del – after DELETE

*.ed1 – after use of text editor to remove initial downcast

*.ed2, ed3 – after editing in VIEWEDIT to remove spikes (2 runs)

*.edt – after CTDEDIT

*.log – CTDEDIT logs