## File List
Number of Files= |  | 5
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 97250018.hyd | 97250018.sam | 11 | 23 | 97250018.hyd & 97250018.sam
2 | 97250021.hyd | 97250021.sam | 25 | 36 | 97250021.hyd & 97250021.sam
3 | 97250027.hyd | 97250027.sam | 38 | 50 | 97250027.hyd & 97250027.sam
4 | 97250033.hyd | 97250033.sam | 52 | 64 | 97250033.hyd & 97250033.sam
5 | 97250039.hyd | 97250039.sam | 66 | 76 | 97250039.hyd & 97250039.sam

## (Sal00 - Salinityb) Ch
Sea-Bird CTD 0443. Points < 201 db were ignored. This correction will be applied to casts 1 - 45.

## (Sal00 - Salinityb)
Calculation of Linear Least Squares Fit For
(Sal00 - Salinityb)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal00 - Salinityb), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | #VALUE! |  | X | CALC Y
m= | #VALUE! | #VALUE! |  | Std Dev of Resid |  | #VALUE! |  | #NAME? | #NAME?
b= | #VALUE! | #VALUE! |  | Resid Sum of Squares |  | #VALUE! |  | #NAME? | #NAME?
# of Values Extracted = |  |  | 62
# of Values Used in Fit = |  |  | 8
File | Use | Pressure | Sal00 | Sal00 | Diff (Sal00 - Salinityb) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 400.346 | 31.028 | 0.00021874 | 0.0089874 | #VALUE! | #VALUE! |  | 299.697 | 0.021242
1 | YES | 299.697 | 30.9667 | 0.0017135 | 0.021242 | #VALUE! | #VALUE! |  | 249.832 | 0.025091
1 | YES | 249.832 | 30.8897 | 0.0035302 | 0.025091 | #VALUE! | #VALUE! |  | 300.069 | 0.034956
1 | NO | 200.136 | 30.7338 | 0.00077822 | 0.011314 | #VALUE! | #VALUE! |  | 367.227 | 0.029051
1 | NO | 174.468 | 30.5929 | 0.010688 | 0.006752 | #VALUE! | #VALUE! |  | 336.864 | 0.027155
1 | NO | 149.963 | 30.3681 | 0.00028816 | 0.012655 | #VALUE! | #VALUE! |  | 301.082 | 0.026814
1 | NO | 124.069 | 30.1588 | 0.0057434 | 0.0077858 | #VALUE! | #VALUE! |  | 249.929 | 0.030518
1 | NO | 100.135 | 30.0153 | 0.0038561 | 0.020557 | #VALUE! | #VALUE! |  | 246.443 | 0.035345
1 | NO | 74.8334 | 29.8486 | 0.00020861 | 0.017576 | #VALUE! | #VALUE!
1 | NO | 49.5691 | 29.7344 | 0.00096584 | 0.0156 | #VALUE! | #VALUE! |  |  | 0.028771
1 | NO | 30.0341 | 29.4419 | 0.0012785 | 0.013205 | #VALUE! | #VALUE!
1 | NO | 19.7239 | 29.1528 | 0.00061715 | -0.028593 | #VALUE! | #VALUE!
1 | NO | 9.921 | 28.0239 | 0.0089178 | -0.33741 | #VALUE! | #VALUE!
2 | YES | 300.069 | 31.033 | 0.00089571 | 0.034956 | #VALUE! | #VALUE!
2 | NO | 249.537 | 30.9719 | 0.0013362 | 129.972 | #VALUE! | #VALUE!
2 | NO | 200.216 | 30.7506 | 0.012303 | 129.751 | #VALUE! | #VALUE!
2 | NO | 174.478 | 30.5628 | 0.016382 | 129.563 | #VALUE! | #VALUE!
2 | NO | 150.264 | 30.3763 | 0.0062626 | 129.376 | #VALUE! | #VALUE!
2 | NO | 124.788 | 30.1314 | 0.0026846 | 129.131 | #VALUE! | #VALUE!
2 | NO | 99.9152 | 29.9999 | 0.007038 | 129 | #VALUE! | #VALUE!
2 | NO | 74.6894 | 29.8673 | 0.003629 | 128.867 | #VALUE! | #VALUE!
2 | NO | 49.7749 | 29.7073 | 0.011312 | 128.707 | #VALUE! | #VALUE!
2 | NO | 29.5691 | 29.4006 | 0.026214 | 128.401 | #VALUE! | #VALUE!
2 | NO | 20.4505 | 29.225 | 0.022768 | 128.225 | #VALUE! | #VALUE!
2 | NO | 9.304 | 28.8573 | 0.028833 | 127.857 | #VALUE! | #VALUE!
3 | YES | 367.227 | 31.0085 | 0.00023271 | 0.029051 | #VALUE! | #VALUE!
3 | NO | 300.263 | 30.9659 | 0.0004917 | 129.966 | #VALUE! | #VALUE!
3 | NO | 250.46 | 30.856 | 0.00027041 | 129.856 | #VALUE! | #VALUE!
3 | NO | 200.319 | 30.6933 | 0.00023129 | 129.693 | #VALUE! | #VALUE!
3 | NO | 175.05 | 30.5121 | 0.0006622 | 129.512 | #VALUE! | #VALUE!
3 | NO | 150.157 | 30.3644 | 0.00030153 | 129.364 | #VALUE! | #VALUE!
3 | NO | 125.478 | 30.1387 | 0.00022435 | 129.139 | #VALUE! | #VALUE!
3 | NO | 100.367 | 29.8384 | 0.00018307 | 128.838 | #VALUE! | #VALUE!
3 | NO | 75.2741 | 29.6305 | 0.00022598 | 128.631 | #VALUE! | #VALUE!
3 | NO | 50.6868 | 29.3882 | 0.0011835 | 128.388 | #VALUE! | #VALUE!
3 | NO | 30.1636 | 29.0941 | 0.0010403 | 128.094 | #VALUE! | #VALUE!
3 | NO | 20.4555 | 28.2308 | 0.0044729 | 127.231 | #VALUE! | #VALUE!
3 | NO | 10.1399 | 27.186 | 0.070506 | 126.186 | #VALUE! | #VALUE!
4 | YES | 336.864 | 31.0092 | 0.00023384 | 0.027155 | #VALUE! | #VALUE!
4 | YES | 301.082 | 30.9883 | 0.00021628 | 0.026814 | #VALUE! | #VALUE!
4 | YES | 249.929 | 30.9454 | 0.00028985 | 0.030518 | #VALUE! | #VALUE!
4 | NO | 200.231 | 30.7149 | 0.0026865 | 0.017443 | #VALUE! | #VALUE!
4 | NO | 174.664 | 30.587 | 0.0082872 | 0.018837 | #VALUE! | #VALUE!
4 | NO | 149.909 | 30.3575 | 0.0060017 | 0.01573 | #VALUE! | #VALUE!
4 | NO | 124.469 | 30.1056 | 0.0012308 | 0.012806 | #VALUE! | #VALUE!
4 | NO | 99.7798 | 29.9504 | 0.00022756 | 0.0097904 | #VALUE! | #VALUE!
4 | NO | 75.0571 | 29.7093 | 0.00027422 | 0.01737 | #VALUE! | #VALUE!
4 | NO | 50.689 | 29.4103 | 0.0011361 | -0.0087223 | #VALUE! | #VALUE!
4 | NO | 30.5264 | 29.1065 | 0.00052469 | 0.001997 | #VALUE! | #VALUE!
4 | NO | 20.3539 | 28.9217 | 0.00073981 | -5.722e-05 | #VALUE! | #VALUE!
4 | NO | 10.064 | 26.8656 | 0.0028866 | -0.21041 | #VALUE! | #VALUE!
5 | YES | 246.443 | 30.7792 | 0.00097429 | 0.035345 | #VALUE! | #VALUE!
5 | NO | 199.843 | 30.681 | 0.00030975 | 129.681 | #VALUE! | #VALUE!
5 | NO | 174.988 | 30.5017 | 0.00053332 | 129.502 | #VALUE! | #VALUE!
5 | NO | 150.326 | 30.3266 | 0.00033269 | 129.327 | #VALUE! | #VALUE!
5 | NO | 124.411 | 30.1447 | 0.00057756 | 129.145 | #VALUE! | #VALUE!
5 | NO | 100.536 | 29.9747 | 0.00041489 | 128.975 | #VALUE! | #VALUE!
5 | NO | 75.5094 | 29.6947 | 0.00080922 | 128.695 | #VALUE! | #VALUE!
5 | NO | 50.853 | 29.2705 | 0.0010381 | 128.271 | #VALUE! | #VALUE!
5 | NO | 31.1441 | 28.9686 | 0.00062341 | 127.969 | #VALUE! | #VALUE!
5 | NO | 19.0048 | 28.5529 | 0.0005723 | 127.553 | #VALUE! | #VALUE!
5 | NO | 9.3613 | 28.0124 | 0.005124 | 127.012 | #VALUE! | #VALUE!
NO
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
FIT vs. Pressure
FIT vs. Sal00
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal00 - Salinityb)-fp1
Calculation of Linear Least Squares Fit For
(Sal00 - Salinityb)-fp1
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal00 - Salinityb), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | #VALUE! |  | X | CALC Y
m= | #VALUE! | #VALUE! |  | Std Dev of Resid |  | #VALUE! |  | #NAME? | #NAME?
b= | #VALUE! | #VALUE! |  | Resid Sum of Squares |  | #VALUE! |  | #NAME? | #NAME?
# of Values Extracted = |  |  | 13
# of Values Used in Fit = |  |  | 11
File | Use | Pressure | Sal00 | Sal00 | Diff (Sal00 - Salinityb) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 400.346 | 31.028 | 0.00021874 | 0.0089874 | #VALUE! | #VALUE! |  | 400.346 | 0.0089874
1 | YES | 299.697 | 30.9667 | 0.0017135 | 0.021242 | #VALUE! | #VALUE! |  | 299.697 | 0.021242
1 | YES | 249.832 | 30.8897 | 0.0035302 | 0.025091 | #VALUE! | #VALUE! |  | 249.832 | 0.025091
1 | YES | 200.136 | 30.7338 | 0.00077822 | 0.011314 | #VALUE! | #VALUE! |  | 200.136 | 0.011314
1 | YES | 174.468 | 30.5929 | 0.010688 | 0.006752 | #VALUE! | #VALUE! |  | 174.468 | 0.006752
1 | YES | 149.963 | 30.3681 | 0.00028816 | 0.012655 | #VALUE! | #VALUE! |  | 149.963 | 0.012655
1 | YES | 124.069 | 30.1588 | 0.0057434 | 0.0077858 | #VALUE! | #VALUE! |  | 124.069 | 0.0077858
1 | YES | 100.135 | 30.0153 | 0.0038561 | 0.020557 | #VALUE! | #VALUE! |  | 100.135 | 0.020557
1 | YES | 74.8334 | 29.8486 | 0.00020861 | 0.017576 | #VALUE! | #VALUE! |  | 74.8334 | 0.017576
1 | YES | 49.5691 | 29.7344 | 0.00096584 | 0.0156 | #VALUE! | #VALUE! |  | 49.5691 | 0.0156
1 | YES | 30.0341 | 29.4419 | 0.0012785 | 0.013205 | #VALUE! | #VALUE! |  | 30.0341 | 0.013205
1 | NO | 19.7239 | 29.1528 | 0.00061715 | -0.028593 | #VALUE! | #VALUE!
1 | NO | 9.921 | 28.0239 | 0.0089178 | -0.33741 | #VALUE! | #VALUE!
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
FIT vs. Pressure
FIT vs. Sal00
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal00 - Salinityb)-fp4
Calculation of Linear Least Squares Fit For
(Sal00 - Salinityb)-fp4
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal00 - Salinityb), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | #VALUE! |  | X | CALC Y
m= | #VALUE! | #VALUE! |  | Std Dev of Resid |  | #VALUE! |  | #NAME? | #NAME?
b= | #VALUE! | #VALUE! |  | Resid Sum of Squares |  | #VALUE! |  | #NAME? | #NAME?
# of Values Extracted = |  |  | 13
# of Values Used in Fit = |  |  | 12
File | Use | Pressure | Sal00 | Sal00 | Diff (Sal00 - Salinityb) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
4 | YES | 336.864 | 31.0092 | 0.00023384 | 0.027155 | #VALUE! | #VALUE! |  | 336.864 | 0.027155
4 | YES | 301.082 | 30.9883 | 0.00021628 | 0.026814 | #VALUE! | #VALUE! |  | 301.082 | 0.026814
4 | YES | 249.929 | 30.9454 | 0.00028985 | 0.030518 | #VALUE! | #VALUE! |  | 249.929 | 0.030518
4 | YES | 200.231 | 30.7149 | 0.0026865 | 0.017443 | #VALUE! | #VALUE! |  | 200.231 | 0.017443
4 | YES | 174.664 | 30.587 | 0.0082872 | 0.018837 | #VALUE! | #VALUE! |  | 174.664 | 0.018837
4 | YES | 149.909 | 30.3575 | 0.0060017 | 0.01573 | #VALUE! | #VALUE! |  | 149.909 | 0.01573
4 | YES | 124.469 | 30.1056 | 0.0012308 | 0.012806 | #VALUE! | #VALUE! |  | 124.469 | 0.012806
4 | YES | 99.7798 | 29.9504 | 0.00022756 | 0.0097904 | #VALUE! | #VALUE! |  | 99.7798 | 0.0097904
4 | YES | 75.0571 | 29.7093 | 0.00027422 | 0.01737 | #VALUE! | #VALUE! |  | 75.0571 | 0.01737
4 | YES | 50.689 | 29.4103 | 0.0011361 | -0.0087223 | #VALUE! | #VALUE! |  | 50.689 | -0.0087223
4 | YES | 30.5264 | 29.1065 | 0.00052469 | 0.001997 | #VALUE! | #VALUE! |  | 30.5264 | 0.001997
4 | YES | 20.3539 | 28.9217 | 0.00073981 | -5.722e-05 | #VALUE! | #VALUE! |  | 20.3539 | -5.722e-05
4 | NO | 10.064 | 26.8656 | 0.0028866 | -0.21041 | #VALUE! | #VALUE!
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
FIT vs. Pressure
FIT vs. Sal00
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 2
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | Salinityb | Sal00 |  | Sal00 - Salinityb
Average Size: | 1.5
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | Salinityb | Sal00 | Sal00 | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
97250018.hyd | 97250018.sam | 73 | 400.3 | 400.346 | 0.05452 | 0.046478 | 31.019 | 31.028 | 0.00021874 | 0.0089874
97250018.hyd | 97250018.sam | 73 | 299.7 | 299.697 | 0.060992 | -0.0032959 | 30.9455 | 30.9667 | 0.0017135 | 0.021242
97250018.hyd | 97250018.sam | 73 | 249.8 | 249.832 | 0.049135 | 0.03183 | 30.8646 | 30.8897 | 0.0035302 | 0.025091
97250018.hyd | 97250018.sam | 73 | 200.1 | 200.136 | 0.080976 | 0.036011 | 30.7225 | 30.7338 | 0.00077822 | 0.011314
97250018.hyd | 97250018.sam | 73 | 174.5 | 174.468 | 0.067615 | -0.032288 | 30.5861 | 30.5929 | 0.010688 | 0.006752
97250018.hyd | 97250018.sam | 73 | 150 | 149.963 | 0.08176 | -0.037323 | 30.3554 | 30.3681 | 0.00028816 | 0.012655
97250018.hyd | 97250018.sam | 73 | 124.1 | 124.069 | 0.064778 | -0.031029 | 30.151 | 30.1588 | 0.0057434 | 0.0077858
97250018.hyd | 97250018.sam | 73 | 100.1 | 100.135 | 0.10935 | 0.035232 | 29.9947 | 30.0153 | 0.0038561 | 0.020557
97250018.hyd | 97250018.sam | 73 | 74.8 | 74.8334 | 0.048634 | 0.033363 | 29.831 | 29.8486 | 0.00020861 | 0.017576
97250018.hyd | 97250018.sam | 73 | 49.6 | 49.5691 | 0.062083 | -0.03093 | 29.7188 | 29.7344 | 0.00096584 | 0.0156
97250018.hyd | 97250018.sam | 73 | 30 | 30.0341 | 0.063568 | 0.034096 | 29.4287 | 29.4419 | 0.0012785 | 0.013205
97250018.hyd | 97250018.sam | 73 | 19.7 | 19.7239 | 0.048086 | 0.023863 | 29.1814 | 29.1528 | 0.00061715 | -0.028593
97250018.hyd | 97250018.sam | 73 | 9.9 | 9.921 | 0.051538 | 0.020973 | 28.3613 | 28.0239 | 0.0089178 | -0.33741
97250021.hyd | 97250021.sam | 73 | 300.1 | 300.069 | 0.055583 | -0.031311 | 30.998 | 31.033 | 0.00089571 | 0.034956
97250021.hyd | 97250021.sam | 73 | 249.5 | 249.537 | 0.037179 | 0.037003 | -99 | 30.9719 | 0.0013362 | 129.972
97250021.hyd | 97250021.sam | 73 | 200.2 | 200.216 | 0.038495 | 0.016373 | -99 | 30.7506 | 0.012303 | 129.751
97250021.hyd | 97250021.sam | 73 | 174.5 | 174.478 | 0.036973 | -0.022201 | -99 | 30.5628 | 0.016382 | 129.563
97250021.hyd | 97250021.sam | 73 | 150.3 | 150.264 | 0.044592 | -0.035873 | -99 | 30.3763 | 0.0062626 | 129.376
97250021.hyd | 97250021.sam | 73 | 124.8 | 124.788 | 0.045787 | -0.011726 | -99 | 30.1314 | 0.0026846 | 129.131
97250021.hyd | 97250021.sam | 73 | 99.9 | 99.9152 | 0.035432 | 0.015228 | -99 | 29.9999 | 0.007038 | 129
97250021.hyd | 97250021.sam | 73 | 74.7 | 74.6894 | 0.04816 | -0.010613 | -99 | 29.8673 | 0.003629 | 128.867
97250021.hyd | 97250021.sam | 73 | 49.8 | 49.7749 | 0.061005 | -0.025135 | -99 | 29.7073 | 0.011312 | 128.707
97250021.hyd | 97250021.sam | 73 | 29.6 | 29.5691 | 0.034144 | -0.030932 | -99 | 29.4006 | 0.026214 | 128.401
97250021.hyd | 97250021.sam | 73 | 20.4 | 20.4505 | 0.034877 | 0.050535 | -99 | 29.225 | 0.022768 | 128.225
97250021.hyd | 97250021.sam | 73 | 9.3 | 9.304 | 0.036829 | 0.0039997 | -99 | 28.8573 | 0.028833 | 127.857
97250027.hyd | 97250027.sam | 73 | 367.2 | 367.227 | 0.069958 | 0.027344 | 30.9794 | 31.0085 | 0.00023271 | 0.029051
97250027.hyd | 97250027.sam | 73 | 300.3 | 300.263 | 0.032062 | -0.036499 | -99 | 30.9659 | 0.0004917 | 129.966
97250027.hyd | 97250027.sam | 73 | 250.5 | 250.46 | 0.042718 | -0.039795 | -99 | 30.856 | 0.00027041 | 129.856
97250027.hyd | 97250027.sam | 73 | 200.3 | 200.319 | 0.066658 | 0.018982 | -99 | 30.6933 | 0.00023129 | 129.693
97250027.hyd | 97250027.sam | 73 | 175 | 175.05 | 0.073056 | 0.049622 | -99 | 30.5121 | 0.0006622 | 129.512
97250027.hyd | 97250027.sam | 73 | 150.2 | 150.157 | 0.08544 | -0.042877 | -99 | 30.3644 | 0.00030153 | 129.364
97250027.hyd | 97250027.sam | 73 | 125 | 125.478 | 0.072242 | 0.47777 | -99 | 30.1387 | 0.00022435 | 129.139
97250027.hyd | 97250027.sam | 73 | 100.4 | 100.367 | 0.058034 | -0.032768 | -99 | 29.8384 | 0.00018307 | 128.838
97250027.hyd | 97250027.sam | 73 | 75.3 | 75.2741 | 0.059623 | -0.025856 | -99 | 29.6305 | 0.00022598 | 128.631
97250027.hyd | 97250027.sam | 73 | 50.7 | 50.6868 | 0.038107 | -0.013153 | -99 | 29.3882 | 0.0011835 | 128.388
97250027.hyd | 97250027.sam | 73 | 30.2 | 30.1636 | 0.086207 | -0.03644 | -99 | 29.0941 | 0.0010403 | 128.094
97250027.hyd | 97250027.sam | 73 | 20.4 | 20.4555 | 0.052887 | 0.055534 | -99 | 28.2308 | 0.0044729 | 127.231
97250027.hyd | 97250027.sam | 73 | 10.1 | 10.1399 | 0.045076 | 0.039863 | -99 | 27.186 | 0.070506 | 126.186
97250033.hyd | 97250033.sam | 73 | 336.9 | 336.864 | 0.050761 | -0.036285 | 30.982 | 31.0092 | 0.00023384 | 0.027155
97250033.hyd | 97250033.sam | 73 | 301.1 | 301.082 | 0.038734 | -0.018372 | 30.9615 | 30.9883 | 0.00021628 | 0.026814
97250033.hyd | 97250033.sam | 73 | 249.9 | 249.929 | 0.038209 | 0.028976 | 30.9149 | 30.9454 | 0.00028985 | 0.030518
97250033.hyd | 97250033.sam | 73 | 200.2 | 200.231 | 0.053484 | 0.030777 | 30.6975 | 30.7149 | 0.0026865 | 0.017443
97250033.hyd | 97250033.sam | 73 | 174.7 | 174.664 | 0.064167 | -0.036438 | 30.5682 | 30.587 | 0.0082872 | 0.018837
97250033.hyd | 97250033.sam | 73 | 149.9 | 149.909 | 0.041313 | 0.0091095 | 30.3418 | 30.3575 | 0.0060017 | 0.01573
97250033.hyd | 97250033.sam | 73 | 124.5 | 124.469 | 0.048684 | -0.030891 | 30.0928 | 30.1056 | 0.0012308 | 0.012806
97250033.hyd | 97250033.sam | 73 | 99.8 | 99.7798 | 0.043914 | -0.020248 | 29.9406 | 29.9504 | 0.00022756 | 0.0097904
97250033.hyd | 97250033.sam | 73 | 75.1 | 75.0571 | 0.059297 | -0.042893 | 29.6919 | 29.7093 | 0.00027422 | 0.01737
97250033.hyd | 97250033.sam | 73 | 50.7 | 50.689 | 0.10014 | -0.011002 | 29.419 | 29.4103 | 0.0011361 | -0.0087223
97250033.hyd | 97250033.sam | 73 | 30.5 | 30.5264 | 0.035094 | 0.026424 | 29.1045 | 29.1065 | 0.00052469 | 0.001997
97250033.hyd | 97250033.sam | 73 | 20.4 | 20.3539 | 0.055204 | -0.04611 | 28.9218 | 28.9217 | 0.00073981 | -5.722e-05
97250033.hyd | 97250033.sam | 73 | 10.1 | 10.064 | 0.055109 | -0.035959 | 27.076 | 26.8656 | 0.0028866 | -0.21041
97250039.hyd | 97250039.sam | 73 | 246.4 | 246.443 | 0.041823 | 0.04277 | 30.7439 | 30.7792 | 0.00097429 | 0.035345
97250039.hyd | 97250039.sam | 73 | 199.8 | 199.843 | 0.069221 | 0.043182 | -99 | 30.681 | 0.00030975 | 129.681
97250039.hyd | 97250039.sam | 73 | 175 | 174.988 | 0.058372 | -0.012466 | -99 | 30.5017 | 0.00053332 | 129.502
97250039.hyd | 97250039.sam | 73 | 150.3 | 150.326 | 0.036968 | 0.02565 | -99 | 30.3266 | 0.00033269 | 129.327
97250039.hyd | 97250039.sam | 73 | 124.4 | 124.411 | 0.077742 | 0.01133 | -99 | 30.1447 | 0.00057756 | 129.145
97250039.hyd | 97250039.sam | 73 | 100.5 | 100.536 | 0.071536 | 0.035942 | -99 | 29.9747 | 0.00041489 | 128.975
97250039.hyd | 97250039.sam | 73 | 75.5 | 75.5094 | 0.051799 | 0.0093918 | -99 | 29.6947 | 0.00080922 | 128.695
97250039.hyd | 97250039.sam | 73 | 50.9 | 50.853 | 0.11425 | -0.046959 | -99 | 29.2705 | 0.0010381 | 128.271
97250039.hyd | 97250039.sam | 73 | 31.1 | 31.1441 | 0.066469 | 0.044136 | -99 | 28.9686 | 0.00062341 | 127.969
97250039.hyd | 97250039.sam | 73 | 19 | 19.0048 | 0.039273 | 0.0048351 | -99 | 28.5529 | 0.0005723 | 127.553
97250039.hyd | 97250039.sam | 73 | 9.4 | 9.3613 | 0.037285 | -0.03867 | -99 | 28.0124 | 0.005124 | 127.012
Create Fit Sheet