File List for SeaBird Data                  Cruise Number: 9736

[osapcommon.cruise_data.9736] Files produced at sea or prior to January 2004

*.hex - original files from SeaSave

*.cnv – files converted in March 2003 (using 9736.con)

9736.con - conversion file using 1993 calibrations

1294-apr98.con - conversion file using 1998 calibrations

[osapcommon.cruise_data.9736.doc]

Simmonds.bmp – diagram of pen arrangement at Simmonds Point Fish Farm

9736-recal.ccf – recalibration control file

1997-36proc.doc - processing notes

1997-36file.doc – this document

9736sal&chl.doc – information about chl and sal data (from Linda White)

97ECCHLA.doc – report from Linda White on Chla analysis

9736header.txt – comment added to headers of CTD files

9736header-bot.txt – comment added to headers of CHE files

97ecchla.xls – Chla from 1992-1997 from many different places

9736_bottle_depth analysis.xls – study of depth of bottle firing

9736_cal_study_cast24.xls – study of differences in 93 and 98 calibrations

9736_cal_study_cast38.xls – study of differences in 93 and 98 calibrations

9736-chl-sal-Linda_White.xls – bottle data chla and sal

9736CHLA.XLS – Phaeophytin & Chla data

9736NUTS.XLS – nutrients & DON analysis methods

Correspondence between NUC and CTD files.xls – data used to renumber NUC files

FISHFARM.XLS – positions of pens

[osapcommon.cruise_data.9736.convert]

*.cnv - data files after conversion using DATCNV, no other processing done.

[osapcommon.cruise_data.9736.derive]

*.cnv - data files after filtering and calculation of salinity.

[osapcommon.cruise_data.9736.hydro]

*.CHE – final bottle files

*.CTDTHN – CTD files thinned to depths of bottles

*.MRG – merge of salinity and nutrient files

*.NUC – original nutrient files from Linda White; cast numbers wrong

*.NUT – files with nutrients, chlorophyll

*.SAL – salinity files converted from 9736-sal.csv

9736-sal.csv & .xls – spreadsheet of salinity data based on data provided by Linda White

9736-sal-comp1.csv & .xls – input and output files for COMPARE before recalibration

9736-sal-comp2.csv & .xls – input and output files for COMPARE after recalibration

[osapcommon.cruise_data.9736.ios]

*.atc – after alignment of temperature and changing time zone

*.avg - data after metre-averaging using BINAVE

*.ctd - final files (after recalibration with 9736-recal.ccf)

*.del – after DELETE

*.edt - data after editing has been done

*.ios - data after conversion to IOS HEADERS

*.log - log files created by CTDEDIT

Delete.log – log from routine DELETE